| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-1

Demolishing the building and the premises

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | CL14B | Dismantling the metallic constructions without recovering in reusable subset (demolishing the metal scaffold) | t | 0.30 |  |  |
| 2 | RCsS20F | Dismantling the pre-manufactured fencing of 1.5 - 2.0m height (demolishing the cage for dogs) | m | 5.00 |  |  |
| 3 | RCsI41B | Removing the roof elements - roofing boards, asbestos-cement, PVC, cardboard , canvas , reeds , etc., including clipping the recoverable board | m2 | 6.50 |  |  |
| 4 | RCsS20F | Dismantling the pre-manufactured fencing of 1.5 - 2.0m height (dismantling the mesh fence) | m | 52.50 |  |  |
| 5 | TRI1AA04C3 | Loading materials from group A – light and small ones, by throwing from the ramp or field, in auto of category 3 | t | 0.60 |  |  |
| 6 | TsI50A5 | Transportation of the ground with the dumper of 5 t at a distance of 5 km | t | 0.60 |  |  |

|  | Total | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |
| Compiled |  |
| (position, signature) |
| Verified |  |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 1-2

Demolishing the heating

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | RpIB11A | Dismantling the radiators to be liquidated | m2 | 58.60 |  |  |
| 2 | RpIC19B | Dismantling the black pipe, for installations, assembled in the central heating installation by welding, in social purpose and dwelling buildings, when linking the distribution devices, columns etc. with a diameter of 18-38 mm | m | 250.00 |  |  |

|  | Total | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-1

Police office.

General constructions works.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Dismantling |  |  |  |  |
| 1 | RCsO56A | Dismantling of the wooden carpeting (doors, windows, shutters, rolled boxes, etc.) | m2 | 95.31 |  |  |
| 2 | RCsP44B | Dismantling the metallic constructions without recovering the materials Small materials (vaseline, petrol, wipers, etc.) = 1.03 | kg | 2 482,00 |  |  |
| 3 | RCsO56C | Dismantling: wall wooden linings , asbestos-cement , PFL , PAS, etc. on walls or suspended ceilings, etc. | m2 | 140.40 |  |  |
| 4 | RCsG32D | Dismantling the masonry walls by breaking them so as to create empty spaces in the masonry | m3 | 1.90 |  |  |
| 5 | RCsK40A | Dismantling the hot flooring - planks, cases, etc. | m2 | 16.60 |  |  |
| 6 | RpCJ34A | Repairing works for the facade, through manual washing of the special coating on the facade Small materials (wipers, petrol, etc.) = 1.10 | m2 | 680.50 |  |  |
| 7 | RCsK41A | Dismantling the cold flooring from concrete or cement mortar | m2 | 293.00 |  |  |
| 8 | RCsG32D | Dismantling the masonry walls by breaking them so as to create empty spaces in the masonry | m3 | 61.80 |  |  |
| 9 | RCsB28A | Demolishing the old concrete with manual means, foundations and elevations with a dosing up to 150 kg/m3 cement | m3 | 1.90 |  |  |
| 10 | RCsP44B | Dismantling the metallic constructions without recovering the materials Small materials (vaseline, petrol, wipers, etc.) = 1.03 | kg | 1 780,00 |  |  |
| 11 | RCsI41B | Removing the roof elements - roofing boards, asbestos-cement, PVC, cardboard , canvas , reeds , etc., including clipping the recoverable board | m2 | 170.00 |  |  |
| 12 | RCsH33B | Displacing the wood boards and the roof elements – framing of the roof, by undoing all the component elements, including the sorting of the resulted materials | m2 | 170.00 |  |  |
| 13 | RCsI41F | Removing the roof - bitumen elements in one or two layers | m2 | 170.00 |  |  |
| 14 | RCsG32D | Dismantling the masonry walls by breaking them so as to create empty spaces in the masonry | m3 | 3.33 |  |  |
| 15 |  | Rubble |  |  |  |  |
| 16 | TsC03G1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading in motor-cars, land cat. III | 100 m3 | 2.19 |  |  |
| 17 | TRI1AA04C3 | Loading materials from group A – light and small ones, by throwing from the ramp or field, in auto of category 3 | t | 109.58 |  |  |
| 18 | TsI50A10 | Transportation of soil with the dumper at a distance of 10 km | t | 547.94 |  |  |
|  |  |  | Total Dismantling |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Foundation |  |  |  |  |
| 19 |  | Consolidation of foundations |  |  |  |  |
| 20 | RCsA02A | Soil digging at sub-walls, performed in normal working conditions and positions, up to 1.5 m depth | m3 | 15.40 |  |  |
| 21 | RCsA06B | Soil filling, executed in horizontal layers 20-30 cm thick, well-watered and well-beaten with the manual knocker, and in quantities up to 20 m3, at a workstation, including scattering the soil in layers with the vibrating plate | m3 | 12.30 |  |  |
| 22 | CA03G | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, reinforced concrete class ... В15, Фм1 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 8.40 |  |  |
| 23 | CC01F | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars over 8 mm diameter inclusively in continuous and radiation foundations | kg | 489.60 |  |  |
| 24 | CB02A | Reusable formwork panels with short and very short wood boarding planks to pour the concrete in bearings, foundations and foundations glass and foundation equipment including support | m2 | 16.80 |  |  |
| 25 | RCsB21A | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 1.05 | piece | 10.00 |  |  |
| 26 |  | УФ-1 |  |  |  |  |
| 27 | CA03G | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, reinforced concrete class ... В7,5 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 0.36 |  |  |
| 28 | CC01F | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars over 8 mm diameter inclusively in continuous and radiation foundations | kg | 77.90 |  |  |
| 29 | CB02A | Reusable formwork panels with short and very short wood boarding planks to pour the concrete in bearings, foundations and foundations glass and foundation equipment including support | m2 | 7.80 |  |  |
| 30 | RCsB21A | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 1.05 | piece | 30.00 |  |  |
| 31 |  | Ceiling beam ФБ1 |  |  |  |  |
| 32 | CA02C | Simple concrete poured in equalization, slabs at the height of 35m inclusively, prepared with the concrete plant according to art. CA01 or concrete-commodity, poured with classical means B7,5 Small materials (resinous cases) = 1.01 | m3 | 5.53 |  |  |
| 33 | CA03G | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, reinforced concrete class ... В15 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 2.40 |  |  |
| 34 | CC01E | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars up to 8 mm diameter inclusively in continuous and radiation foundations | kg | 25.20 |  |  |
| 35 | CC01F | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars over 8 mm diameter inclusively in continuous and radiation foundations | kg | 134.40 |  |  |
| 36 | CB02A | Reusable formwork panels with short and very short wood boarding planks to pour the concrete in bearings, foundations and foundations glass and foundation equipment including support | m2 | 12.00 |  |  |
|  |  |  | Total Foundation |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Wall |  |  |  |  |
| 37 |  | Frame РМ1, РМ2 |  |  |  |  |
| 38 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 12.32 |  |  |
| 39 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 185.58 |  |  |
| 40 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 384.48 |  |  |
| 41 | CL57A | Assembling and fixing the pieces embedded in monolith reinforced concrete: with weight under 4 kg Small materials and assembling (vaseline, cloth, petrol, etc.) = 1.01 | kg | 11.24 |  |  |
| 42 | IzD05A | Manual priming with a layer of minium lead - based paint on technological equipment. | t | 0.01 |  |  |
| 43 | IzD04A | Painting the metal garments and constructions with oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with manual brush | t | 0.01 |  |  |
| 44 | RCsB21A k=0,24 | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 0.24 Labor efforts coefficient = 0.24 Machinery coefficient = 0.24 | piece | 6.00 |  |  |
| 45 | CB02D | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in pillars and frames, exclusively for supporters, at heights up to 20m inclusively | m2 | 92.40 |  |  |
| 46 |  | Consolidation of walls |  |  |  |  |
| 47 | CA05E | Concrete poured into masonry, walls, straight diaphragms, and different special constructions, located over the zero threshold, at heights up to 35 m inclusively, prepared with the concrete plant or concrete type art.CA01 and poured with classical means, reinforced concrete Class... В15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 29.10 |  |  |
| 48 | CC03A | Assembling sealed meshes at heights lower or equal to 35 m, for walls with diaphragms, with the weight of the meshes up to 3 kg/m2 | kg | 491.63 |  |  |
| 49 | RCsB21A | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 1.05 | piece | 560.00 |  |  |
| 50 | CB02C | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in bearings and plates, exclusively for supporters, at heights up to 20m inclusively | m2 | 363.00 |  |  |
| 51 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete | kg | 54.11 |  |  |
| 52 |  | Reinforced concrete boom of the railing ПП1 |  |  |  |
| 53 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 5.10 |  |  |
| 54 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 96.10 |  |  |
| 55 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 214.52 |  |  |
| 56 | CB02C | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in bearings and plates, exclusively for supporters, at heights up to 20m inclusively | m2 | 25.50 |  |  |
| 57 | RCsB21A | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 1.05 | piece | 124.00 |  |  |
| 58 |  | Framing ОБ1 |  |  |  |  |
| 59 | RCsB21A k=0,24 | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 0.24 Labor efforts coefficient = 0.24 Machinery coefficient = 0.24 | piece | 8.00 |  |  |
| 60 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 0.68 |  |  |
| 61 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B7.5 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 0.23 |  |  |
| 62 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 11.16 |  |  |
| 63 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 74.64 |  |  |
| 64 | CB02D | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in pillars and frames, exclusively for supporters, at heights up to 20m inclusively | m2 | 3.40 |  |  |
| 65 | CD50G | Brickwork from bricks, made of 250 x 120 x 65 format at the interior walls with the height up to 4 m | m3 | 0.20 |  |  |
| 66 |  | Framing ОБ2, ОБ3 |  |  |  |  |
| 67 | RCsB21A k=0,24 | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 0.24 Labor efforts coefficient = 0.24 Machinery coefficient = 0.24 | piece | 16.00 |  |  |
| 68 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 0.88 |  |  |
| 69 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 12.42 |  |  |
| 70 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 67.20 |  |  |
| 71 | CB02D | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in pillars and frames, exclusively for supporters, at heights up to 20m inclusively | m2 | 4.40 |  |  |
| 72 |  | Link beam ПМ1, ПМ2 |  |  |  |  |
| 73 | RCsU06D | Executing the ditches up to 5 cm deep, in brick or masonry walls of 5 x 100 cm2 | m | 6.00 |  |  |
| 74 | RCsB21A | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 1.05 | piece | 8.00 |  |  |
| 75 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 14.40 |  |  |
| 76 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 6.82 |  |  |
| 77 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 28.24 |  |  |
| 78 | CL57A | Assembling and fixing the pieces embedded in monolith reinforced concrete: with weight under 4 kg Small materials and assembling (vaseline, cloth, petrol, etc.) = 1.01 | kg | 38.88 |  |  |
| 79 | CB02D | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in pillars and frames, exclusively for supporters, at heights up to 20m inclusively | m2 | 4.10 |  |  |
| 80 | CD50G | Brickwork from bricks, made of 250 x 120 x 65 format at the interior walls with the height up to 4 m | m3 | 5.00 |  |  |
|  |  |  | Total Walls |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 4. Overlay |  |  |  |  |
| 81 |  | Monolith segment УМ1 |  |  |  |  |
| 82 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 1.25 |  |  |
| 83 | CC02M | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted in plates, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 17.30 |  |  |
| 84 | CC02N | Reinforced concrete steel shaped in construction shops, with bars over 8 mm diameter and mounted on plates, at heights less than or equal to 35 m, exclusively constructions executed with sliding formwork | kg | 95.70 |  |  |
| 85 | CB02C | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in bearings and plates, exclusively for supporters, at heights up to 20m inclusively | m2 | 12.50 |  |  |
| 86 |  | Main beam Б1, Б2 |  |  |  |  |
| 87 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 0.59 |  |  |
| 88 | CC02K | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights smaller or equal to 35 m, excluding constructions executed with sliding formwork | kg | 3.90 |  |  |
| 89 | CC02L | Reinforced concrete steel shaped in OB 37 construction shops, with bars over 8 mm diameter and mounted on beams and pillars, at heights less than or equal to 35 m, excluding constructions executed with sliding formwork | kg | 41.80 |  |  |
| 90 | CB02C | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in bearings and plates, exclusively for supporters, at heights up to 20m inclusively | m2 | 6.90 |  |  |
|  |  |  | Total Overlay |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 5. Roof |  |  |  |  |
| 91 | CE41A | Assembling spars with antiseptic treatment | m3 | 7.27 |  |  |
| 92 | CN50A | Fireproof treatment of the carpentry; trusses, arches, beams, rafters, plates. | m3 | 7.27 |  |  |
| 93 | CE30B | Covers or valley roof covering from roofing tiles, Eternit type plates from rough wood planks (24 mm thick), planed on one side, in ordinary constructions. | m2 | 277.50 |  |  |
| 94 | CN50C | Fireproofing treatment of the carpentry, stave-based screen for coverings and revetment. | 100m2 | 3.41 |  |  |
| 95 | CN51F | Antiseptic treatment of the carpentry, on apparent areas with antiseptic paste: needling, ribs. | 100m2 | 3.41 |  |  |
| 96 | IzF18B k=0,75 | Support layer for equalization or protective insulation, including related moldings, executed with ready-made mortar cement of M100-T brand without any lime adds, leveled, on horizontal or inclined surfaces up to 40% inclusively, applied in medium thickness of 2 cm (thickness 1.5 cm) Labor efforts coefficient = 0.75 Materials coefficient = 0.75 Machinery coefficient = 0.75 | m2 | 175.00 |  |  |
| 97 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 175.00 |  |  |
| 98 | IzF10F | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on horizontal surfaces or areas with a slope up to 40% ("ROCKWOOL" Y160 kg/m3, th.150 mm) | m2 | 175.00 |  |  |
| 99 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 175.00 |  |  |
| 100 | IzF18B k=2 | Support layer for equalization or protective insulation, including related moldings, executed with ready-made mortar cement of M100-T brand without any lime adds, leveled, on horizontal or inclined surfaces up to 40% inclusively, applied in medium thickness of 2 cm (thickness 4 cm) Labor efforts coefficient = 2.00 Materials coefficient = 2.00 Machine coefficient = 2.00 | m2 | 175.00 |  |  |
| 101 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Lindab type) (metallic tiles) Small material = 1.05 | m2 | 277.50 |  |  |
| 102 | CL17B | Various metal garments, mounted visibly: rail, grids, manhole covers, snow stops, grills (snow stoppers) | kg | 222.15 |  |  |
| 103 | CE20A | Systems of brass-type ditches from anticorrosive protected board D100 Small materials = 1.03 | m | 65.50 |  |  |
| 104 | CE22A | Systems of brass-type tubing from anticorrosive protected board D100 Small materials = 1.02 | m | 60.50 |  |  |
| 105 | CE05B | Covering from anticorrosive protected plane boards or galvanized plane boards, fixed with cramps, made with double joints in both directions, executed on areas wider than 40 m2 with board sheets of 0.5 mm thickness, including the execution of valleys, aprons, connections to baskets etc. Small materials (mineral oil, white zinc, alloy, ready-made red lead paint) - 1.05 | m2 | 25.20 |  |  |
| 106 | IzF10G | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on areas with a slope over 40% or vertical areas (mineral wool Y=50 kg/m3, th. 50 mm) | m2 | 3.30 |  |  |
| 107 | CE05B | Covering from anticorrosive protected plane boards or galvanized plane boards, fixed with cramps, made with double joints in both directions, executed on areas wider than 40 m2 with board sheets of 0.5 mm thickness, including the execution of valleys, aprons, connections to baskets etc. Small materials (mineral oil, white zinc, alloy, ready-made red lead paint) - 1.05 | m2 | 3.30 |  |  |
| 108 | CL18A | Diverse metallic confections from rolled profiles, plate, checker plate, steel, concrete, pipes for supporting or covering, totally or partially embedded in concrete | kg | 40.56 |  |  |
| 109 |  | Dome |  |  |  |  |
| 110 | CE07A | Covering from imprinted board plates (roof tile) for covering the roofs (Lindab type) (metallic tiles) Small material = 1.05 | m2 | 20.50 |  |  |
| 111 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 20.50 |  |  |
| 112 | CL53B | Assembling the ventilated facade system with the revetment of the building walls and structures with linear metal boards in vertical position with hidden fixation, with architectural details surface up to 30% of the total wall area. Note: the resource with the standard 0.00 (zero) is taken according to the design "Etalbont" | m2 | 8.25 |  |  |
| 113 | RpCP19A | Manufacturing and assembling the fire ladder, with band iron strings 50/10 mm and round iron stairs d = 16 mm of 50 cm width, placed at 36 cm distance from each other | kg | 0.03 |  |  |
| 114 | IzD05A | Manual priming with a layer of minium lead - based paint on technological equipment. | t | 0.03 |  |  |
| 115 | IzD04A | Painting the metal garments and constructions with oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with manual brush | t | 0.03 |  |  |
|  |  |  | Total Roof |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 6. Separating wall |  |  |  |  |
| 116 | CD72D | Flat separating walls from PGC with thickness of 100-150 mm on the simple metallic carcass with PGC plates in two layers on both sides with insulation, with the height up to 4 m (dry, Rocmin Y=50kg/m3, th.50 mm) Small materials (water, cloth, etc.) = 1.00 | m2 | 14.90 |  |  |
| 117 | CD72B | Flat separating walls from PGC with thickness of 75-125 mm on the simple metallic carcass with PGC plates in one layer on both sides with insulation, with the height up to 4 m (dry, Rocmin Y=50kg/m3, th.50 mm) Small materials (water, cloth, etc.) = 1.00 | m2 | 102.10 |  |  |
| 118 | CD72B | Flat separating walls from PGC with thickness of 75-125 mm on the simple metallic carcass with PGC plates in one layer on both sides with insulation, with the height up to 4 m (water-resistant, Rocmin Y=50kg/m3, th.50 mm) Small materials (water, cloth, etc.) = 1.00 | m2 | 6.00 |  |  |
| 119 | CD72B | Flat separating walls from PGC with thickness of 75-125 mm on the simple metallic carcass with PGC plates in one layer on both sides with insulation, with the height up to 4 m (dry, stone wool, th.150 mm) Small materials (water, cloth, etc.) = 1.00 | m2 | 14.40 |  |  |
| 120 | CD51C | Brickwork , format 250 x 120 x 65 1/2 thickness of the dividing reinforced walls, with the thickness 1/2 of bricks, and height up to 4 m | 100m2 | 0.10 |  |  |
| 121 | IzF10G | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on areas with a slope over 40% or vertical areas (mineral wool th. 50 mm) | m2 | 4.30 |  |  |
| 122 | CE05B | Covering from anticorrosive protected plane boards or galvanized plane boards, fixed with cramps, made with double joints in both directions, executed on areas wider than 40 m2 with board sheets of 0.5 mm thickness, including the execution of valleys, aprons, connections to baskets etc. Small materials (mineral oil, white zinc, alloy, ready-made red lead paint) - 1.05 | m2 | 4.30 |  |  |
| 123 | CK50A | Suspended ceilings made of plasterboard on the site, 12.5 mm thickness, on galvanized profiles structure: flat ceiling surfaces | m2 | 4.30 |  |  |
|  |  |  | Total Separating wall |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 7. Stairs |  |  |  |  |
| 124 |  | Stairs Sc1 |  |  |  |  |
| 125 | RCsA01A | Manual excavation of land in confined spaces , having 1.00 m in width and maximum 1.5 m depth, with vertical slope, for polygonal foundation pits , ditches, etc. , executed in amounts of up to 20 m3 at a working point with unsupported sides | m3 | 0.50 |  |  |
| 126 | RCsA06A | Soil filling, executed in horizontal layers 20-30 cm thick, well-watered and well-beaten with the manual knocker, and in quantities up to 20 m3, at a workstation, including scattering the soil in layers with the manual beater | m3 | 0.25 |  |  |
| 127 | CA03G | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, reinforced concrete class ... В15 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 0.23 |  |  |
| 128 | CC01F | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars over 8 mm diameter inclusively in continuous and radiation foundations | kg | 3.20 |  |  |
| 129 | CL10C | Stairs , fences , walkways , platforms, wind-protection units, grates, bars and metal structures supporting the technological equipment or metallic platforms servicing the big aggregates delivered in ready-made sub-sets, at heights up to 35 m and weight up to 0,150 t, assembled by welding | t | 0.67 |  |  |
| 130 | IzD05A | Manual priming with a layer of minium lead - based paint on technological equipment. | t | 0.67 |  |  |
| 131 | IzD04A | Painting the metal garments and constructions with oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with manual brush | t | 0.67 |  |  |
| 132 | CA04F | Concrete poured in slabs , beams , columns , prepared with the concrete plant or concrete CA01 and pouring with classical means B15 Small materials (resinous cases, nails, clamps) = 1.03 | m3 | 0.27 |  |  |
| 133 | CC02C | Reinforced concrete steel shaped in OB 37 construction shops, with bars up to 8 mm diameter inclusively, for beam and pylons, excluding the constructions made of sliding formworks | kg | 6.10 |  |  |
| 134 | CB02C | Formwork from reusable panels with short and under-short resinous wood boarding planks to pour the concrete in bearings and plates, exclusively for supporters, at heights up to 20m inclusively | m2 | 2.70 |  |  |
| 135 | CG17D1 | Flooring from ceramic plates, including the support layer from adhesive mortar, executed on surfaces equal to or smaller than 16 m2 | m2 | 3.00 |  |  |
| 136 | CH06A | Current metal mine mounted on 15 cm pylons, spaced at distances of 1 .... 1.2 m provided with welded rings , fixed to a brick wall or concrete parapet, made of steel pipes D=1 1/4” and laminated steel, on the right (aluminum profile H=1100mm) | m | 14.30 |  |  |
| 137 |  | Stairs Sc2 |  |  |  |  |
| 138 | RCsA01A | Manual excavation of land in confined spaces , having 1.00 m in width and maximum 1.5 m depth, with vertical slope, for polygonal foundation pits , ditches, etc. , executed in amounts of up to 20 m3 at a working point with unsupported sides | m3 | 3.20 |  |  |
| 139 | RCsA06A | Soil filling, executed in horizontal layers 20-30 cm thick, well-watered and well-beaten with the manual knocker, and in quantities up to 20 m3, at a workstation, including scattering the soil in layers with the manual beater | m3 | 1.60 |  |  |
| 140 | CA03G | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, reinforced concrete class ... В15 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 1.63 |  |  |
| 141 | CC01F | Concrete steel fittings OB 37 shaped in construction shops, assembled with bars over 8 mm diameter inclusively in continuous and radiation foundations | kg | 14.00 |  |  |
| 142 | CA07B | Manufacturing and using reinforced concrete class C25/20 (Bc 25/ B 330) or C 30/25 (Bc 30/ B 400) in sub-pouring of 70 mm thick for technological devices and metallic pillars Small materials (resinous timber, nails, clamps) = 1.03 | m2 | 1.00 |  |  |
| 143 | RCsG32D | Dismantling the masonry walls by breaking them so as to create empty spaces in the masonry | m3 | 0.20 |  |  |
| 144 | RCsB05A | Reinforced concrete B25/M300 in small quantities, in consolidation of reinforced concrete elements or reinforced concrete elements for consolidation, manufactured manually, poured with classical means Small materials (planks, wire, nails, etc.) = 1.03 | m3 | 0.20 |  |  |
| 145 | CL10C | Stairs , fences , walkways , platforms, wind-protection units, grates, bars and metal structures supporting the technological equipment or metallic platforms servicing the big aggregates delivered in ready-made sub-sets, at heights up to 35 m and weight up to 0,150 t, assembled by welding | t | 1.76 |  |  |
| 146 | IzD05A | Manual priming with a layer of minium lead - based paint on technological equipment. | t | 1.76 |  |  |
| 147 | IzD04A | Painting the metal garments and constructions with oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with manual brush | t | 1.76 |  |  |
| 148 |  | Stairs Sc3 |  |  |  |  |
| 149 | RCsB21A k=0.4 | Mechanical drilling of holes with diameter of 5 cm, in concrete elements, with thickness of up to 20 cm Small materials = 0.40 Labor efforts coefficient = 0.40 Machinery coefficient = 0.40 | piece | 8.00 |  |  |
| 150 | RCsG32D | Dismantling the masonry walls by breaking them so as to create empty spaces in the masonry | m3 | 0.01 |  |  |
| 151 | CL10C | Stairs , fences , walkways , platforms, wind-protection units, grates, bars and metal structures supporting the technological equipment or metallic platforms servicing the big aggregates delivered in ready-made sub-sets, at heights up to 35 m and weight up to 0,150 t, assembled by welding | t | 0.08 |  |  |
| 152 | IzD05A | Manual priming with a layer of minium lead - based paint on technological equipment. | t | 0.08 |  |  |
| 153 | IzD04A | Painting the metal garments and constructions with oil-based paint in 2 layers, executed on profiles with thickness between 8 mm and 12 mm inclusively, with manual brush | t | 0.08 |  |  |
|  |  |  | Total Stairs |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 8. Windows |  |  |  |  |
| 154 | CK57G | Fitting the PVC profiles: tilts (folding, swing-out) with under 2 m2 of the opening area with three leaves, including in the presence of fixed window frames (PVC with double glazing) | m2 | 3.08 |  |  |
| 155 | CK57H | Fitting the PVC profiles: tilts (folding, swing-out) with over 2 m2 of the opening area with three leaves, including in the presence of fixed window frames (PVC with double glazing) | m2 | 59.58 |  |  |
| 156 | CK26A | Sills assembled at the windows from plastic, for windows and doors PVC Small materials (sills) = 1.02 | m | 35.30 |  |  |
|  |  |  | Total Windows |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 9. Doors |  |  |  |  |
| 157 | CK03A | Wooden interior doors within one leaf, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m (with set of accessories) | m2 | 24.78 |  |  |
| 158 | CK03C | Wooden interior doors in two leaves, on coating and balcony doors, including thermal and waterproof casement, assembled on the existing dowels of the constructions with height up to 35 m (with set of accessories) | m2 | 3.15 |  |  |
| 159 | CK07B | Wooden sills or wands assembled at doors or windows | m | 46.20 |  |  |
|  |  |  | Total Doors |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 10. Hatch door |  |  |  |  |
| 160 | CK25A | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of masonry in constructions with the height up to 35 m inclusively, in one leaf, with the surface of the case up to 7 m2 inclusively (PVC) | m2 | 0.72 |  |  |
| 161 | CO14A | Hatch of 0.6 x 0.8 , from beech planed wood, insulated and lined with insulating material of galvanized steel, mounted at the exits on non-circulated terraces Small materials (bolts, nails, nuts) = 1.03 | piece | 1.00 |  |  |
|  |  |  | Total Hatch door |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 11. Stained glass |  |  |  |  |
| 162 | CK11C | Ready-made shop windows, assembled in the masonry of any type, with the area between 7.5 - 10.0 m2 on constructions mounted at heights up to 5m inclusively, from plastic materials (PVC with double glazing and set of accessories) | m2 | 27.35 |  |  |
| 163 |  | Vr-4 |  |  |  |  |
| 164 | CK57G | Fitting the PVC profiles: tilts (folding, swing-out) with under 2 m2 of the opening area with three leaves, including in the presence of fixed window frames (PVC with double glazing) | m2 | 1.35 |  |  |
| 165 | CK25A | Doors made of plastic profiles, including the casement and the necessary accessories for assembling doors in any type of masonry in constructions with the height up to 35 m inclusively, in one leaf, with the surface of the case up to 7 m2 inclusively (PVC) | m2 | 2.03 |  |  |
| 166 | CI06C | Plywood glass glazed, unglazed, matte or glossy tiles of the same color and form with dimensions of 15 x 15 cm to 30 x 30, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood | m2 | 0.20 |  |  |
|  |  |  | Total Stained glass |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 12. Flooring |  |  |  |  |
|  |  | 12.1. Type - 2 |  |  |  |  |
| 167 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed surface (th. 1.5 cm) | m2 | 56.30 |  |  |
| 168 | CG01A1 k=3 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 100-T mortar is added or is subtracted Labor efforts coefficient = 3.00 Materials coefficient = 3.00 Machinery coefficient = 3.00 | m2 | -56.30 |  |  |
| 169 | CE17A k=2 | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates ("Flex-Dicht" 2mm, 2 layers) Small material = 2.00 Labor efforts coefficient = 2.00 Machine coefficient = 2.00 | m2 | 56.30 |  |  |
| 170 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed surface (th. 4.0 cm) | m2 | 56.30 |  |  |
| 171 | CG01A1 k=2 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 100-T mortar is added or is subtracted Labor efforts coefficient = 2.00 Materials coefficient = 2.00 Machine coefficient = 2.00 | m2 | 56.30 |  |  |
| 172 | CG17D | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 (30х30х0.8) | m2 | 56.30 |  |  |
| 173 | CI14A | Linear elements of stoneware plates applied with adhesive Small materials (water, cloth, etc.) = 1.05 | m | 40.50 |  |  |
|  |  |  | Total Type - 2 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 12.2. Type - 3 |  |  |  |  |
| 174 | CG01A | Supporting layer for flooring executed from cement mortar M 150-T of 3 cm thickness with delicately smoothed surface (th. 4.7 cm) | m2 | 93.50 |  |  |
| 175 | CG01A1 k=1,57 | Supporting layer for flooring executed from cement mortar M 150-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 150-T mortar is added or is subtracted Labor efforts coefficient = 1.57 Materials coefficient = 1.57 Machinery coefficient = 1.57 | m2 | 93.50 |  |  |
| 176 | CG36A | Laminate floor slabs mounted on dry layer, placing the synthetic layer on existing support, including wood plinths and cleaning, in premises wider than 16 m2 Small materials (nails) = 1.01 | m2 | 93.50 |  |  |
|  |  |  | Total Type - 3 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 12.3. Type - 4 |  |  |  |  |
| 177 | IzF10F | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on horizontal surfaces or areas with a slope up to 40% (stone wool Y=160 kg/m3, th.40 mm) | m2 | 42.00 |  |  |
| 178 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 42.00 |  |  |
| 179 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed surface (th. 4.7 cm) | m2 | 42.00 |  |  |
| 180 | CG01A1 k=1,57 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 100-T mortar is added or is subtracted Labor efforts coefficient = 1.57 Materials coefficient = 1.57 Machinery coefficient = 1.57 | m2 | 42.00 |  |  |
| 181 | CG17D | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 (30х30х0.8) | m2 | 42.00 |  |  |
| 182 | CI14A | Linear elements of stoneware plates applied with adhesive Small materials (water, cloth, etc.) = 1.05 | m | 29.90 |  |  |
|  |  |  | Total Type - 4 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 12.4. Type - 5 |  |  |  |  |
| 183 | IzF10F | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on horizontal surfaces or areas with a slope up to 40% (stone wool Y=160 kg/m3, th.40 mm) | m2 | 7.85 |  |  |
| 184 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 7.85 |  |  |
| 185 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 7.85 |  |  |
| 186 | IzF04B k=2 | Waterproof layer made in hot conditions for the terraces, roofs or foundations and slabs, in fields without groundwater, including moldings and valleys from the current waterproofing protection on horizontal or inclined surfaces up to 40%, flat or curved , with bitumen cardboard, stuck all over with bitumen mastic Labor efforts coefficient = 2.00 Materials coefficient = 2.00 Machine coefficient = 2.00 | m2 | 7.85 |  |  |
| 187 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face | m2 | 7.85 |  |  |
| 188 | CG17D1 | Flooring from ceramic plates, including the support layer from adhesive mortar, executed on surfaces equal to or smaller than 16 m2 (30х30х0.8) | m2 | 7.85 |  |  |
|  |  |  | Total Type - 5 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 12.5. Type - 6 |  |  |  |  |
| 189 | IzF10F | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on horizontal surfaces or areas with a slope up to 40% (stone wool Y=160 kg/m3, th.40 mm) | m2 | 93.60 |  |  |
| 190 | CE17A | Additional polymeric layer of ondutiss type, assembled under the tile covering layer, imprinted or coiled plates Small materials = 1.03 | m2 | 93.60 |  |  |
| 191 | CG01A | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed surface (th. 4.5 cm) | m2 | 93.60 |  |  |
| 192 | CG01A1 k=1,5 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 100-T mortar is added or is subtracted Labor efforts coefficient = 1.50 Materials coefficient = 1.50 Machinery coefficient = 1.50 | m2 | 93.60 |  |  |
| 193 | CG36A | Laminate floor slabs mounted on dry layer, placing the synthetic layer on existing support, including wood plinths and cleaning, in premises wider than 16 m2 Small materials (nails) = 1.01 | m2 | 93.60 |  |  |
|  |  |  | Total Type - 6 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  |  | Total Flooring |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 13. Internal finishing works |  |  |  |  |
|  |  | 13.1. Ceiling |  |  |  |  |
| 194 | CL53B | Assembling the ventilated facade system with the revetment of the building walls and structures with linear metal boards in vertical position with hidden fixation, with architectural details surface up to 30% of the total wall area. Note: the resource with the standard 0.00 (zero) is taken according to the design "Etalbont" | m2 | 6.50 |  |  |
| 195 | CK50A | Suspended ceilings made of plasterboard on the site, 12.5 mm thickness, on galvanized profiles structure: flat ceiling surfaces | m2 | 293.65 |  |  |
| 196 | IzF10F | Insulating layer for the terrace, roofs and plates, from mineral wool plates type G 80 or G 100, or mineral wool plates of type PIB, glued with bituminous filler on horizontal surfaces or areas with a slope up to 40% ("ROCKWOOL", th. 50 mm) | m2 | 293.65 |  |  |
| 197 | CF52B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for the ceiling, manual preparing of the mortar | m2 | 293.65 |  |  |
| 198 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 293.65 |  |  |
|  |  |  | Total Ceilings |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 13.2. Walls |  |  |  |  |
| 199 | CF02A | Exterior coating of 2 cm thickness, levelled, executed manually, on the walls and pylons, on plain surfaces, with cement-lime mortar of brand M 25-T for sprit and lime-cement mortar M 10-T for primer and visible layer, on brick masonry or small concrete blocks | m2 | 264.50 |  |  |
| 200 | CF50B | Interior coating of 5 mm thickness, executed manually, with gypsum-based dry mixture, for walls and dividing walls, manual preparation of the mortar. | m2 | 732.34 |  |  |
| 201 | CF11A | Exterior coating sprayed on brick or concrete masonry (with the machine or broom) with the thickness of 3 cm, executed manually, with cement-lime mortar M 50-T for sprit and lime-cement mortar M 25-T for the ground or continuously visible layer | m2 | 219.04 |  |  |
| 202 | CN06A | Interior painting with paints based on vinyl copolymers in water emulsion, applied in 2 layers on the existing fillings, executed manually. | m2 | 513.30 |  |  |
| 203 | CI06C | Plywood glass glazed, unglazed, matte or glossy tiles of the same color and form with dimensions of 15 x 15 cm to 30 x 30, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood | m2 | 57.90 |  |  |
|  |  |  | Total Walls |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  |  | Total Internal finishing works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 14. External finishing works |  |  |  |  |
| 204 | CI06C | Plywood glass glazed, unglazed, matte or glossy tiles of the same color and form with dimensions of 15 x 15 cm to 30 x 30, executed on flat surfaces of walls and pillars , including sills and edges , with alternating joints, in premises with an area exceeding 10 m2, fixed with adhesive for installation of plywood (artificial stone) | m2 | 43.30 |  |  |
| 205 | IzF55B | External thermal insulation of the walls of the buildings with fine plaster based on thermal insulators (rigid fixation systems of the thermal insulation), smooth wall surface: with polystyrene plates (th. 50 mm) Small materials (cloth, foam) = 1.01 | m2 | 377.60 |  |  |
| 206 | IzF55E | External thermal insulation of the sills of the buildings with fine plaster based on thermal insulators (rigid fixation systems of the thermal insulation), smooth wall surface: with fireproof plates of mineral wool (th. 50 mm) Small materials (cloth, foam) = 1.01 | m2 | 45.00 |  |  |
| 207 | CN54B | Manual application of the quartz ground “Gleta" in one layer, for the exterior walls of the facade. | m2 | 422.60 |  |  |
| 208 | CF30A | Exterior coating of 2-3 mm thickness, executed manually, with “TINC” mixture on the walls. | m2 | 379.30 |  |  |
| 209 | CB14A | Tubular metallic scaffold for works on vertical areas for heights up to 30 m inclusively, with immobilization of the scaffold for 25 days (200 hours) | m2 | 462.70 |  |  |
|  |  |  | Total External finishing works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 15. Other works |  |  |  |  |
|  |  | 15.1. Front stairs |  |  |  |  |
| 210 | TsC53B | Compacting the soil with crushed stone | 100m2 | 0.23 |  |  |
| 211 | CC03C | Assembling sealed meshes at heights lower or equal to 35 m, for plates | kg | 52.67 |  |  |
| 212 | CG01A | Supporting layer for flooring executed from cement mortar M 150-T of 3 cm thickness with delicately smoothed surface (th. 2 cm) | m2 | 23.00 |  |  |
| 213 | CG01A1 k=2 | Supporting layer for flooring executed from cement mortar M 100-T of 3 cm thickness with delicately smoothed face. The minus or plus difference for every 0.5 cm of the layer of M 100-T mortar is added or is subtracted Labor efforts coefficient = 2.00 Materials coefficient = 2.00 Machine coefficient = 2.00 | m2 | -23.00 |  |  |
| 214 | CG17D | Flooring from ceramic plates including the support layer from adhesive mortar, executed on areas wider than 16 m2 | m2 | 23.00 |  |  |
| 215 | CA03F | Simple concrete, poured with classical means, in foundations, basements, support walls, under zero - share walls, manufactured with concrete making unit or concrete art. CA01, poured with classical means, simple concrete class ... B12,5 Small materials (resinous cases, nails, clamps) = 1.01 | m3 | 3.70 |  |  |
| 216 | CH06A | Current metal mine mounted on 15 cm pylons, spaced at distances of 1 .... 1.2 m provided with welded rings , fixed to a brick wall or concrete parapet, made of steel pipes D=1 1/4” and laminated steel, on the right (BL 2, H=900mm) | m | 12.50 |  |  |
|  |  |  | Total Front stairs |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  |  | Total Other works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-2

Aqueduct, hot water.

Police office.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Sanitary works |  |  |  |  |
| 1 | SA17A | Plastic pipe joined by poly-fusion welding, in distribution pipes in dwelling and social-cultural buildings, having the diameter of 16x1.8 mm (polypropylene PP-R PN10 bend 90', equal T-bend) | m | 26.00 |  |  |
| 2 | SA17A | Plastic pipe joined by poly-fusion welding, in distribution pipes in dwelling and social-cultural buildings, having the diameter of 16x1.8 mm (polypropylene PP-R PN20 bend 90', equal T-bend) | m | 26.00 |  |  |
| 3 | SA17A | Plastic pipe joined by poly-fusion welding, in distribution pipes in dwelling and social-cultural buildings, having the diameter of 20x1.9 mm (polypropylene PP-R PN10 bend 90', T-bend, reduction sleeve) | m | 4.00 |  |  |
| 4 | SF01C | Performing the sealing pressure test for the installation of hot or cold water, executed on the hard-type polyvinyl chloride pipes, having the diameter of 16-110 mm | m | 56.00 |  |  |
| 5 | SF05C | Washing up the hot and cold water installation, executed from plastic pipes, with the diameter of 20-75 mm | m | 56.00 |  |  |
| 6 | SA34I | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 219x4 mm (L=0.5 m) | piece | 1.00 |  |  |
| 7 | SD19A | Tap with retainer with threaded sleeves, having the diameter of 20 mm (passing tap with PPR sphere) | piece | 1.00 |  |  |
| 8 | SD19A | Tap with retainer with threaded sleeves, having the diameter of 16 mm (passing tap with PPR sphere) | piece | 3.00 |  |  |
| 9 | SD19A | Tap with retainer with threaded sleeves, having the diameter of 15 mm (tap with hold-back sleeve) | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Social and health insurance | 27.50% |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Sanitary works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 10 | IA16A | Horizontal boiler with serpentine assembled on the support, with the boiler capacity up to 50 l, inclusively | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Social and health insurance | 27.50% |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 11 |  | Electrical boiler BOSCH Tronic 1000T ES 050-4M, V=50L | set | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-3

Sewerage.

Police office.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | SB05E | Non-plasticized light PVC pipe for sewerage, joined by gluing, surface-mounted or buried under the floor, with the diameter of 110 mm | m | 11.00 |  |  |
| 2 | SB05C | Non-plasticized light PVC pipe for sewerage, joined by gluing, surface-mounted or buried under the floor, with the diameter of 50 mm | m | 12.50 |  |  |
| 3 | SF04A | Performing the leak test and operation of sewerage pipes made of cast iron pipes for drain, polyvinyl chloride and non-plasticized tubes of light type or plastic, the iron pipe having a diameter up to 100 mm inclusively | m | 2.35 |  |  |
| 4 | SB06D | Connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 110 mm (the piece with circular inspection 90’) | piece | 1.00 |  |  |
| 5 | SC04A | Sink from sanitary semi-porcelain or porcelain, etc. including for disabled people, with the sewerage pipe of plastic material, mounted on a console on brick walls or autoclaved aerated concrete walls | piece | 2.00 |  |  |
| 6 | SC06A | Sink with dropping vessel (with 1 compartment) for dishes, from stainless steel, stainless board, stainless steel, etc., with the sewerage pipe of plastic material, mounted on a console on walls of brick masonry (simple stainless steel sink) | piece | 1.00 |  |  |
| 7 | SC07A | Closet reservoir, completely equipped, from sanitary semi-porcelain or porcelain etc. including for disabled people, placed on the floor, with the water reservoir mounted at a certain height or semi-height, with the S-type internal siphon | piece | 1.00 |  |  |
| 8 | SC09A | Sanitary porcelain urinary mounted in the wall of bricks or autoclaved aerated concrete | piece | 1.00 |  |  |
| 9 | SA40A | Installation of anti-fire sleeves by fixing them to the floor cover with dowels (ПМ-110) | piece | 3.00 |  |  |
| 10 | RCsB28E | Demolishing the old concrete with manual means, pre-manufactured plates with the thickness over 15 cm | m3 | 0.03 |  |  |
| 11 | SA33I | Manufacturing and mounting the protection pipe when the pipes go through the flooring, the pipe having the diameter 325x5 mm (L=0,5 m) | piece | 1.00 |  |  |
| 12 | SB06D | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 110 mm (equal ramification) | piece | 1.00 |  |  |
| 13 | SB06B | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 50 mm (equal ramification) | piece | 3.00 |  |  |
| 14 | SB06D | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 110x50 mm (reduced ramification) | piece | 2.00 |  |  |
| 15 | SB06B | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 50 mm (bend 135’) | piece | 2.00 |  |  |
| 16 | SB06D | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 110 mm (bend 135’) | piece | 2.00 |  |  |
| 17 | SB06D | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 110 mm (bend) | piece | 1.00 |  |  |
| 18 | SB06B | The connecting piece (bend, cleaning piece, double sleeve, compensator for dilatation and reduction) from PVC pipe of light type, joined by gluing, with the diameter of 50 mm (bend) | piece | 6.00 |  |  |

|  | Total | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-4

Police office.

Heating

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | IB06A | Steel radiators, mono-blocks with the length up to 1000 mm inclusively (Vogel&Noot 22K 500-600) | piece | 5.00 |  |  |
| 2 | IB06A | Steel radiators, mono-blocks with the length up to 1000 mm inclusively (Vogel&Noot 22K 500-700) | piece | 3.00 |  |  |
| 3 | IB06A | Steel radiators, mono-blocks with the length up to 1000 mm inclusively (Vogel&Noot 22K 500-800) | piece | 14.00 |  |  |
| 4 | IB06A | Steel radiators, mono-blocks with the length up to 1000 mm inclusively (Vogel&Noot 22K 500-1000) | piece | 4.00 |  |  |
| 5 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1/2" (angle shut-off radiator valve ГЕРЦ-RL-5) | piece | 26.00 |  |  |
| 6 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1/2" (angle thermostatic valve ГЕРЦ-TS-90) | piece | 26.00 |  |  |
| 7 | ID06A | Airing tap with mobile key for central heating installations, having the nominal diameter 1/4" (thermostatic head ГЕРЦ-"МИНИ" с.9000) | piece | 26.00 |  |  |
| 8 | IC40A | Bracket for fixing the steel pipes for central heating or gas installation, assembled on gimlets of 1" inclusively, on PVC gimlets on brick walls (coupler for plastic pipes) | piece | 52.00 |  |  |
| 9 | IC35A | High density reinforced polyethylene or reinforced or non-reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 16x2 mm inclusively (metal-plastic PE-Xc/AI/-Xc ГЕРЦ) | m | 140.00 |  |  |
| 10 | IC35B | High density reinforced polyethylene or reinforced or non-reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 20x2 mm (metal-plastic PE-Xc/AI/-Xc ГЕРЦ) | m | 140.00 |  |  |
| 11 | IC35C | High density reinforced polyethylene or reinforced or non-reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 26x3 mm (metal-plastic PE-Xc/AI/-Xc ГЕРЦ) | m | 90.00 |  |  |
| 12 | IE03A | Performing the leakage test under pressure for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 3/8 " ... 1" | m | 370.00 |  |  |
| 13 | IE04A | Performing the dilatation - contracting test and the operation test for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 3/8 " ... 1" | m | 370.00 |  |  |
| 14 | RpIF09B | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and thickness from D=16x10 to D=26x10 mm (tubular thermal insulation 10 mm thick Ду16-26) | m | 370.00 |  |  |
| 15 | IC38H | The fitting piece, with 3 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter 26х16х26 mm (under-pressure pipe tee) | piece | 8.00 |  |  |
| 16 | IC38H | The fitting piece, with 3 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter 26х20х20 mm (under-pressure pipe tee) | piece | 4.00 |  |  |
| 17 | IC38G | The fitting piece, with 3 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter up to 20х16х20 mm, inclusively (under-pressure pipe tee) | piece | 22.00 |  |  |
| 18 | IC38G | The fitting piece, with 3 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter up to 20х16х16 mm, inclusively (under-pressure pipe tee) | piece | 12.00 |  |  |
| 19 | IC38H | The fitting piece, with 3 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter 26х16х20 mm (under-pressure pipe tee) | piece | 8.00 |  |  |
| 20 | IC38B | The fitting piece, with 2 joins, from combined polypropylene through poly-fusion with the pipe from reinforced polypropylene having the exterior diameter of 26 mm (offset pipe 90') | piece | 12.00 |  |  |

|  | Total | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-5

Police office. Ventilation.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Sanitary works |  |  |  |  |
| 1 | VB11B | Frame with fixed blinds, circular with perimeter 600 - 1200 mm, mounted on channel (protection grid AGO100) | piece | 2.00 |  |  |
| 2 |  | Collar clamp series Salda, AP 100 | piece | 2.00 |  |  |
| 3 |  | Collar clamp series Salda, AP 160 | piece | 2.00 |  |  |
| 4 | VB15B | Frame with simultaneously adjustable blinds, ready made with perimeter 800 - 2500 mm, mounted on channel (grid RAG150x200) | piece | 1.00 |  |  |
| 5 | VB15B | Frame with simultaneously adjustable blinds, ready made with perimeter 800 - 2500 mm, mounted on channel (plastic grid P150x150) | piece | 1.00 |  |  |
| 6 | VB15A | Frame with simultaneously adjustable blinds, ready made with perimeter 800 - 2500 mm, mounted on masonry (grid for door МВМ475х80) | piece | 1.00 |  |  |
| 7 | VA02E | Manufacturing and mounting the straight ventilation ducts, from galvanized steel or aluminum board of 0.3 - 2 mm thickness, having the perimeter of the circular section of 250 - 700 mm (circular air tubes) | m2 | 7.54 |  |  |
| 8 | VA02A | Manufacturing and mounting the straight ventilation ducts, from galvanized steel or aluminum board of 0.3 - 2 mm thickness, having the perimeter of the rectangular section of 250 - 700 mm (rectangular air tubes) | m2 | 3.60 |  |  |
| 9 | IC35A | High density reinforced polyethylene or reinforced or non-reinforced polypropylene pipe, mounted at the joints of heating devices or bodies, in central heating installations, with the external diameter up to 18.0 mm inclusively (PVC pipe D=20 mm) | m | 50.00 |  |  |
| 10 | VC34A | Production and installation of the anchoring and supporting device, for devices, channels , special parts etc. from profiled steel, having the weight up to 5 kg per piece (metal for fixing the air tubes) | kg | 10.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Social and health insurance | 27.50% |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Sanitary works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 11 | VC05B | Assembling the pivotal ventilators, with leaf pallets, in ventral anti-explosion constructions, of low pressures, both involved directly with coupling, with the flow 6.000-20.000 m3/h with electrical engine 0,77 - 5.5 kw (ventilators) | piece | 3.00 |  |  |
| 12 | VB18A | Noise apparatus, rectangular with the perimeter 1000 - 2000 mm (noise dumper AKS160-600) | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 13 |  | Heat exchanger. Ventilation system Prana DV series. Decentralized direct-flow (input -outlet) ventilation system. Heat recovery unit 200С L=235/220 m3/h N=0,087 кVt, 220V | piece | 4.00 |  |  |
| 14 |  | Heat exchanger. Ventilation system Prana DVS series. Decentralized direct-flow (input -outlet) ventilation system. Heat recovery unit 150С L=120/110 m3/hour N=0,087 кVt, 220V | piece | 6.00 |  |  |
| 15 |  | Ventilator VKA 160 LD | piece | 1.00 |  |  |
| 16 |  | Ventilator VKAS 100 MD | piece | 2.00 |  |  |
| 17 |  | Noise dumper AKS160-600 | piece | 1.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-6

Thermo-mechanics

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
| 1 | IA12B | Wall-type boiler for preparing the heating agent (hot water 90/70 degrees) , with the caloric power of 28 kw, installed directly on the wall | piece | 1.00 |  |  |
| 2 | IA38B | Circulation (re-circulation) pump mounted on the existing pipe, through flanges, with the diameter over 2" | piece | 1.00 |  |  |
| 3 | IA41A | Pressure reducing unit for central heating installations with connections of 50 mm (hydro-levelling device) | piece | 1.00 |  |  |
| 4 | IA23A | Liquid fuel filter | piece | 2.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Sanitary works |  |  |  |  |
| 5 | ID06A | Airing tap with mobile key for central heating installations, having the nominal diameter 15 mm (directly acting behind pressure valve with built-in check valve С 100С, Danfoss) | piece | 1.00 |  |  |
| 6 | ID04B | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 32 mm (full-opening ball-type tap) | piece | 4.00 |  |  |
| 7 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 25 mm (full-opening ball-type tap) | piece | 2.00 |  |  |
| 8 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 20 mm (full-opening ball-type tap) | piece | 4.00 |  |  |
| 9 | ID04B | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 32 mm (check valve for water) | piece | 1.00 |  |  |
| 10 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 15 mm (automated air-separator) | piece | 1.00 |  |  |
| 11 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 25 mm (full-opening draw-off ball-type tap) | piece | 1.00 |  |  |
| 12 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 1/2" -1" (drainage valve) | piece | 1.00 |  |  |
| 13 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 20 mm (shut-off valve ШТРЕМАКС, company "HERZ") | piece | 4.00 |  |  |
| 14 | ID04A | Passing or retaining tap with sleeves for central heating installations, having the nominal diameter 20 mm (straight balance valve ШТРЕМАКС-R, company "HERZ") | piece | 4.00 |  |  |
| 15 | IC13C | Longitudinally welded black steel pipe with fillet and sleeve assembled by being screwed to apparatus links in central heating installations, the pipe has the diameter 38x2.5 mm | m | 10.00 |  |  |
| 16 | IC13C | Longitudinally welded black steel pipe with fillet and sleeve assembled by being screwed to apparatus links in central heating installations, the pipe has the diameter 32x2.5 mm | m | 30.00 |  |  |
| 17 | IE03B | Performing the leakage test under pressure for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 1 1/4 " ... 2" | m | 40.00 |  |  |
| 18 | IE04B | Performing the dilatation - contracting test and the operation test for the conducts supplying the heating appliances (heaters, thermo-convectors, baseboard convectors, etc.) having a diameter of 1 1/4 " ... 2" | m | 40.00 |  |  |
| 19 | IC42A | Supporters and devices to support the tubes, boilers, appliances and recipients, with the weight up to 2 kg / piece | kg | 10.00 |  |  |
| 20 | IC46A | Distributor - collector for heating plants and points, mounted on ready-made supporter 65-100 mm (distribution manifold D 45x2.5 mm for 4 openings) | piece | 1.00 |  |  |
| 21 | RpIF09D | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and thickness from D=38x20 (heat-insulated pipe TL-38/20-DG-A (self-adhesive) “Tubolit” type) | m | 30.00 |  |  |
| 22 | RpIF09C | Insulating the pipes with special insulation collars, introduced on the pipes, with diameter and thickness from D=32x13 mm (heat-insulated pipe TL-32/13-DG-A (self-adhesive) “Tubolit” type) | m | 10.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Sanitary works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 23 |  | Gas wall boiler Q = 28 kW, with built-in weather-compensated automation with coaxial flue gas outlet, THERM 28 TCLN | piece | 1.00 |  |  |
| 24 |  | Circulating pump Q = 1.3 m3 / h, H = 4.5 m, WILO-TOP-S25 / 5 (1 standby pump in stock) | piece | 2.00 |  |  |
| 25 |  | Hydraulic separator of type I Dn 108 mm | piece | 1.00 |  |  |
| 26 |  | Mesh filter for water D 25mm | piece | 1.00 |  |  |
| 27 |  | Mesh filter for water D 32mm | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  | 0.00 |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-7

Gas supply.

Exterior pipes.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
| 1 | ID13B | Blocking clack with valves, installed on the gas pipes, having the nominal diameter 3/4" | piece | 2.00 |  |  |
| 2 | IA40A | Safety device against lack of gas-air with diameter 50 mm | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Sanitary works |  |  |  |  |
| 3 | ID10B | Tap with stopcock plug (cup) and connectors or plug with valves, with the body clogged with valves, for gas installations , having a nominal diameter of 20 mm (ball coupling valve) | piece | 2.00 |  |  |
| 4 | ID10A | Tap with stopcock plug (cup) and connectors or plug with valves, with the body clogged with valves, for gas installations , having a nominal diameter of 15 mm (valve-clock 11ч3бк) | piece | 1.00 |  |  |
| 5 | IC44A | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 20 mm | piece | 2.00 |  |  |
| 6 | IC42A | Supporters and devices to support the tubes, boilers, appliances and recipients, with the weight up to 2 kg / piece | kg | 4.90 |  |  |
| 7 | IC21A | Longitudinally welded black steel pipe, for installations, non-threaded, assembled by welding in columns, in gas installations for production buildings (industrial constructions), the pipe having a diameter of 15x2.8 mm | m | 0.50 |  |  |
| 8 | IC21A | Longitudinally welded black steel pipe, for installations, non-threaded, assembled by welding in columns, in gas installations for production buildings (industrial constructions), the pipe having a diameter of 20x2.8 mm | m | 23.00 |  |  |
| 9 | IC21B | Longitudinally welded black steel pipe, for installations, non-threaded, assembled by welding in columns, in gas installations for production buildings (industrial constructions), the pipe having a diameter of 25x3.2 mm | m | 10.00 |  |  |
| 10 | IE06A | Preliminary pressure verification of the mounted gas pipes, including of the taps, without meters and usage devices, diameter up to 1" | m | 33.50 |  |  |
| 11 | IE07A | Preliminary pressure verification of the mounted gas pipes, including of the taps, without meters and usage devices, the pipes having the diameter up to 1”, inclusively | m | 33.50 |  |  |
| 12 | CL20A | Ready-made ventilation grilles made of blackboard with manually adjustable blinds, painted and mounted in masonry (louver grid MVM/MBM 200x100) | piece | 1.00 |  |  |
| 13 | IzJ09B | Painting the board covering for the pipes and appliances with oil-based paints, in 2 layers, including the priming | m2 | 2.87 |  |  |
| 14 | AcE51A | Connection with the existing tube of steel pipes (with nozzle), with the diameter of the nozzle of 20/20 mm | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Sanitary works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 15 |  | Electromagnetic valve of gas type EVG/NC, D 20 mm | piece | 1.00 |  |  |
| 16 |  | Gas pollution sensor "Лелека-2” | piece | 1.00 |  |  |
| 17 |  | Thermostatic valve D 20 mm | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-8

Police office. Lighting installation, electrical lighting

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
| 1 | 08-03-573-4 | Suspended command box (switchboard), height, width, and depth, mm, up to (BZUM-TF) | piece | 1.00 |  |  |
| 2 | 08-03-575-1 | Device or appliance dismantled before transportation | piece | 4.00 |  |  |
| 3 | 08-01-054-1 | Power transformer, pressure up to 10 kV, mono-phase (ТТИ-А-150/5) | piece | 3.00 |  |  |
| 4 | 08-03-573-4 | Suspended command box (switchboard), height, width, and depth, power distribution frame ЩРН-П-36 | piece | 1.00 |  |  |
| 5 | 08-03-575-1 | Device or appliance dismantled before transportation | piece | 19.00 |  |  |
| 6 | 08-03-573-4 | Suspended command box (switchboard), height, width, and depth, power distribution frame ЩРН-П-12 | piece | 1.00 |  |  |
| 7 | 08-03-575-1 | Device or appliance dismantled before transportation | piece | 6.00 |  |  |
| 8 | 08-03-573-4 | Suspended command box (switchboard), height, width, and depth, power distribution frame ЩРН-П-18 | piece | 1.00 |  |  |
| 9 | 08-03-575-1 | Device or appliance dismantled before transportation | piece | 12.00 |  |  |
| 10 | 08-03-600-2 | Meters mounted on prepared support, with three phases (ZGМ 410 5А) | piece | 1.00 |  |  |
| 11 | 08-03-603-1 | Box with descending transformers (ЯТП-0,25-220/12) | piece | 4.00 |  |  |
| 12 | 08-03-530-4 | Magnetic starter of common destination, separated, mounted on the wall or column construction, electricity up to 40 A trigger ПРК | piece | 4.00 |  |  |
| 13 |  | Flexible inlet К1080У3 | piece | 3.00 |  |  |
| 14 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 PRBLUX/S 418 | 100 pieces | 0.52 |  |  |
| 15 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 OPL/S ECO 218 | 100 pieces | 0.27 |  |  |
| 16 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 (CD TTL 13 IP65) | 100 pieces | 0.03 |  |  |
| 17 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 (CD 218 IP65) | 100 pieces | 0.05 |  |  |
| 18 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 ARCTIC SAN/SMC 218 | 100 pieces | 0.02 |  |  |
| 19 | 08-03-594-1 | Light fitting with luminescent lamps mounted separately on pylons, quantity of lamps in the light fitting, 1 ВЗГ 100 | 100 pieces | 0.01 |  |  |
| 20 |  | Ceiling light PRBLUX/S 418 | piece | 52.00 |  |  |
| 21 |  | Ceiling light OPL/S ECO 218 | piece | 27.00 |  |  |
| 22 |  | Ceiling light with LED lamps IP65, CD LED 13 4000K | piece | 3.00 |  |  |
| 23 |  | Ceiling light CD 218 IP65 | piece | 5.00 |  |  |
| 24 |  | Ceiling light ARCTIC SAN/SMC 218 | piece | 2.00 |  |  |
| 25 |  | Flameproof light ВЗГ 100 | piece | 1.00 |  |  |
| 26 |  | Man-carried manual light СР-2 | piece | 1.00 |  |  |
| 27 |  | Incandescent lamp 220 V, 100 W, Б 220-235-100 | piece | 1.00 |  |  |
| 28 |  | Incandescent lamp 12 V, 40 W , МО12-40 | piece | 1.00 |  |  |
| 29 |  | Luminescent lamp ЛБ-18 | piece | 266.00 |  |  |
| 30 |  | Compact luminescent lamp PL-L18W | piece | 10.00 |  |  |
| 31 |  | Starter 80С-220 | piece | 81.00 |  |  |
| 32 |  | Remote control device for emergency lighting TELEMANDO | piece | 1.00 |  |  |
| 33 | 08-03-591-2 | Switcher with one flap, unburied type, in open installation Iн=6А, Uн=250В IP43 one flap | 100 pieces | 0.07 |  |  |
| 34 | 08-03-591-5 | Switcher with two flaps, unburied type, in open installation Iн=6А, Uн=250В IP43 two flaps | 100 pieces | 0.15 |  |  |
| 35 | 08-03-591-1 | Switcher with one flap, unburied, in open installation (splash-proof one-clap switcher) | 100 pieces | 0.05 |  |  |
| 36 | 08-03-591-9 | Plug socket with one flap, unburied, in closed installation (plug-typed socket Iн=16А 220В IP20) | 100 pieces | 0.83 |  |  |
| 37 | 08-03-591-9 | Plug socket with one flap, unburied, in closed installation (plug-typed socket Iн=16А 220В IP20 splash-proof) | 100 pieces | 0.01 |  |  |
| 38 |  | Box for installing the switchers and outlets | piece | 110.00 |  |  |
| 39 |  | Box for branching hidden wires | piece | 200.00 |  |  |
| 40 | 10-06-034-14 | Different works: Protection of cables with plastic gutters, on wooden or brick walls, duct-cable 25х16 | m | 150.00 |  |  |
| 41 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 20 mm PVC | 100 m | 10.00 |  |  |
| 42 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and laid cases, mass 1 m up to: 1 kg (ВВГнг-0,66 сеч. 3х1,5 мм2) | 100 m | 6.30 |  |  |
| 43 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and laid cases, mass 1 m up to: 1 kg (ВВГнг-0,66 сеч. 3х2,5 мм2) | 100 m | 8.50 |  |  |
| 44 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and laid cases, mass 1 m up to: 1 kg (ВВГнг-0,66 сеч. 4х1,5 мм2) | 100 m | 0.50 |  |  |
| 45 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and laid cases, mass 1 m up to: 1 kg (ВВГнг-0,66 сеч. 5х4 мм2) | 100 m | 0.20 |  |  |
| 46 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks, and laid cases, mass 1 m up to: 1 kg (ВВГнг-0,66 сеч. 5х6 мм2) | 100 m | 0.02 |  |  |
| 47 |  | Cable with copper conductor ВВГнг-0,66 3х1,5 мм2 | m | 630.00 |  |  |
| 48 |  | Cable with copper conductor ВВГнг-0,66 3х2,5 мм2 | m | 850.00 |  |  |
| 49 |  | Cable with copper conductor ВВГнг-0,66 4х1,5 мм2 | m | 50.00 |  |  |
| 50 |  | Cable with copper conductor ВВГнг-0,66 5х4 мм2 | m | 20.00 |  |  |
| 51 |  | Cable with copper conductor ВВГнг-0,66 5х6 мм2 | m | 2.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
| 52 |  | Metering cabinet “BZUM-TF” | piece | 1.00 |  |  |
| 53 |  | Automated switcher with independent releaser РН-47 | piece | 1.00 |  |  |
| 54 |  | Automated switcher with three poles ВА 88-33-3Р/С160 | piece | 1.00 |  |  |
| 55 |  | Automated switcher with three poles ВА47-29/3/В16 | piece | 1.00 |  |  |
| 56 |  | Voltage suppressor 400 В ОПС 1В-3Р | piece | 1.00 |  |  |
| 57 |  | Power transformer ТТИ-А-150/5 | piece | 3.00 |  |  |
| 58 |  | Box for installing 36 modules IP41, ЩРн-П-36 | piece | 1.00 |  |  |
| 59 |  | Automated switcher with three poles ВА47-29/3/С40 | piece | 1.00 |  |  |
| 60 |  | Automated switcher with three poles ВА47-29/3/С32 | piece | 1.00 |  |  |
| 61 |  | Automated switcher with three poles ВА47-29/3/С25 | piece | 1.00 |  |  |
| 62 |  | Automated switcher, one pole ВА47-29/1/С16 | piece | 6.00 |  |  |
| 63 |  | Automated switcher, one pole ВА47-29/1/В6 | piece | 2.00 |  |  |
| 64 |  | Automated switcher, one pole ВА47-29/1/С3 | piece | 7.00 |  |  |
| 65 |  | Two-poles differentiation automated device АД12/2/16/30 | piece | 1.00 |  |  |
| 66 |  | Box for installation of 12 modules, IP41, ЩРн-П-12 | piece | 1.00 |  |  |
| 67 |  | Automated switcher, three poles ВА47-29/3/С20 | piece | 1.00 |  |  |
| 68 |  | Automated switcher, one pole ВА47-29/1/В3 | piece | 4.00 |  |  |
| 69 |  | Two-poles differentiation automated device АД12/2/16/30 | piece | 1.00 |  |  |
| 70 |  | Box for installation of 18 modules, IP41, ЩРн-П-18 | piece | 1.00 |  |  |
| 71 |  | Automated switcher with three poles ВА47-29/3/С32 | piece | 1.00 |  |  |
| 72 |  | Automated switcher, one pole ВА47-29/1/С16 | piece | 6.00 |  |  |
| 73 |  | Automated switcher with one pole ВА47-29/1/С6 | piece | 3.00 |  |  |
| 74 |  | Automated switcher, one pole ВА47-29/1/С3 | piece | 2.00 |  |  |
| 75 |  | Electrical meter ZGМ 410 5А | piece | 1.00 |  |  |
| 76 |  | Manual button-type starter ПРК32-25 | piece | 1.00 |  |  |
| 77 |  | Manual button-type starter ПРК32-4 | piece | 1.00 |  |  |
| 78 |  | Manual button-type starter ПРК32-1,6 | piece | 2.00 |  |  |
| 79 |  | Control button STOP SB-7 | piece | 1.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |
|  |  |  | Including salary |  |  |  | 0.00 |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-9

Police office. Installing the computers’ network

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
| 1 |  | Computer and telephone networks |
| 2 | 10-06-037-05 | Boxes, boards with doses for installations through pipes: wall-type box, size, mm, up to: 640х840 (box 19" 15U) | piece | 1.00 |  |  |
| 3 |  | Media Converter Optic to IP* | piece | 1.00 |  |  |
| 4 |  | MG6024N VoIP GATEWAY (IP PBX) | piece | 1.00 |  |  |
| 5 |  | Router MikroTik Hap | piece | 3.00 |  |  |
| 6 | 10-03-013-05 | Central unit’s equipment: service telecommunication box switch (switch 16 port Gigabits) | piece | 1.00 |  |  |
| 7 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (8 patch panel cat. 5e 1U) | piece | 1.00 |  |  |
| 8 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (16 patch panel cat. 5e 1U) | piece | 1.00 |  |  |
| 9 | 08-01-083-1 | Blocking - signaling device (SMART-UPS, 1500VA) | piece | 1.00 |  |  |
| 10 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (ventilation panel 1U) | piece | 1.00 |  |  |
| 11 | 08-03-591-8 | Switcher with one flap, unburied, in open installation (socket 2Rj-45) | 100 pieces | 0.06 |  |  |
| 12 | 08-03-591-8 | Switcher with one flap, unburied, in open installation (socket Rj-45) | 100 pieces | 0.02 |  |  |
| 13 | 08-03-591-8 | Switcher with one flap, unburied, in open installation (telephone socket Rj-45) | 100 pieces | 0.08 |  |  |
| 14 |  | External frame RJ-45 single-based | piece | 10.00 |  |  |
| 15 |  | External frame RJ-45 double-based | piece | 6.00 |  |  |
| 16 | 10-02-030-01 | System-based telephone device "ЦБ" or "АТС": table-type (telephone device Panasonic) | piece | 13.00 |  |  |
| 17 | 10-04-066-04 | Wall appliances: Cable doses for connection or ramification (fitting box diam. D 50 mm "Евродоза") | piece | 22.00 |  |  |
| 18 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall: bricks (cable UTP cat. 3) | 100 m | 6.40 |  |  |
| 19 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall: bricks (cable UTP cat. 5e) | 100 m | 3.85 |  |  |
| 20 |  | Telephone cable, UTP category 3 | m | 640.00 |  |  |
| 21 |  | Telephone cable, UTP category 5е | m | 385.00 |  |  |
| 22 |  | Patch-cord UTP category 5е 0.5 m | piece | 3.00 |  |  |
| 23 |  | Patch-cord UTP category 5е 1.5 m | piece | 22.00 |  |  |
| 24 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 25 mm, corrugated PVC pipe 25 mm | 100 m | 9.40 |  |  |
| 25 | 08-02-410-2 | Polyethylene pipe on the floor stand, diameter up to 40 mm PVC pipe 40 mm | 100 m | 0.10 |  |  |
| 26 | 08-02-407-8 | Steel pipe on installed constructions in plaster ditches, executed on floor stand, diameter up to 50 mm (steel pipe) sleeves | 100 m | 0.05 |  |  |
| 27 |  | Wall-type fitting box У210 | piece | 15.00 |  |  |
| 28 |  | Earthing kit TE | piece | 2.00 |  |  |
| 29 | 08-01-087-3 | Metallic constructions under the equipment (metal) | t | 0.002 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
| 30 |  | Locker 19" 15U | piece | 1.00 |  |  |
| 31 |  | Switch 16 port Gigabits | piece | 1.00 |  |  |
| 32 |  | Patch panel with 8 ports, category 5e, 1U | piece | 1.00 |  |  |
| 33 |  | Patch panel with 16 ports, category 5e, 1U | piece | 1.00 |  |  |
| 34 |  | Network filters of 5 outlets 19” | piece | 1.00 |  |  |
| 35 |  | SMART-UPS | piece | 1.00 |  |  |
| 36 |  | Ventilation panel 1U | piece | 1.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-10

Police office. Anti-fire warning.

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
|  |  | 1.1. Automated fire alarm |
| 1 | 10-08-001-06 | Receiver-devices Reception and control devices “ПС”, warning devices Concentrator: main block for 10 flashes (switch and control board С2000 М) | piece | 1.00 |  |  |
| 2 | 10-08-001-02 | Receiver-devices Reception and control devices “ПС”, for starting. Concentrator: main block for 10 flashes (Signal-10 М) | piece | 1.00 |  |  |
| 3 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (relay unit С2000-СП1) | piece | 1.00 |  |  |
| 4 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (indication block С2000 БИ) | piece | 1.00 |  |  |
| 5 | 10-08-001-01 | Receiver-devices Reception and control devices “ПС”, for starting. Concentrator: main block for 8 flashes (receiving-controlling device С2000-КДЛ) | piece | 1.00 |  |  |
| 6 |  | Telephone communicator С 2000 ИТ | piece | 1.00 |  |  |
| 7 | 10-08-002-03 | Automated alarms “ПС”: thermal, smoke, light in explosion-protected execution (fire and heat alarm ИП 114-5-А2) | piece | 3.00 |  |  |
| 8 | 10-08-002-03 | Automated alarms “ПС”: thermal, smoke, light in explosion-protected execution (fire and smoke alarm ИП 212-3СУ) | piece | 37.00 |  |  |
| 9 | 10-08-002-04 | Automated alarms “OC” : contact, magnetic contact when opening the windows, doors, (manual fire alarm ИПР 3СУ) | piece | 7.00 |  |  |
| 10 | 10-08-002-03 | Automated alarms “ПС”: thermal, smoke, light in explosion-protected execution (sound and light alarm for external installation "Свирель 2”) | piece | 1.00 |  |  |
| 11 | 10-08-003-09 | Electrical optical - (photo) devices: adjustable reflector (alarm of internal installation) | piece | 4.00 |  |  |
| 12 | 08-01-101-2 | Converter, mass up to 0.25 t (РИП-12-3А-17А/ч) | piece | 1.00 |  |  |
| 13 | 08-01-121-1 | Stationary acid battery, type: С-1, СК-1 (battery 12В, 18А/ч) | piece | 2.00 |  |  |
| 14 | 10-08-019-01 | Difference appliances with electrical-clock-display: ramification box on the wall (box for the battery 18 А*ч - 12В) | piece | 1.00 |  |  |
| 15 | 08-03-573-4 | Suspended command box (switchboard), fitting box 600х400х240 mm | piece | 1.00 |  |  |
| 16 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall: bricks (two-wire communication line cable 1х2х0,75 КПСВВнг-FRLS) | 100 m | 6.30 |  |  |
| 17 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall: bricks (two-wire communication line cable 1х2х0,75 ШВВПнг-FRLS) | 100 m | 1.05 |  |  |
| 18 |  | Two-wire communication line cable 1х2х0,75 КПСВВнг-FRLS | m | 630.00 |  |  |
| 19 |  | Two-wire communication line cable 1х2х0,75 ШВВПнг-FRLS | m | 105.00 |  |  |
| 20 |  | Junction box | piece | 15.00 |  |  |
| 21 | 08-02-410-2 | Polyethylene pipe on the floor stand, diameter up to 40 mm PVC pipe 40 mm | 100 m | 0.10 |  |  |
| 22 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 25 mm PVC | 100 m | 7.30 |  |  |
| 23 | 08-02-407-8 | Steel pipe on installed constructions in plaster ditches, executed on floor stand, diameter up to 50 mm (steel pipe) sleeves | 100 m | 0.02 |  |  |
| 24 | 08-01-087-3 | Metallic constructions under the equipment (metal products) | t | 0.001 |  |  |
| 25 | 10-06-034-14 | Different works: Protection of cables with plastic gutters, on wooden or brick walls (metal chute for cable protection) | m | 20.00 |  |  |
|  |  |  | Total Automated fire alarm |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.2. Equipment for security alarm system |
| 26 | 10-08-001-06 | Receiver-devices Reception and control devices “ПС”, warning devices Concentrator: main block for 10 flashes (reception-control security device for 10 areas Signal 10) | piece | 1.00 |  |  |
| 27 | 10-08-001-01 | Receiver-devices Reception and control devices “ПС”, for starting. Concentrator: main block for 8 flashes (receiving-controlling device С2000-КДЛ) | piece | 1.00 |  |  |
| 28 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (relay unit С2000-СП1) | piece | 1.00 |  |  |
| 29 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (indication block С2000 БИ) | piece | 1.00 |  |  |
| 30 | 08-01-101-2 | Converter, mass up to 0.25 t backup power supply 12B | piece | 1.00 |  |  |
| 31 | 08-01-121-1 | Stationary acid battery, type: С-1, СК-1 (battery 12В, 18А/ч) | piece | 2.00 |  |  |
| 32 | 10-08-019-01 | Difference appliances with electrical-clock-display: ramification box on the wall (box for the battery 18 А*ч - 12В) | piece | 1.00 |  |  |
| 33 | 08-03-573-4 | Suspended command box (switchboard), fitting box 600х400х240 mm | piece | 1.00 |  |  |
| 34 | 10-08-002-04 | Automated alarms “OC” : contact, magnetic contact when opening the windows, doors, (motion sensor IS-215) | piece | 12.00 |  |  |
| 35 | 10-08-002-05 | Automated alarms “OC”: of contact - hitting, without contact electro-magnetic or piezoelectric, installed on glass (glass integrity detector GBS-210) | piece | 12.00 |  |  |
| 36 | 10-08-002-01 | Automated alarms "ПС”: thermal electro-contact, magnetic contact in normal execution (small magneto-contact sensor TANE) | piece | 12.00 |  |  |
| 37 | 10-08-003-01 | Capacity-based warning device (light and sound alarm of internal installation) | piece | 1.00 |  |  |
| 38 | 10-08-003-01 | Capacity-based warning device (light and sound alarm of external installation) | piece | 1.00 |  |  |
| 39 | 11-03-001-01 | Devices installed on metal constructions, panels, and switchboards: device, mass, kg, up to: 5 (keyboard С2000 К) | piece | 1.00 |  |  |
| 40 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall: bricks (two-wire communication line cable 1х2х0,75 ШВВПнг-FRLS) | 100 m | 0.35 |  |  |
| 41 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall of bricks (shielded cable 6х0,22) | 100 m | 5.70 |  |  |
| 42 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the wall of bricks (shielded cable 8х0,22) | 100 m | 0.30 |  |  |
| 43 |  | Two-wire communication line cable 1х2х0,75 ШВВПнг-FRLS | m | 35.00 |  |  |
| 44 |  | Shielded cable, capacity 6х0,22 CORэ | m | 570.00 |  |  |
| 45 |  | Shielded cable, capacity 8х0,22 CORэ | m | 30.00 |  |  |
| 46 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 25 mm PVC | 100 m | 6.00 |  |  |
| 47 | 10-06-034-14 | Different works: Protection of cables with plastic gutters, on wooden or brick walls (metal chute for cable protection) | m | 20.00 |  |  |
| 48 | 08-01-087-3 | Metallic constructions under the equipment (metal products) | t | 0.001 |  |  |
|  |  |  | Total Equipment for security alarm system |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
| 49 |  | Fire warning system |
| 50 |  | Fire control device С2000М | piece | 1.00 |  |  |
| 51 |  | Receiver-control device Signal-10 | piece | 1.00 |  |  |
| 52 |  | Relay block С2000-СП1 | piece | 1.00 |  |  |
| 53 |  | Indication block С 2000 БИ | piece | 1.00 |  |  |
| 54 |  | Receiver-control device С 2000-КДЛ | piece | 1.00 |  |  |
| 55 |  | Fire and heat detector ИП 114-5--А2 | piece | 3.00 |  |  |
| 56 |  | Fire and smoke detector ИП 212-3СУ | piece | 37.00 |  |  |
| 57 |  | Manual fire alarm ИПР-3СУ | piece | 7.00 |  |  |
| 58 |  | Sound and light alarm of external installation | piece | 1.00 |  |  |
| 59 |  | Alarm of internal installation Siren PS 40 | piece | 4.00 |  |  |
| 60 |  | Backup power supply 12B | piece | 1.00 |  |  |
| 61 |  | Battery 12В, 18А/ч | piece | 2.00 |  |  |
| 62 |  | Battery block 18 А*ч - 12В | piece | 1.00 |  |  |
| 63 |  | Fitting box 600х400х240 mm | piece | 1.00 |  |  |
| 64 |  | Resistor С2-33Н-0,25-1.5 кОм | piece | 10.00 |  |  |
| 65 |  | Equipment for security alarm system |
| 66 |  | Receiver-control device Signal-10 | piece | 1.00 |  |  |
| 67 |  | Receiver-control device С 2000-КДЛ | piece | 1.00 |  |  |
| 68 |  | Relay block С2000-СП1 | piece | 1.00 |  |  |
| 69 |  | Indication block С 2000 БИ | piece | 1.00 |  |  |
| 70 |  | Backup power supply 12B | piece | 1.00 |  |  |
| 71 |  | Battery 12В, 18А/ч | piece | 2.00 |  |  |
| 72 |  | Battery block 18 А*ч - 12В | piece | 1.00 |  |  |
| 73 |  | Fitting box 600х400х240 mm | piece | 1.00 |  |  |
| 74 |  | Motion sensor IS-215 | piece | 12.00 |  |  |
| 75 |  | Glass integrity detector GBS-210 | piece | 12.00 |  |  |
| 76 |  | Small magneto-contact sensor TANE | piece | 12.00 |  |  |
| 77 |  | Sound and light alarm of external installation | piece | 1.00 |  |  |
| 78 |  | Sound and light alarm of internal installation | piece | 1.00 |  |  |
| 79 |  | Keyboard С 2000-К | piece | 1.00 |  |  |
| 80 |  | Resistor С2-33Н-0,25-1.5 кОм | piece | 10.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 2-1-11

Police office. Video guard system

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Mounting works |  |  |  |  |
| 1 | 10-04-067-21 | Color television device: video recorder (video intercom monitor) | piece | 1.00 |  |  |
| 2 | 10-08-001-01 | Receiver-devices Reception and control devices “ПС”, for starting. Concentrator: main block for 10 flashes, operating panel of the video intercom monitor (with built-in video recorder) | piece | 1.00 |  |  |
| 3 | 10-04-101-10 | Subscription equipment and diverse devices: Panel key or button (exit button D-824) | piece | 1.00 |  |  |
| 4 | 10-08-002-01 | Automated alarms "ПС”: thermal electro-contact, magnetic contact in normal execution (magneto-contact detector of door position) | piece | 1.00 |  |  |
| 5 | 08-01-101-2 | Converter, mass up to 0.25 t backup power supply РИП | piece | 1.00 |  |  |
| 6 | 10-08-001-06 | Receiver-devices Reception and control devices “ПС”, warning devices Concentrator: main block for 10 flashes (access controller С2000-2) | piece | 1.00 |  |  |
| 7 | 10-08-001-06 | Receiver-devices Reception and control devices “ПС”, warning devices Concentrator: main block for 10 flashes (controller of two-wires communication line С2000-КДЛ) | piece | 1.00 |  |  |
| 8 | 08-01-101-2 | Converter, mass up to 0.25 t (power block СКАТ-1200Д) | piece | 2.00 |  |  |
| 9 | 10-04-112-01 | Telecommunication and warning: Commutation case or board for telecommunication and warning on the wall or in the corbel, pair quantity: up to 20 (metal case КБ) | piece | 1.00 |  |  |
| 10 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on bricks wall (КПСВЭВ 1х2х0,5) | 100 m | 0.05 |  |  |
| 11 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on bricks wall (КПСВЭВ 2х2х0,5) | 100 m | 0.10 |  |  |
| 12 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on bricks wall (КПСВЭВ 2х2х1,5) | 100 m | 0.15 |  |  |
| 13 | 10-01-055-02 | Placing the cable and conductor on walls: Cable, mass 1 m up to 1 kg, on the bricks wall (computer FTP-T-5E) | 100 m | 0.20 |  |  |
| 14 |  | Cable КПСВЭВ 1х2х0,5 | m | 5.00 |  |  |
| 15 |  | Cable КПСВЭВ 2х2х0,5 | m | 10.00 |  |  |
| 16 |  | Cable КПСВЭВ 2х2х1,5 | m | 15.00 |  |  |
| 17 |  | Computer cable FTP-T-5E | m | 20.00 |  |  |
| 18 | 08-02-410-1 | Polyethylene pipe on the floor stand, diameter up to 25 mm (corrugated PVC) | 100 m | 8.20 |  |  |
| 19 | 08-01-087-3 | Metallic constructions under the equipment | t | 0.002 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
| 20 |  | Video intercom monitor DPV-4MT | piece | 1.00 |  |  |
| 21 |  | Call panel of the video intercom (with built-in video camera) | piece | 1.00 |  |  |
| 22 |  | Electronic identified reader Touch Memory Считыватель-2 | piece | 2.00 |  |  |
| 23 |  | Exit button D-824 | piece | 1.00 |  |  |
| 24 |  | Electro-magnetic lock | piece | 2.00 |  |  |
| 25 |  | Door closer TS-72 "Dorma” | piece | 1.00 |  |  |
| 26 |  | Magneto-contact detector of door position | piece | 1.00 |  |  |
| 27 |  | Backup power supply РИП | piece | 1.00 |  |  |
| 28 |  | Access controller С2000-2 | piece | 1.00 |  |  |
| 29 |  | Controller of two-wires communication line С2000-КДЛ | piece | 1.00 |  |  |
| 30 |  | Power block with batteries СКАТ-1200Д | piece | 2.00 |  |  |
| 31 |  | Metal case 50х40х20 КБ | piece | 1.00 |  |  |
| 32 |  | Personal computer with software | piece | 1.00 |  |  |
| 33 |  | Access card | piece | 20.00 |  |  |
|  |  | Direct expenses | USD |  |  |  |
|  |  | Preparing and storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 6-1

External networks for water supply

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Installing the networks |  |  |  |  |
| 1 | TsC03B1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading on the field storage of cat. II. | 100 m3 | 1.22 |  |  |
| 2 | TsA20B | Manual digging of land, in breakers, with canal embankment dug with the excavator or scraper for completing the cutting slopers, in middle ground | m3 | 3.80 |  |  |
| 3 | TsD02A1 | Spreading the loose land coming from the fields of category I and II, executed with caterpillar tractor-based bulldozer 65-80 CP, in layers with thickness of 15-20 cm | 100 m3 | 0.76 |  |  |
| 4 | TsD05A | Compacting with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from non-cohesive ground | 100 m3 | 0.76 |  |  |
| 5 | TsD01B | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from the middle ground | m3 | 19.00 |  |  |
| 6 | TsD04B | Compacting with manual knocker of the embankments in horizontal of inclined digs to 1/4, including watering every layer of land separately, with the thickness of 10 cm of cohesive ground | m3 | 19.00 |  |  |
| 7 | AcF03A | Fillings in the trenches of the pipes for water supply or sewerage, as substrate, protection layer, insulating layer or filtering layer for the drainage tubes, made with sand | m3 | 29.30 |  |  |
| 8 | AcE10A | Executing the manholes from the reinforced concrete pre-manufactured elements, for circular (ting-type) water supply, with diameter of 1,0 m, in the field without underground water | m3 | 0.67 |  |  |
| 9 | AcE10A1 | Reinforced concrete pre-manufactured elements of the manholes, circular (ring-type) with diameter of 1,0 m, for water supply, in the field without underground water. Note: the resource with the standard 0.00 (zero) is taken according to the design | piece | 1.00 |  |  |
| 10 | IC44B | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 75 mm (crossing collar) | piece | 2.00 |  |  |
| 11 | IC44A | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 40 mm (crossing collar) | piece | 1.00 |  |  |
| 12 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 20 mm (ball-type tap) | piece | 2.00 |  |  |
| 13 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 15 mm (shut-off sleeved faucet) | piece | 1.00 |  |  |
| 14 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 15 mm (drainage ball-type tap) | piece | 1.00 |  |  |
| 15 | AcA25A | Assembling through electrical welding of the linking pieces from steel, in a certain position, with the diameter of 15x15 mm (T-bend) | piece | 1.00 |  |  |
| 16 | AcA53A | Assembling the fittings through electro-fusion. Combining through electro-fusion welding the pipes and the polyethylene fittings (reduced sleeves), the pipes having the diameter 40x25 mm. Note: the type of polyethylene fittings (reduced sleeves) shall be included according to the design | piece | 1.00 |  |  |
| 17 | AcA53A | Assembling the fittings through electro-fusion. Combining through electro-fusion welding the pipes and the polyethylene fittings (reduced sleeves), the pipes having the diameter 25x20 mm. Note: the type of polyethylene fittings (reduced sleeves) shall be included according to the design | piece | 1.00 |  |  |
| 18 | AcA53A | Assembling the fittings through electro-fusion. Combining through electro-fusion welding the pipes and the polyethylene fittings (connector with flange), the pipes having the diameter 50 mm. Note: the type of polyethylene fittings (connector with flange) shall be included according to the design | piece | 3.00 |  |  |
| 19 | AcA25A | Assembling through electrical welding of the linking pieces from steel, in a certain position, with the diameter of 50x50 mm (T-bend) | piece | 1.00 |  |  |
| 20 | AcA53A | Assembling the fittings through electro-fusion. Combining through electro-fusion welding the pipes and the polyethylene fittings (reduced sleeves), the pipes having the diameter 50x32 mm. Note: the type of polyethylene fittings (reduced sleeves) shall be included according to the design | piece | 1.00 |  |  |
| 21 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 32 mm (ball-type tap) | piece | 1.00 |  |  |
| 22 | AcA26A | Combining the flanges of the linking pieces, flanges, including the blind flanges and fittings, with the diameter 50 mm (welding flange) | piece | 3.00 |  |  |
| 23 | AcA25B | Assembling through electrical welding of the linking pieces from steel, in a certain position, with the diameter of 150x100 mm (T-bend) | piece | 1.00 |  |  |
| 24 | AcA25B | Assembling through electrical welding of the linking pieces from steel, in a certain position, with the diameter of 150 mm (compensator-connector for dismantling) | piece | 1.00 |  |  |
| 25 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 50 mm (ladder with rubberized top 30ч39р) | piece | 1.00 |  |  |
| 26 | AcB01B | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 150 mm (ladder with rubberized top 30ч39р) | piece | 1.00 |  |  |
| 27 | AcA24A | Joining with sleeves the connecting the cast iron elements or fittings at the pressure pipes, having the diameter of 100 mm (cast iron bend with a leg and flanges PN10) | piece | 1.00 |  |  |
| 28 | AcA26B | Combining the flanges of the linking pieces, flanges, including the blind flanges and fittings, with the diameter 150 mm (welding flange) | piece | 2.00 |  |  |
| 29 | AcA26A | Combining the flanges of the linking pieces, flanges, including the blind flanges and fittings, with the diameter 100 mm (welding flange) | piece | 1.00 |  |  |
| 30 | RpAcH12A | Manual cleaning from wet mud of the clearing devices, cleaning from sand, executed in narrow spaces, of 1-2 m width and deepness of up to 2 m | m3 | 1.40 |  |  |
| 31 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 50x2.9 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6) | m | 92.00 |  |  |
| 32 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 40x2.3 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6) | m | 60.00 |  |  |
| 33 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 25x2.0 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6) | m | 4.40 |  |  |
| 34 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 20x2.0 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6) | m | 6.00 |  |  |
| 35 | AcF11C | Washing the PVC, cast iron, asbestos-cement, polyethylene, etc. pipes 20-75 mm, for drinking water, after assembling and joining them, before reception | m | 162.40 |  |  |
| 36 | AcF12A | The pressure-test for the polyethylene pipes mounted in channels for the water and sewerage supply, with diameter up to 100 mm | m | 162.40 |  |  |
| 37 | GA08A | Protection tube for the steel pipe, mounted in the ditch, when crossing the roads, for the protection of the pipe, the tube having the Dn 219x5 mm | m | 0.40 |  |  |
| 38 | DI118 | Mechanized scrapping of the coating of broken stone | m3 | 5.10 |  |  |
| 39 | Dl109 | Mechanized scrapping of the asphalt concrete coating | m3 | 4.70 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Installing the networks |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 40 | SE58A | Meters for hot and cold water, having the diameter - 15 mm | piece | 1.00 |  |  |
| 41 | SE56A | Filter for drinking water, with threaded sleeves to be installed on the pipe, with the diameter 20mm | piece | 1.00 |  |  |
| 42 | AcB06B | Assembling over-ground fire hydrants on the existing position, (underground hydrant) | piece | 1.00 |  |  |
| 43 | AcB01B | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 150 mm (connector with flanges with two rooms for the asbestos-cement pipes HAWLE) | piece | 2.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 44 |  | Water meter Dn15 mm class ‘C’ anti-magnetic | piece | 1.00 |  |  |
| 45 |  | Mesh filter Dn 20 mm | piece | 1.00 |  |  |
| 46 |  | Underground hydrant PN10 Dn100, H=1,0m | piece | 1.00 |  |  |
| 47 |  | Connector with flange with two rooms for asbestos-cement pipes Dn150, HAWLE | piece | 2.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 6-2

External networks for sewerage supply

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Installing the networks |  |  |  |  |
| 1 | TsC03B1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading on the field storage of cat. II. | 100 m3 | 0.64 |  |  |
| 2 | TsA20B | Manual digging of land, in breakers, with canal embankment dug with the excavator or scraper for completing the cutting slopers, in middle ground | m3 | 2.00 |  |  |
| 3 | TsD02A1 | Spreading the loose land coming from the fields of category I and II, executed with caterpillar tractor-based bulldozer 65-80 CP, in layers with thickness of 15-20 cm | 100 m3 | 0.40 |  |  |
| 4 | TsD05A | Compacting with the mechanical knocker of 150-200 kg filling in the successive layers of 20-30 cm thickness, excluding the watering of every layer separately, the earth fillings being executed from non-cohesive ground | 100 m3 | 0.40 |  |  |
| 5 | TsD01B | Spreading with the shovel of light earth in uniform layers, 10-30 cm thick, with a throw of up to 3 m of piles , including smashing of earth bolls from the middle ground | m3 | 10.10 |  |  |
| 6 | TsD04B | Compacting with manual knocker of the embankments in horizontal of inclined digs to 1/4, including watering every layer of land separately, with the thickness of 10 cm of cohesive ground | m3 | 10.10 |  |  |
| 7 | AcF03A | Fillings in the trenches of the pipes for water supply or sewerage, as substrate, protection layer, insulating layer or filtering layer for the drainage tubes, made with sand | m3 | 15.10 |  |  |
| 8 | SB08E | Plastic sewer pipe , combined with rubber case, surface-mounted or buried under the floor, having a diameter of 90 mm (PP polypropylene) | m | 6.00 |  |  |
| 9 | SB09E | The connecting piece from plastic for sewerage, combined with rubber case, having a diameter of 90 mm (equal T-bend PP 45') | piece | 1.00 |  |  |
| 10 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 40x2.3 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6 PN6) | m | 84.00 |  |  |
| 11 | AcA53A | Assembling the fittings through electro-fusion. Combining through electro-fusion welding the pipes and the polyethylene fittings (compressor bend), the pipes having the diameter 40 mm. Note: the type of polyethylene fittings (compressor bend) shall be included according to the design | piece | 1.00 |  |  |
| 12 | RpAcH12A | Manual cleaning from wet mud of the clearing devices, cleaning from sand, executed in narrow spaces, of 1-2 m width and deepness of up to 2 m | m3 | 1.40 |  |  |
| 13 | Dl109 | Mechanized scrapping of the asphalt concrete coating | m3 | 1.00 |  |  |
| 14 |  | Pumping |  |  |  |  |
| 15 | AcE13A | Executing the manholes from the reinforced concrete pre-manufactured elements, for sewerage, circular (ring-type) with diameter of 1,0 m, in the field without underground water | m3 | 0.67 |  |  |
| 16 | AcE13A1 | Reinforced concrete pre-manufactured elements of the manholes, circular (ring-type) with diameter of 1,0 m, for sewerage, in the field without underground water. Note: the resource with the standard 0.00 (zero) is taken according to the design | piece | 1.00 |  |  |
| 17 | TsC54B | Foundation layer from crushed stone | m3 | 0.11 |  |  |
| 18 | CA02C | Simple concrete poured in equalization, slabs at the height of 35m inclusively, prepared with the concrete plant according to art. CA01 or concrete-commodity, poured with classical means B3,5 | m3 | 0.11 |  |  |
| 19 | CG01A | Supporting layer for flooring executed from cement mortar M 150-T of 3 cm thickness with delicately smoothed face | m2 | 1.10 |  |  |
| 20 | CG01A | Supporting layer for flooring executed from cement mortar M 150-T of 3 cm thickness with delicately smoothed face | m2 | 0.78 |  |  |
| 21 | IzF04F k=2 | Waterproof layer made in hot conditions for the terraces, roofs or foundations and slabs, in fields without groundwater, including moldings and valleys from the current waterproofing protection on horizontal or inclined surfaces up to 40% or vertical ones, flat or curved , with bitumen putty or bitumen with rubber adds, applied with the brush or rubber plate (wall plate) 2 layers | m2 | 6.60 |  |  |
| 22 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 40 mm (ball-type tap with grip) | piece | 1.00 |  |  |
| 23 | AcB01A | Assembling the fitting with manual or mechanic triggering (valves, taps, faucets) on the water supply or sewerage pipes, with the diameter 40 mm (anti-reflective flap) | piece | 1.00 |  |  |
| 24 | IC44B | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 90 mm (crossing sleeve) | piece | 1.00 |  |  |
| 25 | IC44A | Manufacturing, mounting, and cementing the protection pipe when the pipes go through the walls, the pipe having the diameter 40 mm (crossing collar) | piece | 1.00 |  |  |
| 26 | AcA52A | Polyethylene pipe for water supply tubes, mounted in ditch, with diameter 40x2.3 mm. Note: the type of the polyethylene pipe and of the warning strap will be included according to the design (PE80 SDR17,6 PN6) | m | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Installing the networks |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Mounting works |  |  |  |  |
| 27 | 07-04-030-01 | Artesian pump, with submersible electric engine, "1ЭЦВ6-4-130” brand | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Health insurance | 27.50% |  |  |  |
|  |  | Transport | % |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Mounting works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 3. Equipment |  |  |  |  |
| 28 |  | Submersible pump FEKA 700 "DAB" Q=2,4m3/h, H=9,0m, N=0,6kw | piece | 1.00 |  |  |
|  |  | Total | USD |  |  |  |
|  |  | Procurement - storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 7-1

Planning the territory within the area

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |  |  |
|  |  | 1.1. Foot-passengers pavement from concrete plates B1 |  |  |  |  |
| 1 | DA04B | Mechanically scarified the road platform, with an autogreder, at the necessary depth, but at least 5 cm, with crushed stone surface with depth of the material in the scroll or cord | 100 m3 | 0.36 |  |  |
| 2 | TsC03F1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading in motor-cars, land cat. II. | 100 m3 | 0.36 |  |  |
| 3 | TsI50A5 | Transportation of the ground with the dumper of 5 t at a distance of 5 km | t | 57.40 |  |  |
| 4 | TsC51B | Works for unloading the soil in the storage, field category II | 100 m3 | 0.36 |  |  |
| 5 | DA06B2 | Layer of natural cylinder aggregates, having the function of filtering resistance, insulation, ventilation, anti-capillary, with manual coverage, with sand | m3 | 17.08 |  |  |
| 6 | DE17A | Pavement made of precast concrete paving slabs, th. 6 cm, laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 5 cm thick layer | m2 | 170.80 |  |  |
| 7 | DE11A | Small edging, precast from concrete with section of 10x15 cm, for framing green spaces, sidewalks, alleys, etc., placed on a concrete foundation (БР 100.20.8) | m | 60.00 |  |  |
|  |  |  | Total Foot-passengers pavement from concrete plates B1 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.2. Pavement for cars B2 |  |  |  |  |
| 8 | DA04B | Mechanically scarified the road platform, with an autogreder, at the necessary depth, but at least 5 cm, with crushed stone surface with depth of the material in the scroll or cord | 100 m3 | 0.72 |  |  |
| 9 | TsC03F1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading in motor-cars, land cat. II. | 100 m3 | 0.72 |  |  |
| 10 | TsI50A5 | Transportation of the ground with the dumper of 5 t at a distance of 5 km | t | 114.79 |  |  |
| 11 | TsC51B | Works for unloading the soil in the storage, field category II | 100 m3 | 0.72 |  |  |
| 12 | DA06B2 | Layer of natural cylinder aggregates, having the function of filtering resistance, insulation, ventilation, anti-capillary, with manual coverage, with sand | m3 | 22.42 |  |  |
| 13 | Dl134 k=1,2 | Mechanized placement of the road clothing from broken stone using the method of wedging in one layer H=15 cm (H=18cm) Labor efforts coefficient = 1.20 Materials coefficient = 1.20 Machinery coefficient = 1.20 | 100 m2 | 2.24 |  |  |
| 14 | DB16H | Asphalt concrete covering with small aggregates, executed in hot conditions, in thickness of 4.0 cm with mechanical laying | m2 | 224.20 |  |  |
| 15 | DE10A | Pre-manufactured concrete borders, for pavements 20x25 cm, on concrete foundation 30x15 cm (БР100.30.15) | m | 59.00 |  |  |
| 16 | DE10A | Pre-manufactured concrete borders, for pavements 20x25 cm, on concrete foundation 30x15 cm (chute for discharging rainwater from concrete plates) | m | 22.00 |  |  |
|  |  |  | Total Pavement for cars B2 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.3. Ordinary lawn |  |  |  |  |
| 17 | TsH05A | Uniform spread of the vegetal ground layer, on horizontal areas or fields with a slope of 20%, preserving the structure, in layers of 10 cm thickness | m2 | 303.60 |  |  |
| 18 | TsH09A | Seeding the lawn on horizontal areas and fields with a slope under 30% | 100 m2 | 3.036 |  |  |
| 19 | TsH96A | Watering the lawns and the flowers from the tank GAZ-53 OG | 100 m2 | 3.036 |  |  |
|  |  |  | Total Ordinary lawn |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.4. Euro-fence panels h=1,4 m |  |  |  |  |
| 20 | CO06B correct | Fencing from wire mesh with fence round steel panels fixed to the pre-manufactured reinforced concrete pillars mounted with a spacing of 2 m, spacing made by tamping with stone, with the ridge height of 2.00 m (euro-fence panels h = 1.4 m) | m | 36.00 |  |  |
|  |  |  | Total Euro-fence panels h=1,4 m |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 1.5. Small architectural forms |  |  |  |  |
| 21 | TsH91A | Installing the benches on 2 legs (benches for 4 persons) | piece | 5.00 |  |  |
| 22 | TsH91B | Installing the waste bins | piece | 3.00 |  |  |
|  |  |  | Total Small architectural forms |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | Direct costs | USD |  |  |  |
|  |  | Social and health insurance | 27.50% |  |  |  |
|  |  | Transportation costs | % |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  | Direct costs |  |  |  |  |
|  |  | Overhead costs | % |  |  |  |
|  |  | Total |  |  |  |  |
|  |  | Estimate benefit | % |  |  |  |
|  |  |  | Total Construction works |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Equipment |  |  |  |  |
| 23 |  | Flowered bed | piece | 5.00 |  |  |
|  |  | Direct costs | USD |  |  |  |
|  |  | Storage costs | % |  |  |  |
|  |  |  | Total Equipment |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Total estimates: |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |

| Rehabilitation and re-planning the police office building in Singerei town | WinСмета Form No. 1 |
| --- | --- |
| (name of the site) |  |

LOCAL ESTIMATES No 7-1a

Planning the territory outside the area

| No. | Symbol of the standard and resource code | Works and expenses | U.M. | Quantity according to the design data | Estimate value, USD |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per U.M. ———— incl. salary | Total ————— incl. salary |

| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 1. Foot-passengers pavement from concrete plates B1 |  |  |  |  |
| 1 | DA04B | Mechanically scarified the road platform, with an autogreder, at the necessary depth, but at least 5 cm, with crushed stone surface with depth of the material in the scroll or cord | 100 m3 | 0.14 |  |  |
| 2 | TsC03F1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading in motor-cars, land cat. II. | 100 m3 | 0.14 |  |  |
| 3 | TsI50A5 | Transportation of the ground with the dumper of 5 t at a distance of 5 km | t | 22.20 |  |  |
| 4 | TsC51B | Works for unloading the soil in the storage, field category II | 100 m3 | 0.14 |  |  |
| 5 | DA06B2 | Layer of natural cylinder aggregates, having the function of filtering resistance, insulation, ventilation, anti-capillary, with manual coverage, with sand | m3 | 6.60 |  |  |
| 6 | DE17A | Pavement made of precast concrete paving slabs, th. 6 cm, laid on a layer of dry cement and sand mixture in the proportion 1: 3 , embroidered with dry mixture of cement and sand , 5 cm thick layer | m2 | 66.00 |  |  |
| 7 | DE11A | Small edging, precast from concrete with section of 10x15 cm, for framing green spaces, sidewalks, alleys, etc., placed on a concrete foundation (БР 100.20.8) | m | 25.00 |  |  |
|  |  |  | Total Foot-passengers pavement from concrete plates B1 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |
|  |  | 2. Pavement for cars B2 |  |  |  |  |
| 8 | DA04B | Mechanically scarified the road platform, with an autogreder, at the necessary depth, but at least 5 cm, with crushed stone surface with depth of the material in the scroll or cord | 100 m3 | 0.03 |  |  |
| 9 | TsC03F1 | Mechanic digging with excavator of 0,40-0,70 m3, with internal combustion engine and hydraulic command, in grounds with natural humidity, and unloading in motor-cars, land cat. II. | 100 m3 | 0.03 |  |  |
| 10 | TsI50A5 | Transportation of the ground with the dumper of 5 t at a distance of 5 km | t | 5.02 |  |  |
| 11 | TsC51B | Works for unloading the soil in the storage, field category II | 100 m3 | 0.03 |  |  |
| 12 | DA06B2 | Layer of natural cylinder aggregates, having the function of filtering resistance, insulation, ventilation, anti-capillary, with manual coverage, with sand | m3 | 0.98 |  |  |
| 13 | Dl134 k=1,2 | Mechanized placement of the road clothing from broken stone using the method of wedging in one layer H=15 cm (H=18cm) Labor efforts coefficient = 1.20 Materials coefficient = 1.20 Machinery coefficient = 1.20 | 100 m2 | 0.098 |  |  |
| 14 | DB16H | Asphalt concrete covering with small aggregates, executed in hot conditions, in thickness of 4.0 cm with mechanical laying | m2 | 9.80 |  |  |
| 15 | DE10A | Pre-manufactured concrete borders, for pavements 20x25 cm, on concrete foundation 30x15 cm (БР100.30.15) | m | 38.00 |  |  |
|  |  |  | Total Pavement for cars B2 |  |  |  |  |
|  |  |  | Including salary |  |  |  |  |

|  | Direct costs | USD |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Social and health insurance | 27.50% |  |  |  |
|  | Transportation costs | % |  |  |  |
|  | Storage costs | % |  |  |  |
|  | Direct costs |  |  |  |  |
|  | Overhead costs | % |  |  |  |
|  | Total |  |  |  |  |
|  | Estimate benefit | % |  |  |  |
|  | Total estimates: |  |  |  |  |
|  | Including salary |  |  |  |  |

| Compiled | () |
| --- | --- |
| (position, signature) |
| Verified | () |
| (position, signature) |