## BOQ 1 CCTV system
RfQ18/01810: Palanca JOBCP/ Delivery and installation of local area and CCTV systems”.
BOQ No 1- CCTV system
№ | Type of equipment | Measurement unit | Quantity | Unit price, VAT exclusive | Amount
CCTV system
A) Video surveillance cameras
1 | Network bulet camera (as per specification 12) | pieces | 26 |  | 0
2 | Fixed Dome Network camera (as per specification 13) | pieces | 22 |  | 0
3 | Fisheye Network camera (as per specification 14) | pieces | 4 |  | 0
4 | Low Light Camera for ANPR (as per specification 15)* | pieces | 12 |  | 0
5 | Installation and testing works ** | L.S. | 1 |  | 0
6 | Programming of the CCTV system | L.S. | 1 |  | 0
Total chapter A) Video surveillance cameras |  |  |  |  | 0
B) Cables and sewerage for CCTV system
1 | Outdor cables with copper conductors d=0.5mm 2x4, 24AWG double screen, SFTP Cable Category 5 (as per specification 17) | m | 8740 |  | 0
2 | Cable channel with cover 50x150 | m | 300 |  | 0
3 | Corrogated pipe d= 20mm | m | 200 |  | 0
4 | Corrogated pipe d= 32mm | m | 1000 |  | 0
5 | PE pipe d= 32mm | m | 50 |  | 0
6 | Cable channel with cover 20x30 | m | 100 |  | 0
7 | Installation and testing works ** | L.S. | 1 |  | 0
Total chapter B) Cables and sewerage for CCTV system |  |  |  |  | 0
Grand Total (A+B) |  |  |  |  | 0
Note: ROM
*- Pentru camerele ANPR, la formarea prețului se va ține cont de soluția deplină pentru funcționarea sistemei (softuri, servere, etc dacă e cazul), care se vor include in oferta. **- La formerea prețului pentru lucrările de instalare se va ține cont de necesitatea de a elabora rapoarte de încercări pentru fiecare produs montat cu teste de laborator (Camere, cablaje, etc). Certificarile de laborator urmeaza a fi incluse in oferta. *** La montarea utilajului ofertantul va ține cont de toate consumabilele aferente (module RJ, etc.) ****- În cazul în care funcținarea camerelor impune existența cărorva acte permisive ce se obțin contra cost (Licențe, etc), la formarea prețului pozițiilor 1-3 se va ține cont de acestea costuri pentru o durată de minim 5 ani. Licentele urmeaza a fi incluse in oferta.
Note: ENG
* - For ANPR cameras, when setting up the prices, the full system shall be taken into account (software, servers, etc.). The fully functional system shall be included in the offer.
** - When setting up the price for the installation work, the need to develop reports tests for each installed product accompanied by laboratory tests shall be taken into account (Cameras, wiring, etc.). Laboratory tests certifications shall be included in the offer.
*** When installing the equipment the bidder shall take into account all consumables (RJ modules, etc.)
**** - If the cameras require some permissive documents to be obtained for a fee (Licenses etc.) for their good funtioning, the bidder shall take into account these costs relevant for positions 1-3, for at least 5 years. Licenses shall be included in the offer.

## BoQ 2 LAN
RfQ18/01810: Palanca JOBCP/ Delivery and installation of local area and CCTV systems”.
BOQ No 2 - Local Area Network
№ | Type of equipment | Measurement unit | Quantity | Unit price, VAT exclusive | Amount, VAT exclusive
LAN system
A) External LAN
1 | Fiber optic cable with 12 pairs, 2x12 =24 (as per specification 17) | m | 3800 |  | 0
2 | Shielded cable YSLCY-JZ 8x0,5 | m | 432 |  | 0
3 | Power cable ВВГнг-FRHF 3x1.5 | m | 200 |  | 0
4 | Outdor cables with copper conductors d=0.5mm 2x4, 24AWG double screen, SFTP Cable Cat5 (as per specification 17) | m | 400 |  | 0
5 | Metal channel for cable 200x100mm, L=3,0m with cover | pieces | 11 |  | 0
6 | Installation and testing works | L.S. | 1 |  | 0
Total chapter A) External LAN |  |  |  |  | 0
B) Internal LAN
1 | 19” Rack-Mount 42U/800*1000 with thermostat and ventilation unit (as per specification 17) | pieces | 4 |  | 0
2 | 19” Rack-Mount 9U/600*600 (as per specification 17) | pieces | 5 |  | 0
3 | 19” Rack-Mount 6U/600*600 (as per specification 17) | pieces | 10 |  | 0
4 | Patch-Panel 19” 24xRJ45/1U Cat5e UTP with Support Bar, tool Krone & 110 | pieces | 33 |  | 0
5 | Cable management 1U | pieces | 37 |  | 0
6 | FO Cross 19” 24ports LC-duplex | pieces | 19 |  | 0
8 | Pigtail LC SM | pieces | 29 |  | 0
9 | Adapter LC-duplex | pieces | 29 |  | 0
10 | Patch-cord FTP cat.5e, 0,5m | pieces | 600 |  | 0
11 | Patch-cord UTP cat.5e, 3m | pieces | 200 |  | 0
12 | Outdor cables with copper conductors d=0.5mm 2x4, 24AWG double screen, SFTP Cable Cat5 (as per specification 17) | m | 8280 |  | 0
13 | Cables with copper conductors d=0.5mm 2x4, 24AWG , F/ UTP Cable Cat5e | m | 9025 |  | 0
14 | RJ -45 outlet, installation in the channel (single) | pieces | 100 |  | 0
15 | RJ -45 outlet, installation on the wall (single) | pieces | 200 |  | 0
16 | Cable channel with cover 50x150 | m | 850 |  | 0
17 | Corrugated pipe d= 20mm | m | 1200 |  | 0
18 | PE pipe d= 20mm | m | 1100 |  | 0
19 | Metal channel for cable 200x150mm, with cover | m | 140 |  | 0
20 | Installation and testing works | L.S. | 1 |  | 0
Total chapter B) Internal LAN |  |  |  |  | 0
Grand Total (A+B) |  |  |  |  | 0
Note:
*The supplier will present in a full testing protocol report after completion of cabling works