**Annex 2**

**FORM FOR SUBMITTING SUPPLIER’S QUOTATION**

***(This Form must be submitted only using the Supplier’s Official Letterhead/Stationery[[1]](#footnote-1))***

We, the undersigned, hereby accept in full the UNDP General Terms and Conditions, and hereby offer to supply the items listed below in conformity with the specification and requirements of UNDP as per RFQ Reference No. **“RfQ19/01867** **– Provision of dismantling and demolition works for auxiliary constructions of Dinamo Swimming Centre - MIA Project”**

**TABLE 1: Offer to dismantling and demolition works Compliant with Technical Specifications and Requirements:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Nr. | WinSmeta Resource code | Name of the works | Unit | Quantities | Unit price, USD, VAT excluded | Total price USD, VAT excluded |
| 1 | 2 | 3 | 4 | 5 |  |  |
|  |  | 1. **Dismantling, demolition works**
 |  |  |  |  |
| 1 | RpCO56A | Demontări: tîmplărie din lemn (uși, ferestre, obloane, cutii, rulou,maști,etc.) | m2 | 78,08 |  |  |
| 2 | RpCQ11C | Demontarea pereților cu cărămizi de sticlă | m2 | 24,00 |  |  |
| 3 | RpIC20B | Demontarea tevii negri, pentru construcții, montate la încălzire centrala prin sudare sau apeduct, la construcții de locuit și social culturale, la legarea aparatelor, a coloanelor de distribuție etc. Avînd diamentrul de la 63.....110 mm | m | 118,60 |  |  |
| 4 | RpIC20A | Demontarea tevii negri, pentru construcții, montate la încălzire centrala prin sudare, la construcții de locuit și social culturale, la legarea aparatelor, a coloanelor de distribuție etc. Avînd diamentrul de 32.....63mm | m | 34,15 |  |  |
| 5 | RCsG52A | Demolarea cladirii cu zidarii din blocuri de calcar, caramida, fundații, planseu din beton armat,  *(încărcarea în transport, descărcarea, inclusiv descarcarea la distanta de 25km)* | m3 | 1973,18 |  |  |
| 6 | TsI51C5 | Transportarea deseurilor cu autobasculanta de 10t la distanta de: 25km | t | 1479,89 |  |  |
| 7 | RpEG17D | Demontarea tablourilor electrice: metalic din panou, dulap, celula, pupitru | buc | 6 |  |  |
| 8 | RpEE24A | Demolarea aparatelor electrice pentru curent tari: unipolare (intrerupatoarea, comutatoare, preze pentru desfiintare sau inlocuire, buton pentru actionare la distanta) | buc | 2 |  |  |
| 9 | RpEB13C | Demontarea conductorilor de aluminiu sau cupru, cu sau fara izolatie, introdusi in tuburi sau tevi de protectie, montati aerian sau izolatori-role, pe ziduri sau platforme tencuite sau conductori montati ingropat, cu sectiunea 35-50 mmp | m | 90 |  |  |
| 10 | RpIB11E | Demontarea registrelor de incalzire cu conducte orizontale sau verticale din teava de otel avit 8-18 tevi - buc | buc | 23 |  |  |
| 11 | RCsP44A | Demontarea constructiilor metalice cu recuperarea materialelor | kg | 150 |  |  |
|  |  | **TOTAL** |  |  |  |  |
|  |  | Add : Other Charges (pls. specify) |  |  |  |  |
|  |  | **Total Final and All-Inclusive Price Quotation** |  |  |  |  |

**TABLE 2: Offer to Comply with Other Conditions and Related Requirements**

|  |  |
| --- | --- |
| **Other Information pertaining to our Quotation are as follows:** | **Your Responses** |
| ***Yes, we will comply*** | ***No, we cannot comply*** | ***If you cannot comply, pls. indicate counter proposal*** |
| Delivery Lead Time |  |  |  |
| Validity of Quotation |  |  |  |
| All Provisions of the UNDP General Terms and Conditions |  |  |  |

All other information that we have not provided automatically implies our full compliance with the requirements, terms and conditions of the RFQ.

*[Name and Signature of the Supplier’s Authorized Person]*

*[Designation]*

*[Date]*

1. *Official Letterhead/Stationery must indicate contact details – addresses, email, phone and fax numbers – for verification purposes*  [↑](#footnote-ref-1)