## Main Tab
LRFQ-2023-9182920, Annex B - Price offer
Please fill, sign and stamp this form
Item | Specifications requested | Is the equipment offered fully compliant with specifications requested? | If not fully compliant, please enter the specifications offered | Quantity | Unit price, MDL without VAT | Sub-total
Diesel Generator 37 kW 380/220 V + ATS (automatic transfer switch) + Starting Battery | Generator Type: Diesel Generator | please fill in and provide equipment model and description | please fill in and provide equipment model and description | 1
Voltage Output: 380/220 Volts
Power Output: 37 kW (if not available, please offer up to 44kW)
Enclosure Type: Closed Type, metallic, weather protective
Frequency: 50 Hz
Phase: Three-phase
Starting System: Electric start
Control Panel Type: Digital control panel
Display: Voltage, frequency, power, fuel level, running hours
Monitoring: Oil pressure, coolant temperature
Protection: Low oil pressure shutdown, high engine temperature shutdown, overload protection, short circuit protection
Outlets: Multiple outlets including 380V/220V sockets
Equiped with Automatic Transfer Switch
Voltage Rating: 380/220 V
Transfer Time: Automatic transfer within 5 seconds
ATS Features: Utility power monitoring, automatic transfer between utility power and generator power, manual control option, status indicators
Market avalability of spare parts upon request with delivery within 4 weeks
Equipment description, installation and user manual
Diesel Generator 50 kW 380/220 V + ATS (automatic transfer switch) + Starting Battery | Generator Type: Diesel Generator | please fill in and provide equipment model and description | please fill in and provide equipment model and description | 1
Voltage Output: 380/220 Volts
Power Output: 50 kW
Enclosure Type: Closed Type, metallic, weather protective
Frequency: 50 Hz
Phase: Three-phase
Starting System: Electric start
Control Panel Type: Digital control panel
Display: Voltage, frequency, power, fuel level, running hours
Monitoring: Oil pressure, coolant temperature
Protection: Low oil pressure shutdown, high engine temperature shutdown, overload protection, short circuit protection
Outlets: Multiple outlets including 380V/220V sockets
Equiped with Automatic Transfer Switch
Voltage Rating: 380/220 V
Transfer Time: Automatic transfer within 5 seconds
ATS Features: Utility power monitoring, automatic transfer between utility power and generator power, manual control option, status indicators
Market avalability of spare parts upon request with delivery within 4 weeks
Equipment description, installation and user manual
Diesel Generator 80 kW 380/220 V + ATS (automatic transfer switch) + Starting Battery | Generator Type: Diesel Generator | please fill in and provide equipment model and description | please fill in and provide equipment model and description | 3
Voltage Output: 380/220 Volts
Power Output: 80 kW
Enclosure Type: Closed Type, metallic, weather protective
Frequency: 50 Hz
Phase: Three-phase
Starting System: Electric start
Control Panel Type: Digital control panel
Display: Voltage, frequency, power, fuel level, running hours
Monitoring: Oil pressure, coolant temperature
Protection: Low oil pressure shutdown, high engine temperature shutdown, overload protection, short circuit protection
Outlets: Multiple outlets including 380V/220V sockets
Equiped with Automatic Transfer Switch
Voltage Rating: 380/220 V
Transfer Time: Automatic transfer within 5 seconds
ATS Features: Utility power monitoring, automatic transfer between utility power and generator power, manual control option, status indicators
Market avalability of spare parts upon request with delivery within 4 weeks
Equipment description, installation and user manual
Grand Total, MDL w/o VAT
Name & Title:
Company name:
E-mail address:
Phone number:
Delivery term:
Signature and stamp