**ANNEX 2 QUOTATION SUBMISSION FORM**

*Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3 Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |  |
| --- | --- | --- |
| Name of Bidder | Click or tap here to enter text. | |
| RFQ reference | **RFQ24/02854: Purchase of Crime Scene Investigation Kits for the Police Academy’s Forensic Laboratory** | Date Click or tap to enter a date. |

**Company Profile**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Item Description** | | **Detail** | | | |
| Legal name of bidder or Lead entity for JVs | | Click or tap here to enter text. | | | |
| Legal Address, City, Country | | Click or tap here to enter text. | | | |
| Website | | Click or tap here to enter text. | | | |
| Year of Registration | | Click or tap here to enter text. | | | |
| Legal structure | | Choose an item. | | | |
| Are you a UNGM registered vendor? | | ☐ Yes ☐ No If yes, insert UNGM Vendor Number | | | |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) *(If yes, provide a Copy of the valid Certificate)* | | ☐ Yes ☐ No | | | |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? *(If yes, provide a Copy of the valid Certificate)* | | ☐ Yes ☐ No | | | |
| Does your Company have a written Statement of its Environmental Policy? *(If yes, provide a Copy)* | | ☐ Yes ☐ No | | | |
| Does your organization demonstrate significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues *(If yes, provide a Copy)* | | ☐ Yes ☐ No | | | |
| Is your company a member of the UN Global Compact | | ☐ Yes ☐ No | | | |
| Bank Information | | Bank Name Click or tap here to enter text.  Bank Address Click or tap here to enter text.  IBAN Click or tap here to enter text.  SWIFT/BIC Click or tap here to enter text.  Account Currency Click or tap here to enter text.  Bank Account Number Click or tap here to enter text. | | | |
| **Previous relevant experience**  Minimum 2 (two) similar contracts for the provision and supply of forensic investigation / crime scene kits or similar goods, ongoing or implemented over the last 3 (three) years: *(copies of provided contracts should be attached to the quotation)* | | | | | |
| **Name of previous contracts** | **Client & Reference Contact Details including e-mail** | | **Contract Value** | **Period of activity** | **Types of activities undertaken and goods delivered** |
|  |  | |  |  |  |
|  |  | |  |  |  |
|  |  | |  |  |  |

**Bidder’s Declaration**

| **Yes** | **No** |  |
| --- | --- | --- |
| ☐ | ☐ | **Requirements and Terms and Conditions** I/We have read and fully understand the RFQ, including the RFQ Information and Data, Schedule of Requirements, the General Conditions of Contract, and any Special Conditions of Contract. I/we confirm that the Bidder agrees to be bound by them. |
| ☐ | ☐ | I/We confirm that the Bidder has the necessary capacity, capability, and necessary licenses to fully meet or exceed the Requirements and will be available to deliver throughout the relevant Contract period. |
| ☐ | ☐ | **Ethics** In submitting this Quote I/we warrant that the bidder has not entered into any improper, illegal, collusive or anti-competitive arrangements with any Competitor; has not directly or indirectly approached any representative of the Buyer (other than the Point of Contact) to lobby or solicit information in relation to the RFQ ;has not attempted to influence, or provide any form of personal inducement, reward or benefit to any representative of the Buyer. |
| ☐ | ☐ | I/We confirm to undertake not to engage in proscribed practices, , or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and wehave read the United Nations Supplier Code of Conduct [https//www.un.org/Depts/ptd/about-us/un-supplier-code-conduct](https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct) and acknowledge that it provides the minimum standards expected of suppliers to the UN. |
| ☐ | ☐ | **Conflict of interest** I/We warrant that the bidder has no actual, potential, or perceived Conflict of Interest in submitting this Quote or entering a Contract to deliver the Requirements. Where a Conflict of Interest arises during the RFQ process the bidder will report it immediately to the Procuring Organisation’s Point of Contact. |
| ☐ | ☐ | **Prohibitions, Sanctions** l/We hereby declare that our firm, ultimate beneficial owners, its affiliates or subsidiaries or employees, including any JV/Consortium members or subcontractors or suppliers for any part of the contract is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists and have not been suspended, debarred, sanctioned or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. |
| ☐ | ☐ | **Bankruptcy** l/We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future. |
| ☐ | ☐ | **Offer Validity Period** I/We confirm that this Quote, including the price, remains open for acceptance for the Offer Validity. |
| ☐ | ☐ | I/We understand and recognize that you are not bound to accept any Quotation you receive, and wecertify that the goods offered in our Quotation are new and unused. |
| ☐ | ☐ | By signing this declaration, the signatory below represents, warrants and agrees that he/she has been authorised by the Organization/s to make this declaration on its/their behalf. |

Signature

Name Click or tap here to enter text.

Title Click or tap here to enter text.

Date Click or tap to enter a date.

**ANNEX 3 TECHNICAL AND FINANCIAL OFFER - GOODS**

*Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2 Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |  |
| --- | --- | --- |
| Name of Bidder | Click or tap here to enter text. | |
| RFQ reference | **RFQ24/02854: Purchase of Crime Scene Investigation Kits for the Police Academy’s Forensic Laboratory** | Date Click or tap to enter a date. |

Bidders must include all costs related to the performance of the services in their quotation price (delivery of all goods and equipment, transport costs, unloading at the delivery site, installation etc.)

**CRIME SCENE INVESTIGATION KITS FOR THE POLICE ACADEMY’S FORENSIC LABORATORY**

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | | **Currency of the Quotation USD US Dollars for international vendors or MDL Moldovan Leu for local (VAT exclusive)**  **INCOTERMS DDP Chisinau** | | | | | |
| **Item No** | **Description** | | **UOM** | **Qty** | **Unit price**  **Please insert currency** | **Other costs**  **(transportation,insurance)** | **Total price**  **Please insert currency** |
| 1 | Forensic evidence kit for marking | | Kit | 4 |  |  |  |
| 2 | Universal forensic kit | | Kit | 10 |  |  |  |
| 3 | Forensic Trace Research Kit | | Kit | 4 |  |  |  |
| 4 | Forensic microparticle kit | | Kit | 3 |  |  |  |
| 5 | Forensic kit for collecting biological traces | | Kit | 4 |  |  |  |
| 6 | Electrostatic dust extraction source | | Kit | 1 |  |  |  |
| 7 | Crime scene sketch kit | | Kit | 4 |  |  |  |
| 8 | Portable kit for fingerprinting | | Kit | 2 |  |  |  |
| 9 | Kit for detection, lifting of papillary traces and fingerprints | | Kit | 9 |  |  |  |
| Total Price | | | | | |  |  |
| **Total Final and All-inclusive Price** | | | | | |  |  |

*\*In case the delivery and other costs are included in the value of equipment and cannot be reflected as a separate line of expenses, please specify 0 value in “Delivery and other costs” line in the table above, while the price of 0.01 USD is to be indicated in the section “Lines” of Quantum tender system. In such a situation, the exact Contract price will be corrected during the contract negotiation with the winner.*

**Compliance with Requirements**

|  |  |  |  |
| --- | --- | --- | --- |
|  | **You Responses** | | |
| **Yes, we will comply** | **No, we cannot comply** | **If you cannot comply, pls. indicate counter - offer** |
| Maximum delivery period not to exceed 45 calendar days upon signature of contract | ☐ | ☐ | Click or tap here to enter text. |
| Minimum Technical Specifications | ☐ | ☐ | Click or tap here to enter text. |
| Warranty period - minimum 12 months per kit including each item included in its composition, validity of consumables not smaller than 12 months. | ☐ | ☐ | Click or tap here to enter text. |
| Delivery Term (INCOTERMS) - DDP Chisinau | ☐ | ☐ | Click or tap here to enter text. |
| Validity of Quotation - 90 calendar days | ☐ | ☐ | Click or tap here to enter text. |
| All provisions of the UNDP General terms and Conditions | ☐ | ☐ | Click or tap here to enter text. |
| Payment terms | ☐ | ☐ | Click or tap here to enter text. |

**Other Information**

|  |  |
| --- | --- |
| Estimated weight/volume/dimension of the Consignment | Click or tap here to enter text. |
| Country/ies of Origin  (*if export licence required this must be submitted if awarded the contract*) | Click or tap here to enter text. |

|  |  |
| --- | --- |
| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. | |
| *Exact name and address of company*  Company NameClick or tap here to enter text.  Address Click or tap here to enter text.  Phone No. Click or tap here to enter text.  Email Address Click or tap here to enter text. | Authorized Signature  Date Click or tap here to enter text.  Name Click or tap here to enter text.  Functional Title of Authorised Signatory Click or tap here to enter text.  Email Address Click or tap here to enter text. |

**ANNEX 4 TECHNICAL RESPONSIVENESS TABLE**

*Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2 Quotation Submission Form and Annex 3 Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.*

|  |  |  |
| --- | --- | --- |
| Name of Bidder | Click or tap here to enter text. | |
| RFQ reference | **RFQ24/02854: Purchase of Crime Scene Investigation Kits for the Police Academy’s Forensic Laboratory** | Date Click or tap to enter a date. |

Bidders shall supplement the information provided in the tables below with detailed description of the offered goods, including design and Technical Data Sheet (including photos, leaflets, brochures and other available materials).

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Technical requirements (Features at least)** | | | **Conformity**  (Yes/No) | **Offered Brand, Model and Exact**  **Characteristics** *(Technical characteristics should not be less/worse than those listed in Annex 1 Schedule of Requirements)* | | |
| 1 | **Crime Scene Marking Kit (no changes)** | |  | **Crime Scene Marking Kit** |  |
| **Purpose:** | | **Purpose:** |  |
| Used by forensic investigators to accurately document and mark evidence at a crime scene. | | Used by forensic investigators to accurately document and mark evidence at a crime scene. | | |
| **Composition:** | | **Composition:** |  |
|  | 1. Case  2. Fiberglass reel tape  3. Metal measuring tape  4. Folding ruler  5. Laser rangefinder |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Case: 1 pc per kit | - ABS  - Preferably black or any dark color  - Anti corrosive hinges  - Two latches  - Preferably folding front handle  - Supports at least 10 kg  - Padding: foam insert or elastic straps |  | Case: 1 pc per kit |  |
| Fiberglass reel tape: 1 pc per kit | - Yellow fiberglass;  - Length - min. 30 m;  - Black millimeter and centimeter markings;  - Flexible, resistant to moisture, non-electrically conductive, resistant to physical actions of twisting, bending and breaking;  - Versatile end hook;  - Rewind crank. | Fiberglass reel tape: 1 pc per kit |  |
| Metal measuring tape: 1 pc per kit | - Anticorrosive finish;  - Yellow color;  - Length – 5 m;  - Black millimeter and centimeter markings;  - Flexible, resistant to moisture, non-electrically conductive, resistant to physical actions of twisting, bending and breaking;  - Versatile end hook  - Locking mechanism | Metal measuring tape: 1 pc per kit |  |
| Folding ruler: 1 pc per kit | - Wooden or metal  - Alternative black/white metric marking  - Length – 1 m;  - Joints with stops | Folding ruler: 1 pc per kit |  |
| Laser rangefinder: 1 pc per kit | - Laser beam, class II  - Optical device to follow laser beam on long distances  - Measuring range: 0.05m up to 200m  - Accuracy: +/- 2 mm  - Backlit display  - Tripod mounting possibility  - Metric units  - Possibility to memorize the last 10 measurements  - Continuous measurements function | Laser rangefinder: 1 pc per kit |  |
| A-Frame evidence marking tents: 1 pc per kit | - Letters: A to G  - Numbers: 1 to 20  - Yellow color with black printing  - Square or rectangular shape of sides  - Dimensions: 7-10 cm  - Carrying case/bag | A-Frame evidence marking tents: 1 pc per kit |  |
| Evidence marking flags: 1 pc per kit | - Metallic pole  - Height: 30-40 cm  - Colour: red (10 pcs), yellow (10 pcs), green (10 pcs)  - Carrying case/bag | Evidence marking flags: 1 pc per kit |  |
| Photo evidence tape: 3 pcs per kit | - Adhesive tape  - Width: 10-15 mm  - Length: 3 m with 0-30 cm repeat  - Metric (millimeters and centimeters) black marking on white matte finish | Photo evidence tape: 3 pcs per kit |  |
| Vinyl magnetic evidence scale: 4 pcs of each color | - Metric (centimeters and millimeters) marking  - Black on white  - White on black  - Length – 15 cm | Vinyl magnetic evidence scale: 4 pcs of each color |  |
| Reflective chalk: 3 pcs per kit | |  | Reflective chalk: 3 pcs per kit |  |
| Permanent markers and water-based markers (red, black, blue): 1 pc of each type and color per one kit | | Permanent markers and water-based markers (red, black, blue): 1 pc of each type and color per one kit |  |
| Clutch/mechanical pencil with red, black, blue leads 1 set of leads of each color) | | Clutch/mechanical pencil with red, black, blue leads 1 set of leads of each color) |  |
| Fluorescent pencils for forensic marking (red) 3 pcs per kit | | Fluorescent pencils for forensic marking (red) 3 pcs per kit |  |
| Stickers (set of min 50 pcs): 1 set of each color per kit  - Red and green  - Width – 10 cm  - Length – 1.5 cm | | Stickers (set of min 50 pcs): 1 set of each color per kit  - Red and green  - Width – 10 cm  - Length – 1.5 cm |  |
| **Documentation:** | | **Documentation:** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 2 | **Universal Forensic Kit (amended specifications are marked in red colour below)** | |  | **Universal Forensic Kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | A comprehensive set of tools and materials designed for forensic analysis across various types of evidence. |  |  | | |
| **Composition:** | |  | **Composition:** | **Composition:** |
|  | 1. Case 2. Fingerprint ink pad  3. Fingerprint ink roller  4. Black fingerprint ink  5. Ink cleaning solution or wipes  6. Gelatin lifters for fingerprints  7. Fingerprint lifters (size 10 x 15 cm)  8. Fingerprint lifters (size 5 x 10 cm)  9. Transparent lifting tape  10. Small particle reagents  11. Latent print powders  12. Magnetic latent print powders  13. Standard fiberglass brush  14. Magnetic powder applicator with protective container  15. Squirrel or Camel hair brush (type 1)  16. Squirrel or Camel hair brush (type 2)  17. Digital caliper  18. Stainless steel scissors:  19. Silicone casting kit  20. Silicone rubber spray  21. Modeling clay (monochrome bars)  22. Round magnet with handle  23. Flat tip tweezers (type 1)  24. Flat tip tweezers (type 2)  25. Sharp tip tweezers  26. Surgical scalpel handle  27. Disposable sterile scalpel blades  28. Metal measuring tape  29. Thin sterile surgical gloves (size XL)  30. Thick rubber gloves  31. Zip-lock plastic bags  32. Sterile plastic bags  33. Transparent evidence collection plastic tubes with cap  34. Stickers with figures 0 to 9  35. Stickers with printed arrows  36. Universal plier  37. Fixing spray  38. Plastic mixing container/bowl  39. Permanent red marker  40. Flashlight  41. Magnifying glass  42. Phillips screwdriver  43. Flat-head screwdriver  44. Voltage tester screwdriver  45. Glass cutter  46. Reflective chalk |  |  |  |
| **Accessories:** | |  | **Accessories:** | **Accessories:** |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** | **Specifications:** |
| Case: | - ABS  - Preferably black or any dark color  - Anti corrosive hinges  - Two latches  - Preferably folding front handle  - Supports at least 10 kg;  - Padding: foam insert or elastic straps |  | Case: |  |
| Fingerprint ink pad: | - Plastic or similar material case  - Snap lock (or similar) lid  - Minimum active surface – 12 cm x 6 cm | Fingerprint ink pad: |  |
| Fingerprint ink roller: | - Made of rubber  - Width: 5-7 cm  - Handle bracket | Fingerprint ink roller: |  |
| Black fingerprint ink (min 100 ml) | |  | Black fingerprint ink (min 100 ml) |  |
| Ink cleaning solution (min 100 ml) or wipes (min 100 pcs) | | Ink cleaning solution (min 100 ml) or wipes (min 100 pcs) |  |
| Gelatin lifters for fingerprints: 30 pcs of each color per kit | Size: 13 x 18 cm (±2 cm)  Color: - Black  - White  - Transparent  - Supplied within a cold bag  Note: Only 20 pcs of lifters of each color will be supplied within the main case. The remaining quantity of lifters will be supplied in a separate resupply box within a cold bag. |  | Gelatin lifters for fingerprints: 30 pcs of each color per kit |  |
| Fingerprint lifters: 20 pcs of each color per kit | Size: 10 x 15 cm (±2 cm) - Black  - White  - Transparent | Fingerprint lifters: 20 pcs of each color per kit |  |
| Fingerprint lifters: 50 pcs of each color per kit | Size: 5 x 10 cm (±2 cm) - Black  - White  - Transparent  Note: Only 20 pcs of lifters of each color will be supplied within the main case. The remaining quantity of lifters will be supplied in a separate resupply box within a cold bag. | Fingerprint lifters: 50 pcs of each color per kit |  |
| Transparent lifting tape: | - Length: min 10 m  - Width: min 3 cm, 5 cm, 10 cm | Transparent lifting tape: |  |
| Small particle reagents: | - Light-coloured surfaces – 500 ml  - Dark-coloured surfaces – 500 ml  Each container shall be provided with a dispenser spray head | Small particle reagents: |  |
| Latent print powders (3):  **Weight: 100-200 gr per bag per color** | - Color: ~~white~~ red, black and silver  - Application by powdering or by using special brushes  - Operating temperature range: -10° C/ +45°C  - Storage box | Latent print powders:  **Weight: 100-200 gr per bag per color** |  |
| Magnetic latent print powders (3): **Weight: 100-200 gr per bag per color** | - Black, **silver**  - Double contrast  - Fluorescent red  - Storage box | Magnetic latent print powders:  **Weight: 100-200 gr per bag per color** |  |
| Standard fiberglass brush: 2 pcs per kit | - Length of active part of brush – at least 5 cm  - Protective container and cap | Standard fiberglass brush: 2 pcs per kit |  |
| Magnetic powder applicator with protective container | |  | Magnetic powder applicator with protective container |  |
| Squirrel or Camel hair brush: 2 pcs per kit | - Uncut hair  - Semicircle  - Wooden handle – 10-15 cm long  - Length of active part of brush – at least 3 cm  - Protective container and cap |  | Squirrel or Camel hair brush: 2 pcs per kit |  |
| Squirrel or Camel hair brush (type 2): 2 pcs per kit | - Uncut hair  - Semicircle  - Wooden handle – 15-20 cm long  - Length of active part of brush – at least 3 cm  - Protective container and cap | Squirrel or Camel hair brush (type 2): 2 pcs per kit |  |
| Digital caliper: | - Stainless steel  - Length – 15 cm | Digital caliper: |  |
| Stainless steel scissors: | - Rounded tips  - Length – 10-15 cm | Stainless steel scissors: |  |
| Silicone casting kit:1 set | - Liquid silicone rubber – 1 tube of min 150 g  - 1 vial of catalyst – quantity sufficient for the liquid silicone rubber quantity  - Plastic spatula – 1 pc  - Silicone compound to be of light color, waterproof and able to return to original shape after deformation  - Silicone compound hardens within 10 minutes | Silicone casting kit:1 set |  |
| Silicone rubber spray (1 tube of min 150 ml) | |  | Silicone rubber spray (1 tube of min 150 ml) |  |
| Modeling clay (monochrome bars, at least 30 g/bar) 3 pcs per kit | | Modeling clay (monochrome bars, at least 30 g/bar) 3 pcs per kit |  |
| Round magnet with handle (diameter: 20-25 mm) | | Round magnet with handle (diameter: 20-25 mm) |  |
| Flat tip tweezers (type 1): | - Material: Stainless steel  - Length: 10-15 cm |  | Flat tip tweezers (type 1): |  |
| Flat tip tweezers (type 2): | - Material: Stainless steel  - Length: 20-25 cm | Flat tip tweezers (type 2): |  |
| Sharp tip tweezers: | - Material: Stainless steel  - Length: 8-10 cm | Sharp tip tweezers: |  |
| Surgical scalpel handle: plastic or similar material. | |  | Surgical scalpel handle: plastic or similar material. |  |
| Disposable sterile scalpel blades (packed separately), compatible with the surgical scalpel handle. 10 pcs per 1 kit | | Disposable sterile scalpel blades (packed separately), compatible with the surgical scalpel handle. 10 pcs per 1 kit |  |
| Metal measuring tape: | - Anticorrosive finish  - Yellow color  - Length: 5 m  - Black millimeter and centimeter markings  - Versatile end hook  - Locking mechanism |  | Metal measuring tape: |  |
| Thin sterile surgical gloves (size XL) 5 pairs per kit | |  | Thin sterile surgical gloves (size XL) 5 pairs per kit |  |
| Thick rubber gloves | | Thick rubber gloves |  |
| Zip-lock plastic bags: 5 pcs per kit | - Dimensions: 15-20 cm x 45-50 cm |  | Zip-lock plastic bags: 5 pcs per kit |  |
| Sterile plastic bags: 5 pcs per kit | - Dimensions: 10-15 cm x 40-45 cm | Sterile plastic bags: 5 pcs per kit |  |
| Transparent evidence collection plastic tubes with cap: 5 pcs per kit | - Diameter: 2 cm  - Length: 15-20 cm | Transparent evidence collection plastic tubes with cap: 5 pcs per kit |  |
| Stickers with figures 0 to 9 (6 pcs per A4 sheet, one sheet for each figure) 10 sheets per kit | |  | Stickers with figures 0 to 9 (6 pcs per A4 sheet, one sheet for each figure) 10 sheets per kit |  |
| Stickers with printed arrows: 4 sheets | - Black marking on white background  - Length: 30-40 mm  - Width: 10-20 mm |  | Stickers with printed arrows: 4 sheets |  |
| Universal plier: | - Anticorrosive finish  - Insulated handles | Universal plier: |  |
| Fixing spray: | - 1 tube of ~~100 ml~~ **min.** **500 ml**  - Colourless  - Operation temperature range: -10° C/ +40°C  - Drying/hardening time: up to 5 min | Fixing spray: |  |
| Plastic mixing container/bowl, diameter at the top 12-15 cm | |  | Plastic mixing container/bowl, diameter at the top 12-15 cm |  |
| Permanent red marker | | Permanent red marker |  |
| Flashlight | - UV LED technology  - Wave length: 395 nm (+/- 5 nm)  - Dimensions: diameter – up to 4 cm, length – up to 15 cm  - Rechargeable battery  - Battery life (fully charged): at least 2 hours  - Battery charger included  - Body: metal or highly resistant plastic |  | Flashlight |  |
| Magnifying glass: | - Diameter: 75 mm  - Magnification: 3.5 x or more | Magnifying glass: |  |
| Phillips screwdriver: length 15-17 cm | |  | Phillips screwdriver: length 15-17 cm |  |
| Flat-head screwdriver: length 18-20 cm | | Flat-head screwdriver: length 18-20 cm |  |
| Voltage tester screwdriver: Voltage: AC 100-500V | | Voltage tester screwdriver: Voltage: AC 100-500V |  |
| Glass cutter | | Glass cutter |  |
| Reflective chalk: 3 pcs per kit | | Reflective chalk: 3 pcs per kit |  |
| **Documentation:** | | **Documentation:** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 3 | **Trace evidence kit (amended specifications are marked in red colour below)** | |  | **Trace evidence kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | Used to collect and preserve small, often microscopic, pieces of physical evidence found at a crime scene. |  |  | | |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Case  2. MIKROSIL Kit (brown and white)  3. Dental gypsum or Crownstone plaster  4. Rubber mixing container/bowl  5. Adjustable casting frame  6. Wax spray  7. Fixing spray  8. Pig hairbrush  10. Plastic pipette with rubber bulb  11. Filter paper  12. Plastic spatula  13. Metal/wood “junior” hacksaw  14. Plumber wrench  15. Hammer  16. Diagonal  17. Carpenter’s chisel  18. Metal cutting scissors  19. Metal tweezers  20. Metal Kocher forceps  21. Silicone spray  22. Universal Tool (Breaker) - 1 Hole |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Case: | - ABS  - Preferably black or any dark color  - Anti corrosive hinges  - Two latches  - Preferably folding front handle  - Supports at least 10 kg;  - Padding: foam insert or elastic straps |  | Case: |  |
| MIKROSIL Kit (brown and white): | Material:   * Plastic or light metal tubes with a capacity between 20-50 ml.   Closure System:   * Tight closing system (caps) to securely hold the contents and prevent leakage during transport and storage.   Labeling:   * Product Name: Clearly labeled with the name of the product.   Supplier Information:   * Name and contact details of the supplier.   Quantity:   * Amount of substance contained in the kit.   Expiration Date:   * Warranty period indicating the expiration date for the product.   Safety Information:   * Mentions regarding the nature of the substance and its toxicity level for the human body.   Storage, Transport, and Use Instructions:   * Clear instructions regarding mandatory conditions for storage, transport, and use to ensure safe handling and optimal performance. | MIKROSIL Kit (brown and white): |  |
| Dental gypsum or Crownstone plaster: | - Powder  - 1kg bag  - Operating temperature range: -10° C/ +45°C  - Hardens within 30 min | Dental gypsum or Crownstone plaster: |  |
| Rubber mixing container/bowl: | - Diameter at the top 12-15 cm  - Resistant to chemicals and petroleum based oils | Rubber mixing container/bowl: |  |
| Adjustable casting frame: 3 pcs per kit **(three large and three small)** | - Made of lightweight metal or highly resistant plastic  - Height of frame: 2-6 cm  - Rectangular shape with a possibility for extension on the long side  - Size 1 (WxL): 15-20 cm x 30-35 cm (extendable up to 45-50 cm)  - Size 2 (WxL): 30-35 cm x 45-50 (extendable up to 60-65 cm) | Adjustable casting frame: 3 pcs per kit **(three large and three small)** |  |
| Wax spray: ~~3 pcs per kit~~ **1 container** | - Volume min. 500 ml  - Colorless  - Operation temperature range: -10° C/ +40°C | Wax spray: **1 container** |  |
| Fixing spray: ~~3 pcs per kit~~ **1 container** | - Volume min. 500 ml  - Colorless  - Operation temperature range: -10° C/ +40°C  - Drying/hardening time: up to 5 min | Fixing spray: **1 container** |  |
| Pig hairbrush: | - Wooden handle  - Length:10-15 cm  - Brush length: 3-5 cm | Pig hairbrush: |  |
| Plastic pipette with rubber bulb | |  | Plastic pipette with rubber bulb |  |
| Filter paper: 5 pcs per kit | | Filter paper: 5 pcs per kit |  |
| Plastic spatula | | Plastic spatula |  |
| Metal/wood “junior” hacksaw | | Metal/wood “junior” hacksaw |  |
| Plumber wrench | | Plumber wrench |  |
| Hammer (250 gr) with wooden handle, min 20 cm long | | Hammer (250 gr) with wooden handle, min 20 cm long |  |
| Diagonal cutting pliers (min 15 cm long) | | Diagonal cutting pliers (min 15 cm long) |  |
| Carpenter's chisel (min 10 cm long, active part 3 cm) | | Carpenter's chisel (min 10 cm long, active part 3 cm) |  |
| Metal cutting scissors (snips) (20 cm long) | | Metal cutting scissors (snips) (20 cm long) |  |
| Metal tweezers | - Length: 10-15 cm  Type:  - Straight edge  - Curved point |  | Metal tweezers |  |
| Kocher forceps | -Material: stainless steel Type: straight  - Length: 10-15 cm | Kocher forceps |  |
| Universal Tool (Breaker) - 1 Hole | Material:   * High-grade stainless steel or durable alloy construction for strength and longevity. * Corrosion-resistant coating to prevent degradation over time.   Design:   * Ergonomic handle design for comfortable grip and precise control. * Single hole for efficient breaking and separation of materials. * Compact and lightweight for easy handling and portability.   Functionality:   * Capable of breaking a wide range of materials commonly encountered in forensic trace evidence analysis, including glass, fibers, and ceramics. * Precision-engineered hole for controlled braking without excessive fragmentation.   Compatibility:   * Compatible with standard forensic laboratory procedures and equipment. * Designed to integrate seamlessly into trace evidence kits for comprehensive forensic analysis.   Durability:   * Engineered for durability and reliability in demanding forensic environments. * Resistant to wear and deformation during repeated use.   Safety Features:   * Smooth edges and surfaces to minimize the risk of accidental injury during operation. * Non-slip grip for enhanced control and safety.   Maintenance:   * Low-maintenance design for ease of upkeep. * Recommended periodic cleaning and inspection to ensure optimal performance. | Universal Tool (Breaker) - 1 Hole |  |
| Silicone spray: ~~3 pcs per kit~~ **1 container** | - Volume: **min.** 500 ml  - Type: colorless | Silicone spray: **1 container** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 4 | **Microparticle evidence kit (no changes)** | |  | **Microparticle evidence kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | Used to collect and preserve tiny particles, often invisible to the naked eye, found at a crime scene. |  |  | | |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Case 2. Transparent lifting tape  3. Waxed paper  4. Portable vacuum cleaner |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Case: | - ABS  - Preferably black or any dark color  - Anti corrosive hinges  - Two latches  - Preferably folding front handle  - Supports at least 10 kg;  - Padding: foam insert or elastic straps |  | Case: |  |
| Transparent lifting tape: 1 pc of each dimension per kit | - Length: 10 m  - Width: min 3 cm, 5 cm, 10 cm | Transparent lifting tape: 1 pc of each dimension per kit |  |
| Waxed paper (A4), min 20 sheets per set, 3 sets per kit | |  | Waxed paper (A4), min 20 sheets per set, 3 sets per kit |  |
| Portable vacuum cleaner: | - Rechargeable battery  - Battery life (fully charged) – min 2 hours  - Power supply: 210-240 V AC  - Filter assembly  - Disposable polyester micro-filters – 100 pcs  - Lockable plastic case |  | Portable vacuum cleaner: |  |
| 5 | **Biological traces/particles kit (no changes)** | |  | **Biological traces/particles kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | Used to collect and preserve biological materials found at a crime scene, such as blood, saliva, semen, or skin cells |  |  |  |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Case  2. Unpowdered sterile medical gloves  3. Forensic sterile cotton swab with plastic tip protector  4. Cardboard box  5. DNA controlled absorbent cotton tipped swab  6. Surgical scalpel handle (metal)  7. Disposable blades for the scalpel  8. Sterile syringes with needles  9. Sterile gauze pads  10. Sterile water  11. Solution for sterilization of instruments and container  12. Evidence enveloped with printed text  13. Paper bags  14.Writable stickers  15. Sterile cotton swabs  16. Disposable plastic tweezers |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Case: | - ABS  - Preferably black or any dark color  - Anti corrosive hinges  - Two latches  - Preferably folding front handle  - Supports at least 10 kg;  - Padding: foam insert or elastic straps |  | Case: |  |
| Unpowdered sterile medical gloves (sizes M and L): 10 pairs of each size per kit | |  | Unpowdered sterile medical gloves (sizes M and L): 10 pairs of each size per kit |  |
| Forensic sterile cotton swab with plastic tip protector: 10 pcs of per kit | | Forensic sterile cotton swab with plastic tip protector: 10 pcs of per kit |  |
| Cardboard box, adapted to the dimensions of the swab to individually store and transport the collected samples : 10 pcs of per kit | | Cardboard box, adapted to the dimensions of the swab to individually store and transport the collected samples : 10 pcs of per kit |  |
| DNA controlled absorbent cotton tipped swab: 50 pcs per kit | | DNA controlled absorbent cotton tipped swab: 50 pcs per kit |  |
| Surgical scalpel handle (metal) | | Surgical scalpel handle (metal) |  |
| Disposable sterile scalpel blades (packed separately) compatible with surgical scalpel handle: 10 pcs per kit | | Disposable sterile scalpel blades (packed separately) compatible with surgical scalpel handle: 10 pcs per kit |  |
| Sterile syringes with needles, 5 ml: 15 pcs per kit | | Sterile syringes with needles, 5 ml: 15 pcs per kit |  |
| Sterile gauze pads (10x10 cm) (5 pcs per pack) | | Sterile gauze pads (10x10 cm) (5 pcs per pack) |  |
| Sterile water (10 ml) 1 bottle per kit | | Sterile water (10 ml) 1 bottle per kit |  |
| Solution for sterilization of instruments (100 ml) and container | - 90 ml of 10% sodium hypochlorite solution  - 10 ml of 98% ethanol |  | Solution for sterilization of instruments (100 ml) and container |  |
| Evidence envelopes with printed text: 20 pcs of each dimension per kit | - White transparent paper  - Dimensions:   * 9 x 17 cm; 16 x 23 cm; 10 x 15 cm * The text to be printed is: **“Academia Ștefan cel Mare”.** | Evidence envelopes with printed text: 20 pcs of each dimension per kit |  |
| Paper bags (80 x 100 cm) with printed text: 10 pcs per kit | |  | Paper bags (80 x 100 cm) with printed text: 10 pcs per kit |  |
| Writable stickers: 20 pcs per kit | | Writable stickers: 20 pcs per kit |  |
| Sterile cotton swabs: 50 pcs per kit | | Sterile cotton swabs: 50 pcs per kit |  |
| Disposable plastic tweezers: 10 pcs | | Disposable plastic tweezers: 10 pcs |  |
| **Documentation:** | | **Documentation:** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 6 | **Electrostatic Dust Print Lifter Kit (no changes)** | |  | **Electrostatic Dust Print Lifter Kit** | | |
| **Purpose:** | | **Purpose:** |  |
|  | Used to lift and preserve dust impressions, footprints, or other latent prints from surfaces at a crime scene using an electrostatic charge. |  |  | | |
| **Composition:** | |  | **Composition:** |  |
|  | - Electrostatic Voltage Control  - Ground Plane, nickel-plated steel  - Ground Plane Polycarbonate Insulating Sheet  - Insulated Roller  - 9V Alkaline Battery  - Metalized Lifting Mats in Protective Tube  - Lifting Mats  - Lifting Material  - Static Discharge Cable  - Carrying case |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Carrying case | | Carrying case |  |
| Electrostatic Voltage Control | | Electrostatic Voltage Control |  |
| Ground Plane, nickel-plated steel (10 cm x 15 cm) ± 2 cm | | Ground Plane, nickel-plated steel (10 cm x 15 cm) ± 2 cm |  |
| Ground Plane Polycarbonate Insulating Sheet (12 cm x 17 cm) ± 2 cm | | Ground Plane Polycarbonate Insulating Sheet (12 cm x 17 cm) ± 2 cm |  |
| Insulated roller | | Insulated roller |  |
| 9V alkaline battery 2 pcs | | 9V alkaline battery 2 pcs |  |
| Metalized lifting mats in protective tube: set of 5 pcs | | Metalized lifting mats in protective tube: set of 5 pcs |  |
| Lifting mats: 2 sets of 10 pcs each | | Lifting mats: 2 sets of 10 pcs each |  |
| Lifting material roll | | Lifting material roll |  |
| Static discharge cable | | Static discharge cable |  |
| Carrying case | | Carrying case |  |
| **Documentation:** | | **Documentation:** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 7 | **Crime Scene Sketch Kit (no changes)** | |  | **Crime Scene Sketch Kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | Used to accurately document the layout, dimensions, and spatial relationships of a crime scene. |  |  | | |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Pad of Graph Paper (50 Sheets)  2. Plastic ruler (30 cm)  3. Clutch/mechanical sketch pencil  4. Traffic Template  5. Lavatory Planning Template  6. House Furnishings Template  7. Store Layout Template  8. Office Plan Template  9. Universal Compass  10. Metal measuring tape (15 m)  11. Set of Professional Drawing Instruments  12. Triangle ruler (30°/60°/90°) (transparent plastic)  13. Triangle ruler (45°/45°/90°) (transparent plastic)  14. Sketching and Detail Drawing of the Crime Scene Booklet  15. Carrying case with handle |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Pad of Graph Paper (50 Sheets) | | Pad of Graph Paper (50 Sheets) |  |
| Plastic ruler (30 cm) | | Plastic ruler (30 cm) |  |
| Clutch/mechanical sketch pencil | | Clutch/mechanical sketch pencil |  |
| Traffic Template | | Traffic Template |  |
| Lavatory Planning Template | | Lavatory Planning Template |  |
| House Furnishings Template | | House Furnishings Template |  |
| Store Layout Template | | Store Layout Template |  |
| Office Plan Template | | Office Plan Template |  |
| Universal Compass | | Universal Compass |  |
| Metal measuring tape (15 m) | | Metal measuring tape (15 m) |  |
| Set of Professional Drawing Instruments | | Set of Professional Drawing Instruments |  |
| Triangle ruler (30°/60°/90°) (transparent plastic) | | Triangle ruler (30°/60°/90°) (transparent plastic) |  |
| Triangle ruler (45°/45°/90°) (transparent plastic) | | Triangle ruler (45°/45°/90°) (transparent plastic) |  |
| Sketching and Detail Drawing of the Crime Scene Booklet | | Sketching and Detail Drawing of the Crime Scene Booklet |  |
| Carrying case with handle | | Carrying case with handle |  |
|  | **Documentation:** | | **Documentation:** |  |
|  |  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 8 | **Portable Fingerprinting Kit (amended specifications are marked in red colour below)** | |  | **Portable Fingerprinting Kit** |  |
| **Purpose:** | | **Purpose:** |  |
|  | Designed to enable law enforcement personnel or forensic investigators to collect fingerprint evidence quickly and efficiently at crime scenes or during investigations. |  |  | | |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Master carrying case  2. Folding fingerprinting station with a single cardholder and glass slab affixed  3. Tube of grade A fingerprint slab ink  4. Roller for applying ink evenly  5. Cleaning solution for slab and roller  6. Fingerprint ridge builder pump spray  7. Ink remover towelettes  8. Criminal fingerprint record cards  9. Re-print tabs  10. Nitrile barrier gloves |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** |  | **Specifications:** |  |
| Master Carrying Case: | A sturdy case for transporting and storing the kit. | Master Carrying Case: |  |
| Folding Fingerprinting Station: | A portable workstation with a cardholder and glass slab for fingerprinting. | Folding Fingerprinting Station: |  |
| Grade A Fingerprint Slab Ink: | High-quality ink for fingerprinting. | Grade A Fingerprint Slab Ink: |  |
| Roller for applying ink evenly: | A roller used for applying fingerprint ink evenly. | Roller for applying ink evenly: |  |
| Cleaning solution for slab and roller: | Cleaner for removing ink residue from the slab and roller. | Cleaning solution for slab and roller: |  |
| Spray for enhancing 1 bottle per kit fingerprint visibility: | Spray to enhance fingerprint visibility and ridge detail. | Spray for enhancing 1 bottle per kit fingerprint visibility: |  |
| Ink remover towelettes: 1package per kit | Towelettes for cleaning ink from fingers or surfaces. **Required qty: 1000 pcs** | Ink remover towelettes:  **Qty: 1000 pcs** |  |
| Criminal fingerprint records: | Cards for recording and preserving fingerprint evidence. **Qty: 500 cards/A4 format.** | Criminal fingerprint records:  **Qty: 500 cards/A4 format.** |  |
| Re-Print Tabs: | Tabs used for re-inking fingerprints if necessary - **100 pcs.** | Re-Print Tabs:  **Qty- 100 pcs.** |  |
| Nitrile Barrier Gloves: 20 pcs per kit | Gloves to prevent contamination and protect personnel during fingerprinting procedures. | Nitrile Barrier Gloves: 20 pcs per kit |  |
| **Documentation** | |  | **Documentation** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |
| 9 | **Relief Kit. Papillation and Fingerprint Removal (amended specifications are marked in red colour below)** | |  | **Relief Kit. Papillation and Fingerprint Removal** | | |
| **Purpose:** | | **Purpose:** |  |
|  | Designed for papillation and fingerprint removal, serves the purpose of aiding forensic investigators in the delicate process of collecting and preserving fingerprint evidence from surfaces. |  |  |  |
| **Composition:** | |  | **Composition:** |  |
|  | 1. Fingerprint powder  2. Magnetic Latent Fingerprint Powder  **3. Case** |  |  |  |
| **Accessories:** | |  | **Accessories:** |  |
|  | Any other accessory which is required for operation should be included and described in your offered specification. |  |  |  |
| **Specifications:** | |  | **Specifications:** |  |
| Fingerprint powder:  **2 containers: 1 container of each color per kit.**  **Weight: 100-200 gr.** | - Adhesion to papillary ridge secretions.  - Non-adhesion to areas adjacent to papillary ridges.  - Homogeneous, non-hygroscopic, and non-agglomerating particles.  - Black and fluorescent yellow for visibility under UV rays.  - Easy removal from surfaces using simple procedures.  - Consistency of physico-chemical characteristics in the temperature range of -10°C to +45°C. |  | Fingerprint powder  **2 containers: 1 container of each color per kit.**  **Weight: 100-200 gr.** |  |
| Magnetic Latent Fingerprint Powder  **9 containers:** 1 container for each type per kit | Types:  - black double contrast  - fluorescent orange  - fluorescent green and fluorescent red  Weight: - 200 gr per container | Magnetic Latent Fingerprint Powder  **9 containers:** 1 container for each type per kit |  |
| Ostrich/Marabu Brush | Type: - Transparent plastic anti-static sprayer, individually packed.  Working length of the brush: - length of at least 80 mm and a thickness at the  - thickness at the handle joint of at least 8 mm | Ostrich/Marabu Brush |  |
| Squirrel/Camel Hair Brushes Minimum Quantity: 3 pieces per set | Shape: Semi-Round  Trim: Untrimmed  Length: 14 cm and 19 cm (respectively for the two sizes)  Handle Material: Wooden  Handle Length: Standard  Active Part Length: 30-40 mm  Active Part Thickness: At least 8 mm at the joint with the handle  Packaging: Individual packaging for each brush set | Squirrel/Camel Hair Brushes Minimum Quantity: 3 pieces per set |  |
| Glass fiber wire brush: Minimum 4 pieces per set | Active Part Length: Minimum 50 mm  Active Part Thickness: Minimum 8 mm at the joint with the handle  Handle Material: Plastic or Wooden  Handle Length: Standard | Glass fiber wire brush: Minimum 4 pieces per set |  |
| Black anodised aluminum magnetic brush 2 pcs per kit | Equipped with spring rod for demagnetization. | Black anodised aluminum magnetic brush 2 pcs per kit |  |
| Master kit small particle reagent (SPR): 2 containers with pump, 250-500 ml | Description: Set of reagents for revealing latent papillary marks on wet, white and black surfaces. | Master kit small particle reagent (SPR): 2 containers with pump, 250-500 ml |  |
| Gelatine Lifters/ Gelatine sheets for the lift of latent papillary mark: min. 10 sheets of each type per kit | Dimensions: 13x18 cm (±2 cm)  Type: white, black and transparent  Components:  Support:   * + Material: Plastic or paper laminated on both sides   + Properties: Resistant to mechanical stretching, malleable, unaffected by humidity conditions, opaque (for black foil) and transparent (for transparent foil), allows writing without affecting adhesive   Adhesive Component:   * + Homogeneous adhesive substance, uniformly distributed over the entire surface   + Adhesive to powders used to reveal papillary marks and protective film   + Adhesion to support without absorption or diffusion of powders   + Stable physical-chemical characteristics (-10°C to +45°C), black (for black foil) and transparent (for transparent foil)   + Allows gluing, removal, and regluing of protective film without affecting adhesive   Protective Layer:   * + Material: Transparent plastic foil, malleable, no adhesion to embossing powder   + Easily removable from the adhesive surface. | Gelatine Lifters/ Gelatine sheets for the lift of latent papillary mark: min. 10 sheets of each type per kit |  |
| Instant adhesive sheets for lifting latent papillary mark: min. 10 sheets for each type per ki | Dimensions: 10x15 cm (±2 cm)  Type: White, black and transparent. | Instant adhesive sheets for lifting latent papillary mark: min. 10 sheets for each type per ki |  |
| Latent papillar mark lift foil set. transfer film and fixation of traces: min 50 sheets for each type per kit | Dimensions: 5x10 cm (±2 cm)  Type: White, black and transparent. | Latent papillar mark lift foil set. transfer film and fixation of traces: min 50 sheets for each type per kit |  |
| Adhesive film with mm and cm measuring unit: 2 pcs, each 20 m of each type per kit. | Type: White, black and transparent.  Width: 10 - 14 mm | Adhesive film with mm and cm measuring unit: 2 pcs, each 20 m of each type per kit. |  |
| Case: | Metal cover with tight magnetic closure | Case: |  |
| Rubber roller: | Width of the active surface: 5-7 cm  Handle: Wood | Rubber roller: |  |
| Fingerprint Ink **and cleaning solution.**  ~~1container per kit Pad:~~ | ~~Solution/gel for cleaning mascara, 1 container of at least 100 ml;~~  **Fingerprint ink and cleaning solution. Required qty:**  **ink-100 ml; cleaning towelettes - 1000 pcs** | **Fingerprint ink and cleaning solution.**  **Required qty: ink-100 ml; cleaning towelettes - 1000 pcs** |  |
| Hemident reagent~~1 bottle per kit~~ **- Should accommodate for 10 tests** | |  | Hemident reagent **- Should accommodate for multiple tests** |  |
| Stainless steel scissors | | Stainless steel scissors |  |
| Plastic container for brushes and powder: | Durable plastic material to withstand various environmental conditions and dust |  | Plastic container for brushes and powder: |  |
| Flat tweezers: | Material: stainless steel  Length: 23-26 cm | Flat tweezers: |  |
| Sharp tweezers: | Material: stainless steel  Length: 8-10 cm | Sharp tweezers: |  |
| Device for cutting glass: | |  | Device for cutting glass: |  |
| Magnifying glass: | Diameter: 75 mm  Magnification: not less than 3.5x |  | Magnifying glass: |  |
| Metal measuring tape: | Length: 3m | Metal measuring tape: |  |
| Ink cleaning solution:1 bottle per kit | Volume: 250 ml or bigger | Ink cleaning solution:1 bottle per kit |  |
| Flashlight with clamp: | **Illumination:**  - High-intensity light source, providing bright illumination for various applications  - Equipped with efficient LED bulbs  **Clamp Mechanism:**  - The flashlight incorporates a sturdy clamp mechanism for secure attachment to surfaces or objects.  - The clamp is designed to provide firm grip and stability, allowing for hands-free operation in diverse environments.  - Adjustable clamp size to accommodate a wide range of objects, such as poles, handles, or surfaces of varying thickness.  **Power Source:**  - Powered by rechargeable batteries.  - Offers convenient charging options, such as USB charging ports or docking stations, for hassle-free recharging. | Flashlight with clamp: |  |
| Transparent lifting tape: | Minimum length: 15 m  Width: 5-9 cm | Transparent lifting tape: |  |
| Transparent lifting tape: | Minimum length: 15 m  Width: 3-5 cm | Transparent lifting tape: |  |
| Ninhydrin Spray: 1 bottle | Volume: 100 ml or more | Ninhydrin Spray: 1 bottle |  |
| Rhodamine Crystals 6G | Container Type: Glass container with threaded cap  Capacity: 25 grams | Rhodamine Crystals 6G |  |
| Gentian Violet Crystals: | Container Type: Glass container with threaded lid  Capacity: 25 grams | Gentian Violet Crystals: |  |
| 1,8-Diazafluoren-9- one bottle per kit | Type: solution Container Type: Glass or plastic container with screw cap  Capacity: 120 milliliters | 1,8-Diazafluoren-9- one bottle per kit |  |
| Portable lamp with UV rays: | Power Output: Minimum equivalent power of 6 watts.  Wavelength: Emitting UV light with a wavelength of 365 nanometers (nm), suitable for specific fluorescence excitation.  Dimensions: Approximately 7-10 cm in width, 30-35 cm in height, and 5-8 cm in depth, providing a compact and portable form factor for easy handling and transportation.  Handle: Equipped with a handle for comfortable grip and convenient carrying during use.  Power Supply: Operates on either 220 volts AC power supply or battery power.  Battery: Includes a rechargeable battery for portable operation.  Charger: equipped. | Portable lamp with UV rays: |  |
| **Documentation:** | |  | **Documentation:** |  |
|  | User manuals for the kit (if applicable), preferable in Romanian language (optional English or Russian). |  |  |  |