## Sheet1
LOT 1: Breakdown of costs per household
1. Household: BRICENI/CARACUȘENII-VECHI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump |  |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
2. Household: Briceni/GRIMEȘTI c. BOGDANEȘTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 3
Supply valve return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
3. Household: DONDUȘENI/HORODIȘTE
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 6
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
4. Household: DROCHIA/NICORENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
5. Household: DROCHIA/MARAMONOVCA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
6. Household: DROCHIA/BRINCUSI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 3
Supply valve return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
7. Household: EDINEȚ/GAȘPAR
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 800 | piece |  | 4
Steel radiator type 22 L500 - 1000 | piece |  | 5
Thermostatic supply valve Tour MF 1/2 " | piece |  | 9
Supply valve return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
8. Household: EDINEȚ/EDINET
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
8. Household: FALEȘTI/ALBINETUL-VECHI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
9. Household: FALEȘTI/GLINGENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
10. Household: FALEȘTI/ALBINETUL-VECHI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 3
Steel radiator type 22 L500 - 1000 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
11. Household: FLORESTI/BURSUC
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
12. Household: FLORESTI/ CUHURESTII DE JOS
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 9
Thermostatic supply valve Tour MF 1/2 " | piece |  | 9
Supply valve return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
14. Household: FLORESTI/ DOMULGENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
15. Household: GLODENI/IABLOANA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 800 | piece |  | 9
Thermostatic supply valve Tour MF 1/2 " | piece |  | 9
Supply valve return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
16. Household: GLODENI/BALATINA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic supply valve Tour MF 1/2 " | piece |  | 7
Supply valve return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
17. Household: OCNITA/OCNITA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 3
Supply valve return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
18. Household: OCNITA/DINGENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 6
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
19. Household: RISCANI/VARATIC
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 6
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
20. Household: RISCANI/RISCANI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 27kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 13
Thermostatic supply valve Tour MF 1/2 " | piece |  | 13
Supply valve return MF 1/2 " | piece |  | 13
Thermostatic head | piece |  | 13
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
21. Household: SINGEREI/PEPENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 3
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 7
Supply valve return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
22. Household: SINGEREI/PEPENII NOI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
23. Household: SINGEREI/SINGEREII NOI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 8
Thermostatic supply valve Tour MF 1/2 " | piece |  | 9
Supply valve return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
24. Household: SOROCA/CAINARII-VECHI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 3
Supply valve return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
25. Household: SOROCA/CERLINA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 3
Steel radiator type 22 L500 - 1000 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
26. Household: SOROCA/SOROCA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 30kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 30L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -15m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
27. Household: BALTI/SADOVOE
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 3
Supply valve return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
28. Household: BALTI/BALTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
29. Household: BALTI/BALTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
30. Household: UNGHENI/TODIRESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic supply valve Tour MF 1/2 " | piece |  | 7
Supply valve return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
31. Household: UNGHENI/TODIRESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic supply valve Tour MF 1/2 " | piece |  | 7
Supply valve return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
32. Household: UNGHENI/ZAZULENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
33. Household: TELENESTI/GHILICENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
34. Household: TELENESTI/SCORTENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 500 | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic supply valve Tour MF 1/2 " | piece |  | 8
Supply valve return MF 1/2 " | piece |  | 8
Thermostatic head | piece |  | 8
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
35. Household: SOLDANESTI/FUZAUCA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
36. Household: REZINA/PECISTE
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic supply valve Tour MF 1/2 " | piece |  | 4
Supply valve return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
37. Household: ORHEI/BULAIESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Steel radiator type 22 L500 - 1200 | piece |  | 2
Thermostatic supply valve Tour MF 1/2 " | piece |  | 7
Supply valve return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
38. Household: ORHEI/BEREZLOGI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
39. Household: ORHEI/BIESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Steel radiator type 22 L500 - 1200 | piece |  | 1
Thermostatic supply valve Tour MF 1/2 " | piece |  | 5
Supply valve return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
40. Household: DUBASARI/POHREBEA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 3
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic supply valve Tour MF 1/2 " | piece |  | 6
Supply valve return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household