## Sheet1
LOT 2: Breakdown of costs per household
1. Household: ANENII NOI/PUHACENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
2. Household: ANENII NOI/FLORESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 3
Steel radiator type 22 L500 - 1200 | piece |  | 2
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
3. Household: CALARASI/SCHINOASA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic tap corner Tour MF 1/2 " | piece |  | 7
Tap corner return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
4. Household: CALARASI/DERENEU
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 4
Tap corner return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
5. Household: CRIULENI/CRUGLIC
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 1
Steel radiator type 22 L500 - 1200 |  |  | 10
Thermostatic tap corner Tour MF 1/2 " | piece |  | 11
Tap corner return MF 1/2 " | piece |  | 11
Thermostatic head | piece |  | 11
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
6. Household: CRIULENI/ISNOVAT
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 5
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
7. Household: HINCESTI/HORJESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 2
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 6
Tap corner return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
8. Household: HINCESTI/IVANOVCA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
9. Household: HINCESTI/LAPUSNA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
10. Household: IALOVENI/IALOVENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -9m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
11. Household: IALOVENI/CIGIRLENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 4
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic tap corner Tour MF 1/2 " | piece |  | 7
Tap corner return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
12. Household: IALOVENI/DANCENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
13. Household: NISPORENI/IURCENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 3
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 7
Tap corner return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
14. Household: NISPORENI/PARUCENI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -8m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
15. Household: STRASENI/SACA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
16. Household: STRASENI/TATARESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
17. Household: STRASENI/COJUSNA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -9m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
18. Household: CHISINAU/COLONITA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
19. Household: CHISINAU/GRATIESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 8
Thermostatic tap corner Tour MF 1/2 " | piece |  | 8
Tap corner return MF 1/2 " | piece |  | 8
Thermostatic head | piece |  | 8
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
20. Household: CHISINAU/DURLESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 4
Tap corner return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
21. Household: CHISINAU/DURLESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
22. Household: CHISINAU/BUDESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 3
Steel radiator type 22 L500 - 1200 | piece |  | 6
Thermostatic tap corner Tour MF 1/2 " | piece |  | 9
Tap corner return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -9m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
23. Household: BASARABEASCA/BASARABEASCA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 5
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic tap corner Tour MF 1/2 " | piece |  | 8
Tap corner return MF 1/2 " | piece |  | 8
Thermostatic head | piece |  | 8
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
24. Household: CAHUL/FRUMUSICA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 7
Thermostatic tap corner Tour MF 1/2 " | piece |  | 7
Tap corner return MF 1/2 " | piece |  | 7
Thermostatic head | piece |  | 7
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
25. Household: CAHUL/CISLITA PRUT
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 2
Steel radiator type 22 L500 - 1200 | piece |  | 7
Thermostatic tap corner Tour MF 1/2 " | piece |  | 9
Tap corner return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
26. Household: CAHUL/CHIOSELIA MARE
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 6
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 10
Tap corner return MF 1/2 " | piece |  | 10
Thermostatic head | piece |  | 10
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
27. Household: CANTEMIR/GOTESTI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
28. Household: CAUSENI/TARACLIA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 2
Steel radiator type 22 L500 - 1200 | piece |  | 10
Thermostatic tap corner Tour MF 1/2 " | piece |  | 12
Tap corner return MF 1/2 " | piece |  | 12
Thermostatic head | piece |  | 12
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
29. Household: CAUSENI/BAIMACLIA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 2
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 6
Tap corner return MF 1/2 " | piece |  | 6
Thermostatic head | piece |  | 6
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
30. Household: CAUSENI/TARACLIA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 24kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 11
Thermostatic tap corner Tour MF 1/2 " | piece |  | 11
Tap corner return MF 1/2 " | piece |  | 11
Thermostatic head | piece |  | 11
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
31 Household: CIMISLIA/GURA GALBENEI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
32. Household: LEOVA/IARGARA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic tap corner Tour MF 1/2 " | piece |  | 3
Tap corner return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
33. Household: STEFAN VODA/SLOBOZIA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 5
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
34. Household: STEFAN VODA/FESTELITA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 4
Tap corner return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
35. Household: TARACLIA/TVARDITA
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 5
Thermostatic tap corner Tour MF 1/2 " | piece |  | 5
Tap corner return MF 1/2 " | piece |  | 5
Thermostatic head | piece |  | 5
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
36. Household: UTA GAGAUZIA/BESGHIOZ
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 9
Thermostatic tap corner Tour MF 1/2 " | piece |  | 9
Tap corner return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
37. Household: UTA GAGAUZIA/TOMAI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1000 | piece |  | 9
Thermostatic tap corner Tour MF 1/2 " | piece |  | 9
Tap corner return MF 1/2 " | piece |  | 9
Thermostatic head | piece |  | 9
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -7m | set |  | 1
Existing system disassembly works | services |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
38. Household: UTA GAGAUZIA/COPCEAC
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 20kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 4
Thermostatic tap corner Tour MF 1/2 " | piece |  | 4
Tap corner return MF 1/2 " | piece |  | 4
Thermostatic head | piece |  | 4
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
39. Household: UTA GAGAUZIA/CONGAZ
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 16kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Automatic cold water supply system | piece |  | 1
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household
38. Household: UTA GAGAUZIA/BAURCI
| Unit of measure | Price per unit | Quantity | Total per position
Boiler 12kW | piece |  | 1
Safety group | piece |  | 1
Thermostatic valve 3 ways 1 "f | piece |  | 1
Expansion tank heating 25L | piece |  | 1
Circulation pump | piece |  | 1
Steel radiator type 22 L500 - 1200 | piece |  | 3
Thermostatic tap corner Tour MF 1/2 " | piece |  | 3
Tap corner return MF 1/2 " | piece |  | 3
Thermostatic head | piece |  | 3
Pipes, fittings, reinforcements, valves, control devices | set |  | 1
Chimney -5m | set |  | 1
Uninterruptible Power Supply (UPS) | piece |  | 1
Installation works | services |  | 1
Transport | services |  | 1
Other, if applicable | -
Total per household