| Interior repair works and modernization of the science classrooms in "Miron Costin" Theoretical Lyceum "Miron Costin" from Floresti |  |
| --- | --- |
| (name of the objective) |  |

List of works quantities

Architectural-constructive solutions (ACS)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Demontari |  |  |
| 1 | RpCO56A | Dismantling: wooden joinery (doors, windows, shutters, boxes, rollers, masks, etc.) / Dismantling wooden joinery (interior doors) | m2 | 27,000 |
| 2 | RpCO56C | Dismantling: wood, asbestos cement, PFL, PAS, tec. linings on walls or suspended ceilings, doors, etc. / Dismantling of 40 mm lightweight removable chipboard walls | m2 | 50,000 |
| 3 | RpCK41A | Dismantling of wooden floors from wooden floorboards, wooden floorboards, etc. / Dismantling of wooden floorboards on longitudinal wooden profiles | m2 | 350,000 |
| 4 | RpCJ35A | Removal of loose interior or exterior plaster on walls or ceilings / Removal of existing plaster on walls (including radiator niches under windows, window and interior door openings, window and door openings, wall-drawer niches) | m2 | 761,000 |
| 5 | RpCR32A | Dismantling of washable or semi-washable paper tapes / Dismantling existing paper tapes | m2 | 156,000 |
| 6 | RpCO56C | Dismantling: wooden, asbestos cement, PFL, PAS, tec. linings on walls or suspended ceilings, doors, etc. / Dismantling of protective chipboard linings on walls | m2 | 60,000 |
| 7 | RpCI42A | Removal of roof elements - gutters, gutters, gutters, eaves, glazing, aprons, etc./Dismantling of wooden/cement skirting | m | 250,000 |
| 8 | RpCO56A | Dismantling: wooden joinery (doors, windows, shutters, boxes, rollers, masks, etc./ Dismantling of PVC windows | m2 | 14,500 |
| 9 | RpCB18F | Demolition of old concrete slabs by mechanical means, simple concrete / Dismantling of interior precast concrete sills | m3 | 0,150 |
| 10 | TrB01A2-5 | Transport of group 4 materials (loading, placing, unloading, placing), with wheelbarrows on wheels, distance 50 m | t | 15,060 |
| 11 | TrI1AA02C3 | Loading of group A materials - heavy, in dump trucks - from the ramp or ground, in a category 3 car | t | 15,060 |
| 12 | TsI50A10 | Transportation of soil, sludge, etc. by 5 t dumper truck over a distance of 10 km | t | 15,060 |
|  |  | Total 1. Demontari |  |  |
|  |  | 2. Closures and compartmentalization |  |  |
| 13 | CD05D7 | 590 x 240 x 200 mm blocks, in 20-24 cm thick walls, with cement lime mortar M 25-Z prepared with a mixer on site, construction height less than or equal to 35 m, use of lime paste instead of hydrated lime / BCA 100mm blocks (2nd floor) | m3 | 0,300 |
| 14 | CD55A | Limestone block masonry (cotilet) walls up to 4 m high, ordinary masonry | m3 | 2 |
|  |  | Total 2. Closures and compartmentalization |  |  |
|  |  | 3. Ceiling finishing |  |  |
|  |  | 3.1. Parter |  |  |
| 15 | CK29Fp;.p | Suspended ceilings made of prefabricated "Armstrong" panels, including grid-system with physical and visual characteristics type Rockfon Artic E24 (or similar) with visible particle structure and dimensions 600 x 600 x 15mm, class 1/C/0N according to EN 13964 | m2 | 86,000 |
|  |  | 3.2. 1st floor |  |  |
| 16 | CK29F | Suspended ceilings made of prefabricated "Armstrong" panels, including grid-system with physical and visual characteristics type Rockfon Artic E24 (or similar) with visible particle structure and dimensions 600 x 600 x 15mm, class 1/C/0N according to EN 13964 | m2 | 142,000 |
|  |  | 3.3. 2nd floor |  |  |
| 17 | CK29F | Suspended ceilings made of prefabricated "Armstrong" panels, including grid-system with physical and visual characteristics type Rockfon Artic E24 (or similar) with visible particle structure and dimensions 600 x 600 x 15mm, class 1/C/0N according to EN 13964 | m2 | 93,400 |
|  |  | 3.4. Suspended ceiling partition wall |  |  |
| 18 | СF59D | Surface tiling with a layer of PGC gr.=12,5 mm with execution of simple flat metal casing, up to 4 m high: ceilings without insulation | m2 | 33,500 |
| 19 | Market price | Aluminum perforated hinge | m | 56,000 |
| 20 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 33,500 |
| 21 | CF57A | Manual application of 1.0 mm thick 'Eurofin' plaster-based grout on wall, column and ceiling surfaces | m2 | 33,500 |
| 22 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 33,500 |
| 23 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 9016, applied in 2 coats on existing handmade plaster | m2 | 33,500 |
|  |  | Total 3. Ceiling finishing |  |  |
|  |  | 4. Wall finishing. Biology classroom (ground floor) |  |  |
| 24 | СF60B | Two-layer surface cladding of PGC gr.=12,5mm, with identical metal casing, height up to 4 m: walls with insulation, mineral wool gr.=50mm 35kg/m3 | m2 | 2,500 |
| 25 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 26 | CF50B | Interior plastering of 5 mm thickness, handmade, dry-mixed plaster based on plaster, on walls and partitions, manual preparation of mortar. | m2 | 124,000 |
| 27 | CF51B | Interior plastering of 5 mm thickness, handmade, with dry plaster-based mixture, on walls and partitions, manual preparation of mortar. Difference plus or minus 1,0 mm for each 1,0 mm (add or subtract from item CF50) / k=5 for labor and k=15 for materials and equipment for final coat thickness of 20 mm | m2 | 124,000 |
| 28 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 29 | CF57A | Manual application of 1.0 mm thick 'Eurofin' plaster-based grout on wall, column and ceiling surfaces | m2 | 124,000 |
| 30 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 31 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 110 90 05, applied in 2 coats on existing hand applied plaster | m2 | 89,700 |
| 32 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 200 80 05, applied in 2 coats on existing hand applied plaster | m2 | 22,900 |
| 33 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 9016, applied in 2 coats on existing handmade plaster | m2 | 11,440 |
| 34 | CI21B | Wall tiling with ceramic-granite tiles: sizes up to 600 x 600 mm / Porcelain stoneware tiles, light color, size 120x60 cm | m2 | 4,000 |
|  |  | Total 4. Wall finishing. Biology class (ground floor) |  |  |
|  |  | 5. Finishing the floors Biology class (ground floor) |  |  |
| 35 | TsC03F1 | Mechanical digging with 0,40-0,70 cubic meter excavator, with internal combustion engine and hydraulic control, in soil with natural humidity, unloading in vehicles, land catg. II | 100 m3 | 0,759 |
| 36 | TsI50A10 | Transportation of soil, 5 t dumper truck, distance 10 km | t | 129,000 |
| 37 | TsC51B | Work on unloading the earth in the warehouse, land cat. II | 100 m3 | 0,759 |
| 38 | TsD01B | Spreading with a shovel of the loam in uniform layers, 10-30 cm thick, by a throw of up to 3 m from the gram, including the breaking of the clods, the soil coming from the middle ground | m3 | 75,880 |
| 39 | TsD05B | Compacting with a 150-200 kg mechanical mulcher the fillings in successive layers of 20-30 cm thick, excluding the watering of each layer, the fillings being made of cohesive soil | 100 m3 | 0,759 |
| 40 | TsC54C | Foundation layer of gravel fraction 16-32 mm, h=100 m | m3 | 8,320 |
| 41 | CA03F01 | Plain concrete poured by conventional means, in foundations, footings, retaining walls, walls below ground level, prepared with a concrete mixer on site, poured by conventional means, class Bc15 plain concrete | m3 | 5,000 |
| 42 | IzF53A | Manual execution of the floor support with heat insulating layer of extruded foamed polystyrene boards, thickness 50 mm, in one layer / Extruded polystyrene XPS gr.=100mm | m2 | 83,200 |
| 43 | CG01A | Support layer for floors made of cement mortar M 100-T 3 cm thick with a fine smooth face / excluding cement and sand | m2 | 83,200 |
| 44 | CC03C | Mounting welded nets at heights of 35 m or less, on boards / VR 100x100 ф5 | kg | 514,000 |
| 45 | CG01A1 | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with finely smoothened face.Difference plus or minus for each 0.5 cm of M 100-T mortar support layer, add or subtract / exclude cement and sand, k=6 for final layer thickness of 60 mm | m2 | 83,200 |
| 46 | CG56A | Nivelir" self-leveling screed: thickness 10mm | m2 | 83,200 |
| 47 | CG08A | Plastic floors mounted on the existing substrate, cleaned, including PVC sills, in rooms with areas greater than 16 sq.m, with PVC carpet glued with prenadhesive / Heterogeneous PVC carpet, thickness = 2-2,3 mm; change:PVC profile, PVC sill in PVC connection profile R=30 mm - 0,45 m/m2 | m2 | 91,500 |
| 48 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Base for profile termination | m | 41,000 |
| 49 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Closing profile | m | 41,000 |
|  |  | 5. Finishing the floors Biology class (ground floor) |  |  |
|  |  | 6. Wall finishing (1st floor) |  |  |
|  |  | 6.1. Physics class |  |  |
| 50 | СF60B | Two-layer surface cladding of PGC gr.=12,5mm, with identical metal casing, height up to 4 m: walls with mineral wool insulation gr.=50mm 35kg/m3 | m2 | 2,500 |
| 51 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 52 | CF50B | Interior plastering of 5 mm thickness, handmade, dry-mixed plaster based on plaster, on walls and partitions, manual preparation of mortar. | m2 | 124,000 |
| 53 | CF51B | Interior plastering of 5 mm thickness, handmade, with dry plaster-based mixture, on walls and partitions, manual preparation of mortar. Difference plus or minus 1.0 mm for each 1.0 mm (add or subtract from item CF50) / k=5 for labor and k=15 for materials and equipment for final coat thickness of 20 mm | m2 | 124,000 |
| 54 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 55 | CF57A | Manual application of 1.0 mm "Eurofin" plaster grout on the surfaces of walls, columns, ceilings | m2 | 124,000 |
| 56 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 57 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 110 90 05, applied in 2 coats on existing hand applied plaster | m2 | 89,700 |
| 58 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 1001, applied in 2 coats on existing plaster, executed by hand | m2 | 22,900 |
| 59 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 9016, applied in 2 coats on existing handmade plaster | m2 | 11,440 |
| 60 | CI21B | Wall tiling with ceramic-granite tiles: sizes up to 600 x 600 mm / Porcelain stoneware tiles, light color, size 120x60 cm | m2 | 4,000 |
|  |  | 6.2. Math-1 class |  |  |
| 61 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 85,050 |
| 62 | CF50B | Interior plastering of 5 mm thickness, handmade, dry-mixed plaster based on plaster, on walls and partitions, manual preparation of mortar. | m2 | 85,050 |
| 63 | CF51B | Interior plastering of 5 mm thickness, handmade, with dry plaster-based mixture, on walls and partitions, manual preparation of mortar. Difference plus or minus 1,0 mm for each 1,0 mm (add or subtract from item CF50) / k=5 for labor and k=15 for materials and equipment for final coat thickness of 20 mm | m2 | 85,050 |
| 64 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 85,050 |
| 65 | CF57A | Manual application of "Eurofin" 1.0 mm plaster-based grout on the surfaces of walls, columns, ceilings. | m2 | 85,050 |
| 66 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 85,050 |
| 67 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 110 90 05, applied in 2 coats on existing hand applied plaster | m2 | 55,000 |
| 68 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 200 80 05, applied in 2 coats on existing hand applied plaster | m2 | 22,600 |
| 69 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 9016, applied in 2 coats on existing handmade plaster | m2 | 7,450 |
|  |  | Total Wall Finishing (1st floor) |  |  |
|  |  | 7. Floor finishing (1st floor) |  |  |
|  |  | 7.1. Physics class |  |  |
| 70 | CG01A | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with a fine smooth face / excluding cement and sand | m2 | 83,200 |
| 71 | IzF53A | Manual execution of the floor support with thermal insulating layer of extruded sheets of foamed polystyrene, gr. 50 mm, in one layer / Extruded polystyrene XPS gr.=100mm | m2 | 83,200 |
| 72 | CG01A | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with a fine smooth face / excluding cement and sand | m2 | 83,200 |
| 73 | CC03C | Mounting welded nets at heights of 35 m or less, on boards / VR 100x100 ф5 | kg | 257,000 |
| 74 | CG01A1 | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with finely smoothened face.Difference plus or minus for each 0.5 cm of M 100-T mortar support layer, add or subtract / exclude cement and sand, k=6 for final layer thickness of 60 mm | m2 | 83,200 |
| 75 | CG56A | Self-leveling screed "Nivelir" 10mm thick | m2 | 83,200 |
| 76 | CG08A | Plastic floors mounted on the existing substrate, cleaned, including PVC sills, in rooms with areas greater than 16 sq.m, with PVC carpet glued with prenadhesive / Heterogeneous PVC carpet, thickness = 2-2,3 mm; change:PVC profile, PVC sill in PVC connection profile R=30 mm - 0,45 m/m2 | m2 | 91,500 |
| 77 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Base for profile termination | m | 41,000 |
| 78 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Closing profile | m | 41,000 |
|  |  | 7.2. Math-1 class |  |  |
| 79 | CG01A | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with a fine smooth face / excluding cement and sand | m2 | 47,600 |
| 80 | IzF53A | Manual execution of the floor support with heat insulating layer of extruded sheets of foamed polystyrene, gr. 50 mm, in one layer / Extruded polystyrene XPS gr.=100mm | m2 | 47,600 |
| 81 | CG01A | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with a fine smooth face / excluding cement and sand | m2 | 47,600 |
| 82 | CC03C | Mounting welded nets at heights of 35 m or less, on boards / VR 100x100 ф5 | kg | 147,000 |
| 83 | CG01A1 | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with finely smoothened face.Difference plus or minus for each 0,5 cm of M 100-T mortar supporting layer, add or subtract / exclude cement and sand, k=6 for final layer thickness of 60 mm | m2 | 47,600 |
| 84 | CG56A | Self-leveling screed "Nivelir" 10mm thick | m2 | 47,600 |
| 85 | CG08A | Plastic floors mounted on the existing substrate, cleaned, including PVC sills, in rooms with areas greater than 16 sqm, with PVC carpet glued with pre-bonded / Heterogeneous PVC carpet, thickness = 2-2,3 mm; change:PVC profile, PVC sill in PVC PVC connection profile R=30 mm - 0,53 m/m2 | m2 | 52,400 |
| 86 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Base for profile termination | m | 28,000 |
| 87 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Closing profile | m | 28,000 |
|  |  | Total 7. Floor finishing (1st floor) |  |  |
|  |  | 8. Wall finishing (2nd floor) |  |  |
|  |  | 8.1. Chemistry class |  |  |
| 88 | СF60B | Two-layer surface cladding of PGC gr.=12,5mm, with execution of identical metal casing, up to 4 m high: walls mineral wool insulation gr.=50mm 35kg/m3 | m2 | 2,500 |
| 89 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 90 | CF50B | Interior plastering of 5 mm thickness, handmade, dry-mixed plaster based on plaster, on walls and partitions, manual preparation of mortar. | m2 | 124,000 |
| 91 | CF51B | Interior plastering of 5 mm thickness, handmade, with dry plaster-based mixture, on walls and partitions, manual preparation of mortar. Difference plus or minus 1,0 mm for each 1,0 mm (add or subtract from item CF50) / k=5 for labor and k=15 for materials and equipment for final coat thickness of 20 mm | m2 | 124,000 |
| 92 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 93 | CF57A | Manual application of "Eurofin" 1.0 mm plaster-based grout on the surfaces of walls, columns, ceilings. | m2 | 124,000 |
| 94 | CN53A | Grinding interior surfaces of walls and ceilings | m2 | 124,000 |
| 95 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 110 90 05, applied in 2 coats on existing hand applied plaster | m2 | 89,700 |
| 96 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 1001, applied in 2 coats on existing plaster, executed by hand | m2 | 22,900 |
| 97 | CN06A | Interior painting with paint based on vinyl copolymers in waterborne emulsion, color RAL 9016, applied in 2 coats on existing handmade plaster | m2 | 11,440 |
| 98 | CI21B | Wall tiling with ceramic-granite tiles: sizes up to 600 x 600 mm / Porcelain stoneware tiles, light color, size 120x60 cm | m2 | 4,000 |
|  |  | Total 8. Wall finishing (1st floor) |  |  |
|  |  | 9. Floor finishing (2nd floor) |  |  |
|  |  | 9.1. Chemistry class |  |  |
| 99 | CG01A | Support layer for floors made of cement mortar M 100-T 3 cm thick with a fine smooth face / excluding cement and sand | m2 | 83,200 |
| 100 | IzF53A | Manual execution of the floor support with thermal insulating layer of extruded sheets of foamed polystyrene, gr. 50 mm, in one layer / Extruded polystyrene XPS gr.=100mm | m2 | 83,200 |
| 101 | CG01A | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with a fine smooth face / excluding cement and sand | m2 | 83,200 |
| 102 | CC03C | Mounting welded nets at heights of 35 m or less, on boards / VR 100x100 ф5 | kg | 257,000 |
| 103 | CG01A1 | Supporting layer for floors made of 3 cm thick M 100-T cement mortar with finely smoothened face.Difference plus or minus for each 0.5 cm of M 100-T mortar support layer, add or subtract / exclude cement - sand, k=6 for 60 mm layer thickness | m2 | 83,200 |
| 104 | CG56A | Self-leveling screed "Nivelir": gr. 10mm | m2 | 83,200 |
| 105 | CG08A | Plastic floors mounted on the existing substrate, cleaned, including PVC sills, in rooms with areas greater than 16 sq.m, with PVC carpet glued with prenadhesive / Heterogeneous PVC carpet, thickness = 2-2,3 mm; change:PVC profile, PVC sill in PVC connection profile R=30 mm - 0,45 m/m2 | m2 | 91,500 |
| 106 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Base for profile termination | m | 41,000 |
| 107 | CK26C | Sills mounted on windows or doors made of plasticc (applicative)/ Closing profile | m | 41,000 |
|  |  | Total 9. Floor finishing (2nd floor) |  |  |
|  |  | 10. Carpentry |  |  |
|  |  | 10.1. Curtain walls |  |  |
| 108 | CK11B | Ready-made showcases, mounted in masonry of any kind, with an area between 7,5-10,0 sq.m. for constructions mounted at heights up to 5 m inclusive, made of aluminum / Interior partitions made of aluminum profiles with mat sandwich filling made of PU boards and 1 mm thick metal sheet on both sides. Glazing will be 4+4 mm transparent triplex glass. The doors will be equipped with stainless steel door handle set, Hafele Startec model LTD 2170 (or bezel); C-1 - 3 pcs. | m2 | 42,000 |
|  |  | 10.2. Interior doors |  |  |
| 109 | CK03A | Interior wooden doors in a can, on linings and balcony doors, including waterproof and thermal insulation of the frame, mounted on existing eaves on buildings with heights up to 35 m / Interior door with 2 mm metal frame in RAL 7014 color and 44 mm laminated plywood plywood 44 mm, RAL 1014 color or covered with natural ash sponge covered with mat lacquer. With 1 mm stainless steel protection plate at the bottom and 4+4 mm transparent triplex glass 4+4 mm and stainless steel door handle set, Hafele Startec model LTD 2170 (or smilar); UI-1 1150x2350(h) - 5 pcs | m2 | 10,820 |
|  |  | 10.3. Window |  |  |
| 110 | CK32B | Window blinds (Venetian blinds) for windows, venetian blinds in anodized aluminium, including accessories / Roller blinds in fabric, fastening on the glazing profile, color RAL 9016, 50% transparent | m2 | 50,000 |
| 111 | CD55A | Limestone block masonry (cotilet) walls up to 4 m high, ordinary masonry | m3 | 0,500 |
|  |  | 10.4. Hinge |  |  |
| 112 | CK18C | Mounting the perforated aluminum hinge | m | 60,000 |
|  |  | Total 10. Timplarie |  |  |
|  |  | 11. Running holes |  |  |
| 113 | RCsB31S | Drilling of holes in reinforced concrete constructions up to 500 with many layers of reinforcement, using a diamond core drilling machine with a diameter of: 200 mm / k=3,6 for drilling depth of 400mm | buc | 2,000 |
| 114 | RCsB31N | Drilling of holes in reinforced concrete constructions up to 500 with many layers of reinforcement, using a diamond core drilling machine with a diameter of: 150 mm / k=3,6 for drilling depth of 400mm | buc | 1,000 |
| 115 | RCsB29I | Drilling holes in brick and stone masonry, using a diamond core drill with a diameter of: 100 mm / k=4,5 for a drilling depth of 500mm | buc | 1,000 |
| 116 | RCsB29S | Drilling holes in brick and stone masonry, using a diamond core drilling machine with a diameter of: 200 mm / k=5,4 for a drilling depth of 600mm | buc | 1,000 |
|  |  | Total 11. Executing holes |  |  |
|  |  | TOTAL |  |  |

|  |  | Total |  |  | lei |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Social insurance |  |  | 24 % |  |  |  |  |
|  |  | Transportation costs |  |  | % |  |  |  |  |
|  |  | Supply and storage expenses |  |  |  |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Overheads |  |  | % |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Benefit of the quote |  |  | % |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Total Including salary |  |  |  |  |  |  |  |

List of works quantities

Indoor water supply and sewerage networks (WSS)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Sanitary equipment |  |  |
| 1 | SC04A | Washbasin made of semi-porcelain, sanitary porcelain, etc. including for the handicapped, with plastic drainpipe, mounted on brackets fixed on brick or reinforced concrete masonry walls. | buc | 3,000 |
| 2 | SD04A | Mixing faucet with swinging arm for washbasin or clothes washer, whatever the closing mode, including for handicapped people, with 1/2" diameter. | buc | 3,000 |
|  |  | Total 1. Sanitary equipment |  |  |
|  |  | 2. System A1 |  |  |
|  |  | 2.1. Reinforcement |  |  |
| 3 | SD19A | Straight valve with threaded ports, diameter 1/2" - 3/4" / Ball and butterfly valve D15 | buc | 4,000 |
| 4 | IC38A | Fitting, with 2 joints, made of polypropylene, polyfusion joined with reinforced polypropylene pipe, having an external diameter up to and including 20,0 mm / PPR fitting ф20x1/2" FI | buc | 6,000 |
|  |  | 2.2. Pipelines |  |  |
| 5 | SA15B | Polyfusion-welded plastic pipe in connecting pipes, sanitary, housing and social-cultural objects, diameter 20-25 mm / Polypropylene pipe PN10 ф20 ф20 | m | 20,000 |
| 6 | RpIF09B | Insulation of pipes with special insulation sleeves, placed on the pipes, with diameter and thickness from D=12x9 to D=54x9 mm / Thermal insulation for ф20 pipe | m | 20,000 |
| 7 | SF01C | Performing the pressure tightness test of the hot or cold water installation made of polyvinyl chloride pipe, heavy type or plastic, with a diameter of 16-110 mm | m | 20,000 |
| 8 | SF05C | Flushing of the cold or hot water installation, made of plastic pipes with a diameter of 20-75 mm | m | 20,000 |
|  |  | Total 2. System A 1 |  |  |
|  |  | 3. C1 System |  |  |
|  |  | 3.1. Parts |  |  |
| 9 | SA40A | Installation of fireproof plugs with dowels for fixing to the ceiling / Fireproof plug ф110 | buc | 3,000 |
| 10 | SB09E | Plastic connecting piece for sewerage, joined with rubber gasket, diameter 110 mm / Revision ф110 | buc | 2,000 |
| 11 | SB10E | Connecting piece (single branch) made of plastic material for sewage pipes, joined with rubber gasket, diameter 110 mm / Branch PP ф110x50 | buc | 3,000 |
| 12 | SB09C | Plastic connecting piece for sewers, joined with rubber gasket, diameter 50 mm / Elbow PP ф50 90* | buc | 3,000 |
|  |  | 3.2. Pipelines |  |  |
| 13 | SB08E | Plastic pipe for sewerage, with rubber gasket, surface mounted or buried under the floor, diameter 110 mm / Polypropylene pipe for sewerage PP PP ф110 | m | 38,000 |
| 14 | SA37I | Bracket for fixing the water and gas supply pipes, made of steel or PVC, mounted by recessing, the pipes having a diameter of 4". | buc | 19,000 |
| 15 | SB08C | Plastic pipe for sewerage, with rubber gasket, surface mounted or buried under the floor, diameter 50 mm / Polypropylene pipe for sewerage PP PP ф50 | m | 3,000 |
| 16 | SA37F | Bracket for fixing the water and gas supply pipes, made of steel or PVC, mounted by recessing, the pipes having a diameter of 2". | buc | 4,000 |
| 17 | SF04A | Testing of the tightness and operation of the sewerage system made of cast iron pipes, for drainage, polyvinyl chloride pipe, unplasticized, light type or plastic, ductile cast iron pipe with a diameter up to 100 mm inclusive | 10 m | 4,100 |
|  |  | Total 3. System C 1 |  |  |
|  |  | Total |  |  |

|  |  | Total |  |  | lei |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Social insurance |  |  | 24 % |  |  |  |  |
|  |  | Transportation costs |  |  | % |  |  |  |  |
|  |  | Supply and storage expenses |  |  |  |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Overheads |  |  | % |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Benefit of the quote |  |  | % |  |  |  |  |
|  |  | Total |  |  |  |  |  |  |  |
|  |  | Total: Including salary |  |  |  |  |  |  |  |

List of works quantities

Heating, ventilation, air conditioning (HVAC)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |
|  |  | 1.1. Heating |  |  |
| 1 | IB05B | Bimetal radiators, radiator body with 11-20 elements / Bimetal radiator max. temp. 120*C, max. pressure 20 bar dimensions 1040x500hx75 - 13 sections (section width 80 mm) | buc | 15,000 |
| 2 | IB05B | Bimetal radiators, radiator body with 11-20 elements / Bimetal radiator max. temp. 120*C, max. pressure 20 bar dimensions 960x500hx75 - 12 sections (section width 80 mm) | buc | 5,000 |
| 3 | IB05B | Bimetal radiators, radiator body with 11-20 elements / Bimetal radiator max. temp. 120*C, max. pressure 20 bar dimensions 880x500hx75 - 11 sections (section width 80 mm) | buc | 1,000 |
| 4 | IB20A | Support elements for heating elements, mounted on brick wall. | buc | 84,000 |
| 5 | Market price | Radiator mounting kit | buc | 21,000 |
| 6 | ID01A | Double adjustable (turn or return) fan valve for central heating installations, with nominal diameter 3/8" -1/2" / Straight (turn) thermostatic head DN=15 mm maximum working pressure 10 bar, test pressure 12 bar | buc | 17,000 |
| 7 | ID01A | Double adjustable (turn or return) fan valve for central heating installations, with nominal diameter 3/8" -1/2" / Straight valve (turn) DN=15 mm maximum working pressure 10 bar, test pressure 12 bar | buc | 4,000 |
| 8 | ID01A | Double adjustable (turn or return) vent valve for central heating installations, with nominal diameter 3/8" -1/2" / Straight valve (return) DN=15 mm maximum working pressure 10 bar, test pressure 12 bar | buc | 21,000 |
| 9 | ID04A | Through or check valve with plugs for central heating installations, with nominal diameter 1/2" -1" / Straight valve DN=25 mm maximum working pressure 10 bar, test pressure 12 bar | buc | 14,000 |
| 10 | IC53B | U2 Dutch elbow, black, with 3/4" ...1" diameter / PPR 25x1" Dutch elbow | buc | 28,000 |
| 11 | IC35B | Reinforced high-density polyethylene or reinforced or unreinforced polypropylene pipe, mounted, at the connection of heating appliances or appliances, in central heating installations, having an external diameter of 20,0 mm / PPR-AL-PPR PN20 T=90* ф20x2.8 | m | 45,400 |
| 12 | IC35C | Reinforced high-density polyethylene or reinforced or unreinforced polypropylene pipe, mounted, at the connection of heating appliances or appliances, in central heating installations, with an external diameter of 25,0 mm / PPR-AL-PPR PN20 T=90* ф25x3.5 | m | 145,000 |
| 13 | IC36F | Reinforced high-density polyethylene or reinforced or unreinforced polypropylene pipe, mounted in columns in central heating installations, with an external diameter of 75.0 mm / PPR-AL-PPR PN20 T=90* ф75x8.4 | m | 66,400 |
| 14 | IC38B | Polypropylene fitting, with 2 joints, polypropylene polyfusion joined with reinforced polypropylene pipe, with an external diameter of 25,0 mm / Elbow PPR 90* ф25x20 | buc | 20,000 |
| 15 | IC38L | Fitting with 3 joints, made of polypropylene, polyfusion joined with reinforced polypropylene pipe, with an external diameter of 75,0 mm / PPR pipe ф75x75x25 | buc | 16,000 |
| 16 | IC38H | Fitting with 3 joints, made of polypropylene, polyfusion joined with reinforced polypropylene pipe, with an external diameter of 25,0 mm / PPR pipe ф25x25x20 | buc | 32,000 |
| 17 | IC38A | Fitting, with 2 joints, made of polypropylene, polyfusion joined with reinforced polypropylene pipe, with outside diameter up to 20,0 mm, inclusive / PPR socket ф20x3/4" | buc | 19,000 |
| 18 | IC38B | Fitting with 2 polypropylene fittings, polyfusion-fused with reinforced polypropylene pipe, outer diameter 25,0 mm / PPR socket ф25x1" | buc | 57,000 |
| 19 | IC38F | Fitting with 2 polypropylene fittings, polyfusion-fused with reinforced polypropylene pipe, outer diameter 75,0 mm / PPR socket ф75x3" | buc | 11,000 |
| 20 | IC53A | U2 Dutch U-piece, black, 3/8" ...1/2" diameter / PPR Dutch P-piece ф20x1/2" (M) | buc | 56,000 |
| 21 | RpIC29D | Manual threading of 2 1/2"-4" diameter steel plumbing pipes | buc | 4,000 |
| 22 | RpIC29B | Manual threading of 1"-1 1/2" diameter steel plumbing pipes | buc | 5,000 |
| 23 | IC38F | Polypropylene fitting, with 2 joints, polypropylene polyfusion joined with reinforced polypropylene pipe, outer diameter 75.0 mm / PPR-metal fitting ф75x2 1/2" (M) | buc | 2,000 |
| 24 | IC38F | Polypropylene fitting, with 2 joints, polypropylene, polyfusion joined with reinforced polypropylene pipe, with 75,0 mm outside diameter / PPR-metal fitting ф75x2 1/2" (Fi) | buc | 2,000 |
| 25 | IC38B | Polypropylene fitting, with 2 joints, polypropylene polyfusion joined with reinforced polypropylene pipe, outer diameter 25,0 mm / PPR-metal fitting ф25x1" (M) | buc | 3,000 |
| 26 | IC38B | Fitting, with 2 joints, made of polypropylene, polyfusion joined with reinforced polypropylene pipe, with outer diameter of 25,0 mm / PPR-metal fitting ф25x1" (Fi) | buc | 1,000 |
| 27 | IC38B | Polypropylene fitting, with 2 joints, polypropylene polyfusion joined with reinforced polypropylene pipe, outer diameter 25.0 mm / PPR-metal fitting ф25x1 1/4" (M) | buc | 1,000 |
| 28 | IC40A | Bracket for fixing steel pipes for central heating or gas installation, mounted by dowels up to 1" inclusive, on PVC dowels on brick wall / Metal collar with rubber gasket and dowel d.20 | buc | 80,000 |
| 29 | IC40A | Bracket for fixing steel pipes for central heating or gas installation, mounted through dowels up to 1" inclusive, on PVC dowels on brick wall / Metal collar with rubber gasket and dowel d.25 | buc | 225,000 |
| 30 | IC40C | Bracket for fixing steel pipes for central heating or gas installation, mounted through 2 1/2" - 4" dowels, on PVC dowels on brick wall / Metal collar with rubber gasket and dowel d.75 | buc | 30,000 |
| 31 | IE01A | Carrying out the pressure tightness test of the central heating installation, with steel, copper, polyethylene or polypropylene piping, with heating bodies, heating appliances, fittings, fittings, distributors, manifolds, collectors and air venting vessels or valves, with total surface of the heating bodies up to 100 square meters | m2 | 14,640 |
| 32 | IE02A | Carrying out the test of expansion and contraction and operation of the central heating installation, with steel, copper, polyethylene or polypropylene piping, with heating bodies, heating appliances, fittings, fittings, distributors, manifolds and air venting vessels or valves, with total surface of the heating bodies up to 100 square meters | m2 | 14,640 |
| 33 | IE03A | Pressure tightness testing of the supply pipes of heating appliances (unit heaters, convection heaters, baseboard convectors, etc.) with a diameter of 3/8" ... 1" | m | 231,400 |
| 34 | IE03C | Pressure tightness testing of the supply pipes of heating appliances (unit heaters, convector heaters, baseboard convectors, etc.) with a diameter of 54 x 3,5 ... 83 x 3,5 mm | m | 66,400 |
| 35 | IE04A | Performing the expansion and contraction test and functional test of the supply pipes of heating appliances (unit heaters, convector heaters, baseboard convectors, etc.) with a diameter of 3/8" ... 1" | m | 231,400 |
| 36 | IE04C | Performing expansion, contraction and function tests on the supply pipes of heating appliances (unit heaters, convection heaters, baseboard convectors, etc.) with a diameter of 54 x 3.5 ... 83 x 3.5 mm | m | 66,400 |
| 37 | IE08A | Potable water flushing of the interior central heating installation, the total surface of the buildings being up to 100 square meters | m2 | 14,640 |
|  |  | Total 1.1 Heating |  |  |
|  |  | 1.2. Additional work |  |  |
| 38 | RCsB29S | Drilling holes in brick and stone masonry, using a diamond core drill with a diameter of: 190 mm / k=5.495 for a diameter of 210 mm and a depth of 500 mm | buc | 18,000 |
| 39 | RCsB31C | Drilling of holes in reinforced concrete constructions up to 500 with many layers of reinforcement, using a diamond core drilling machine with a diameter of: 40 mm / k=3.6 for 400 mm depth | buc | 36,000 |
| 40 | IC43A | Fabrication and installation of the protection pipe at the passage of the pipes through the floor, the pipe having a diameter of 1" -2" / Metal pipe ф32x2.5 l=400 mm | buc | 36,000 |
| 41 | RCsB31I | Drilling of holes in reinforced concrete constructions up to 500 with many layers of reinforcement, using a diamond core drilling machine with a diameter of: 100 mm / k=5.4 for depth 600mm | buc | 8,000 |
| 42 | IC44B | Making, assembling and cementing of the protection pipe at the passage of the pipes through the walls, the pipe having a diameter of 2 1/2" - 4" / Metal pipe ф89x3.0 l=600 mm | buc | 8,000 |
| 43 | CL18A | Miscellaneous metal fabrications made of laminated profiles, sheet metal, corrugated sheet metal, concrete steel, pipes for supports or coverings / Bridge over new pipes | kg | 25,000 |
| 44 | IzD10C | Anticorrosive painting of metal constructions with one coat of anticorrosive primer ГФ-21 or similar and two coats of enamel ПФ-115 or similar | t | 0,025 |
|  |  | Total 1.2 Additional work |  |  |
|  |  | 1.3. Demontari |  |  |
| 45 | RpIC19C | Dismantling of black pipes, for installations, installed in central heating by welding, in residential and social-cultural buildings, for connecting appliances, distribution columns, etc. with a diameter of 20-60 | m | 381,000 |
| 46 | RpIB12 | Cast iron radiator dismantling | buc | 59,000 |
| 47 | TrB05A1-5 | Transportation, by direct carrying, of comfortable materials weighing less than 25 kg, over a distance of 50 m | t | 5,560 |
| 48 | TrI1AA02C3 | Loading of group A materials - heavy, in dump trucks - from the ramp or ground, in a category 3 car | t | 5,560 |
| 49 | TsI50B5 | Transportation of soil by 5 t dumper truck over a distance of 15 km | t | 5,560 |
|  |  | Total 1.3 Dismantling |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Supply and storage expenses | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 1. Construction works |  |  |
|  |  | 2. Mounting work |  |  |
|  |  | 2.1. Ventilation |  |  |
| 51 | VC07A | Installation of axial fans, window fans, type VF 315 - VF 900, weighing 3,6 - 8,2 kg with motor of 0,25 - 0,55 kw | buc | 15,000 |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Total |  |  |
|  |  | Overheads |  |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote |  |  |
|  |  | Total |  |  |
|  |  | Total 2. Mounting works |  |  |
|  |  | 3. Machine |  |  |
|  |  | 3.1. Ventilation |  |  |
| 52 | Market price | PRANA-200C or analog with air preheating during cold air exchange max 140 m3/h, copper heat exchanger. Dimensions module length 500 mm, DN=200 mm | buc | 15,000 |
|  |  | 3.2. Air conditioning |  |  |
| 53 | Market price | Mobile wheeled air conditioner TROTEC PAE 81 or similar. Evaporating capacity 2800 ml/h. Power supply: 220-240 V/50/60Hz; I=0.5 A; P=125W. Refrigerant: water plus special ice packs. Easy to clean antibacterial air filter. Dimensions 395x1150hx405mm. Water storage capacity 60l. Manual and remote control operation. Class "A" energy efficiency. Low noise level | buc | 4,000 |
|  |  | Total |  |  |
|  |  | Storage purchase expenses | 1.2% |  |
|  |  | Total 3. Machine |  |  |
|  |  | Total |  |  |

List of works quantities

Indoor electricity networks (EEF/IEI)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |
| 1 | RpEJ08B | Execution of trenches with a depth of up to 5 cm in simple concrete walls of 5x50 cmp. | m | 90,000 |
| 2 | RpEJ09D | Wall trench repair up to 50 square meters | m | 90,000 |
| 3 | RpEJ08E | Execution of trenches with a depth of up to 5 cm in simple concrete walls of 5x100 cmp | m | 12,000 |
| 4 | RpEJ09E | Cutting trenches in walls between 50 and 100 cmp | m | 12,000 |
| 5 | RpCU05A1 | Execution of pull-outs for pipes or tie rods, in reinforcements, in walls or brick masonry slabs up to 15 cm thick, for mechanized pull-outs | buc | 30,000 |
| 6 | RpCU07A | Repairing voids in walls with plaster mortar, after installations or reinforcements | buc | 30,000 |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation costs | % |  |
|  |  | Total |  |  |
|  |  | Director's expenses | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Tota |  |  |
|  |  | Total 1. Construction works |  |  |
|  |  | 2. Mounting work |  |  |
| 7 | 08-03-575-1 | Device - QF circuit breakers | buc | 2,000 |
| 8 | 08-03-526-2 | Automatic mono-, bi-, three-pole, current up to 100 A / Surge limiter | buc | 1,000 |
| 9 | 08-03-572-3 | Control block for cabinet or distribution point (cabinet) execution, wall-mounted, height and width, mm, up to 600х600 (1PD, 2PD, 3PD, 1PD1, 2PD1, 1PD3, 2PD2, 3PD2) | buc | 8,000 |
| 10 | 08-03-575-1 | Device - automatic circuit breakers QF, QFD, load break switches QS | buc | 49,000 |
| 11 | 08-03-526-2 | Automatic mono-, bi-, three-pole, current up to 100 A / Surge limiter | buc | 3,000 |
| 12 | RpEF23A | Dismantling of lighting fixtures of any type, including rods and globes | buc | 54,000 |
| 13 | 08-03-594-14 | Luminaire with luminescent lamps in suspended ceilings, mounted on section, quantity of lamps, in luminaire, 4 / OPL/R lighting canopies | 100 pcs | 0,540 |
| 14 | 08-03-591-2 | Switch with one flap, buried type, in closed installation | 100 pcs | 0,050 |
| 15 | supplier price | Switch for enclosed installation with earthing, with 1 flap, IP44, 10A, 250V | buc | 5,000 |
| 16 | 08-03-591-5 | Two-key switch, non-insulated, for closed installation | 100 pcs | 0,080 |
| 17 | supplier price | Switch for enclosed installation with earthing, with 2 push buttons, IP44, 10A, 250V | buc | 8,000 |
| 18 | 08-03-591-5 | Three-lamp switch, non-drilled type, closed installation, k=1.5 | 100 pcs | 0,020 |
| 19 | supplier price | Enclosed installation circuit breaker with earthing, with 3 push buttons, IP44, 10A, 250V | buc | 2,000 |
| 20 | 08-03-591-9 | Uninsulated socket outlet in closed installation | 100 pcs | 0,360 |
| 21 | supplier price | Socket outlet for closed grounding installation, IP44, with shutter and cover, 16A, 250V | buc | 36,000 |
| 22 | supplier price | Two-position frame | buc | 11,000 |
| 23 | Supplier price | Box for sockets and switches | buc | 62,000 |
| 24 | 10-06-037-12 | Cabinets, boxes and cans for pipe installations: Distribution nozzles | 100 pcs | 0,260 |
| 25 | supplier price | Distribution box with PE saddle, flush mounted | buc | 21,000 |
| 26 | Supplier price | Box with clamps and PE rail for connecting metal elements to the potential equalization system | buc | 5,000 |
| 27 | 08-02-409-1 | Vinylplast sheeting on installed structures, diameter up to 25 mm, k=0,5 at labor | 100 m | 11,100 |
| 28 | supplier price | Polyvinyl chloride pipe d=20ммм, EN 61386-22, EN 50267-2-2 | m | 1 055,000 |
| 29 | Supplier price | Polyvinyl chloride pipe d=25ммм, EN 61386-22, EN 50267-2-2 | m | 55,000 |
| 30 | 08-02-409-7 | Vinylplast pipe on installed constructions, diameter 50 mm, k=0,5 at labor | 100 m | 0,150 |
| 31 | Supplier price | Polyvinyl chloride pipe d=40м, EN 61386-22, EN 50267-2-2 | m | 15,000 |
| 32 | 08-02-407-6 | Steel construction steel pipes installed in executed plaster trenches, on the floor support, diameter up to 25 mm | 100 m | 0,060 |
| 33 | Supplier price | Труба стальная электросварная прямошовная ф20м | m | 6,000 |
| 34 | 08-02-412-1 | Insertion of conductors in pipes and hoses, cross-section up to 2.5 mm2 | 100 m | 0,150 |
| 35 | supplier price | Copper cable ВВВГннг(А) LS-0.66 sec.2x1.5 mm2 | m | 15,000 |
| 36 | 08-02-412-2 | Insertion of conductors in pipes and hoses, cross-section up to 6 mm2 | 100 m | 5,160 |
| 37 | supplier price | Copper cable ВВВГннг(А) LS-0.66 sec.3x1.5 mm2 | m | 500,000 |
| 38 | supplier price | Copper cable ВВВГннг(А) LS-0.66 sec.4x1.5 mm2 | m | 6,000 |
| 39 | 08-02-412-3 | Insertion of conductors in pipes and hoses, cross-section up to 16 mm2 | 100 m | 5,400 |
| 40 | supplier price | Copper cable ВВВГннг(А) LS-0.66 sec.3x2.5 mm2 | m | 440,000 |
| 41 | 08-02-412-4 | Insertion of conductors into pipes and hoses: cross-section up to 35 mm2 | 100 m | 0,550 |
| 42 | supplier price | Copper cable ВВВГннг(А) LS-0.66 sec.3x6.0 mm2 | m | 55,000 |
| 43 | 08-02-148-1 | Cables up to 35 kV in pipes, blocks and boxes, mass 1 m up to: 1 kg | 100 m | 0,800 |
| 44 | supplier price | Copper power cable ВВВГннг(A) LS sec.5x16,0 mm2 | m | 80,000 |
| 45 | 08-02-412-3 | Inserting conductors into pipes and hoses: cross-section up to 16 mm2 | 100 m | 0,800 |
| 46 | supplier price | Non-combustible copper cable ВВВГнг(A) FRLS-0.66 sec.3x2,5 mm2 | m | 80,000 |
| 47 | 08-02-146-1 | Cable up to 35 kV, fixing with applied clamps, mass 1 m up to: 0,5 kg | 100 m | 0,300 |
| 48 | supplier price | Single-wire flexible conductor ПB1 sec. 1х6.0mm2 | m | 30,000 |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation costs | % |  |
|  |  | Supply and storage expenses | % |  |
|  |  | Total |  |  |
|  |  | Director's expenses | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 2. Mounting works |  |  |
|  |  | 3. Machine |  |  |
| 49 | supplier price | Three-pole automatic circuit breaker, card B, Iн=40А, type QF/3P/B40A or analog | buc | 1,000 |
| 50 | supplier price | Automatic single-pole circuit breaker, card B, Iн=10А, type QF/1P/B10A or analog | buc | 1,000 |
| 51 | supplier price | Surge arrester type ООПСС1-В 4Р In=30kA or analog | buc | 1,000 |
| 52 | supplier price | Recessed mounted metal distribution panel, dim.395(h)x310x120, with capacity of 24 modules, IP31, equipped with a 12-position N-type 1 pc. latch and busbars, 12-position PE-type 1 pc. and a 63A, 3P, 1000mm 1 pc. connection rail - ЩРРвв-24з, IP31 (1PD) | buc | 1,000 |
| 53 | supplier price | Three-pole automatic circuit breaker, card B, Iн=32А, type QF/3P/B32A or analog | buc | 1,000 |
| 54 | supplier price | Automatic single-pole circuit breaker, card B, Iн=25А, type QF/1P/B25A or analog | buc | 1,000 |
| 55 | supplier price | Automatic single-pole circuit breaker, card B, Iн=6А, type QF/1P/B6A or analog | buc | 2,000 |
| 56 | supplier price | Surge arrester type ООПСС1-В 4Р In=30kA or analog | buc | 1,000 |
| 57 | supplier price | Flush mounted metal distribution panel, dim.550(h)x310x120, with capacity of 36 modules, IP31, equipped with a 12-position N type 2pcs, 12-position PE type 2pcs and a 63A, 3P, 1000mm 1pcs connection cable - ЩРв-36з (2PD, 3PD) | buc | 2,000 |
| 58 | supplier price | Three-pole automatic circuit breaker, card B, Iн=32А, type QF/3P/B32A or analog | buc | 2,000 |
| 59 | supplier price | Automatic single-pole circuit breaker, card B, Iн=25А, type QF/1P/B25A or analog | buc | 4,000 |
| 60 | supplier price | Automatic single-pole circuit breaker, card B, Iн=16А, type QF/1P/B16A or analog | buc | 1,000 |
| 61 | supplier price | Automatic single-pole circuit breaker, card B, Iн=6А, type QF/1P/B6A or analog | buc | 6,000 |
| 62 | supplier price | Automatic current differential circuit breaker, bipolar, type. "A" with car. "B", In=16А, 10мА, Un=230V type QFD/2P/B | buc | 2,000 |
| 63 | supplier price | Surge arrester type ООПСС1-В 4Р In=30kA or analog | buc | 2,000 |
| 64 | supplier price | Flush mounted metal distribution panel, dim.550(h)x310x120, with capacity of 36 modules, IP31, equipped with a 12-position N type busbars - 1 pc, 12-position PE type busbars - 1 pc and a 63A, 3P, 1000mm 1 pc connection rail - ЩРРв-36з (1PD1, 2PD1, 1PD3) | buc | 3,000 |
| 65 | supplier price | Load switch Iн=32А, type QS/2P/32A or analog | buc | 3,000 |
| 66 | supplier price | Automatic single-pole circuit breaker, card B, Iн=6А, type QF/1P/B6A or analog | buc | 3,000 |
| 67 | supplier price | Automatic current differential circuit breaker, bipolar, type. "A" with car. "B", In=16А, 30мА, Un=230V type QFD/2P/B | buc | 16,000 |
| 68 | supplier price | Recessed mounted metal distribution panel, dim.395(h)x310x120, with capacity of 24 modules, IP31, equipped with a 12-position N-type 1 pc. latch and busbars, 12-position PE-type 1 pc. and 63A, 3P, 1000mm 1 pc. connection cable - ЩРРвв-24з, IP31 (2PD2, 3PD2) | buc | 2,000 |
| 69 | supplier price | Load switch Iн=32А, type QS/2P/32A or analog | buc | 2,000 |
| 70 | supplier price | Automatic single-pole circuit breaker, card B, Iн=6А, type QF/1P/B6A or analog | buc | 2,000 |
| 71 | supplier price | Automatic current differential circuit breaker, bipolar, type. "A" with car. "B", In=16А, 30мА, Un=230V type QFD/2P/B | buc | 4,000 |
| 72 | supplier price | LED luminaire, recessed mounting, 35 W, 3544 lm, 4000 K, IP20, 230V, 595x595x25, type OPL/R ECO LED or analog type OPL/R ECO LED | buc | 54,000 |
| 73 | supplier price | Luminaire for illumination of school blackboards with wall bracket, dimensions 1445x630x250 mm, with 48 LED modules 20 W, 2150 lm, IP41, type LE-SBO-14-020-7005-20D or similar | buc | 4,00 |
|  |  | Total |  |  |
|  |  | Supply and storage costs | 1.2% |  |
|  |  | Total 3. Machine |  |  |
|  |  | Total: Including salary |  |  |

List of works quantities

Fire signaling (SI)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |
| 1 | RpCU05F1 | Execution of pulling for pipes or tie rods in stone or reinforced concrete walls of 16-25 cm thickness, for mechanized pulling execution | buc | 30,000 |
| 2 | RpCU06C1 | Execution of trenches up to 5 cm deep, in stone or reinforced concrete walls of 5 x 50 cm2, for mechanized execution | m | 20,000 |
| 3 | RpCU07A | Repairing voids in walls with plaster mortar, after installations or reinforcements | buc | 30,000 |
| 4 | RpCU07D | Repairing trenches in walls up to 50 cm2, after installation or consolidation | m | 20,000 |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 1. Construction works |  |  |
|  |  | 2. Mounting work |  |  |
|  |  | 2.1. Fire signaling |  |  |
| 5 | 10-08-001-01 | Receiving devices: fire detection center | buc | 1,000 |
| 6 | 10-08-001-07 | 4-zone expansion module installation | 10 pcs | 0,300 |
| 7 | 10-08-003-03 | Devices: power supply and control | buc | 1,000 |
| 8 | 08-01-121-1 | Stationary acid accumulator, type: С-1, СК-1 | buc | 1,000 |
| 9 | 08-03-575-1 | Transmitter Device | buc | 1,000 |
| 10 | 10-08-003-03 | Devices: power supply and control | buc | 1,000 |
| 11 | 08-01-121-1 | Stationary acid accumulator, type: С-1, СК-1 | buc | 1,000 |
| 12 | 10-08-002-02 | Automatic "ПСС" warnings: smoke, photoelectric, radioisotope, radioisotope, light in normal operation | buc | 30,000 |
| 13 | 08-03-591-3 | Manual fire extinguisher | 100 pcs | 0,060 |
| 14 | 10-08-001-07 | MR8 relay module mounting | 10 pcs | 0,100 |
| 15 | 08-03-575-1 | Relay device | buc | 2,000 |
| 16 | 10-06-037-12 | Cabinets, boxes and canisters for pipe installations: Terminal dose | 100 pcs | 0,090 |
| 17 | Supplier price | Junction box | buc | 9,000 |
| 18 | 08-02-412-1 | Inserting conductors into pipes and hoses: cross-section up to 2.5 mm2 | 100 m | 5,000 |
| 19 | Supplier price | Fire signaling cable with 2 conductors, cross-section S=0.8 mmp, complying with the national standard - ГОССТ 31565-2012, fire resistance limit at least 30 minutes, JE-H(St)H-1x2x2x0.8 mmp EI30 | m | 350,000 |
| 20 | Supplier price | Fire signaling cable with 2 conductors, cross-section S=0.8 mmp, complying with the national standard - ГОССТ 31565-2012, with a fire resistance of at least 90 minutes, JE-H(St)H-1x2x2x0.8 mmp EI90 | m | 100,000 |
| 21 | Supplier price | Fire signaling cable with 2 conductors, cross-section S = 1.0 mmp, complying with the national standard - ГОССТ 31565-2012, fire resistance limit at least 30 minutes, JE-H(St)H-1x2x2x1.0 mmp | m | 80,000 |
| 22 | 08-02-412-2 | Inserting conductors in pipes and hoses: cross-section up to 6 mm2 | 100 m | 0,200 |
| 23 | Supplier price | Cable with copper conductors 2x22x4, 24 AWG, Cat. 5e, EI90 | m | 20,000 |
| 24 | 08-02-409-1 | Vinylplast sheeting on installed constructions, on walls and columns, fastening with toothpicks, diameter up to 25 mm, k=0,5 at labor | 100 m | 3,500 |
| 25 | Supplier price | Corrugated PE corrugated PE ф20 | m | 350,000 |
| 26 | 08-02-390-1 | Plastic channels up to 40 mm wide. | 100 m | 0,500 |
| 27 | Supplier price | PE cable 25x16 mm | m | 50,000 |
| 28 | 08-02-390-3 | Plastic channels with width: up to 120 mm. | 100 m | 0,120 |
| 29 | Supplier price | PE cable 80x40 mm | m | 12,000 |
| 30 | 10-06-037-05 | Cabinets, boxes and boxes for pipe installations: Wall cabinet, size, mm, up to: 640х840 | buc | 1,000 |
| 31 | 08-02-412-1 | Inserting conductors into pipes and hoses: cross-section up to 2.5 mm2 | 100 m | 1,500 |
| 32 | Supplier price | Audio cable with 2 conductors, cross-section S=0.8 mm2, complying with the national standard - ГОССТ 31565-2012, with a fire resistance limit of at least 30 minutes | m | 150,000 |
| 33 | 10-06-037-12 | Cabinets, boxes and canisters for pipe installations: Terminal dose | 100 pcs | 0,150 |
| 34 | Supplier price | Junction box | buc | 15,000 |
|  |  | Total 2.1 Fire signaling |  |  |
|  |  | 2.2. Demontari |  |  |
| 35 | 10-04-066-05 | Dismantling diffusers for subsequent reassembly / labor only, k=0.5 | buc | 10,000 |
| 36 | RpEA11A | Dismantling of pipes or protective elements, surface mounted, made of PVC (IP or IP-PVC), up to 20 mm in diameter, including removal of conductors | m | 400,000 |
| 37 | RpED17A | Dismantling of electricity cables, section 16-35 mmp, loosely installed in trenches | m | 90,000 |
| 38 | 10-08-002-02 | Smoke detector removal / labor only, k=0.5 | buc | 36,000 |
| 39 | 10-04-066-05 | Dismantling of the lesson start and end warning light / labor only, k=0.5 | buc | 3,000 |
|  |  | Total 2.2 Dismantling |  |  |
|  |  | 2.3. Other works |  |  |
| 40 | 10-04-066-05 | Apparatus: Wall diffuser / Previously dismantled diffuser | buc | 10,000 |
|  |  | Total 2.3 Other works |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Supply and storage expenses | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Tota |  |  |
|  |  | Total 2. Mounting works |  |  |
|  |  | 3. Machine |  |  |
|  |  | 3.1. Fire signaling |  |  |
| 41 | Supplier price | Fire panel - fire detection panel with output for siren and radio transmitter, 260/720 mA, with RIP, MAG 8Plus, Teletek, in metal housing, with glass door, with key or analog | buc | 1,000 |
| 42 | Supplier price | Teletek or analog 4-zone expansion mode | buc | 3,000 |
| 43 | Supplier price | Power supply 12V 7A Teletek or analog | buc | 1,000 |
| 44 | Supplier price | Battery 12V 17A/ч | buc | 1,000 |
| 45 | Supplier price | GSM data transmitter with transmission of min. 2 separate channels, in metal housing GSM type GSS-02 or analog module | buc | 1,000 |
| 46 | Supplier price | Power supply 12V 7A in metal shield | buc | 1,000 |
| 47 | Supplier price | Battery 12V 7A | buc | 1,000 |
| 48 | Supplier price | Smoke detector 0.10/19.5 mA type Teletek SENSO MAG-S30 with detector socket for ceiling or analog installation | buc | 30,000 |
| 49 | Supplier price | Teletek SENSO MAG MCP 50 or analog 0.10/1.20 mA manual fire release | buc | 6,000 |
| 50 | Supplier price | Relay module for connection and integration with fire panel, Teletek MR8 in required or analog housing | buc | 1,000 |
| 51 | Supplier price | Relay with 4 contacts in corpus type РЭК-77/4 or analog | buc | 2,000 |
| 52 | Supplier price | Red metal housing with glass door, with key, for fire panel installation in the corridor | buc | 1,000 |
|  |  | Total 3.1 Fire signaling |  |  |
|  |  | Total |  |  |
|  |  | Storage purchase expenses | 1,2 % |  |
|  |  | Total 3. Machine |  |  |
|  |  | Total |  |  |
|  |  | Total Including salary |  |  |

List of works quantities

Automatic security signaling (SPA)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |
| 1 | RpCU05F1 | Execution of pull-outs for pipes or tie rods in stone or reinforced concrete walls of 16-25 cm thickness, for mechanized pull-outs execution | buc | 15,000 |
| 2 | RpCU07A | Repairing voids in walls with plaster mortar, after installations or reinforcements | buc | 15,000 |
| 3 | RpCU06C1 | Execution of trenches up to 5 cm deep, in stone or reinforced concrete walls of 5 x 50 cm2, for mechanized execution | m | 15,000 |
| 4 | RpCU07D | Repairing trenches in walls up to 50 cm2, after installation or consolidation | m | 15,000 |
|  |  | Total 1. Construction works |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 1. Construction works |  |  |
|  |  | 2. Mounting work |  |  |
| 5 | 10-08-001-02 | Receivers - Logic device for guarding with 128 zones in metal panel | buc | 1,000 |
| 6 | 10-08-001-08 | Receivers: Expansion board for 8 zones | buc | 1,000 |
| 7 | 10-08-003-03 | Devices: power supply and control | buc | 1,000 |
| 8 | 08-01-121-1 | Stationary acid accumulator, type: С-1, СК-1 | buc | 1,000 |
| 9 | 10-08-001-07 | Radio transmitter installation | 10 pcs | 0,100 |
| 10 | 10-08-003-03 | Devices: power supply and control | buc | 1,000 |
| 11 | 08-01-121-1 | Stationary acid accumulator, type: С-1, СК-1 | buc | 1,000 |
| 12 | 10-08-001-13 | Mount the keyboard | buc | 2,000 |
| 13 | 10-08-001-07 | Mount converter | 10 pcs | 0,10 |
| 14 | 10-08-002-05 | Automatic "ОС" warnings: contact-switching, without electromagnetic or piezoelectric contact, installed on glass | buc | 15,000 |
| 15 | 10-08-002-04 | Automatic "ОС" alarms: contact, magnetic contact when opening windows, doors | buc | 7,000 |
| 16 | 10-04-066-06 | Wall switchgear: Siren | buc | 2,000 |
| 17 | 08-02-412-1 | Insertion of conductors in metal pipes and hoses: first single-wire or multi-wire conductor in common strand, cross-section up to 2,5 mm2 | 100 m | 5,500 |
| 18 | Supplier price | Signalling cable with halogen-free insulated copper conductors type C.A. HF 4x0.5 mmp | m | 550,000 |
| 19 | 08-02-412-2 | Insertion of conductors in metal pipes and hoses: first single-wire or multi-wire conductor in common strand, cross-section up to 6 mm2 | 100 m | 1,300 |
| 20 | Supplier price | Power cable with copper conductors type VVGng-HF 3x1.0 mm2 | m | 30,000 |
| 21 | Supplier price | Cable with copper conductors 2x22x4, 24 AWG, Cat. 5e | m | 100,000 |
| 22 | 08-02-409-1 | Vinylplast sheeting on installed constructions, on walls and columns, fixing with toothpicks, diameter up to 25 mm | 100 m | 5,000 |
| 23 | Supplier price | Corrugated PE corrugated PE ф20 | m | 500,000 |
| 24 | 08-02-390-1 | Plastic channels up to 40 mm wide. | 100 m | 0,600 |
| 25 | Supplier price | PE cable 25x16 mm | m | 60,000 |
|  |  | Total 1. Assembly works |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Supply and storage expenses | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 1. Mounting works |  |  |
|  |  | 3. Machine |  |  |
| 26 | Supplier price | Logic device for guarding with 128 zone management, with output for siren and radio transmitter, with RIP, 12 V, 200 mA (type "Integra 128 plus", Satel), in metal panel. or analog | buc | 1,000 |
| 27 | Supplier price | 8 zone 35/80 mA expansion board (type "INT-E", Satel) or analog | buc | 1,000 |
| 28 | Supplier price | Power supply 12V, 6A, with battery charging (type APS-612, Satel) or analog | buc | 1,000 |
| 29 | Supplier price | Battery 12V 7A | buc | 1,000 |
| 30 | Supplier price | Radio transmitter, LARS, LARS1, 1500 mA type ATS-100 or analog | buc | 1,000 |
| 31 | Supplier price | Power supply 12V 7A in metal shield | buc | 1,000 |
| 32 | Supplier price | Battery 12V 7A | buc | 1,000 |
| 33 | Supplier price | Keypad for security system, 60/110 mA (type "INT-KLFR-SSW", Satel) or analog | buc | 2,000 |
| 34 | Supplier price | RS485/USB converter | buc | 1,000 |
| 35 | Supplier price | 16.5/18 mA (LC 102 type) or analog 16.5/18 mA (LC 102 type) or analog | buc | 15,000 |
| 36 | Supplier price | Magnetic door contact | buc | 7,000 |
| 37 | Supplier price | Siren with light, 150 mA, 90dB | buc | 2,000 |
|  |  | Total 3. Machine |  |  |
|  |  | Total |  |  |
|  |  | Storage purchase expenses | 1,2 % |  |
|  |  | Total |  |  |
|  |  | Total Including salary |  |  |

List of works quantities

Telephone and signaling communications (TS)

| № crt. | Standards and resource code symbol | Name of works | Unit of | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | 1. Construction works |  |  |
| 1 | RpCU05F1 | Execution of pull-outs for pipes or tie rods in stone or reinforced concrete walls of 16-25 cm thickness, for mechanized pull-outs execution | buc | 40,000 |
| 2 | RpCU06C1 | Execution of trenches up to 5 cm deep, in stone or reinforced concrete walls of 5 x 50 cm2, for mechanized execution | m | 20,000 |
| 3 | RpCU07A | Repairing voids in walls with plaster mortar, after installations or reinforcements | buc | 40,000 |
| 4 | RpCU07D | Repairing trenches in walls up to 50 cm2, after installation or consolidation | m | 20,000 |
|  |  | Total 1. Construction works |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Supply and storage expenses | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 1. Construction works |  |  |
|  |  | 2. Mounting work |  |  |
|  |  | 2.1. LAN network |  |  |
| 5 | 10-06-037-0 | Wall cabinet, size, mm, up to: 640х840 | buc | 1,000 |
| 6 | 10-03-013-01 | Mount Router | buc | 1,000 |
| 7 | 10-03-013-05 | Access switch installation | buc | 1,000 |
| 8 | 10-04-101-07 | Mount access point | buc | 3,000 |
| 9 | 10-04-030-01 | Mount PDU | buc | 1,000 |
| 10 | 10-08-003-03 | Mount UPS | buc | 1,000 |
| 11 | 08-03-591-8 | Uninsulated socket outlet with open installation | 100 pcs | 0,010 |
| 12 | Market price | Electrical socket for UPS connection, 220V, 16А | buc | 1,000 |
| 13 | 10-04-030-01 | Mount Patch-panel | buc | 1,000 |
| 14 | 10-04-030-01 | Install cable management | buc | 5,000 |
| 15 | 10-02-051-03 | Laying, connecting cables, conductors, bars: Cable connection points between sections of a stand: with laying in cable channel - Patch Cord FTP, UTP | 100 pcs | 0,480 |
| 16 | 08-02-412-2 | Inserting conductors in pipes and hoses: cross-section up to 6 mm2 | 100 m | 19,80 |
| 17 | Market price | Cat.5e cable with 4x2 copper conductors, 24 AWG, solid, HF (according to STAS 31565-2012) | m | 1980,000 |
| 18 | 10-04-066-07 | Wall-mountable: RJ-45 socket | buc | 22,000 |
| 19 | Market price | Socket for 2 RJ45 modules - frame and bracket, built-in, wall installation (including RJ45 Cat. 5e module) | buc | 11,000 |
| 20 | Market price | Wall socket installation box, made of PE ф80mm, 70mm | buc | 22,000 |
| 21 | 08-02-409-1 | Vinylplast sheeting on installed constructions, on walls and columns, fastening with toothpicks, diameter up to 25 mm, k=0,5 at labor | 100 m | 16,500 |
| 22 | Market price | Corrugated PE corrugated PE ф20 | m | 1 650,000 |
| 23 | 08-02-390-1 | Plastic channels up to 40 mm wide. | 100 m | 0,500 |
| 24 | Market price | PE cable 25x16 mm | m | 50,000 |
| 25 | 08-02-390-3 | Plastic channels with width: up to 120 mm. | 100 m | 0,500 |
| 26 | Market price | PE cable 80x40 mm | m | 50,000 |
| 27 | 10-04-030-01 | Mount shelf | buc | 2,000 |
|  |  | Total 2.1 LAN network |  |  |
|  |  | 2.2. Video surveillance |  |  |
| 28 | 10-04-067-23 | Video camera video control device | buc | 6,000 |
| 29 | 10-08-002-06 | Construction for installing video cameras | buc | 6,000 |
| 30 | 10-01-001-10 | Central Equipment: Video recorder | buc | 1,000 |
| 31 | 10-04-101-10 | Subscription and miscellaneous equipment: Hard disk | buc | 4,000 |
| 32 | 10-02-051-03 | Laying, connecting cables, conductors, rods: Cable connection points between sections of a stand: with laying in cable channel - RJ45 connector, Cat.5e, for connecting video cameras. | 100 pcs | 0,200 |
| 33 | Market price | RJ-45 connector cat. 5e | buc | 20,000 |
| 34 | 08-02-412-2 | Inserting conductors in pipes and hoses: cross-section up to 6 mm2 | 100 m | 6,100 |
| 35 | Market price | Cat.5e cable with 4x2 copper conductors, 24 AWG, solid, HF (according to STAS 31565-2012) | m | 610,000 |
| 36 | 08-02-409-1 | Vinylplast sheeting on installed constructions, on walls and columns, fastening with toothpicks, diameter up to 25 mm, k=0,5 at labor | 100 m | 4,000 |
| 37 | Market price | Corrugated PE corrugated PE ф20 | m | 400,000 |
|  |  | Total 2.2 Video surveillance |  |  |
|  |  | 2.3. Dismantling |  |  |
| 38 | RpEE24A | Dismantling of electrical appliances for high current : single pole (circuit breakers, switches, sockets for dismantling or replacement, remote control buttons) | buc | 10,000 |
| 39 | 10-04-030-01 | Removal of 8 port switch / labor only, k=0.5 | buc | 2,000 |
| 40 | 10-04-067-22 | Dismantling video camera / labor only, k=0.5 | buc | 6,000 |
| 41 | RpEA11A | Dismantling of pipes or protective elements, surface mounted, made of PVC (IP or IP-PVC), up to 20 mm in diameter, including removal of conductors | m | 200,000 |
|  |  | Total 2.3 Dismantling |  |  |
|  |  | Total 2. Mounting works |  |  |
|  |  | Total | lei |  |
|  |  | Social insurance | 24 % |  |
|  |  | Transportation of materials | % |  |
|  |  | Expenditure on supplies - storage | % |  |
|  |  | Total |  |  |
|  |  | Overheads | % |  |
|  |  | Total |  |  |
|  |  | Benefit of the quote | % |  |
|  |  | Total |  |  |
|  |  | Total 2. Mounting works |  |  |
|  |  | 3. Machine |  |  |
|  |  | 3.1. LAN network |  |  |
| 42 | Market price | Wall cabinet 12U, 600x600 mm, 19", disassembled, glass door (load up to 80 kg), for 19" equipment, sides are detachable with a lock, with fasteners included set (IT 19", 12U (DT) | buc | 1,000 |
| 43 | Market price | NGFW Router/Firewall, with min. 6 RJ-45 auto-negotiating 1 Gbps + 2 SFP 1 Gbps, IPS Throughput - min. 1.4 Gbps, NGFW Throughput - min. 1 Gbps, Threat Protection Throughput - min. 900 Gbps, IPv4 Firewall Throughput (1518/512/64 byte UDP packets) - 10/10/7 Gbps, Firewall Latency (64 byte UDP packets) - min. 3.23 ms, Firewall Throughput (Packets Per Second) - min. 10 Mpps, SSL-VPN Throughput - min. 950 Mbps, 19", 1U, included transceivers 1 Gbps - 2buc ( Fortinet, FortiGate 80F) or analog | buc | 1,000 |
| 44 | Market price | Access switch, with 24 RJ-45 POE+ auto-negotiating 1 Gbps + min. 2 SFP+ 10 Gbps; min. 512 Mb DDR3 DRAM, Throughput min. 190 Mpps; Switching capacity 128 Gbps; MAC address table size min. 32k; VLAN table min. 4K; QoS, SSL, RSTP, BPDU, LLDP, LACP, CLI, ACL, DHCP-Snooping, IPv4 and IPv6 Management, Telnet/SSH; 19", 1U; P.el. = max. 455 W (type Fortinet, FortiSwitch 124F-FPOE) or analog | buc | 1,000 |
| 45 | Market price | Wi-Fi access point; wall and ceiling mount indoor; min. 1 x RJ-45 1 Gbps POE+ (802.3at); Bluetooth BLE; Integrated number of radios 2.4/5.0/6 GHz; aggregated wireless speed min 2.0 Gbps; built-in omni antennas 3.2 dBi for 2.4GHz, 5.3 dBi for 5 GHz; 6 dBi for 6 GHz; BSSID - 8 per radio; Standards 802.11/a/b/g/n/ac/ax; features DL/UL MU-MIMO (Ubiquiti UniFi 6 Enterprise) or analog | buc | 3,000 |
| 46 | Market price | PDU (Power distribution unit), 1U, 16A, 200-240V, 50/60Hz, Out-min. 6xCEE 7/3, In-UPS plug 1xIEC 20, horizontal mounting for 19" rack, with safety button | buc | 1,000 |
| 47 | Market price | UPS 19", 2U, 1500VA/1500W, Length/Depth max. 500 mm, output min. 6xIEC C13, input min. 1xIEC C14 sockets, Single Phase 220V/230V/240V | buc | 1,000 |
| 48 | Market price | Cat5e UTP modular patch panel, fully equipped with 24xRJ45 modules, 19", 1U | buc | 1,000 |
| 49 | Market price | Cable management 1U 19" (Cable organizer), horizontal | buc | 5,000 |
| 50 | Market price | Patch Cord 2.0 m, copper, FTP Cat. 6A | buc | 4,000 |
| 51 | Market price | Patch Cord Cable 0.5 m, copper, UTP Cat. 5e | buc | 24,000 |
| 52 | Market price | Patch Cord 1.0 m, copper, UTP Cat. 5e | buc | 10,000 |
| 53 | Market price | Patch Cord Cable 3.0 m, copper, UTP Cat. 5e | buc | 10,000 |
| 54 | Market price | Shelf for installation in DT cabinet, 19" | buc | 2,000 |
|  |  | Total 3.1 LAN network |  |  |
|  | Market price | 3.2. Video surveillance |  |  |
| 55 | Market price | Camcorder, indoor, min. 2688x1520, min. 2688x1520, 1/1.8" CMOS, IR=min.30 m, 2.8 mm fixed lens, 802.3 af (Hikvision type, DS-2CD2047G2-LU/LS) with Micro Sd 64Gb, Class 10 or analog | buc | 10,000 |
| 56 | Market price | Camcorder, indoor, 2560x1440, 1/3" CMOS, 1.6 mm fisheye lens, 802.3 af for installation in chemical experiment cabinet (type Hikvision, DS-2CD2942F) or analog | buc | 1,000 |
| 57 | Market price | Video recorder, 32-ch, 4xSATA interfaces, H.265+, H.265, H.264+, H264, with built-in POE switch 16xRJ45 POE, max. power consumption 200W (type Hikvision, DS-7732NI-14/16P(B) or analog | buc | 1,000 |
| 58 | Market price | Video Surveillance Hard Disk, 3.5", 6TB/256M/SATA 6Gb/s/RV Sensor | buc | 4,000 |
|  |  | Total 3.2 Video surveillance |  |  |
|  |  | Total 3. Machine |  |  |
|  |  | Total |  |  |
|  |  | Storage purchase expenses | 1,2 % |  |
|  |  | Total |  |  |
|  |  | Total Including salary |  |  |