## AMR_RAM
Annex 4
ITB 2025/EURO/MDA/0006
Procurement of laboratory consumables for the National Agency for Public Health_AMR programme
Price Schedule Form
#No | Item description | Technical Specification | Technical specification (supplier proposal) | UM | Quantity | Price/unit USD, VAT exclusive | Amount, USD | Comments
Devices for diagnostic procedures
Reagents, tests and sensititers
1 | Defibrinated ram blood used to prepare blood agar | One vial of 50 ml | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Vial | 200 | 0 | 0 | please provide earliest delivery time, but not later than 16.06.2025
2 | Optochin disc (5 mcg) for differentiation of S. pneumoniae | Packaging = vial of 50 discs | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Vial | 5
3 | Rapid diagnostic tests for the detection of carbapenemases Resist-5 OXA-48, KPC, NDM, VIM, IMP from bacterial culture | Piece = Set of 2 lateral flow cassettes for the identification of OXA-48, KPC, NDM and VIM, IMP and LY-D buffer solution (Tris-EDTA solution containing NaN3 (<0.1%) + detergent), 7.0 ml for 20 tests | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
4 | Rapid immunochromatographic assay for the detection of OXA-23 carbapenemase in bacterial cultures | Piece = Set with a lateral flow cassette for the identification of OXA-23 carbapenemase in bacterial culture and LY-A buffer solution (buffered saline solution at pH 7.5 containing TRIS, NaN3 (<0.1%) + detergent), 15.0 ml for 20 tests. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
5 | Rapid immunochromatographic test C. difficile GDH+Toxin A+B, combo card for the qualitative detection of glutamate dehydrogenase (GDH), toxin A and toxin B in C. difficile in feces. | "Piece=kit/ 20 tests Detection limit from: 0.10 ng/mL C. difficile GDH, 0.25 ng/mL C. difficile Toxin A, 0.19 ng/mL C. difficile Toxin B Positive control GDH, Tox A/B - present in the kit. Sensitivity >97% and specificity >95%, result in maximum 15 min. " | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
6 | Test for the in vitro detection of AmpC ß-lactamase in Enterobacterales | Piece = Set of 3 cartridges with 50 discs impregnated with Cefpodoxime 10µg + AmpC inducer, 50 discs impregnated with Cefpodoxime 10µg + AmpC inducer + ESBL inhibitor, 50 discs impregnated with Cefpodoxime 10µg + AmpC inducer + ESBL inhibitor + AmpC inhibitor, REF D69C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
7 | Test for the in vitro detection of ESBL in Enterobacterales | Piece = Set of 4 cartridges with 50 discs impregnated with Cefotaxime 5µg, 50 discs impregnated with Cefotaxime 5µg + clavulanic acid 10µg, 50 discs impregnated with Ceftazidime 10µg, 50 discs impregnated with Ceftazidime 10µg + clavulanic acid 10µg, REF D76C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 8
8 | Test for the in vitro detection of ESBL in Enterobacterales | Piece = Set of 6 cartridges with 50 discs impregnated with Cefotaxime 30µg, 50 discs impregnated with Cefotaxime 30µg + clavulanic acid 10µg, 50 discs impregnated with Ceftazidime 30µg, 50 discs impregnated with Ceftazidime 30µg + clavulanic acid 10µg, 50 discs impregnated with Cefpodoxime 10µg, 50 discs impregnated with Cefpodoxime 10µg + clavulanic acid 10µg REF D67C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 8
9 | Colorimetric test for the rapid detection of Enterobacterales, Pseudomonas spp., Acinetobacter spp. producing carbapenemases (OXA 48 and OXA 23-like) from bacterial culture | Piece = Set of 4 PEL vials with inhibitors + lysis components and 4 RB vials with buffer solution with chromogenic indicator for 48 tests. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 11
10 | Combi carba plus test for the in vitro detection and confirmation of carbapenemases in Enterobacterales, MBL, KPC and OXA-48 | Piece = Set of 5 cartridges with 50 discs impregnated with penem, 50 discs impregnated with Penem + MβL inhibitor, 50 discs impregnated with Penem + KPC inhibitor, 50 discs impregnated with Penem + AmpC inhibitor, 50 discs impregnated with Temocillin + MβL inhibitor, REF D73C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
11 | Latex test for the detection of Str. gr. B, H. infl. Type B, S. pneumoniae, N. meningitidis | Piece = set (30 tests). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 1
12 | 0.5 McFarland Standard, E1041 | Compatible with Thermo Scientific Sensititre Nephelometer, REF V3011 | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 1
13 | Mueller–Hinton agar | Packaging - 0.5 kg. Beef infusion from 300 g/l, Casein hydrolysate - 17.5g/litru, amidon - 1.5 g/l, agar- 17.0 g/l | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kilogram | 10
14 | Chromogenic medium UTI Agar modified/Brilliance UTI Agar | AgarPackaging - 0.5 kg. Composition g/l- peptone-15,0 g/l, chromogenic mixture-26,800 g/l, agar-15,0 g/l, pH-6,8 ±0,2 | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kilogram | 7
15 | Columbia agar base | Packaging - 0.5 kg. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kilogram | 9
16 | Tryptone Soy Agar (Tryptone-Soy Agar) | Packaging - 0.5 kg. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kilogram | 3
17 | Sensititre Dosing Heads, E3010 | Piece = Set 100 doseheads;; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
18 | Sensititre Sterile Water, T3339 | Piece = Set of 100 vials x 5 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 9
19 | Sensititre Mueller Hinton Broth, T3462 | Piece = Set of 100 vials x 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
20 | Sensititre Mueller Hinton Broth, T3462-05 | Piece = Set of 100 vials x 5 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
21 | Sensititre Mueller Hinton Broth w/Lysed Horse Blood -manual read, CP112-10 | Piece = Set of 10 vials x 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
22 | Sensititre Yeast ONe broth, T3462 | Piece = Set of 10 vials x 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 8
23 | Sensititre Mueller Hinton Broth w/Lysed Horse Blood – autoread, CP11410 | Piece = Set of 10 vials x 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 4
24 | Sensititre HTM, T3470 | Piece = Set of 10 vials x 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 5
25 | Sensititre Gram Negative EUMDRXXF Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 16
26 | Sensititre Gram Negative ESB1F Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
27 | Sensititre Gram Negative EUX2NF Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
28 | Sensititre Gram Positive EUSTAPF Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 2
29 | Sensititre Gram Positive EUENCF Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 2
30 | Sensititre Haemophilus and Streptococcus pneumoniae HPB1 Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 1
31 | Sensititre EU Surveillance Salmonella/E. coli EUVSEC3 Plate | Piece = Box x 10 plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 16
PCR
32 | PCR test-system for the determination of R-C1-MDR MBL resistance genes in Enterobacteriaceae real time | PCR test-system determination of R-C1-MDR MBL resistance genes in Enterobacteriaceae real time For human diagnosis. Reagents for 100 tests, including controls, Compatible with Applied Biosystems™ StepOne™ Real-Time PCR Amplifier System (0.2 ml tubes). The kit will include reagents for all steps: extraction, amplification with real-time detection. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | kit | 2 |  | 0 | please provide earliest delivery time, but not later than 16.06.2025
33 | PCR Test system for the determination of resistance genes OXA-23, OXA-58, OXA-40 in Acinetobacter baumaniii | PCR Test system for determination of resistance genes blaOXA-23, blaOXA-58, blaOXA-40 in Acinetobacter baumaniii PCR test for the determination of resistance genes blaOXA-23, blaOXA-58, blaOXA-40 in Acinetobacter baumanii. Reagents for no less than 45 tests, including controls, compatible with Applied Biosystems StepOne, (0.2 ml tubes). The kit will include reagents for all steps: extraction, amplification with real-time detection | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | kit | 2
34 | PCR test-system for the determination of R-C2-MDR KPC/OXA-48 resistance genes in Enterobacteriaceae real time | PCR test-system determination of R-C2-MDR KPC/OXA-48 resistance genes in Enterobacteriaceae real time, Reagents for 100 tests, including controls, compatible with Applied Biosystems StepOne, (0.2 ml tubes). The kit will include reagents for all steps: extraction, amplification with real-time detection | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | kit | 2
35 | Complete PCR test-system (multiplex) for the determination of plasmid-mediated AmpC β-Lactamase genes in real time | Reagents for no less than 45 tests, including controls, compatible with the Applied Biosystems StepOne amplifier, (0.2 ml tubes). The kit will include reagents for all steps: extraction, amplification with real-time detection. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | kit | 2
| TOTAL: Devices for diagnostic procedures | [5 empty] | 0
We declare that all the information and statements made in this Proposal are true and we accept that any misinterpretation or misrepresentation contained in this Proposal may lead to our disqualification .
We offer to provide services in conformity with the Bidding documents, and in accordance with the Terms of Reference
Our Proposal shall be valid and remain binding upon us for the period of time specified in the Bid requirements.
I, the undersigned, certify that I am duly authorized by WHO ITB 2025/EURO/MDA/0006 to sign this Proposal and bind it should WHO accept this Proposal.
Name: _____________________________________________________________
Title: _____________________________________________________________
Date: _____________________________________________________________