## ANNEX 2: QUOTATION SUBMISSION FORM

Bidders are requested to complete this form, including the Company Profile and Bidder’s Declaration, sign it and return it as part of their quotation along with Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |  |
| --- | --- | --- |
| RFQ reference: | RFQ26/03215: Procurement of Water Quality and Groundwater Monitoring Equipment and Field Support Equipment for the Agency for Geology and Mineral Resources (2 LOTs) | Date: Click or tap to enter a date. |

Company Profile

| Item Description |  | Detail |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Legal name of bidder or Lead entity for JVs |  | Click or tap here to enter text. |  |  |  |
| Legal Address, City, Country |  | Click or tap here to enter text. |  |  |  |
| Website |  | Click or tap here to enter text. |  |  |  |
| Year of Registration |  | Click or tap here to enter text. |  |  |  |
| Legal structure |  | Choose an item. |  |  |  |
| Are you a UNGM registered vendor? |  | ☐ Yes ☐ No If yes, insert UNGM Vendor Number |  |  |  |
| Quality Assurance Certification (e.g. ISO 9000 or Equivalent) (If yes, provide a Copy of the valid Certificate): |  | ☐ Yes ☐ No |  |  |  |
| Does your Company hold any accreditation such as ISO 14001 or ISO 14064 or equivalent related to the environment? (If yes, provide a Copy of the valid Certificate): |  | ☐ Yes ☐ No |  |  |  |
| Does your Company have a written Statement of its Environmental Policy? (If yes, provide a Copy) |  | ☐ Yes ☐ No |  |  |  |
| Does your organization demonstrate significant commitment to sustainability through some other means, for example internal company policy documents on women empowerment, renewable energies or membership of trade institutions promoting such issues (If yes, provide a Copy) |  | ☐ Yes ☐ No |  |  |  |
| Is your company a member of the UN Global Compact |  | ☐ Yes ☐ No |  |  |  |
| Bank Information |  | Bank Name: Click or tap here to enter text. Bank Address: Click or tap here to enter text. IBAN: Click or tap here to enter text. SWIFT/BIC: Click or tap here to enter text. Account Currency: Click or tap here to enter text. Bank Account Number: Click or tap here to enter text. |  |  |  |
| Previous relevant experience: Minimum 2 (two) completed and/or ongoing contracts for similar goods within the past three (3) years |  |  |  |  |  |
| Name of previous contracts | Client & Reference Contact Details including e-mail |  | Contract Value | Period of activity | Types of activities undertaken |

Bidder’s Declaration

| Yes | No |  |
| --- | --- | --- |
| ☐ | ☐ | Requirements and Terms and Conditions: I/We have read and fully understand the RFQ, including the RFQ Information and Data, Schedule of Requirements, the General Conditions of Contract, and any Special Conditions of Contract. I/we confirm that the Bidder agrees to be bound by them. |
| ☐ | ☐ | I/We confirm that the Bidder has the necessary capacity, capability, and necessary licenses to fully meet or exceed the Requirements and will be available to deliver throughout the relevant Contract period. |
| ☐ | ☐ | Ethics: In submitting this Quote I/we warrant that the bidder: has not entered into any improper, illegal, collusive or anti-competitive arrangements with any Competitor; has not directly or indirectly approached any representative of the Buyer (other than the Point of Contact) to lobby or solicit information in relation to the RFQ ;has not attempted to influence, or provide any form of personal inducement, reward or benefit to any representative of the Buyer. |
| ☐ | ☐ | I/We confirm to undertake not to engage in proscribed practices, , or any other unethical practice, with the UN or any other party, and to conduct business in a manner that averts any financial, operational, reputational or other undue risk to the UN and we have read the United Nations Supplier Code of Conduct :https://www.un.org/Depts/ptd/about-us/un-supplier-code-conduct and acknowledge that it provides the minimum standards expected of suppliers to the UN. |
| ☐ | ☐ | Conflict of interest: I/We warrant that the bidder has no actual, potential, or perceived Conflict of Interest in submitting this Quote or entering a Contract to deliver the Requirements. Where a Conflict of Interest arises during the RFQ process the bidder will report it immediately to the Procuring Organisation’s Point of Contact. |
| ☐ | ☐ | Prohibitions and Sanctions: l/We hereby declare that our firm, ultimate beneficial owners, its affiliates or subsidiaries or employees, including any JV/Consortium members or subcontractors or suppliers for any part of the contract is not under procurement prohibition by the United Nations, including but not limited to prohibitions derived from the Compendium of United Nations Security Council Sanctions Lists and have not been suspended, debarred, sanctioned or otherwise identified as ineligible by any UN Organization or the World Bank Group or any other international Organization. |
| ☐ | ☐ | Bankruptcy: l/We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future. |
| ☐ | ☐ | Offer Validity Period: I/We confirm that this Quote, including the price, remains open for acceptance for the Offer Validity. |
| ☐ | ☐ | I/We understand and recognize that you are not bound to accept any Quotation you receive, and we certify that the goods offered in our Quotation are new and unused. |
| ☐ | ☐ | By signing this declaration, the signatory below represents, warrants and agrees that he/she has been authorised by the Organization/s to make this declaration on its/their behalf. |

Signature:

Name: 	Click or tap here to enter text.

Title:	Click or tap here to enter text.

Date:  	Click or tap to enter a date.

## ANNEX 3: TECHNICAL AND FINANCIAL OFFER - GOODS

Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |  |
| --- | --- | --- |
| RFQ reference: | RFQ26/03215: Procurement of Water Quality and Groundwater Monitoring Equipment and Field Support Equipment for the Agency for Geology and Mineral Resources (2 LOTs) | Date: Click or tap to enter a date. |

Bidders must include all costs related to the performance of the services in their quotation price (delivery of all goods and equipment, transport costs, transportation insurance, unloading at the delivery site, etc.)

Bidders shall fill in the financial offer table for the LOT they are applying to.

LOT 1: Water Quality and Groundwater Monitoring Equipment

| Currency of the Quotation USD US Dollars for international vendors or MDL Moldovan Leu for local (VAT exclusive) INCOTERMS DDP Chisinau |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item No | Description | UOM | Qty | Unit price Please insert currency | Transportation, Insurance, and other Costs Please insert currency | Total price Please insert currency |
| 1.1 | Drinking water test kit | Set | 2 |  |  |  |
| 1.2 | Water Level Meter 100 m | Piece | 1 |  |  |  |
| 1.3 | Water Level Meter 150 m | Piece | 1 |  |  |  |
| 1.4 | Water Level Meter 200 m | Piece | 1 |  |  |  |
| 1.5 | Waterproof Multiparameter | Piece | 1 |  |  |  |
| 1.6 | HDPE Square Wide Neck Jars | Piece | 80 |  |  |  |
| Total Final and All-inclusive Price |  |  |  |  |  |  |

LOT 2: Field and Support Equipment

| Currency of the Quotation USD US Dollars for international vendors or MDL Moldovan Leu for local (VAT exclusive) INCOTERMS DDP Chisinau |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item No | Description | UOM | Qty | Unit price Please insert currency | Transportation, Insurance, and other Costs Please insert currency | Total price Please insert currency |
| 2.1 | Portable Chest Refrigerator (Compressor-Based) intended for Water Sample Transportation | Piece | 2 |  |  |  |
| 2.2 | Submersible pump | Piece | 1 |  |  |  |
| 2.3 | Electric Generator | Piece | 1 |  |  |  |
| 2.4 | Garden Hose | Piece | 3 |  |  |  |
| 2.5 | Stainless steel cable | Piece | 1 |  |  |  |
| 2.6 | KG Cable | Piece | 1 |  |  |  |
| Total Final and All-inclusive Price |  |  |  |  |  |  |

*In case the related services and other costs (transportation, insurance, other as applicable) are included in the value of delivered goods and cannot be reflected as a separate line of expenses, please specify 0 (zero) value in the relevant line in the table above. Should related services and other costs be incorporated in the table above, they shall be reflected in the unit price of goods in the section “Lines” of Quantum portal.

Compliance with Requirements

| Requirements | You Responses |  |  |
| --- | --- | --- | --- |
|  | Yes, we will comply | No, we cannot comply | If you cannot comply, pls. indicate counter - offer |
| Minimum Technical Specifications (as per Annex 1: Schedule of Requirements) | ☐ | ☐ | Click or tap here to enter text. |
| Warranty period: minimum 12 months for: •LOT 1, Item 1.5 Waterproof Multiparameter; •LOT 2, Item 2.1: Portable Chest Refrigerator (Compressor-Based) intended for Water Sample Transportation, 2.2: Submersible pump, 2.3: Electric Generator | ☐ | ☐ | Click or tap here to enter text. |
| Delivery Term (INCOTERMS): DDP | ☐ | ☐ | Click or tap here to enter text. |
| Delivery Lead Time: up to 60 calendar days applicable for all LOTs | ☐ | ☐ | Click or tap here to enter text. |
| Validity of Quotation: 90 calendar days | ☐ | ☐ | Click or tap here to enter text. |
| Payment terms | ☐ | ☐ | Click or tap here to enter text. |

Other Information:

| Country/ies of Origin: (if export licence required this must be submitted if awarded the contract) | Click or tap here to enter text. |
| --- | --- |
| Estimated weight/volume/dimension of the Consignment | Click or tap here to enter text. |

| I, the undersigned, certify that I am duly authorized to sign this quotation and bind the company below in event that the quotation is accepted. |  |
| --- | --- |
| Exact name and address of company Company NameClick or tap here to enter text. Address: Click or tap here to enter text. Phone No.: Click or tap here to enter text. Email Address: Click or tap here to enter text. | Authorized Signature: Date: Click or tap here to enter text. Name: Click or tap here to enter text. Functional Title of Authorised Signatory: Click or tap here to enter text. Email Address: Click or tap here to enter text. |

## ANNEX 4: TECHNICAL RESPONSIVENESS TABLE

Bidders are requested to complete this form, sign it and return it as part of their bid along with Annex 2: Quotation Submission Form and Annex 3: Technical and Financial Offer. The Bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

| Name of Bidder: | Click or tap here to enter text. |  |
| --- | --- | --- |
| RFQ reference: | RFQ26/03215: Procurement of Water Quality and Groundwater Monitoring Equipment and Field Support Equipment for the Agency for Geology and Mineral Resources (2 LOTs) | Date: Click or tap to enter a date. |

Bidders shall supplement the information provided in the tables below with detailed description of the offered goods, including Technical Data Sheets.

| ### Technical requirements |  | Conformity ### (Yes/No) | Offered Brand, Model and Exact characteristics ### (Technical characteristics should not be less/worse than those listed in Annex 1: Schedule of Requirements) |
| --- | --- | --- | --- |
| ### LOT 1: Water Quality and Groundwater Monitoring Equipment |  |  |  |
| 1.1: Drinking water test kit | - Minimum technical requirements: - Multi-parameter drinking water test kit - Minimum 16 parameters per kit (e.g. pH, hardness, chlorine, nitrates, nitrites, iron, copper, alkalinity, sulfate, fluoride, ammonia, etc.) - Minimum 100 tests per parameter per kit - Designed for field and laboratory use - Colorimetric or equivalent reliable testing method - Clear result interpretation (color chart or digital equivalent) - Accessories & documentation: - All reagents, containers, and accessories included - User manual in Romanian or Russian |  |  |
| 1.2: Water Level Meter 100 m | Minimum technical requirements: - Electric water level meter for groundwater wells - Measurement principle: audible and/or visual signal upon water contact - Measurement range: ≥100 m - Accuracy: ±0.5 cm or better - Tape material: corrosion-resistant, graduated, waterproof - Probe material: stainless steel or equivalent corrosion-resistant material - Power supply: replaceable or rechargeable battery - Robust reel with manual winding system - Suitable for boreholes and monitoring wells Accessories & documentation: - Carrying case - Calibration certificate or factory test report - User manual in Romanian or Russian |  |  |
| 1.3: Water Level Meter 150 m | Minimum technical requirements: - Electric water level meter for groundwater wells - Measurement principle: audible and/or visual signal upon water contact - Measurement range: ≥150 m - Accuracy: ±0.5 cm or better - Tape material: corrosion-resistant, graduated, waterproof - Probe material: stainless steel or equivalent corrosion-resistant material - Power supply: replaceable or rechargeable battery - Robust reel with manual winding system - Suitable for boreholes and monitoring wells Accessories & documentation: - Carrying case - Calibration certificate or factory test report - User manual in Romanian or Russian |  |  |
| 1.4: Water Level Meter 200 m | Minimum technical requirements: - Electric water level meter for groundwater wells - Measurement principle: audible and/or visual signal upon water contact - Measurement range: ≥200 m - Accuracy: ±0.5 cm or better - Tape material: corrosion-resistant, graduated, waterproof - Probe material: stainless steel or equivalent corrosion-resistant material - Power supply: replaceable or rechargeable battery - Robust reel with manual winding system - Suitable for boreholes and monitoring wells Accessories & documentation: - Carrying case - Calibration certificate or factory test report - User manual in Romanian or Russian |  |  |
| 1.5: Waterproof Multiparameter | Measured parameters (minimum): - pH - ORP - Electrical Conductivity (EC) - Total Dissolved Solids (TDS) - Salinity - Dissolved Oxygen (DO) - Pressure - Temperature Minimum technical requirements: - Fully waterproof handheld device (minimum IP67) - Cable length: minimum 4 m - Digital display with simultaneous or selectable parameter view - Automatic temperature compensation - Data logging capability or real-time display - Suitable for groundwater and surface water measurements - Replaceable or rechargeable battery - Accessories & documentation - Calibration solutions (or compatible standards specified) - Protective carrying case - User manual in Romanian or Russian Warranty - Minimum 12 months |  |  |
| 1.6: HDPE Square Wide Neck Jars | Minimum technical requirements: - Material: High-Density Polyethylene (HDPE) - Shape: square or rectangular - Volume: 2500 ml (±5%) - Wide neck for easy sampling - Leakproof polypropylene (PP) screw lid - Chemical-resistant and suitable for water sampling - Reusable and laboratory grade |  |  |

| ### Technical requirements |  | Conformity ### (Yes/No) | Offered Brand, Model and Exact characteristics ### (Technical characteristics should not be less/worse than those listed in Annex 1: Schedule of Requirements) |
| --- | --- | --- | --- |
| ### LOT 2: Field and Support Equipment |  |  |  |
| 2.1: Portable Chest Refrigerator (Compressor-Based) intended for Water Sample Transportation | General - Type: Portable chest refrigerator / fridge-freezer, top opening - Cooling technology: Compressor-based cooling system (DC or AC compressor) - Net capacity: minimum 50 liters - Design: Suitable for mobile use and transportation in vehicles and field conditions Temperature Performance - Capable of maintaining a temperature range of +2°C to +8°C - Temperature control: Adjustable electronic thermostat - Temperature stability: ±1–2°C - Cooling performance: Capable of maintaining set temperature under ambient temperatures up to +40°C - Temperature recovery: Rapid cooling after lid opening Power Supply - Primary power: 220–240 V / 50 Hz (AC) - Optional power (preferred, not mandatory): - 12 V / 24 V DC (vehicle or generator operation) - Compatibility: Suitable for operation with portable electric generators - Power protection: Over-voltage and low-voltage protection or equivalent safety features Construction & Insulation - Insulation: High-density polyurethane foam or equivalent - Internal lining: Corrosion-resistant, easy-to-clean, food-grade plastic or equivalent - External housing: Durable, impact-resistant casing suitable for field transport - Lid: Airtight, insulated lid with sealing gasket Noise & Efficiency - Noise level: ≤45 dB or equivalent - Energy efficiency: Class A+ or equivalent Portability Features - Integrated carrying handles - Stable base and anti-slip feet - Compact footprint suitable for vehicle transport Intended Use - Maintaining controlled temperature conditions during the transportation of groundwater and drinking water samples from sampling sites to laboratory facilities - Preservation of sample integrity prior to physico-chemical and microbiological analysis Documentation - User manual in Romanian or Russian - Manufacturer’s technical datasheet Certifications - CE marking or equivalent Declaration of Conformity - Manufacturer certified according to ISO 9001 Warranty - Minimum 12 months |  |  |
| 2.2: Submersible pump | Minimum technical requirements: - Power output: minimum 1.1 kW - Maximum pumping depth: ≥130 m - Suitable for groundwater extraction from deep wells - Corrosion-resistant housing - Continuous duty operation - Power supply compatible with local grid or generator Accessories: - Connection fittings - Technical datasheet Warranty - Minimum 12 months |  |  |
| 2.3: Electric Generator | Minimum technical requirements: - Rated output power: minimum 6.5 kW - Voltage output: 220 V / 380 V - Fuel type: Gasoline - Frequency: 50 Hz - Overload protection - Portable or frame-mounted design - Suitable for powering pumps and field equipment Warranty - Minimum 12 months |  |  |
| 2.4: Garden Hose | - Internal diameter: approx. 19 mm (3/4") - Length: 50 m per piece - Reinforced with high-quality polyester yarn - Resistant to UV radiation - Resistant to algae formation inside the hose - Burst pressure: minimum 25 bar Flexible and suitable for outdoor use |  |  |
| 2.5: Stainless steel cable | - Construction: 7x19 - Diameter: Ø4 mm - Material grade: A4 stainless steel - Total length: 150 m Corrosion-resistant, suitable for well installation |  |  |
| 2.6: KG Cable | - Type: KG - Cross-section: 4 x 2.5 mm² - Length: 150 m - Flexible, heavy-duty insulation Suitable for outdoor and generator use |  |  |

Bidders shall fill in the Technical Responsiveness Table for the LOT they are applying to.