## LOT 1_vaccine-preventable infe
Annex 4
ITB 2025/EURO/MDA/0001
Procurement of laboratory consumables for the dignosys of vaccine-preventable infectious diseases for the National Agency for Public Health
Price Schedule Form
#No | Item description | Technical Specification | Technical specification (supplier proposal) | UM | Quantity | Price/unit USD, VAT exclusive | Amount, USD | Comments
Reagents and laboratory consumbales for diagnostic procedures
1 | IgG Corynebacterium diphtheriae, quantitative | Type of reaction – immunoenzymatic, quantitative detection of IgG antibodies to Corinebacterium diphtheriae toxin in human serum or plasma, for human diagnosis. Duration of the incubation period in the test reaction - up to 120 minutes, inclusive. Incubation shall not include the shaking process. Stable liquids ready for use. Presence in the kit of all reagents necessary for the reaction, including controls. 96-well plate (12 strips of 8 removable wells each). Reagents for 96 investigations including controls. Test sensitivity not less than 100%, diagnostic specificity not less than 84%. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 13 | 0 | 0 | please provide earliest delivery time, but not later than 16.06.2025
2 | IgG Measles Virus (Rujeola) quantitative | Type of reaction – immunoenzymatic, for human diagnostics, quantitative detection of IgG antibodies to Measles Virus IgG. Duration of the incubation period in the test reaction – up to 120 minutes. Incubation shall not include the shaking process. Stable liquids ready for use. Presence in the kit of all reagents necessary for the reaction, including controls. 96-well plate (12 strips of 8 removable wells each). Reagents for 96 investigations including controls. Test sensitivity not less than 100%, diagnostic specificity not less than 100%. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 13
3 | IgG Rubela virus, quantitative | Enzyme immunoassay for the quantitative detection of IgG antibodies to rubella virus in serum or plasma for human diagnosis. Incubation period - up to 120 minutes. Incubation shall not include shaking. Stable, ready-to-use liquids. The kit contains all reagents required for the reaction, including controls. 96-well plate (12 strips of 8 removable wells). Reagents for 96 tests, including controls. Test sensitivity not less than 96%, diagnostic specificity not less than 99%. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 13
4 | Polystyrene tubes (transparent 12x75 mm) | Piece = box with 2000 transparent tubes, 12x75 mm | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 2
5 | Cryotubes | Piece = Box of 64-100 cryotubes | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
6 | Non-sterile nitrile gloves without talc, size S | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 600
7 | Mănuși nesterile nitril fără talc marimea M | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 600
8 | Non-sterile nitrile gloves without talc, size L | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 600
9 | Bio-waste bags, autoclavable, resistant to 135°C, 6 liters | Piece=bag, transparent, PP, volume 6 liters, thickness 50 μm, transparent, with Biohazard symbol, sterilization indicator patch | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 300
10 | Bio-waste bags, autoclavable, resistant to 135°C, 75 liters | Piece=bag, transparent, PP, volume 75 l, thickness 50 μm, 600/650 mm x 900/950 mm, transparent, with Biohazard symbol, sterilization indicator patch | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 300
11 | Universal tips with filter for automatic pipette, volume: 0.1 -10 uL | Universal polypropylene automatic pipette tips, with hydrophobic filter to prevent cross-contamination of the sample during pipetting, recommended for molecular biology applications; Compatibility: compatible with Eppendorf automatic pipettes, volumes 0.1 -10 uL; Packaging: Rack with 96 tips, sterile; Color: natural, transparent for easy visualization of the fluid level; Compatibility: Sterile gamma-irradiated rack, suitable for PCR technology and sequencing - certified RNase/DNase free. Shelf life: not less than 5 years from the date of manufacture. The remaining shelf life (at the time of delivery) will constitute not less than 80% of the total product term. CE certificate or declaration of conformity depending on the assessment of conformity with the appropriate annexes for the given product. ISO 13485 and/or ISO 9001 certificate (depending on the product category); The identity data (name, batch number, series, expiration date, storage conditions) of the product indicated on the packaging must necessarily coincide with those on the product label. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
12 | Universal tips with filter for automatic pipette, volume: 0.5 - 10 mL | Universal polypropylene automatic pipette tips, with hydrophobic filter to prevent cross-contamination of the sample during pipetting, recommended for molecular biology applications; Compatibility: compatible with Eppendorf automatic pipettes, volumes 0.5 - 10 mL; Packaging: Rack with 96 tips, sterile; Color: natural, transparent for easy visualization of the fluid level; Compatibility: Sterile gamma-irradiated rack, suitable for PCR technology - certified RNase/DNase free. Shelf life: not less than 5 years from the date of manufacture. The remaining shelf life (at the time of delivery) will constitute not less than 80% of the total product term. CE certificate or declaration of conformity depending on the assessment of conformity with the appropriate annexes for the given product. ISO 13485 and/or ISO 9001 certificate (depending on the product category); The identity data (name, batch number, series, expiration date, storage conditions) of the product indicated on the packaging must necessarily coincide with those on the product label. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
13 | Vârfuri universale cu filtrare pentru pipeta automată, volum: 2 -20 uL | Universal polypropylene automatic pipette tips, with hydrophobic filter to prevent cross-contamination of the sample during pipetting, recommended for molecular biology applications; Compatibility: compatible with Eppendorf automatic pipettes, volumes 2 -20 uL; Packaging: Rack with 96 tips, sterile; Color: natural, transparent for easy visualization of the fluid level; Compatibility: Sterile gamma-irradiated with rack, suitable for PCR technology - certified RNase/DNase free. Shelf life: not less than 5 years from the date of manufacture. The remaining shelf life (at the time of delivery) will constitute not less than 80% of the total product term. CE certificate or declaration of conformity depending on the assessment of conformity with the appropriate annexes for the given product. ISO 13485 and/or ISO 9001 certificate (depending on the product category); The identity data (name, batch number, series, expiration date, storage conditions) of the product indicated on the packaging must necessarily coincide with those on the product label. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
14 | Double filter tips 2 -200 uL | They have a volume: 2-200 µl, length of 55 mm Ensures the retention of 100% aerosols and biomolecules, to avoid contamination; they comply with class E12 of the MPPS (the most penetrating particle size); they are equipped with two filters - one white and one blue (or equivalent color) that perform the following functions: The white filter - the first filter with small pores, with the role of retaining droplets and aerosols; The blue filter, positioned 2nd, which forms a double barrier, with high efficiency, which stops the passage of even biomolecules; Sterilization of the tips is performed with electron beams; The tips have an integrated double filter made of hydrophobic polyethylene; do not contain additives, which are PCR inhibitors; have minimal water retention; high resistance to chemical agents; high thermal resistance; are free of PCR inhibitor additives; are sterile, PCR clean and pyrogen-free. They are packaged in a box with 10 holders x 96 tips (total 960 tips). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 4000
15 | Universal tips with filter for automatic pipette, volume: 200 - 1000 µl | Universal polypropylene automatic pipette tips, with hydrophobic filter to prevent cross-contamination of the sample during pipetting, recommended for molecular biology applications; Compatibility: compatible with Eppendorf automatic pipettes, volumes 200 - 1000 µl; Packaging: Rack with 96 tips, sterile; Compatibility: Sterile gamma-irradiated with rack, suitable for PCR technology - certified RNase/DNase free. Shelf life: not less than 5 years from the date of manufacture. The remaining shelf life (at the time of delivery) will constitute not less than 80% of the total term of the product. CE certificate or declaration of conformity depending on the assessment of conformity with the appropriate annexes for the given product. ISO 13485 and/or ISO 9001 certificate (depending on the product category); The identity data (name, batch number, series, expiration date, storage conditions) of the product indicated on the packaging must necessarily coincide with those on the product label. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 4000
16 | Eppendorf tube 1.5 ml | Piece = one test tube, volume 1.5-2.0 ml | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
17 | Specialized, low-lint, non-abrasive tissue wipers designed for delicate cleaning tasks in laboratories and industrial settings | High quality, low-lint wipe Soft and non-abrasive Extremely absorbent | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3
18 | Powder-free sterile gloves size S | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
19 | Powder-free sterile gloves size M | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
20 | Powder-free sterile gloves size L | Packaging = box of 100 pcs. Material: 100% nitrile, latex-free, talc-free | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 3000
21 | 100% ethyl alcohol | Ethyl alcohol (anhydrous ethanol) with purity ≥99.9%, PCR/NGS/molecular biology grade, DNase/RNase and endotoxin free. Water content ≤0.1%. Used for DNA/RNA purification and library preparation steps in WGS/NGS. Sealed packaging of 500 mL–1 L, amber glass or HDPE. ISO 9001 certified. Shelf life ≥24 months. Store at 15–25°C, tightly closed container, protected from light. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Piece | 10
22 | Meningitis/Encephalitis RT-qPCR MX-17 S Panel | Reaction type - Chain polymerization reaction with real time detection. For human diagnosis. The test kit includes 48 ME Rxn strips + 12 PC-ME Rxn Strip. Detection in CSF of Escherichia coli K1, Group B Strep, Haemophilus influenzae, Listeria monocytogenes, Neisseria meningitidis, S. pneumoniae. EC certificate for in vitro diagnostic use in accordance with the requirements of the European Directive. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 38
23 | Meningitis/Encephalitis MX-17 S Positive Control Strips | Extra 36 PC-ME Rxn Strips additionally included to each kit to keep the 1:1 patient-control ratio | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | strips | 36
24 | DNA Mini Kit (250) | DNA extraction kit from biological material (CSF). Unit of measurement: Kit = The kit will include reagents to perform at least 250 extractions. Extraction principle - precipitation or membrane (in the case of the membrane principle, the kit should include a collection tube in sufficient quantity required per sample - for each separate extraction step). Contains: all reagents ready for use. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 2
| TOTAL: Regents for diagnostic procedures | [5 empty] | 0
We declare that all the information and statements made in this Proposal are true and we accept that any misinterpretation or misrepresentation contained in this Proposal may lead to our disqualification .
We offer to provide services in conformity with the Bidding documents, and in accordance with the Terms of Reference
Our Proposal shall be valid and remain binding upon us for the period of time specified in the Bid requirements.
I, the undersigned, certify that I am duly authorized by WHO ITB 2026/EURO/MDA/0001 to sign this Proposal and bind it should WHO accept this Proposal.
Name: _____________________________________________________________
Title: _____________________________________________________________
Date: _____________________________________________________________

## LOT 2_Pertusiss
Annex 4
ITB 2026/EURO/MDA/0001
Procurement of laboratory consumables for the pertussis diagnostics for the National Agency for Public Health and Infectious Disease Municipal Childred Hospital
Price Schedule Form
#No | Item description | Technical Specification | Technical specification (supplier proposal) | UM | Quantity | Price/unit USD, VAT exclusive | Amount, USD | Comments
Reagents and laboratory consumbales for diagnostic procedures
1 | Respiratory Flow Chip | The Respiratory Flow CHIP Kit allows the simultaneous detection of 13 respiratory pathogens, including influenza virus, adenovirus, bocavirus, coronavirus (including SARS-CoV-2), metapneumovirus, parainfluenza virus, respiratory syncytial virus (types A and B), rhinovirus, enterovirus, Bordetella pertussis, Bordetella parapertussis, and Mycoplasma pneumoniae. The kit is based on single-step multiplex RT-PCR followed by reverse hybridization on a membrane using DNA Flow technology, and is fully compatible with the HS12 PCR AUTO platform. CE IVD-certified molecular diagnostic product. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 55 | 0 | 0 | please provide earliest delivery time, but not later than 16.06.2025
2 | Washing Reagent | Washing Reagent is a wash solution for the internal and external washing of the dispensing needle and the reaction chamber. It is also used to keep the dispensing circuit full of liquid and as the last dispensing reagent on the chips before finishing the protocol of a series in the automated hybriSpot platforms. Composition: concentrated aqueous solution containing detergents and a biocidal agent., bottle of 250 ml | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Bottle | 6
3 | Transport & Dilution Medium (TDM) | Transport & Dilution Medium (TDM) is designed for the dilution, stabilization, and transport of clinical specimens, specifically nasopharyngeal exudates or aspirates as starting samples. TDM preserves the integrity, viability, and detectability of cellular and microbial components during collection, handling, and transport to the laboratory. It is suitable for molecular diagnostics (PCR). Composition: aliquots of aqueous solution indicated for dilution and transport of clinical samples.; Box= 50 vials with 900 µl/vial | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 30
4 | DNA and RNA extraction kits | DNA and RNA extraction kits for high-quality nucleic acid purification. Extensive sample compatibility: swabs, nasopharyngeal swabs, and other types of biological specimens. Silica membrane-based technology (centrifugal column) for specific adsorption of viral nucleic acids. Ready-to-use format – no need to add alcohol or resuspend Proteinase K. Storage: Store at room temperature. Protocol: Short and simple. Certification: CE IVD-certified molecular diagnostic product. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | kit | 30
5 | Sterile disposable pipette tips with filter 100-1000 µL. | Pipette filter tips, sterile, for molecular biology applications, providing protection of samples from contamination (aerosols, DNA/RNA, enzymes). Manufactured from pure polypropylene, free from DNase, RNase, and human DNA. Box Contents: 10 × 96 tips (total 960 tips). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
6 | Sterile disposable pipette tips with filter 20-200 µL | Pipette filter tips, sterile, for molecular biology applications, providing protection of samples from contamination (aerosols, DNA/RNA, enzymes). Manufactured from pure polypropylene, free from DNase, RNase, and human DNA. Box Contents: 10 × 96 tips (total 960 tips). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
7 | Sterile disposable pipette tips with filter 2-20 µL. | Pipette filter tips, sterile, for molecular biology applications, providing protection of samples from contamination (aerosols, DNA/RNA, enzymes). Manufactured from pure polypropylene, free from DNase, RNase, and human DNA. Box Contents: 10 × 96 tips (total 960 tips). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
8 | Sterile disposable pipette tips with filter 0,1-2 µL | Pipette filter tips, sterile, for molecular biology applications, providing protection of samples from contamination (aerosols, DNA/RNA, enzymes). Manufactured from pure polypropylene, free from DNase, RNase, and human DNA. Box Contents: 10 × 96 tips (total 960 tips). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
9 | PCR 8-tube strips, 0.2 mL with flat caps | Clear 0.2 mL 8-tube strips for PCR. Made of polypropylene, thin-walled tubes with flat 8-cap strips. Designed for use with 0.2 mL thermocycler blocks for DNA amplification. Certified DNase/RNase-free. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 3
10 | Powder-Free Latex Gloves | Product applications: personal protection, occupational health and safety, sample protection, process protection. Material: Nitrile; Interior: Powder-free. Size: S; Packing :100pcs/box;10boxes/carton. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 15
11 | 96 well microplates with U-bottom and square wells (2 mL) | 96-well microplates with U-bottom and square wells (2 mL) are deep-well plates developed for magnetic-bead based, automated nucleic acid purification workflows. The surface is designed to prevent nucleic acid and protein adherence, ensuring excellent recovery of magnetic beads. Each well has a deep design with a 2.2 mL capacity, square shape, and U-bottom configuration for optimal performance in automated systems. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
12 | 96-well PCR Plate 0.2 mL, semi-skirted | 96-well PCR Plate, 0.2 mL, semi-skirted, with a maximum working volume of 0.2 mL per well. The plate features black alphanumeric coding for easy sample identification. It is DNase-, RNase-, and human genomic DNA-free, making it suitable for PCR and qPCR applications. The wells have raised rims to prevent cross-contamination and facilitate heat sealing. Compatible with flat and domed cap strips, as well as heat sealing foils. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
13 | Nuclease-free water | Nuclease-Free Water is pure, quality-tested water suitable for use in all experiments that require nuclease-free water, including molecular biology applications; Volum: 30 mL. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Bottle | 4
14 | Anti-Bordetella pertussis toxin (PT) IgA ELISA kit, 96 tests | • Method: enzyme-linked immunosorbent assay (ELISA) for detection of human anti-PT IgA in serum/plasma. • Kit size: 96 determinations. • Components: antigen-coated microplate, calibrators/standards, positive/negative controls, conjugate, wash buffer, substrate (e.g., TMB), stop solution, sample diluent, instructions. • Storage: 2–8°C (typical) with stated shelf life. • Performance: includes internal controls and calibration to allow qualitative and/or quantitative interpretation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 15
15 | Anti-Bordetella pertussis toxin (PT) IgG ELISA kit, 96 tests | • Method: ELISA for detection of human anti-PT IgG in serum/plasma. • Kit size: 96 determinations. • Components: antigen-coated microplate, calibrators/standards, positive/negative controls, conjugate, wash buffer, substrate (e.g., TMB), stop solution, sample diluent, instructions. • Storage: 2–8°C (typical) with stated shelf life. • Performance: includes internal controls and calibration to allow qualitative and/or quantitative interpretation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 15
16 | Anti-cytomegalovirus (CMV) IgG ELISA kit, 96 tests | • Method: ELISA for detection of human anti-CMV IgG in serum/plasma. • Kit size: 96 determinations. • Components: antigen-coated microplate, calibrators/standards, controls, conjugate, wash buffer, substrate (e.g., TMB), stop solution, sample diluent, instructions. • Storage: 2–8°C (typical) with stated shelf life. • Performance: includes controls and calibration for reliable result interpretation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 3
17 | Anti-cytomegalovirus (CMV) IgM ELISA kit, 96 tests | • Method: ELISA for detection of human anti-CMV IgM in serum/plasma. • Kit size: 96 determinations. • Components: antigen-coated microplate, calibrators/standards, controls, conjugate, wash buffer, substrate (e.g., TMB), stop solution, sample diluent, instructions. • Storage: 2–8°C (typical) with stated shelf life. • Performance: includes controls and calibration for reliable result interpretation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 3
18 | Vacuum blood collection tube with clot activator and gel separator, 5 mL | • Draw volume: 5 mL. • Additives: clot activator + gel separator for serum. • Tube dimensions: 12×86 mm or 13×100 mm (or equivalent accepted size). • Material: PET/PP/PS (vacuum tube grade). • Closure: push cap; color according to additive; pre-attached label area. • Sterility: sterile, single-use; packaging up to 100 tubes/box (or equivalent). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 1500
19 | Sterile single-use blood collection needle for holder, 23G | • Type: single-use needle compatible with standard vacuum tube holders. • Gauge: 23G. • Material: medical-grade stainless steel; sharp bevel. • Quality: sterile; non-pyrogenic; non-toxic. • Packaging: individually wrapped; up to 100 units/box (or equivalent). | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 1500
20 | Powder-free nitrile examination gloves (size as required) | • Type: single-use, powder-free nitrile examination gloves; latex-free. • Fit: ambidextrous; textured fingertips/palm for grip; rolled cuff. • Length: ≥240 mm. • Standards: compliant with EN 455 (medical gloves) and EN ISO 374 (chemical protection), or equivalent. • Packaging: 100 gloves/box (50 pairs) or equivalent; sizes S–XL as required. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 20
21 | Antiseptic swab (70% isopropyl alcohol) | • Composition: nonwoven swab/pad saturated with 70% isopropyl alcohol (IPA). • Intended use: skin antisepsis before venipuncture/injection. • Packaging: individually wrapped or dispenser format with single-pad dispensing. • Quality: lint-free; sterile or equivalent validated cleanliness; labeled with lot/expiry. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 6000
22 | Adhesive bandage with absorbent pad (bactericidal), 2.5 × 7.2 cm | • Type: adhesive wound dressing/bandage with central absorbent pad. • Size: 2.5 × 7.2 cm (±0.6 cm) or equivalent. • Properties: hypoallergenic adhesive; breathable backing; bactericidal/antimicrobial pad (where offered). • Packaging: individually wrapped; box quantity as offered by supplier. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 3000
23 | Filtered pipette tips, DNase/RNase-free, 100–1000 µL | • Volume range: 100–1000 µL; filtered; compatible with standard micropipettes in this range. • Material: virgin polypropylene tips; hydrophobic aerosol barrier filter (e.g., polyethylene). • Quality: certified DNase/RNase-free; free of PCR inhibitors; non-pyrogenic. • Sterility: sterile (e.g., gamma/ETO) or equivalent validated cleanliness. • Packaging: racked in boxes; e.g., 96 tips/rack, 10 racks/box (total 960 tips) or equivalent. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | box | 6
24 | Filtered pipette tips, DNase/RNase-free, 20–200 µL | • Volume range: 20–200 µL; filtered; compatible with standard micropipettes in this range. • Material: virgin polypropylene tips; hydrophobic aerosol barrier filter (e.g., polyethylene). • Quality: certified DNase/RNase-free; free of PCR inhibitors; non-pyrogenic. • Sterility: sterile (e.g., gamma/ETO) or equivalent validated cleanliness. • Packaging: racked in boxes; e.g., 96 tips/rack, 10 racks/box (total 960 tips) or equivalent. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Cutie | 10
25 | Filtered pipette tips, DNase/RNase-free, 2–20 µL | • Volume range: 2–20 µL; filtered; compatible with standard micropipettes in this range. • Material: virgin polypropylene tips; hydrophobic aerosol barrier filter (e.g., polyethylene). • Quality: certified DNase/RNase-free; free of PCR inhibitors; non-pyrogenic. • Sterility: sterile (e.g., gamma/ETO) or equivalent validated cleanliness. • Packaging: racked in boxes; e.g., 96 tips/rack, 10 racks/box (total 960 tips) or equivalent. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | box | 40
26 | Sharps container, puncture-resistant, 5 L | • Capacity: 5 L. • Construction: rigid puncture-resistant polypropylene; leak-proof. • Lid: temporary and final closure; wide opening suitable for needles/lancets. • Features: stable base; handle for transport; color: yellow (or standard biohazard color). • Compliance: meets applicable healthcare sharps container requirements/standards. • Single-use; labeled biohazard; pack size as offered by supplier. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 50 |  | 0 | please provide earliest delivery time, but not later than 16.06.2025
27 | Sharps container, puncture-resistant, 2.5 L | • Capacity: 2.5 L. • Construction: rigid puncture-resistant polypropylene; leak-proof. • Lid: temporary and final closure; wide opening suitable for needles/lancets. • Features: stable base; handle for transport; color: yellow (or standard biohazard color). • Compliance: meets applicable healthcare sharps container requirements/standards. • Single-use; labeled biohazard; pack size as offered by supplier. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 50
28 | Plastic test tube rack for 40 tubes | • Capacity: holds 40 tubes. • Compatibility: suitable for common laboratory tubes (e.g., Ø 12–16 mm) as required. • Material: durable plastic (polypropylene/ABS) with stable base. • Features: easy-to-clean; resistant to common laboratory chemicals; autoclavable if polypropylene. • Color: any; labeling area for sample identification. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | piece | 10
| TOTAL: Reagents and laboratory consumbales for diagnostic procedures | [5 empty] | 0
We declare that all the information and statements made in this Proposal are true and we accept that any misinterpretation or misrepresentation contained in this Proposal may lead to our disqualification .
We offer to provide services in conformity with the Bidding documents, and in accordance with the Terms of Reference
Our Proposal shall be valid and remain binding upon us for the period of time specified in the Bid requirements.
I, the undersigned, certify that I am duly authorized by WHO ITB 2026/EURO/MDA/0001 to sign this Proposal and bind it should WHO accept this Proposal.
Name: _____________________________________________________________
Title: _____________________________________________________________
Date: _____________________________________________________________