| Replanning of the shooting range rooms (basement) and renovation of the sports hall with offices (Ground floor + First floor) in the block letter "J" (no. cad. 0100213.241.04), S+P+E in RM, Chisinau municipality, 21 Gh. Asachi street | Form No. 1 unfolded WinСmeta |
| --- | --- |
| (name of the objective) |  |

Bill of quantities for works No. 4-1-1

External Electricity Supply Networks (12/25-J-REAE)

Iprepared in current prices

| № crt. | Norm symbol and Resource code | Name of raw material, materials, fuel, energy resources | U.M. | Consumption of labor, materials and mechanisms |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  | Per unit of measurement | On the total volume |

| 1 |  |  | 2 |  | 3 |  |  | 4 |  |  | 5 |  | 6 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Construction works |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1.1. Cable laying embankments |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  | RpCS19B |  | Dismantling: prefabricated slabs / Prefabricated concrete slabs (paving) dismantled, with slab recovery |  |  | m2 |  |  |  |  | 63,000 |  |
|  |  |  | 7129020012800 |  | Paving technician |  |  | mh |  |  | 0,180 |  | 11,34 |  |
|  |  |  | 9310060019922 |  | General operative |  |  | mh |  |  | 0,180 |  | 11,34 |  |
| 2 |  |  | RpEJ04A |  | Cable laying works: manual earth excavation in limited spaces (under 1.00 m wide and up to 2.00 m deep) |  |  | m3 |  |  |  |  | 8,400 |  |
|  |  |  | 7124010010700 |  | Carpenter |  |  | mh |  |  | 0,500 |  | 4,20 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 3,400 |  | 28,56 |  |
|  |  |  | 2010102904405 |  | Softwood planks 5x20x400 cm |  |  | m3 |  |  | 0,0014 |  | 0,012 |  |
|  |  |  | 2010102906958 |  | Softwood planks 8x10x400 cm |  |  | m3 |  |  | 0,0007 |  | 0,006 |  |
| 3 |  |  | RpEJ04B |  | Cable laying works: earth filling, executed in horizontal layers 20-30 cm thick, watered and well tamped with a hand hammer |  |  | m3 |  |  |  |  | 3,400 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 0,860 |  | 2,924 |  |
|  |  |  | 4100116202818 |  | Water for mortars and concretes |  |  | m3 |  |  | 0,100 |  | 0,34 |  |
| 4 |  |  | TsH222A |  | Loading soil in road transport |  |  | m3 |  |  |  |  | 4,600 |  |
|  |  |  | 9310060019900 |  | Unskilled worker |  |  | mh |  |  | 1,110 |  | 5,106 |  |
| 5 |  |  | TsI51A10 |  | Transporting soil with a 10 t dump truck over a distance of 10 km |  |  | t |  |  |  |  | 7,820 |  |
|  |  |  | 3410540000007 |  | Dump truck 10 t |  |  | how |  |  | 0,0571 |  | 0,447 |  |
| 6 |  |  | RpEM27A |  | Excavation of trial pits to locate existing networks (in unfrozen soil) |  |  | pcs |  |  |  |  | 8,000 |  |
|  |  |  | 7137010011510 |  | Electromontor |  |  | mh |  |  | 6,500 |  | 52,00 |  |
| 7 |  |  | 34-02-003-1 |  | Execution of pipelines from polyethylene pipes: up to 2 holes / PVC pipe SDR17 Ø110 |  |  | 1 km |  |  |  |  | 0,045 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 133,000 |  | 5,985 |  |
|  |  |  | 102-0097 |  | Softwood lumber. Unedged beams |  |  | m3 |  |  | 0,080 |  | 0,004 |  |
|  |  |  | 530-0182-110 |  | PVC pipe SDR17 Ø110 |  |  | m |  |  | 1 000,000 |  | 45,00 |  |
| 8 |  |  | DE13B |  | Pavements made of prefabricated concrete paving slabs, previously dismantled |  |  | m2 |  |  |  |  | 33,000 |  |
|  |  |  | 7129020012800 |  | Paving technician |  |  | mh |  |  | 1,600 |  | 52,80 |  |
|  |  |  | 9310060019922 |  | General operative |  |  | mh |  |  | 0,860 |  | 28,38 |  |
|  |  |  | 1421102200548 |  | Sand for landscaping |  |  | m3 |  |  | 0,056 |  | 1,848 |  |
| 9 |  |  | DE13B |  | Pavements made of precast concrete paving slabs, new |  |  | m2 |  |  |  |  | 30,000 |  |
|  |  |  | 7129020012800 |  | Paving technician |  |  | mh |  |  | 1,600 |  | 48,00 |  |
|  |  |  | 9310060019922 |  | General operative |  |  | mh |  |  | 0,860 |  | 25,80 |  |
|  |  |  | 2661112800654 |  | Precast concrete paving slabs, 50mm thick |  |  | m2 |  |  | 1,015 |  | 30,45 |  |
|  |  |  | 2651122100023 |  | Portland cement |  |  | kg |  |  | 1,600 |  | 48,00 |  |
|  |  |  | 1421102200548 |  | Sand for landscaping |  |  | m3 |  |  | 0,056 |  | 1,68 |  |
|  |  |  | 4100126202818 |  | Water |  |  | m3 |  |  | 0,023 |  | 0,69 |  |
|  |  |  | 2881116002701 |  | Tile cutting disc |  |  | pcs |  |  | 0,020 |  | 0,60 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Cable laying embankments |  |  |  |  |  |  |  |  |  |
| 1.2. Repeated grounding socket |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  | RpEJ04A |  | Cable laying works: manual earth excavation in limited spaces (under 1.00 m wide and up to 2.00 m deep) |  |  | m3 |  |  |  |  | 4,500 |  |
|  |  |  | 7124010010700 |  | Carpenter |  |  | mh |  |  | 0,500 |  | 2,25 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 3,400 |  | 15,30 |  |
|  |  |  | 2010102904405 |  | Softwood planks 5x20x400 cm |  |  | m3 |  |  | 0,0014 |  | 0,007 |  |
|  |  |  | 2010102906958 |  | Softwood planks 8x10x400 cm |  |  | m3 |  |  | 0,0007 |  | 0,003 |  |
| 11 |  |  | RpEJ04B |  | Cable laying works: earth filling, executed in horizontal layers 20-30 cm thick, watered and well tamped with a hand hammer |  |  | m3 |  |  |  |  | 4,500 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 0,860 |  | 3,87 |  |
|  |  |  | 4100116202818 |  | Water for mortars and concretes |  |  | m3 |  |  | 0,100 |  | 0,45 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Repeated grounding socket |  |  |  |  |  |  |  |  |  |
| 1.3. Lightning protection grounding socket |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  | RpEJ04A |  | Cable laying works: manual earth excavation in limited spaces (under 1.00 m wide and up to 2.00 m deep) |  |  | m3 |  |  |  |  | 4,500 |  |
|  |  |  | 7124010010700 |  | Carpenter |  |  | mh |  |  | 0,500 |  | 2,25 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 3,400 |  | 15,30 |  |
|  |  |  | 2010102904405 |  | Softwood planks 5x20x400 cm |  |  | m3 |  |  | 0,0014 |  | 0,007 |  |
|  |  |  | 2010102906958 |  | Softwood planks 8x10x400 cm |  |  | m3 |  |  | 0,0007 |  | 0,003 |  |
| 13 |  |  | RpEJ04B |  | Cable laying works: earth filling, executed in horizontal layers 20-30 cm thick, watered and well tamped with a hand hammer |  |  | m3 |  |  |  |  | 4,500 |  |
|  |  |  | 9312040019600 |  | Groundworker / Excavator (manual) |  |  | mh |  |  | 0,860 |  | 3,87 |  |
|  |  |  | 4100116202818 |  | Water for mortars and concretes |  |  | m3 |  |  | 0,100 |  | 0,45 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Lightning rod grounding socket |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Social insurance |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Transport of materials |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Storage purchase expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Direct expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Overhead expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total with CR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Quote benefit |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Construction works |  |  |  |  |  |  |  |  |  |
| 2. Installation work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.1. Dismantling |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  | RpEG17D |  | Dismantling of electrical panels: metal from panel, cabinet, cell, desk |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 7137010011520 |  | Construction electrician |  |  | mh |  |  | 5,880 |  | 5,88 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total removal |  |  |  |  |  |  |  |  |  |
| 2.2. Completing the PT40 connection point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  | 08-03-524-12 |  | Box with a three-pole lever switch, or with a three-pole lever switch and three fuses, or with three "fuse-switch" blocks, or with three fuses, mounted on wall or column constructions, current up to 400 A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 5,990 |  | 5,99 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,070 |  | 0,07 |  |
|  |  |  | 1011964 |  | Paper twine |  |  | kg |  |  | 0,014 |  | 0,014 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,735 |  | 0,735 |  |
|  |  |  | 1019103 |  | Spacer plugs |  |  | 100 pcs |  |  | 0,014 |  | 0,014 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 1,220 |  | 1,22 |  |
|  |  |  | 1019760 |  | Electrical insulation varnish "318" |  |  | kg |  |  | 0,053 |  | 0,053 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 0,050 |  | 0,05 |  |
|  |  |  | 5009062 |  | Cable lugs |  |  | pcs |  |  | 12,200 |  | 12,20 |  |
|  |  |  | 5009081 |  | Flexible connection bridges |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,041 |  | 0,041 |  |
|  |  |  | 5429033 |  | Technical grease |  |  | kg |  |  | 0,056 |  | 0,056 |  |
|  |  |  | 5440089 |  | Adhesive insulating tape |  |  | kg |  |  | 0,132 |  | 0,132 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,016 |  | 0,016 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 0,130 |  | 0,13 |  |
|  |  |  | 330206 |  | Electric drills |  |  | how |  |  | 0,280 |  | 0,28 |  |
|  |  |  | 350451 |  | Hydraulic presses with electric drive device |  |  | how |  |  | 0,650 |  | 0,65 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,016 |  | 0,016 |  |
| 16 |  |  | 08-03-523-2 |  | Fuse, installed on insulating support, current up to 250 A |  |  | pcs |  |  |  |  | 3,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 1,230 |  | 3,69 |  |
|  |  |  | 1011964 |  | Paper twine |  |  | kg |  |  | 0,002 |  | 0,006 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,208 |  | 0,624 |  |
|  |  |  | 1019760 |  | "318" electrical insulation varnish |  |  | kg |  |  | 0,008 |  | 0,024 |  |
|  |  |  | 5009062 |  | Cable lugs |  |  | pcs |  |  | 2,000 |  | 6,00 |  |
|  |  |  | 5429033 |  | Technical grease |  |  | kg |  |  | 0,005 |  | 0,015 |  |
|  |  |  | 5440089 |  | Adhesive insulating tape |  |  | kg |  |  | 0,020 |  | 0,06 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,004 |  | 0,012 |  |
|  |  |  | 330206 |  | Electric drills |  |  | how |  |  | 0,060 |  | 0,18 |  |
|  |  |  | 350451 |  | Hydraulic presses with electric drive device |  |  | how |  |  | 0,100 |  | 0,30 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,004 |  | 0,012 |  |
| 17 |  |  | 08-02-159-4 |  | Terminal head in rubber sleeve for cable with 3-4 conductors, voltage up to 1 kV, cross-section of one conductor, up to: 240 mm2 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 2,830 |  | 2,83 |  |
|  |  |  | 1010069 |  | Gas |  |  | t |  |  | 0,0008 |  | 0,001 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,00204 |  | 0,002 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,010 |  | 0,01 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,0024 |  | 0,002 |  |
|  |  |  | 5420042 |  | Propane-butane, technical mixture |  |  | kg |  |  | 0,150 |  | 0,15 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
| 18 |  |  |  |  | Manson terminal 4KVNTp 4x150-240 mm2 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700KVNTp-4x150-240 |  | Manson terminal 4KVNTp 4x150-240 mm2 |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 19 |  |  | 08-02-144-6 |  | Connecting conductor wires or cables to terminals, cross-section up to: 150 mm2 |  |  | 100 pcs |  |  |  |  | 0,040 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 28,400 |  | 1,136 |  |
| 20 |  |  | company price |  | Cable lug sec.150mm |  |  | pcs |  |  |  |  | 4,000 |  |
|  |  |  | 58012026012 |  | Cable lug sec.150mm |  |  | pcs |  |  | 1,000 |  | 4,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Completing the PT40 connection point |  |  |  |  |  |  |  |  |  |
| 2.3. Record panel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  | 08-03-572-4 |  | Cabinet-type or distribution point (cabinet) execution control block, wall-mounted, height and width, mm, up to 1200х1000 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 3,490 |  | 3,49 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,250 |  | 0,25 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,170 |  | 0,17 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 0,030 |  | 0,03 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,290 |  | 0,29 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 1,150 |  | 1,15 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,290 |  | 0,29 |  |
| 22 |  |  | 08-01-058-1 |  | Electrical load break switch with operating device: manual |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 7,060 |  | 7,06 |  |
|  |  |  | 1011755 |  | Quenched sheet steel, thickness 4-5 mm |  |  | t |  |  | 0,00087 |  | 0,001 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,870 |  | 0,87 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 0,030 |  | 0,03 |  |
|  |  |  | 1019925 |  | Square washers |  |  | 100 pcs |  |  | 0,080 |  | 0,08 |  |
|  |  |  | 5009807 |  | Marking head formations |  |  | 100 pcs |  |  | 0,040 |  | 0,04 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,100 |  | 0,10 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 0,110 |  | 0,11 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,100 |  | 0,10 |  |
| 23 |  |  | 08-03-526-3 |  | Single-, two-, three-pole circuit breaker, mounted on wall or column constructions, current up to 250 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 2,760 |  | 2,76 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,070 |  | 0,07 |  |
|  |  |  | 1011964 |  | Paper twine |  |  | kg |  |  | 0,004 |  | 0,004 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,431 |  | 0,431 |  |
|  |  |  | 1019103 |  | Spacer plugs |  |  | 100 pcs |  |  | 0,014 |  | 0,014 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 1,220 |  | 1,22 |  |
|  |  |  | 1019760 |  | Electrical insulation varnish "318" |  |  | kg |  |  | 0,016 |  | 0,016 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 0,047 |  | 0,047 |  |
|  |  |  | 5009062 |  | Cable lugs |  |  | pcs |  |  | 6,100 |  | 6,10 |  |
|  |  |  | 5009081 |  | Flexible connection bridges |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,020 |  | 0,02 |  |
|  |  |  | 5429033 |  | Technical grease |  |  | kg |  |  | 0,009 |  | 0,009 |  |
|  |  |  | 5440089 |  | Adhesive insulating tape |  |  | kg |  |  | 0,042 |  | 0,042 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,006 |  | 0,006 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 0,130 |  | 0,13 |  |
|  |  |  | 330206 |  | Electric drills |  |  | how |  |  | 0,040 |  | 0,04 |  |
|  |  |  | 350451 |  | Hydraulic presses with electric drive device |  |  | how |  |  | 0,230 |  | 0,23 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,006 |  | 0,006 |  |
| 24 |  |  | 08-03-600-2 |  | Meters, mounted on prepared support, with three phases |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 0,870 |  | 0,87 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
| 25 |  |  | 10-04-087-04 |  | Reception-transmission equipment set: Modem + antenna |  |  | set |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 7,000 |  | 7,00 |  |
|  |  |  | 1012073 |  | Rough threads |  |  | kg |  |  | 0,0001 |  | 0,00 |  |
|  |  |  | 1110109 |  | Plastic marking sheets |  |  | 100 pcs |  |  | 0,040 |  | 0,04 |  |
|  |  |  | 5009062 |  | Cable lugs |  |  | pcs |  |  | 4,000 |  | 4,00 |  |
|  |  |  | 5220077 |  | Alloys |  |  | kg |  |  | 0,024 |  | 0,024 |  |
|  |  |  | 5440089 |  | Adhesive insulating tape |  |  | kg |  |  | 0,00024 |  | 0,00 |  |
| 26 |  |  | 08-01-053-1 |  | Current transformer, voltage up to 10 kV |  |  | pcs |  |  |  |  | 3,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 2,430 |  | 7,29 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,390 |  | 1,17 |  |
|  |  |  | 5009081 |  | Flexible connection bridges |  |  | pcs |  |  | 1,000 |  | 3,00 |  |
|  |  |  | 5009807 |  | Marking head formations |  |  | 100 pcs |  |  | 0,041 |  | 0,123 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,039 |  | 0,117 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 0,024 |  | 0,072 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,039 |  | 0,117 |  |
| 27 |  |  | 10-06-034-25 |  | Miscellaneous works: Execution of grounding of boxes (under screw), type: "БМ 1-1", capacity 20х2 /applicable, complete mounting of N/PE rails |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 6,000 |  | 6,00 |  |
| 28 |  |  | 08-02-159-4 |  | Terminal head in rubber sleeve for cable with 3-4 conductors, voltage up to 1 kV, cross-section of one conductor, up to: 240 mm2 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 2,830 |  | 2,83 |  |
|  |  |  | 1010069 |  | Gas |  |  | t |  |  | 0,0008 |  | 0,001 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,00204 |  | 0,002 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,010 |  | 0,01 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,0024 |  | 0,002 |  |
|  |  |  | 5420042 |  | Propane-butane, technical mixture |  |  | kg |  |  | 0,150 |  | 0,15 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,010 |  | 0,01 |  |
| 29 |  |  |  |  | Manson terminal 4KVNTp 4x150-240 mm2 |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700KVNTp-4x150-240 |  | Manson terminal 4KVNTp 4x150-240 mm2 |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 30 |  |  | 08-02-144-6 |  | Connecting conductor wires or cables to terminals, cross-section up to: 150 mm2 |  |  | 100 pcs |  |  |  |  | 0,040 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 28,400 |  | 1,136 |  |
| 31 |  |  | company price |  | Cable lug sec.150mm |  |  | pcs |  |  |  |  | 4,000 |  |
|  |  |  | 58012026012 |  | Cable lug sec.150mm |  |  | pcs |  |  | 1,000 |  | 4,00 |  |
| 32 |  |  |  |  | Sticker (Danger of electric shock) |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 202 |  | Sticker (Danger of electric shock) |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Record panel |  |  |  |  |  |  |  |  |  |
| 2.4. Cable set |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 33 |  |  | 08-02-145-4 |  | Cable up to 35 kV, laid on the bottom of the channel without fixings, mass 1 m up to: 6 kg |  |  | 100 m |  |  |  |  | 0,360 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 12,800 |  | 4,608 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,00004 |  | 0,00 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,00006 |  | 0,00 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,00832 |  | 0,003 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,040 |  | 0,014 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,096 |  | 0,035 |  |
|  |  |  | 5220077 |  | Alloys |  |  | kg |  |  | 0,500 |  | 0,18 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 1,620 |  | 0,583 |  |
|  |  |  | 030203 |  | Hydraulic jacks, lifting capacity 63 t |  |  | how |  |  | 2,790 |  | 1,004 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 2,790 |  | 1,004 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 1,620 |  | 0,583 |  |
| 34 |  |  | 08-02-148-4 |  | Cable up to 35 kV in pipes, blocks and laid boxes, mass 1 m up to: 6 kg |  |  | 100 m |  |  |  |  | 0,160 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 28,800 |  | 4,608 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,00004 |  | 0,00 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,00006 |  | 0,00 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,00832 |  | 0,001 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,0041 |  | 0,001 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,0096 |  | 0,002 |  |
|  |  |  | 5220077 |  | Alloys |  |  | kg |  |  | 0,500 |  | 0,08 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 1,630 |  | 0,261 |  |
|  |  |  | 030203 |  | Hydraulic jacks, lifting capacity 63 t |  |  | how |  |  | 6,420 |  | 1,027 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 6,420 |  | 1,027 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 1,630 |  | 0,261 |  |
| 35 |  |  | 08-02-147-13 |  | Cable up to 35 kV on installed structures and gutters, with full length fixing, mass of 1 m of cable, up to: 6 kg |  |  | 100 m |  |  |  |  | 0,120 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 37,100 |  | 4,452 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,0001 |  | 0,00 |  |
|  |  |  | 1011481 |  | Round head screws 4х40 mm |  |  | t |  |  | 0,00062 |  | 0,00 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,00072 |  | 0,00 |  |
|  |  |  | 5009031 |  | clamp |  |  | 10 pcs |  |  | 10,200 |  | 1,224 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,0208 |  | 0,002 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,010 |  | 0,001 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,0245 |  | 0,003 |  |
|  |  |  | 5220077 |  | Alloys |  |  | kg |  |  | 0,250 |  | 0,03 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 1,240 |  | 0,149 |  |
|  |  |  | 030203 |  | Hydraulic jacks, lifting capacity 63 t |  |  | how |  |  | 8,620 |  | 1,034 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 8,620 |  | 1,034 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 1,240 |  | 0,149 |  |
| 36 |  |  |  |  | Armored cable with aluminum wires with double insulation АПвБбШп 4x240 mm2 |  |  | m |  |  |  |  | 58,000 |  |
|  |  |  | 600APvBbSp-4x240 |  | Armored cable with aluminum wires with double insulation АПвБбШп 4x240 mm2 |  |  | m |  |  | 1,000 |  | 58,00 |  |
| 37 |  |  |  |  | Cable with aluminum wires with double insulation АВВГнг 5x185 mm2 |  |  | m |  |  |  |  | 6,000 |  |
|  |  |  | 600AVVGng-5x185 |  | Cable with aluminum wires with double insulation АВВГнг 5x185 mm2 |  |  | m |  |  | 1,000 |  | 6,00 |  |
| 38 |  |  | 08-02-147-10 |  | Cable up to 35 kV on installed structures and gutters, with fixation along the entire length, mass of 1 m of cable, up to: 1 kg |  |  | 100 m |  |  |  |  | 0,250 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 17,600 |  | 4,40 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,0001 |  | 0,00 |  |
|  |  |  | 1011481 |  | Round head screws 4х40 mm |  |  | t |  |  | 0,00062 |  | 0,00 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,00072 |  | 0,00 |  |
|  |  |  | 5009031 |  | clamp |  |  | 10 pcs |  |  | 10,200 |  | 2,55 |  |
|  |  |  | 5009101 |  | Mounting buttons |  |  | 1000 pcs |  |  | 0,0208 |  | 0,005 |  |
|  |  |  | 5009500 |  | Marking sheets |  |  | 100 pcs |  |  | 0,010 |  | 0,002 |  |
|  |  |  | 5009623 |  | Band "K226" |  |  | 100 m |  |  | 0,0245 |  | 0,006 |  |
|  |  |  | 5220077 |  | Alloys |  |  | kg |  |  | 0,250 |  | 0,062 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,250 |  | 0,062 |  |
|  |  |  | 030203 |  | Hydraulic jacks, lifting capacity 63 t |  |  | how |  |  | 4,180 |  | 1,045 |  |
|  |  |  | 030408 |  | Electric winches, pulling force 156.96 (16) kN (t) |  |  | how |  |  | 4,180 |  | 1,045 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,250 |  | 0,062 |  |
| 39 |  |  |  |  | Fir electric PV3 1x25 mm2 |  |  | m |  |  |  |  | 25,000 |  |
|  |  |  | 600PV3-1x25 |  | Fir electric PV3 1x25 mm2 |  |  | m |  |  | 1,000 |  | 25,00 |  |
| 40 |  |  | 08-02-144-7 |  | Connecting conductor wires or cables to terminals, cross-section up to: 240 mm2 |  |  | 100 pcs |  |  |  |  | 0,100 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 38,000 |  | 3,80 |  |
| 41 |  |  | company price |  | Cable lug AI185mm |  |  | pcs |  |  |  |  | 10,000 |  |
|  |  |  | 580120260125 |  | Cable lug AI185mm |  |  | pcs |  |  | 1,000 |  | 10,00 |  |
| 42 |  |  | 08-02-142-1 |  | Execution of the bed for a single cable in trenches |  |  | 100 m |  |  |  |  | 0,550 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 6,630 |  | 3,647 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 4,990 |  | 2,744 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 4,990 |  | 2,744 |  |
| 43 |  |  |  |  | Sifted sand |  |  | m3 |  |  |  |  | 4,600 |  |
|  |  |  | 600nisip |  | Sifted sand |  |  | m3 |  |  | 1,000 |  | 4,60 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Cable set |  |  |  |  |  |  |  |  |  |
| 2.5. Pipes and gutters |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 44 |  |  | 08-02-396-6 |  | Metal channel on walls and ceilings, length 3 m |  |  | 100 m |  |  |  |  | 0,120 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 29,400 |  | 3,528 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 6,840 |  | 0,821 |  |
|  |  |  | 1019103 |  | Spacer plugs |  |  | 100 pcs |  |  | 0,400 |  | 0,048 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 12,500 |  | 1,50 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 1,090 |  | 0,131 |  |
|  |  |  | 030902 |  | Hydraulic lifts, lifting capacity 10 m |  |  | how |  |  | 9,120 |  | 1,094 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 2,160 |  | 0,259 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 1,090 |  | 0,131 |  |
| 45 |  |  |  |  | Non-perforated metal gutter 100x100 with cover 100x15 |  |  | m |  |  |  |  | 12,000 |  |
|  |  |  | 600jg100x100+c |  | Non-perforated metal gutter 100x100 with cover 100x15 |  |  | m |  |  | 1,000 |  | 12,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Pipes and gutters |  |  |  |  |  |  |  |  |  |
| 2.6. Repeated grounding and lightning rod socket |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 46 |  |  | 08-02-471-4 |  | Earthing socket, vertical, made of round steel, diameter 20 mm |  |  | 10 pcs |  |  |  |  | 0,400 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 8,290 |  | 3,316 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,002 |  | 0,001 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,780 |  | 0,312 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,140 |  | 0,056 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 2,540 |  | 1,016 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,140 |  | 0,056 |  |
| 47 |  |  |  |  | Galvanized round steel Ø20 mm |  |  | m |  |  |  |  | 12,000 |  |
|  |  |  | 600/ot20 |  | Galvanized round steel Ø20 mm |  |  | m |  |  | 1,000 |  | 12,00 |  |
| 48 |  |  | 08-02-472-2 |  | Grounding conductors: grounding plug, horizontal, made of stranded steel, section 160 mm2 |  |  | 100 m |  |  |  |  | 0,180 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 16,600 |  | 2,988 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,0037 |  | 0,001 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,900 |  | 0,162 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,220 |  | 0,04 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 3,130 |  | 0,563 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,220 |  | 0,04 |  |
| 49 |  |  |  |  | Galvanized steel strip 40x4 mm |  |  | m |  |  |  |  | 18,000 |  |
|  |  |  | 600/ot40/4 |  | Galvanized steel strip 40/4 mm |  |  | m |  |  | 1,000 |  | 18,00 |  |
| 50 |  |  | 08-02-472-6 |  | Grounding conductor, open, on construction supports, made of stranded steel, section 100 mm2 |  |  | 100 m |  |  |  |  | 0,030 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 19,000 |  | 0,57 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,550 |  | 0,016 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 8,200 |  | 0,246 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 2,000 |  | 0,06 |  |
|  |  |  | 5009031 |  | clamp |  |  | 10 pcs |  |  | 1,500 |  | 0,045 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 3,360 |  | 0,101 |  |
| 51 |  |  |  |  | Galvanized steel band 25x4 mm |  |  | m |  |  |  |  | 3,000 |  |
|  |  |  | 600/ot25/4 |  | Galvanized steel band 25x4 mm |  |  | m |  |  | 1,000 |  | 3,00 |  |
| 52 |  |  |  |  | Grounding clamp for strip with 2 M12 screws |  |  | pcs |  |  |  |  | 5,000 |  |
|  |  |  | 600103 |  | Grounding clamp for strip with 2 M12 screws |  |  | pcs |  |  | 1,000 |  | 5,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Repeated grounding and lightning rod socket |  |  |  |  |  |  |  |  |  |
| 2.7. Paratrasnet |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 53 |  |  | 08-02-363-1 |  | Special, welded metal brackets |  |  | pcs |  |  |  |  | 8,000 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 3,410 |  | 27,28 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,0006 |  | 0,005 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 0,100 |  | 0,80 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 0,500 |  | 4,00 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,020 |  | 0,16 |  |
|  |  |  | 031050 |  | Telescopic towers, 25 m |  |  | how |  |  | 1,330 |  | 10,64 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,020 |  | 0,16 |  |
| 54 |  |  |  |  | Galvanized steel support L=3000x20mm |  |  | pcs |  |  |  |  | 8,000 |  |
|  |  |  | 45022026052 |  | Galvanized steel support L=3000x20mm |  |  | pcs |  |  | 1,000 |  | 8,00 |  |
| 55 |  |  | CP51A |  | Foundation slabs, placed on prepared bed / Round concrete foundation 20kg |  |  | pcs |  |  |  |  | 8,000 |  |
|  |  |  | 7136080025001 |  | Installer |  |  | mh |  |  | 0,589 |  | 4,712 |  |
|  |  |  | 9310060019920 |  | CM General operative |  |  | mh |  |  | 0,060 |  | 0,48 |  |
|  |  |  | 26661228006001 |  | Round concrete foundation 20kg |  |  | pcs |  |  | 1,010 |  | 8,08 |  |
|  |  |  | 3410520006752 |  | Automacara 6 - 10 tf |  |  | how |  |  | 0,183 |  | 1,464 |  |
| 56 |  |  | 08-02-471-4 |  | Earthing socket, vertical, made of round steel, diameter 20 mm |  |  | 10 pcs |  |  |  |  | 0,400 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 8,290 |  | 3,316 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,002 |  | 0,001 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,780 |  | 0,312 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,140 |  | 0,056 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 2,540 |  | 1,016 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,140 |  | 0,056 |  |
| 57 |  |  |  |  | Galvanized round steel Ø20 mm |  |  | m |  |  |  |  | 12,000 |  |
|  |  |  | 600/ot20 |  | Galvanized round steel Ø20 mm |  |  | m |  |  | 1,000 |  | 12,00 |  |
| 58 |  |  | 08-02-472-2 |  | Grounding conductors: grounding plug, horizontal, made of stranded steel, section 160 mm2 |  |  | 100 m |  |  |  |  | 0,180 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 16,600 |  | 2,988 |  |
|  |  |  | 1011786 |  | Bitumen varnish |  |  | t |  |  | 0,0037 |  | 0,001 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,900 |  | 0,162 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,220 |  | 0,04 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 3,130 |  | 0,563 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,220 |  | 0,04 |  |
| 59 |  |  |  |  | Galvanized steel strip 40x4 mm |  |  | m |  |  |  |  | 18,000 |  |
|  |  |  | 600/ot40/4 |  | Galvanized steel strip 40/4 mm |  |  | m |  |  | 1,000 |  | 18,00 |  |
| 60 |  |  | 08-02-472-8 |  | Earthing conductor, open, on construction supports, made of round steel, diameter 6 mm |  |  | 100 m |  |  |  |  | 1,600 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 20,100 |  | 32,16 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 0,900 |  | 1,44 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 8,200 |  | 13,12 |  |
|  |  |  | 1019852 |  | Paint |  |  | kg |  |  | 2,000 |  | 3,20 |  |
|  |  |  | 5009031 |  | clamp |  |  | 10 pcs |  |  | 1,500 |  | 2,40 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,110 |  | 0,176 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 3,360 |  | 5,376 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,110 |  | 0,176 |  |
| 61 |  |  |  |  | Galvanized round steel Ø6 mm |  |  | m |  |  |  |  | 160,000 |  |
|  |  |  | 600/ot6 |  | Galvanized round steel Ø6 mm |  |  | m |  |  | 1,000 |  | 160,00 |  |
| 62 |  |  | 08-02-303-7 |  | Steel cable, longitudinal-bearing |  |  | 1 km |  |  |  |  | 0,155 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 30,900 |  | 4,79 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,310 |  | 0,048 |  |
|  |  |  | 031050 |  | Telescopic towers, 25 m |  |  | how |  |  | 1,880 |  | 0,291 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,310 |  | 0,048 |  |
| 63 |  |  |  |  | Galvanized steel wire rope Ø8 mm |  |  | m |  |  |  |  | 155,000 |  |
|  |  |  | 600/otT8 |  | Galvanized steel wire rope Ø8 mm |  |  | m |  |  | 1,000 |  | 155,00 |  |
| 64 |  |  |  |  | Grounding clamp for strip with 2 M12 screws |  |  | pcs |  |  |  |  | 4,000 |  |
|  |  |  | 600103 |  | Grounding clamp for strip with 2 M12 screws |  |  | pcs |  |  | 1,000 |  | 4,00 |  |
| 65 |  |  | 08-02-472-11 |  | Grounding connection bridge for metal constructions |  |  | 10 pcs |  |  |  |  | 16,200 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 3,590 |  | 58,158 |  |
|  |  |  | 1010813 |  | Galvanized steel wire, diameter 3.0 mm |  |  | t |  |  | 0,0002 |  | 0,003 |  |
|  |  |  | 021102 |  | Crane on a car chassis for installation works of technological equipment (except main pipelines), 10 t |  |  | how |  |  | 0,010 |  | 0,162 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 0,560 |  | 9,072 |  |
|  |  |  | 400002 |  | Boarded cars, tonnage up to 8 t |  |  | how |  |  | 0,010 |  | 0,162 |  |
| 66 |  |  |  |  | Lightning rod fixing clamp d20mm F-FIX-CL or similar |  |  | pcs |  |  |  |  | 8,000 |  |
|  |  |  | 45022026064 |  | Lightning rod fixing clip d20mm F-FIX-CL |  |  | pcs |  |  | 1,000 |  | 8,00 |  |
| 67 |  |  |  |  | K798 or analog extension plug |  |  | pcs |  |  |  |  | 4,000 |  |
|  |  |  | 45022026065 |  | K798 tensioning plug |  |  | pcs |  |  | 1,000 |  | 4,00 |  |
| 68 |  |  |  |  | Conductive support for horizontal and vertical surfaces lp-35025 or similar |  |  | pcs |  |  |  |  | 80,000 |  |
|  |  |  | 45022026066 |  | Conductive support for horizontal and vertical surfaces lp-35025 |  |  | pcs |  |  | 1,000 |  | 80,00 |  |
| 69 |  |  |  |  | Conductor support for facade lp-31000 or similar |  |  | pcs |  |  |  |  | 70,000 |  |
|  |  |  | 45022026067 |  | Conductor support for facade lp-31000 |  |  | pcs |  |  | 1,000 |  | 70,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Paratrasnet |  |  |  |  |  |  |  |  |  |
| 2.8. Construction materials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 70 |  |  | 08-02-397-1 |  | Perforated mounting profile, length 2 m |  |  | 100 pcs |  |  |  |  | 0,300 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 10,700 |  | 3,21 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 2,140 |  | 0,642 |  |
|  |  |  | 1011977 |  | Bolts with nuts and washers |  |  | kg |  |  | 1,250 |  | 0,375 |  |
|  |  |  | 1019103 |  | Spacer plugs |  |  | 100 pcs |  |  | 0,300 |  | 0,09 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 4,340 |  | 1,302 |  |
|  |  |  | 5009825 |  | Earring |  |  | pcs |  |  | 30,000 |  | 9,00 |  |
|  |  |  | 5349100 |  | Joints |  |  | pcs |  |  | 6,000 |  | 1,80 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 3,010 |  | 0,903 |  |
|  |  |  | 331451 |  | Electric drills |  |  | how |  |  | 2,210 |  | 0,663 |  |
| 71 |  |  |  |  | Profile montaj tip U K108-1U2 |  |  | pcs |  |  |  |  | 30,000 |  |
|  |  |  | 45022026070 |  | Profile montaj tip U K108-1U2 |  |  | pcs |  |  | 1,000 |  | 30,00 |  |
| 72 |  |  | 08-02-152-1 |  | Cable metal constructions: Hardware |  |  | t |  |  |  |  | 0,025 |  |
|  |  |  | 1 |  | General Labourer |  |  | mh |  |  | 101,000 |  | 2,525 |  |
|  |  |  | 1011924 |  | Electrodes E42A, diameter 4 mm |  |  | kg |  |  | 2,990 |  | 0,075 |  |
|  |  |  | 1019109 |  | Connection plugs |  |  | 10 pcs |  |  | 95,200 |  | 2,38 |  |
|  |  |  | 2019408F |  | Hardware |  |  | t |  |  | 1,000 |  | 0,025 |  |
|  |  |  | 040502 |  | Installations for manual electric arc welding (direct current) |  |  | how |  |  | 27,500 |  | 0,688 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Construction materials |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Social insurance |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Transport of materials |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Storage purchase expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Direct expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Overhead expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total with CR |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Quote benefit |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Installation work |  |  |  |  |  |  |  |  |  |
| 3. Equipment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.1. Completing the PT40 connection point |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 73 |  |  |  |  | Fused load break switch РПС-400 3P 400A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700RPS-400 |  | Fused load break switch РПС-400 3P 400A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 74 |  |  |  |  | Fuse 400/250A gab2 PPN37 |  |  | pcs |  |  |  |  | 3,000 |  |
|  |  |  | 700PPN37-400/250 |  | Fuse 400/250A gab2 PPN37 |  |  | pcs |  |  | 1,000 |  | 3,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Completing the PT40 connection point |  |  |  |  |  |  |  |  |  |
| 3.2. Record panel |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 75 |  |  |  |  | IP54 metal box for meter, open mounting, BZUM DDE-3 400A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700BZUM-RIGHT-3-400 |  | IP54 metal box for meter, open mounting, BZUM DDE-3 400A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 76 |  |  |  |  | INS320 3P 320A load break switch or similar |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700INS320-3-320 |  | Switch disconnector INS320 3P 320A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 77 |  |  |  |  | Circuit breaker with electronic trip ComPacT NSX250N 50kA TMD 250A, 250A, 3P3D or analog |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700NSX250N-50-TMD-250-3P3D |  | Circuit breaker with electronic trip ComPacT NSX250N 50kA TMD 250A, 250A, 3P3D |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 78 |  |  |  |  | Three-phase electronic meter ZMG 405 CR4 U=380V In=5...10A or analog |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700ZMG-405-CR4 |  | Three-phase electronic meter ZMG 405 CR4 U=380V In=5...10A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 79 |  |  |  |  | Modem and antenna for meter ZMG 405 CR4 U=380V In=5...10A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700Mod+Ant |  | Modem and antenna for meter ZMG 405 CR4 U=380V In=5...10A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
| 80 |  |  |  |  | Current transformer 250/5 |  |  | pcs |  |  |  |  | 3,000 |  |
|  |  |  | 700trans250/5 |  | Current transformer 250/5 |  |  | pcs |  |  | 1,000 |  | 3,00 |  |
| 81 |  |  |  |  | Busbar set N/PE 400A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 700N/PE |  | Busbar set N/PE 400A |  |  | pcs |  |  | 1,000 |  | 1,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Record panel |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Storage purchase expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Machinery |  |  |  |  |  |  |  |  |  |
| 4. Adjustment-start |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 82 |  |  | 1-03-002-1 |  | Three-pole circuit breaker with direct-acting overcurrent protection, rated current up to 1000 A |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 5 |  | Specialist |  |  | mh |  |  | 11,000 |  | 11,00 |  |
| 83 |  |  | 1-11-011-1 |  | Checking the presence of the circuit between the grounding plugs and the elements connected to the ground |  |  | 100 points |  |  |  |  | 0,080 |  |
|  |  |  | 5 |  | Specialist |  |  | mh |  |  | 16,000 |  | 1,28 |  |
| 84 |  |  | 1-11-028-1 |  | Measurement of insulation resistance with a megohmmeter of cable lines and other lines, voltage up to 1 kV, intended for the transmission of electrical energy to distribution devices, panels, cabinets, switching devices and electrical consumers |  |  | 1 line |  |  |  |  | 13,000 |  |
|  |  |  | 5 |  | Specialist |  |  | mh |  |  | 0,400 |  | 5,20 |  |
| 85 |  |  | RpEJ05D |  | Electrical tests, checks and adjustments to desks, electrical control boxes |  |  | pcs |  |  |  |  | 1,000 |  |
|  |  |  | 7137010011520 |  | Construction electrician |  |  | mh |  |  | 15,000 |  | 15,00 |  |
|  |  |  | 3410540004803 |  | Mobile auto laboratory for electrical checks and tests on cars 3 t |  |  | how |  |  | 0,800 |  | 0,80 |  |
| 86 |  |  | RpEJ05B |  | Tests, electrical checks and adjustments on three-pole circuit breakers up to 500 A |  |  | pcs |  |  |  |  | 2,000 |  |
|  |  |  | 7137010011520 |  | Construction electrician |  |  | mh |  |  | 4,000 |  | 8,00 |  |
|  |  |  | 3410540004803 |  | Mobile auto laboratory for electrical checks and tests on cars 3 t |  |  | how |  |  | 0,400 |  | 0,80 |  |
| 87 |  |  | 1-11-013-1 |  | Measuring the impedance of the "phase-neutral" circuit |  |  | 1 recipe for ass |  |  |  |  | 2,000 |  |
|  |  |  | 5 |  | Specialist |  |  | mh |  |  | 1,500 |  | 3,00 |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Social insurance |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Overhead expenses |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Quote benefit |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total Adjustment-start |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Total currency: |  |  |  |  |  |  |  |  |  |

| Elaborat |  |
| --- | --- |
| (last name, first name, position, signature,) |  |