| Major repair and modernisation of the Public Institution "Mihai Eminescu", Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-1-5

Fire alarm systems. Course module

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and al works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | CK33A |  | Automatic door closer (DS-K4DC103) |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation work |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 10-08-001-09 |  | Receiving units: Fire detection and control devices for: 2-zone systems (Addressable analogue fire detection and control unit, 2/16-address rings Previdia UltraVox) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 3 |  | 10-08-001-10 |  | Receiver units: Object reception and control devices for: 1 beam (Central processing unit module with LCD display FPMCPU) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 4 |  | 10-08-001-09 |  | Receiver units: Object detection and control devices for: 2 beams (IFM2L fire alarm module for 2 ring-addressable loops) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 5 |  | 10-08-001-13 |  | Receiver units: Intermediate devices for number of beams: 1 (IFMEXT single-direction gas fire suppression control module) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 6 |  | 10-08-001-11 |  | Receiver units: Intermediate devices for 16 beams (I/O module, 16 controlled 24V inputs/outputs IFM16IO) |  |  | pcs |  | 1.0000 |  |  |  |  |  |
| 7 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (Output module, 4 relays ~220V 5A IFM4R) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 8 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (TCP/IP ModbusTCP communication module IFMLAN) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 9 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (GSM, ContactID communication module IFMDIAL) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 10 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (Power supply module, 24V 16A 24Ah IFM24160) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 11 |  | 10-08-001-13 |  | Receiver units: Intermediate devices for number of beams: 1 (LED indicator module with printer FPMLEDPRN) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 12 |  | 10-08-001-13 |  | Receiver units: Intermediate devices for number of beams: 1 (FPMEXT remote fire suppression monitoring and control module) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 13 |  | 10-06-037-05 |  | Cabinets, boxes and enclosures for pipework installations: Wall-mounted cabinet, size, mm, up to: 640×840 (Additional grey housing PRCAB) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 14 |  | 10-08-001-13 |  | Receiving units: Intermediate devices for number of beams: 1 (Voice announcement control module with LCD display FPAMIAS) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 15 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (IFAMFFT fire telephone control module) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 16 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (IFAMEVAC audio signal switching module) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 17 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (IFAMAMP 2-line 100V 250 Bm audio amplifier output module) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 18 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (Public address power supply module, 24V 8.5A 1000W IFAMPSU ) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 19 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (12V 24Ah battery) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 20 |  | 10-08-002-03 |  | Automatic alarms: heat, smoke ED100 (smoke detector, addressable (type ED100, INIM) |  |  | pc |  | 72.0000 |  |  |  |  |  |
| 21 |  | 10-08-002-06 |  | Alarms: Mounting bracket for alarm installation ЕВ 0010 (Base for INIM automatic fire alarm) |  |  | pc |  | 72.0000 |  |  |  |  |  |
| 22 |  | 10-04-066-05 |  | Wall-mounted unit: Doorbell (IL0010 external optical signalling device) |  |  | pc |  | 28.0000 |  |  |  |  |  |
| 23 |  | 10-04-066-05 apl |  | Wall-mounted device: Manual alarm (Addressable manual fire alarm EC0020) |  |  | pc |  | 73.0000 |  |  |  |  |  |
| 24 |  | 10-04-066-05 |  | Wall-mounted device: Alarm (Addressable audible and visual fire alarm ES0020RE) |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 25 |  | 08-03-593-10 |  | Wall-mounted lighting indicators (Fire alarm light indicator (evacuation sign NR330) |  |  | 100 pcs |  | 0.0600 |  |  |  |  |  |
| 26 |  | Supplier price |  | Fire alarm light (evacuation exit sign) addressable 30m ~220V HP330 |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 27 |  | 08-03-593-10 |  | Wall-mounted lighting indicators ("GAZ-PLEACA") |  |  | 100 pcs |  | 0.0200 |  |  |  |  |  |
| 28 |  | Supplier price |  | Fire alarm light and sound indicator (display "Gas! Get out") 24V 50mA 92dB red ISS0022 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 29 |  | 08-03-593-10 |  | Wall-mounted lighting indicators ("NO GAS") |  |  | 100 pcs |  | 0.0200 |  |  |  |  |  |
| 30 |  | Supplier price |  | Fire alarm light and sound indicator (sign "Gas! Do not enter") 24V 50mA 92dB red ISS0022 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 31 |  | 10-04-101-07 |  | Subscriber equipment and miscellaneous equipment: Megaphone or loudspeaker: indoor (SPI-C66100 fire alarm voice announcer with fire alarm dome ) |  |  | pc |  | 24.0000 |  |  |  |  |  |
| 32 |  | 10-04-064-01 |  | Table-top equipment: IPG-PTT microphone console |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 33 |  | 10-06-037-05 |  | Cabinets, boxes and junction boxes for conduit installations: Wall-mounted cabinet, size, mm, up to: 640×840 (IPGECAB red fire telephone cabinet) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 34 |  | 10-04-066-07 apl |  | Wall-mounted equipment: Socket |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 35 |  | Supplier price |  | Red fire telephone socket IFTT-SOCKET-R |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 36 |  | Supplier price |  | Red portable fire telephone handset IFTT-PHONE |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 37 |  | 10-04-066-05 apl |  | Wall-mounted equipment: Manual alarm (Local control button "Start extinguishing" IC0020Y) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 38 |  | 10-04-066-05 apl |  | Wall-mounted unit: Manual alarm (Local control button "Stop extinguishing" IC0020B) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 39 |  | 10-04-066-05 apl |  | Wall-mounted unit: Manual alarm (Fire suppression control panel ICК010W) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 40 |  | 11-03-001-02 |  | Devices installed on metal structures, panels and control panels: device, weight, kg, up to: 10 (Gas fire suppression module with thermal lock, electric trigger and control pressure gauge, 20 kg Halon-227, Impulse-20) |  |  | pc |  | 10.0000 |  |  |  |  |  |
| 41 |  | 11-03-001-03 |  | To be added for every 5 kg over 10 kg |  |  | 5 kg |  | 20.0000 |  |  |  |  |  |
| 42 |  | 10-08-002-04 |  | Automatic "OS" alarms: contact, magnetic contact for opening windows and doors ( magnetic contact sensor DS-PD1-MC-MS) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 43 |  | Supplier price |  | DS-PD1-MC-MS magnetic contact sensor |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 44 |  | Supplier price |  | Instrument mounting box with connecting units and self-tapping screws for solid walls (71x42) KMT-010-04 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 45 |  | Supplier price |  | Distribution box with cover for solid walls (107x107x50) with self-tapping screws IP20 KMT-010-006 |  |  | pc |  | 50.0000 |  |  |  |  |  |
| 46 |  | 08-02-409-1 |  | Vinyl-plastic pipe for installed structures, on walls and columns, clamp-mounted, diameter 25 mm |  |  | 100 m |  | 14.5000 |  |  |  |  |  |
| 47 |  | Supplier price |  | Self-extinguishing, non-smoking, non-toxic corrugated pipe made of HDPE, 25 mm diameter |  |  | m |  | 1,450.00 |  |  |  |  |  |
| 48 |  | 08-02-412-1 |  | Insertion of conductors into installed metal pipes and conduits: first single-core or multi-core conductor in a common bundle, total cross-section up to 2.5 mm² |  |  | 100 m |  | 18.6300 |  |  |  |  |  |
| 49 |  | Supplier price |  | Cat. 3 twisted pair copper core communication cable, shielded, fire-resistant, non-smoking and non-toxic gas-emitting JE-H(St)H FE180 1x2x0.8 mm |  |  | m |  | 1,918.0000 |  |  |  |  |  |
| 50 |  | Supplier price |  | Cat. 3 twisted pair copper core communication cable, , shielded, fire-resistant, non-smoking and non-toxic, JE-H(St)H FE180 2x2x0.8 mm |  |  | m |  | 152.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
| 51 |  | Supplier price |  | Addressable analogue fire detection and control panel, 2/16 address rings, CAN, TCP/IP, ~220V, EN54 Previdia UltraVox |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 52 |  | Supplier price |  | Central processing unit module with LCD display FPMCPU |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 53 |  | Supplier price |  | Module for 2 ring-addressable fire alarm loops IFM2L |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 54 |  | Supplier price |  | IFMEXT single-direction gas fire suppression control module |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 55 |  | Supplier price |  | I/O module, 16 controlled inputs/outputs, 24V IFM16IO |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 56 |  | Supplier price |  | Output module, 4 relays ~220V 5A IFM4R |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 57 |  | Supplier price |  | ModbusTCP IFMLAN TCP/IP communication module |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 58 |  | Supplier price |  | GSM, ContactID communication module IFMDIAL |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 59 |  | Supplier price |  | Power supply module, 24V 16A 24Ah IFM24160 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 60 |  | Supplier price |  | LED indicator module with printer FPMLEDPRN |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 61 |  | Supplier price |  | FPMEXT remote fire suppression monitoring and control module |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 62 |  | Supplier price |  | FPMNUL blanking plug |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 63 |  | Supplier price |  | Additional grey housing PRCAB |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 64 |  | Supplier price |  | Voice announcement control module with LCD display FPAMIAS |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 65 |  | Supplier price |  | IFAMFFT fire telephone control module |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 66 |  | Supplier price |  | IFAMEVAC audio signal switching module |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 67 |  | Supplier price |  | , 2-line 100V 250 Bm audio amplifier output module IFAMAMP |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 68 |  | Supplier price |  | Public address power supply module, 24V 8.5A 1000W IFAMPSU |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 69 |  | Supplier price |  | 12V 24Ah battery |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 70 |  | Supplier price |  | EN54 ED100 automatic addressable analogue point-type smoke fire detector |  |  | pc |  | 80.0000 |  |  |  |  |  |
| 71 |  | Supplier price |  | Base for automatic addressable analogue point-type smoke fire detector EV0010 |  |  | pc |  | 80.00000 |  |  |  |  |  |
| 72 |  | Supplier price |  | IL0010 remote optical signalling device |  |  | pc |  | 28.0000 |  |  |  |  |  |
| 73 |  | Supplier price |  | EC0020 Addressable Manual Fire Alarm |  |  | pc |  | 73.0000 |  |  |  |  |  |
| 74 |  | Supplier price |  | Addressable visual and audible fire alarm 24V 40mA 106 dB red ES0020RE |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 75 |  | Supplier price |  | 100V 1.5/3/6W 88dB SPI-C66100 voice fire alarm with fire dome |  |  | pc |  | 24.0000 |  |  |  |  |  |
| 76 |  | Supplier price |  | IPG-PTT microphone console |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 77 |  | Supplier price |  | IPGECAB red fire telephone cabinet |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 78 |  | Supplier price |  | Local control button "Start extinguishing" IC0020Y |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 79 |  | Supplier price |  | Local control button "Stop extinguishing" IC0020B |  |  | pc |  | 2.00000 |  |  |  |  |  |
| 80 |  | Supplier price |  | ICK010W fire suppression control panel |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 81 |  | Supplier price |  | Gas fire suppression module with thermal lock, electric start and control pressure gauge, 20 kg GOTV Halon-227 ea Impulse-20 Brandmaster |  |  | pc |  | 20.0000 |  |  |  |  |  |
| 82 |  | Supplier price |  | extinguishing agent, type: Halon 227 (HFC-227) |  |  | kg |  | 210.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including salary |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |