| Major repair and modernisation of the Public Institution "Mihai Eminescu", Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-1-6

-study block. SPA

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and al works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | CK33A |  | Automatic door closer (DS-DC80120L) |  |  | pc |  | 5.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e benefit |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Structured cabling system |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 08-03-575-1 |  | Device or equipment dismantled prior to transport (Network switch, 2x 1000Base-X SFP, 16x 100Base TSX-U-2GX/SFP-16GTP) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 3 |  | 08-03-575-1 |  | Device or equipment dismantled prior to transport (Network switch, 2x 1000Base-X SFP, 24x 100Base TSX-U-2GX/SFP-24GTP) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 4 |  | 11-04-008-01 |  | Removable and flexible unit (modules, cells, "TEZ"), weight, kg, up to: 5 (19'' 1U shielded FTP patch panel , 24 ports TRCS-PPNL-6STP-1U) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 5 |  | 10-04-066-07 apl |  | Wall-mounted equipment: Socket (RJ-45 computer telecommunications socket E2MK015E-135-10) |  |  | pc |  | 36.0000 |  |  |  |  |  |
| 6 |  | Supplier price |  | RJ-45 computer telecommunications socket E2MK015E-135-10 |  |  | pc |  | 36.0000 |  |  |  |  |  |
| 7 |  | 10-01-051-28 |  | Cutting and connecting cables and conductors: "TSV" cable, capacity 5×2 when cutting a cable: by soldering |  |  | 10 pcs |  | 3.6000 |  |  |  |  |  |
| 8 |  | Supplier price |  | Cat. 6a RJ-45 shielded Keystone module 110 IDC 180 degrees white TRCS-KSTN-T180D-6ASTR |  |  | pcs |  | 36.0000 |  |  |  |  |  |
| 9 |  | Supplier price |  | Cat. 6a S/FTP patch cord, RJ-45 - RJ-45, length 1 m, TRCS-6ASF-LSH-1M-WH |  |  | pc |  | 76.0000 |  |  |  |  |  |
| 10 |  | 10-01-053-01 |  | Installation of cables and power conductors on cable supports: Cable or power conductor, cross-section, mm²: 6 |  |  | 100 m |  | 7.5800 |  |  |  |  |  |
| 11 |  | Supplier price |  | Category 6a F/UTP twisted pair copper core communication cable with LSZH sheath, 4x2x0.52 |  |  | m |  | 842.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Structured cabling system Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Security e television |  |  |  |  |  |  |  |  |  |  |
| 12 |  | 10-04-067-23 |  | Colour television equipment: Video surveillance device (Hikvision DS-8632NXI-I8/S 32-channel IP network video recorder) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 13 |  | 10-04-067-22 |  | Colour television equipment: -transmission television camera (DS-2CD1067G2-LUF camera) |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 14 |  | 10-04-067-22 |  | Colour television equipment: Broadcast television camera (Camera DS-2CD1167G2H-LIUF) |  |  | pc |  | 19.0000 |  |  |  |  |  |
| 15 |  | 10-04-067-22 |  | Colour television equipment: Broadcast television camera (Camera DS-2CD2387G2-LSU/SL) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 16 |  | 10-04-066-07 apl |  | Wall-mounted equipment: Microphone |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 17 |  | 10-02-016-06 |  | Communication devices (dispatcher and executive telecommunications switches): Installed separately: power supply unit (Backup power supply, 12V 3A 7Ah HD-PB0301) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 18 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (Battery, 12V 7Ah) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 19 |  | 10-01-053-01 |  | Installation of cables and power conductors on conductor supports: Cable or power conductor, cross-section, mm²: 6 |  |  | 100 m |  | 0.1500 |  |  |  |  |  |
| 20 |  | Supplier price |  | Category 3 twisted pair copper core communication cable, PVC sheath, 2x2x0.8 KPSEng(A)-FRLSLTx |  |  | pc |  | 17.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total CCTV Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Access control and management |  |  |  |  |  |  |  |  |  |  |
| 21 |  | 10-04-066-04 apl |  | Wall-mounted unit: Access controller for 1 access point, complete with box and backup power supply DS-K2601T |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 22 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (Fingerprint reader ( ), Wiegand-26, internal DS-K1T804AEF) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 23 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, key, button and other, with mounting bracket (Fingerprint reader terminal, Wiegand-26, external DS-K1T502DBFWX) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 24 |  | 10-08-002-04 |  | Automatic "OS" alarms: contact, magnetic contact for opening windows and doors ( magnetic contact sensor DS-PD1-MC-MS) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | Magnetic contact sensor DS-PD1-MC-MS |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 26 |  | 08-01-081-1 |  | Control and signalling device (pushbutton, control switch, electromagnetic lock, audible signal, signal lamp), number of connected terminals up to: 2 (DS-K4H250S electromagnetic lock) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 27 |  | 10-04-066-06 |  | Wall-mounted unit: Studio or corridor control panel (IP video intercom monitor, up to 17 DS-KH8350-WTE1 call s) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 28 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (IP video intercom call panel DS-KV6103-PE1(C)) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 29 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (Battery, 12V 7Ah) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 30 |  | 10-01-053-01 |  | Installation of cables and power conductors on conductor supports: Cable or power conductor, cross-section, mm²: 6 |  |  | 100 m |  | 1.0000 |  |  |  |  |  |
| 31 |  | Supplier price |  | Category 3 twisted pair copper core communication cable, PVC sheath, 1x2x0.8 KPSEng(A)-FRLSLTx |  |  | pc |  | 110.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Access control and management Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.4. Materials |  |  |  |  |  |  |  |  |  |  |
| 32 |  | Supplier price |  | Instrumentation mounting box with connecting fittings and self-tapping screws for solid walls (71x42) KMT-010-044 |  |  | pc |  | 36.00000 |  |  |  |  |  |
| 33 |  | Supplier price |  | Distribution box with cover for solid walls (107x107x50) with self-tapping screws IP20 KMT-010-006 |  |  | pc |  | 82.000 |  |  |  |  |  |
| 34 |  | 08-02-409-1 |  | Vinyl-plastic pipe for installed structures, on walls and columns, clamp-fixed, diameter 25 mm |  |  | 100 m |  | 6.7800 |  |  |  |  |  |
| 35 |  | Supplier price |  | Self-extinguishing corrugated pipe made of HDPE, 16 mm diameter, which does not emit smoke or toxic gases |  |  | m |  | 678.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.1. Structured cabling system |  |  |  |  |  |  |  |  |  |  |
| 36 |  | Supplier price |  | Network switch, 2x 1000Base-X SFP, 16x 100Base-T PoE 15W, RJ-45, 19" 1U rack, ~220V, 300W, TSX-U-2GX/SFP-16GT |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 37 |  | Supplier price |  | Network switch, 2x 1000Base-X SFP, 24x 100Base-T PoE 15W, RJ-45, 19" rack 1U, ~220V, 300W, TSX-U-2GX/SFP-24GT |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 38 |  | Supplier price |  | Optical SFP module (transceiver), MM 50/125 850 nm 2.5 Gbps 300 m LC Duplex |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 39 |  | Supplier price |  | 19'' 1U shielded FTP patch panel, 24 RJ-45 Cat. 6a ports, Dual IDC with organiser TRCS-PPNL-6STP-1U |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Structured cabling system Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.2. Security e television |  |  |  |  |  |  |  |  |  |  |
| 40 |  | Supplier price |  | 32-channel IP network video recorder, H.264 MPEG-4, 2x VGA, 2x HDMI, 8x SATA 16TB RAID 0/1/5/6/10, 2x RJ-45 100/1000Base-T, 19" 2U, 220V 30A DS-8632NXI-I8/S Hikvision |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 41 |  | Supplier price |  | 10 TB SATA hard drive |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 42 |  | Supplier price |  | Outdoor security CCTV camera, 6 MP, 20 fps, 0.001 Lux, 6 mm F1.0, PoE 6.7W, IP67, -30 ... +60°C DS-2CD1067G2-LUF |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 43 |  | Supplier price |  | Indoor dome security CCTV camera, 6 MP, 20 fps, 0.001 Lux, 2.8 mm F1.0, PoE 8W DS-2CD1167G2H-LIUF |  |  | pc |  | 19.0000 |  |  |  |  |  |
| 44 |  | Supplier price |  | Indoor fixed security CCTV camera with audio input 3.3V 4.7kΩ, 8MP, 20 fps, 0.001 Lux, 2.8 mm F1.0, PoE 8W, DS-2CD2387G2-LSU/SL |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 45 |  | Supplier price |  | Active microphone 100 m2 95 dB, 12V DS-2FP2020 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 46 |  | Supplier price |  | Backup power supply, 12V 3A 7Ah HD-PB0301 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 47 |  | Supplier price |  | Rechargeable battery, 12V 7Ah |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total CCTV Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.3. Access control and management |  |  |  |  |  |  |  |  |  |  |
| 48 |  | Supplier price |  | Single-point access control unit, complete with housing and backup power supply DS-K2601T |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 49 |  | Supplier price |  | Fingerprint recognition terminal (reader), Wiegand-26, indoor, 12V 1A DS-K1T804AEF |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 50 |  | Supplier price |  | Fingerprint recognition terminal (reader), Wiegand-26, outdoor IP65, 12V 1A DS-K1T502DBFWX |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 51 |  | Supplier price |  | Electromagnetic lock, 272 kg, 12V 500mA DS-K4H250S |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 52 |  | Supplier price |  | IP video intercom monitor, up to 17 call units, RJ-45 100Base-T PoE DS-KH8350-WTE1 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 53 |  | Supplier price |  | IP video door phone call panel, 2 Mpx, IP65, RJ-45 100Base-T PoE DS-KV6103-PE1(C) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 54 |  | Supplier price |  | Rechargeable battery, 12V 7Ah |  |  | pc |  | 4.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Access control and management Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | 1.2% |  |  |  |  |  |  |  |
|  |  |  |  | Total Machinery Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including salary |  |  |  |  |  |  |  |  |  |  |

| Prepared by |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |