| Major repair and modernisation of the Public Institution "Mihai Eminescu" Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 2 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-1-8

-study block. AIVC

| No No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Installation and |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Panels and control panels |  |  |  |  |  |  |  |  |  |  |
| 1 |  | 08-03-572-3 |  | Control panel in cabinet or distribution point (cabinet) style, wall-mounted, height and width, mm, up to 600×600 ( metal with mounting panel ШРНМ-4, 800×600×250 IP54) |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total and panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Equipment supplied by in conjunction with and panels |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (automatic) ( modular socket with RDE-47 earthing contact) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 3 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (automatic) (automatic circuit breaker BA47-63/1P/C/0.5A) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 4 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (automatic) (automatic circuit breaker BA47-63/1P/DC/2A) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 5 |  | 08-01-081-1 |  | Control and signalling device (signal lamp), number of connected terminals up to: 2 (signal lamp BV66) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 6 |  | 08-01-081-1 |  | Control and signalling device (signal lamp), number of connected terminals up to: 2 ( signal lamp BV65) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 7 |  | 08-01-081-1 |  | Control and signalling device (signal lamp), number of connected terminals up to: 2 ( signal lamp BV64) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 8 |  | 08-03-532-4 |  | Control panel with buttons, general purpose, wall or column mounted, number of panel elements up to 3 ( switch PK-2-13) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 9 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (relay intermediate RP 22/4) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 10 |  | 08-03-575- 1 |  | Device or unit dismantled prior to transport (power supply unit stabilised DR-M-240W-24) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 11 |  | 10-08-003-03 |  | Ultrasound devices: power supply and control unit (UDRLi-DC15W uninterruptible power supply) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 12 |  | 08-03-575-1 |  | Device or unit dismantled prior to transport (programmable logic controller F100-16-R) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 13 |  | 08-03-575-1 |  | Device or unit disassembled prior to shipment (I/O module discrete EMF-D-8X8Y-R) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 14 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, push-button and other, with mounting holes (module output addressable relay, NO+NC ADR-741) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 15 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, pushbutton and other, with mounting preparation (module input addressable 2 loops alarm ADR-712) |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment supplied in conjunction with with panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Equipment local |  |  |  |  |  |  |  |  |  |  |
| 16 |  | 10-04-066-05 apl |  | Wall-mounted equipment: Manual alarm (button manual control addressable red TPB-800ASR) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 17 |  | 08-03-575-1 |  | Device or unit dismantled prior to transport (limit switch TZ-8108) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 18 |  | 08-01-081-1 |  | Control and signalling device (button), number of connected terminals up to: 2 (Start/Stop button, ARVV-22N) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 19 |  | 08-03-532-4 |  | Control panel with buttons, general purpose, mounted on a wall or column-mounted , number of panel elements up to 3 ( -button panel KP101) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 20 |  | 08-03-575-1 apl |  | Device or unit dismantled prior to transport ( window transom sash rack-and-pinion electric drive) |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Local equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Materials |  |  |  |  |  |  |  |  |  |  |
| 21 |  | 10-06-037-08 |  | Cabinets, boxes and junction boxes for pipework installations: Junction box or junction box, size, mm, up to: 200×200 (Fire-resistant junction box E90 KMRF-100-6-02 EKF) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 22 |  | Supplier price |  | Fire-resistant junction box E90 KMRF-100-6-02, 6 IP55 entries, 1.5 ... 6 mm², 100×100×50 mm |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 23 |  | 08-02-412-2 |  | Insertion of conductors into installed metal conduits and hoses: first single-core or multi-core conductor in a common bundle, total cross-section up to 6 mm² |  |  | 100 m |  | 0.5400 |  |  |  |  |  |
| 24 |  | Market price |  | Copper control cable with flame-retardant PVC sheathing with low gas and smoke emission KВВГ(А)нг-FRLSL 4x1.0 mm² |  |  | m |  | 160.0000 |  |  |  |  |  |
| 25 |  | Price from market |  | Copper control cable with flame-retardant PVC sheathing, low gas and smoke emission, KВВГ(А)нг-FRLSLTx, 4x0.75 mm² |  |  | m |  | 59.4000 |  |  |  |  |  |
| 26 |  | 08-02-409-1 |  | Vinyl-plastic pipe for building installations, on walls and columns, clamped in place, diameter up to 25 mm |  |  | 100 m |  | 0.2500 |  |  |  |  |  |
| 27 |  | Market price |  | Non-flammable polyvinyl chloride pipe, D20 mm |  |  | m |  | 25.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Panels and control panels |  |  |  |  |  |  |  |  |  |  |
| 28 |  | Supplier price |  | Metal panel with mounting panel ЩPHM-4, 800×600×250 IP54 |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Panels and control panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Equipment supplied by in conjunction with panels |  |  |  |  |  |  |  |  |  |  |
| 29 |  | Supplier price |  | modular socket with RDE-47 earthing contact |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 30 |  | Supplier price |  | BA47-63/1P/C/0.5A circuit breaker |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 31 |  | Supplier price |  | BA47-63 DC/1P/C/2A circuit breaker |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 32 |  | Supplier price |  | BV66 blue LED signal lamp 230V |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 33 |  | Supplier price |  | Yellow LED signal lamp BV65 230V |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 34 |  | Supplier price |  | BV64 red LED signal lamp 230V |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 35 |  | Supplier price |  | -cam switch PK-2-13 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 36 |  | Supplier price |  | RP 22/4 intermediate relay, 230V winding, 4-pole 230V contacts, 5A |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 37 |  | Supplier price |  | Regulated power supply unit DR-M-240W-24 24V 240Vm |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 38 |  | Supplier price |  | UDRLi-DC15W Uninterruptible Power Supply, 24V, 15A |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 39 |  | Supplier price |  | Programmable logic controller F100-16-R, 24V, 4.8Vm 80I 800 RS-485 Modbus RTU |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 40 |  | Supplier price |  | EMF-D-8X8Y-R 24B, 4.8Bm, 8DI 8DO discrete I/O module |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 41 |  | Supplier price |  | addressable relay output module, NO+NC ADR-741 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 42 |  | Supplier price |  | -addressable input module, 2- -loop alarm system ADR-712 |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment supplied in conjunction with with panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Equipment local |  |  |  |  |  |  |  |  |  |  |
| 43 |  | Supplier price |  | TPB-800ASR red addressable manual control button |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 44 |  | Supplier price |  | -limit switch TZ-8108 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 45 |  | Supplier price |  | "Start/Stop" button, ARVV-22N |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 46 |  | Supplier price |  | Single-button push-button terminal, grey, KP101 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 47 |  | Supplier price |  | Rack and pinion electric window sash drive 24V, 0.9A, 22Bm, 650H, 750 mm LC Fire Giesse |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Local equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |