| Major repair and modernisation of the Public Institution "Mihai Eminescu" Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

QUOTATION  LOCAL No. 2-2-1

Workshop. SAC

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Installation and dismantling work |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RpCJ35A |  | Removal of interior or exterior plaster attached to walls (sheet 5) |  |  | m2 |  | 284.0000 |  |  |  |  |  |
| 2 |  | RpCJ35A |  | Removal of interior or exterior plaster attached to ceilings (sheet 5) |  |  | m2 |  | 188.7800 |  |  |  |  |  |
| 3 |  | RpCO56A |  | Dismantling: wooden joinery (doors) (sheet 5) |  |  | m2 |  | 17.0100 |  |  |  |  |  |
| 4 |  | RpCO56A |  | Dismantling: wooden joinery (windows) (sheet 5 ) |  |  | m2 |  | 45.0800 |  |  |  |  |  |
| 5 |  | RpCG29C |  | Demolition of masonry walls made of solid brick, BCA, ceramic or lightweight concrete blocks, GVP bricks, excluding scaffolding and clearing of bricks (sheet 5 ) |  |  | m³ |  | 4.5700 |  |  |  |  |  |
| 6 |  | RpCB18F |  | Demolition of old concrete using mechanical means, plain concrete (removal of the H=100 mm sill) |  |  | m3 |  | 0.2000 |  |  |  |  |  |
| 7 |  | RpCJ35A |  | Removal of rough-cast external plaster from walls or ceilings (sheet 24) |  |  | m2 |  | 178.3800 |  |  |  |  |  |
| 8 |  | RpCM33A |  | Removal of tiles, stoneware and ceramic tiles (sheet 24) |  |  | m2 |  | 24.9200 |  |  |  |  |  |
| 9 |  | RpCI42B |  | Removal of roofing elements – sheet metal, asbestos cement, PVC, cardboard, felt, thatch, etc., including cutting of recoverable sheet metal (sheet 24) |  |  | m2 |  | 321.3400 |  |  |  |  |  |
| 10 |  | RpCI42B |  | Removal of roofing elements – sheet metal, asbestos cement, PVC, cardboard, thatch, reed, etc., including cutting of recoverable sheet metal (removal of the canopy) (sheet 24) |  |  | m2 |  | 36.1500 |  |  |  |  |  |
| 11 |  | RpCU09C |  | Manual transport by carrying directly over a distance of 60 m with a load of up to 50 kg (for every 1 m transported vertically, 10 m horizontally is considered) |  |  | t |  | 53.7400 |  |  |  |  |  |
| 12 |  | TrI1AA01C2 |  | Loading of Group A materials – heavy and small items by throwing – from the ramp or ground into Category 2 vehicles (construction waste) |  |  | t |  | 53.7400 |  |  |  |  |  |
| 13 |  | TrI1AA01C2 |  | Loading of Group A materials – heavy and small items by throwing – from the ramp or ground, into a Category 2 vehicle (construction waste) |  |  | t |  | 53.7400 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total dismantling works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Holes in walls |  |  |  |  |  |  |  |  |  |  |
| 14 |  | RpCU06F1 |  | Cutting grooves up to 5 cm deep in stone or reinforced concrete walls, 5 x 100 cm², for mechanical execution |  |  | m |  | 4.0000 |  |  |  |  |  |
| 15 |  | RCsB29A |  | Drilling through-holes in brick and stone masonry, using a diamond core drill with a diameter of: 20 mm (L=200 mm, K= (1+0.9) = 1.9) |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 16 |  | Supplier price |  | "Hilti" chemical anchor adhesive " " |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 17 |  | CL03A |  | Ready-made solid-web steel beams, delivered fully assembled, installed at heights of up to 35 m, weighing up to 1 t inclusive |  |  | t |  | 0.0710 |  |  |  |  |  |
| 18 |  | CL18A |  | Various metal fabrications from rolled sections, sheet metal, corrugated sheet, structural steel, pipes for supports or cladding, fully or partially embedded in concrete |  |  | kg |  | 7.1600 |  |  |  |  |  |
| 19 |  | RpCG29C |  | Demolition of masonry walls made of solid brick, BCA, ceramic or lightweight concrete blocks, GVP bricks, excluding scaffolding and the removal of bricks |  |  | m³ |  | 0.9600 |  |  |  |  |  |
| 20 |  | RCsB29A |  | Drilling through-holes in brick and stone masonry using a diamond core drill with a diameter of: 20 mm (L=400 mm, K= (1+0.9×3) = 3.7) |  |  | pc |  | 60.0000 |  |  |  |  |  |
| 21 |  | RpCB04D |  | Reinforced concrete cast into columns, beams, slabs, landings, staircases, retaining walls, reinforced concrete bearings, floor slabs, diaphragm walls, stair ramps, etc., for existing buildings, mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants (C 20/25 concrete) |  |  | m³ |  | 0.6000 |  |  |  |  |  |
| 22 |  | RpCC02C |  | Mixed formwork made from reusable panels, constructed from plywood, excluding supports, for reinforced concrete, for additions or repairs to existing structures, in columns, with 15 mm plywood |  |  | m2 |  | 4.3200 |  |  |  |  |  |
| 23 |  | RpCD01D |  | OB 37 steel-concrete reinforcement bars, with diameters up to and including 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement bars in flat slabs, columns, beams, etc. (diameter 6 A240) |  |  | kg |  | 10.0000 |  |  |  |  |  |
| 24 |  | RpCD02D1 |  | PC 52 steel-concrete reinforcement, with bar diameters over 8 mm, cut on-site and installed in existing structural elements; cutting and installation of reinforcement for flat slabs, columns, beams, etc. (diam. 16 B500B) |  |  | kg |  | 63.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Holes in walls Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Reinforcement of the gable end of the ' ' (sheet 44) |  |  |  |  |  |  |  |  |  |  |
| 25 |  | RpCB04D |  | Reinforced concrete cast into columns, beams, slabs, landings, staircases, retaining walls, reinforced concrete bearings, floor slabs, diaphragm walls, stair ramps, etc., for existing buildings, mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants (reinforced concrete grade C-25/20) |  |  | m³ |  | 6.0000 |  |  |  |  |  |
| 26 |  | RpCC02B |  | Mixed formwork made from reusable panels, manufactured from plywood, excluding supports, for reinforced concrete, for additions or repairs to existing structures, in beams, with 15 mm plywood |  |  | m2 |  | 15.0000 |  |  |  |  |  |
| 27 |  | RpCD01D |  | OB 37 steel-concrete reinforcement, with diameters up to and including 8 mm, cut to size in site workshops and installed in existing structural elements; cutting and installation of reinforcement in flat slabs, columns, beams, etc. (diam. 6 A240) |  |  | kg |  | 85.0000 |  |  |  |  |  |
| 28 |  | RpCD02D1 |  | PC 52 steel-concrete reinforcement, with bar diameters over 8 mm, cut on-site and installed in existing structural elements; cutting and installation of reinforcement for flat slabs, columns, beams, etc. (diam. 12 B500B) |  |  | kg |  | 155.0000 |  |  |  |  |  |
| 29 |  | RpCD02D1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement for flat slabs, columns, beams, etc. (diam. 16 B500B) |  |  | kg |  | 183.0000 |  |  |  |  |  |
| 30 |  | CD71C |  | Erection of external and internal walls from lightweight concrete blocks using adhesive without cladding, including filling of voids and joints: for floor heights up to 4 m (installation of the gable) |  |  | m³ |  | 4.3900 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Reinforcement of the gable (sheet 44) Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 4. Thermal insulation of wall P-2 (walls under the roof, area S=66.6 m², drawing 19, drawing 25) |  |  |  |  |  |  |  |  |  |  |
| 31 |  | TsA02E |  | Manual excavation of soil in confined spaces, less than 1.00 m or more than 1.00 m wide, carried out without shoring, with a vertical slope, for foundations, channels, basements, drains, access steps, in medium or highly cohesive soil depth < 1.5 m medium soil |  |  | m3 |  | 73.3000 |  |  |  |  |  |
| 32 |  | TsD01B |  | Spreading of compacted soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, soil originating from medium-cohesive ground |  |  | m3 |  | 65.3000 |  |  |  |  |  |
| 33 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m3 |  | 0.6500 |  |  |  |  |  |
| 34 |  | IzF04G |  | Hot-applied waterproofing layer on terraces, roofs, foundations and ground slabs, in areas without groundwater, including the flashings and valleys in the standard waterproofing on surfaces with a gradient of over 40% or on vertical, flat or curved surfaces, using bituminous felt, bonded over the entire surface with bituminous mastic or rubber-modified bitumen (base, waterproofing layer in 2 layers, K=2 ) |  |  | m² |  | 66.6000 |  |  |  |  |  |
| 35 |  | IzF10C |  | Thermal insulation layer for terraces, roofs and floors, made of cellular polystyrene boards, hemp fibre, PEL, porous, stabilised etc., bonded with bitumen mastic to surfaces with a slope of over 40% or vertical surfaces (extruded polystyrene, 100 mm thick, on Technonicol N27 adhesive) |  |  | m² |  | 66.6000 |  |  |  |  |  |
| 36 |  | IzF04G |  | Hot-applied waterproofing layer on terraces, roofs, foundations and ground slabs, in areas without groundwater, including the flashings and valleys in the standard waterproofing on surfaces with a gradient of over 40% or on vertical, flat or curved surfaces, using bituminous felt, bonded over the entire surface with bituminous mastic or bitumen with rubber additive (Izoflex membrane) |  |  | m² |  | 66.6000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Thermal insulation of wall P-2 (walls below floor S=66.6 m², sheet 19, sheet 25) Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 5. Doors |  |  |  |  |  |  |  |  |  |  |
| 37 |  | CK21D |  | Doors made of aluminium profiles, including the necessary fittings and accessories for doors installed in masonry of any kind, in buildings up to and including 35 m in height, double-leaf, with a frame area up to 7 m² inclusive (Ue-1 Thermal insulation doors comprising 3 layers of glass separated by a space filled with inert gas. Frames made of 5-chamber aluminium, door with threshold) |  |  | m² |  | 5.1300 |  |  |  |  |  |
| 38 |  | CK21D |  | Doors made from aluminium profiles, including the fittings and accessories required for doors installed in masonry of any kind, in buildings up to and including 35 m in height, double-leaf, with a frame area up to and including 7 m² (Ue-2 Thermal insulation doors comprising 3 layers of glass separated by a space filled with inert gas. Frames made of 5-chamber aluminium, door with threshold) |  |  | m² |  | 2.9900 |  |  |  |  |  |
| 39 |  | CK21D |  | Doors made from aluminium profiles, including the necessary fittings and accessories for doors installed in masonry of any kind, in buildings up to and including 35 m in height, double-leaf, with a frame area up to and including 7 m² (Ui-1 Thermal insulation doors comprising 3 layers of glass separated by a space filled with inert gas. Frames made of 5-chamber aluminium, door with threshold) |  |  | m² |  | 4.1400 |  |  |  |  |  |
| 40 |  | CK03A |  | Single-leaf interior wooden doors, on linings and balcony doors, including water-repellent and thermal insulation of the door frame, fitted to existing door frames in buildings up to 35 m high (door Ui-2, Ui-3) |  |  | m² |  | 8.4000 |  |  |  |  |  |
| 41 |  | CK03A |  | Single-leaf interior wooden doors, on linings and balcony doors, including waterproof and thermal insulation of the door frame, fitted to existing door frames in buildings up to 35 m high (door Ui-4) |  |  | m² |  | 1.8900 |  |  |  |  |  |
| 42 |  | CK25A |  | Doors made from plastic profiles, including the necessary fittings and accessories, for doors installed in masonry of any kind in buildings up to and including 35 m in height, single-leaf, with a frame area up to and including 7 m² (door Ui-5, Ui-6) |  |  | m² |  | 2.9700 |  |  |  |  |  |
| 43 |  | CK21D |  | Doors made of aluminium profiles, including the necessary fittings and accessories for doors installed in masonry of any kind, in buildings up to and including 35 m in height, double-leaf, with a frame area up to and including 7 m² (Ue-2 Thermal insulation doors with 3 layers of glass separated by a space filled with inert gas. Frames made of 5-chamber aluminium, door with threshold, EI-30) |  |  | m² |  | 2.9900 |  |  |  |  |  |
| 44 |  | RpCJ06B |  | Repairs to interior plasterwork around door and window frames and sills, 2 cm thick, rough-cast, executed with 25 T grade cement-lime mortar, with straight edges, between 15–25 cm wide |  |  | m |  | 60.4500 |  |  |  |  |  |
| 45 |  | Supplier price |  | -aluminium angle |  |  | m |  | 60.4500 |  |  |  |  |  |
| 46 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 12.1000 |  |  |  |  |  |
| 47 |  | CF61A |  | Continuous skimming of the surface (single-layer plaster) with dry plaster mix: window sills and flat doors |  |  | m² |  | 12.1000 |  |  |  |  |  |
| 48 |  | CF17C |  | Miscellaneous works – layer of fibreglass mesh applied to the surface of precast reinforced concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 12.1000 |  |  |  |  |  |
| 49 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 12.1000 |  |  |  |  |  |
| 50 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 12.1000 |  |  |  |  |  |
| 51 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 12.1000 |  |  |  |  |  |
| 52 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually |  |  | m2 |  | 12.1000 |  |  |  |  |  |
| 53 |  | CK07B |  | Wooden mouldings fitted to doors or windows |  |  | m |  | 30.2000 |  |  |  |  |  |
| 54 |  | CK26B |  | Window sills fitted to aluminium doors |  |  | m |  | 25.7000 |  |  |  |  |  |
| 55 |  | CK26A |  | Window sills fitted to plastic windows, for windows and doors |  |  | m |  | 8.8500 |  |  |  |  |  |
| 56 |  | CK33C |  | Yalle system surface-mounted lock |  |  | pc |  | 11.0000 |  |  |  |  |  |
| 57 |  | CK33B |  | Chrome-plated sheet metal latch for metal entrance doors in buildings |  |  | pc |  | 11.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Doors Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 6. Windows |  |  |  |  |  |  |  |  |  |  |
| 58 |  | CK57F apl |  | Installation of aluminium windows: tilt-and-turn (folding, swing-out) with an opening area of over 2 m² in two sashes (thermally insulated glazing comprising 3 layers of glass separated by a space filled with inert gas. Frames made of 5-chamber aluminium) |  |  | m2 |  | 42.0000 |  |  |  |  |  |
| 59 |  | CK57C |  | Installation of PVC windows: tilt-and-turn (folding, swing-out) with an opening area of less than 2 m² in a single sash (Thermal insulation glazing comprising 3 layers of glass separated by a space filled with inert gas . Frames made of 5-chamber aluminium) |  |  | m² |  | 1.5000 |  |  |  |  |  |
| 60 |  | RpCJ06B |  | Repairs to interior plasterwork, around door and window frames and sills, 2 cm thick, rough-cast, executed with 25 T grade cement-lime mortar, with straight edges, between 15–25 cm wide |  |  | m |  | 81.7500 |  |  |  |  |  |
| 61 |  | Supplier price |  | aluminium angle profile |  |  | m |  | 81.7500 |  |  |  |  |  |
| 62 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 63 |  | CF61A |  | Continuous skimming of the surface (single-layer plaster) with dry plaster mix: window sills and flat doors |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 64 |  | CF17C |  | Miscellaneous works – layer of fibreglass matting applied to the surface of precast concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 65 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 66 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 16.3500 |  |  |  |  |  |
| 67 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 68 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually |  |  | m² |  | 16.3500 |  |  |  |  |  |
| 69 |  | CK26D |  | Window or door sills fitted to aluminium frames (drip mouldings) (width 200 mm) |  |  | m |  | 23.2500 |  |  |  |  |  |
| 70 |  | CK26C |  | Sills fitted to plastic windows or doors (width 350 mm) |  |  | m |  | 23.2500 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Windows Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 7. Facade |  |  |  |  |  |  |  |  |  |  |
| 71 |  | RpCJ12A |  | Smoothed interior and exterior plasterwork, executed with M 100-T cement mortar of 2 cm average thickness, on concrete or brick walls with flat surfaces (30 mm thickness, K=1.5 for materials and equipment) |  |  | m² |  | 219.6400 |  |  |  |  |  |
| 72 |  | CL55A apl |  | Installation of a ventilated façade system with fibre-cement panels with visible fixing, with architectural detailing covering up to 30% of the total wall area (insulation boards – mineral wool, 150 mm thick, RAL-1013) |  |  | m² |  | 210.8300 |  |  |  |  |  |
| 73 |  | CL55A apl |  | Installation of a ventilated façade system with fibre cement panels and visible fixings, with architectural detailing covering up to 30% of the total wall area (insulation boards – mineral wool, 150 mm thick, RAL-9016) |  |  | m² |  | 8.8100 |  |  |  |  |  |
| 74 |  | CN54B |  | Manual application of a single coat of ‘Gleta’ quartz-based primer to external walls on the façade |  |  | m2 |  | 219.6400 |  |  |  |  |  |
| 75 |  | CN11A1 |  | Exterior painting with water-dispersed acrylic polymer-based paint, applied in 3 coats to façades on existing plaster, applied mechanically (RAL-1013) |  |  | m² |  | 210.8300 |  |  |  |  |  |
| 76 |  | CN11A1 |  | Exterior painting with water-based acrylic polymer paint, applied in 3 coats to facades on existing plaster, applied mechanically (RAL-9016) |  |  | m² |  | 8.8100 |  |  |  |  |  |
| 77 |  | RpCH31A |  | Erection and dismantling of scaffolding for construction works – tubular steel scaffolding for interior and exterior works up to 7 m in height, including the materials required for the construction of work platforms ( ), PFL guardrails or safety netting |  |  | m² |  | 270.6000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Facade Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 8. Ceiling insulation |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 8.1. P-3 |  |  |  |  |  |  |  |  |  |  |
| 78 |  | IzF04B |  | Hot-applied waterproofing layer on terraces, roofs or foundations and screeds, in areas without groundwater, including flashings and valleys in the existing waterproofing on horizontal or sloping surfaces up to 40% flat or curved, with bituminous felt, bonded over the entire surface with bituminous mastic (waterproofing in rolls in 2 layers, K=2) |  |  | m² |  | 205.6600 |  |  |  |  |  |
| 79 |  | IzF11B |  | Thermal insulation layer for terraces, roofs and floors, applied with granulate, on horizontal or sloping surfaces up to 7% |  |  | m³ |  | 47.3000 |  |  |  |  |  |
| 80 |  | IzF18C К=1.67 |  | Levelling or protective base layer for insulation, including associated screeds, made with ready-mixed M100-T cement mortar without lime additive, roughened, on horizontal or sloping surfaces up to and including 40%, applied to an average thickness of 3 cm (thickness 5 cm, К=1.67) |  |  | m² |  | 205.6600 |  |  |  |  |  |
| 81 |  | CC03C |  | Installation of welded mesh at heights of 35 m or less, on slabs (mesh 5Bp1 100x100, weight 3.125 kg/m²) |  |  | kg |  | 642.6900 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total P-3 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Ceiling insulation Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 9. Roof |  |  |  |  |  |  |  |  |  |  |
| 82 |  | CE40A |  | Installation of frame elements made of beams (bars) with antiseptic treatment |  |  | m3 |  | 4.5000 |  |  |  |  |  |
| 83 |  | CE41A |  | Installation of rafters treated with antiseptic |  |  | m3 |  | 3.0000 |  |  |  |  |  |
| 84 |  | CN50A |  | Fireproofing of timberwork; trusses, arches, beams, rafters, purlins. |  |  | m3 |  | 7.5000 |  |  |  |  |  |
| 85 |  | CE30A |  | Battens for roofing or battens for roofing made of tiles, asbestos cement sheets, etc., from rough softwood planks (24 mm thick), for standard constructions. Resource standards with a value of 0 (zero) are to be taken from the design. |  |  | m2 |  | 225.4000 |  |  |  |  |  |
| 86 |  | CN51A |  | Antiseptic treatment of timberwork on concealed surfaces using antiseptic pastes: trusses, arches, rafters. |  |  | m³ |  | 4.6900 |  |  |  |  |  |
| 87 |  | CN50A |  | Fireproofing of timberwork; trusses, arches, beams, rafters, purlins. |  |  | m3 |  | 4.6900 |  |  |  |  |  |
| 88 |  | CE17A |  | Additional Ondutiss-type polymeric layer installed beneath the roof covering of tiles, corrugated sheets or embossed sheets |  |  | m² |  | 287.9800 |  |  |  |  |  |
| 89 |  | CE06A |  | Roofing made of corrosion-protected profiled sheet metal, corrugated or ribbed, installed on metal panels, carried out on areas larger than 40 m² using profiled sheet metal sheets fastened with special clips and mechanical screws from the upper surface, including the installation of valleys, flashings, connections to chimneys, etc. |  |  | m² |  | 287.9800 |  |  |  |  |  |
| 90 |  | CE22A |  | Brass-type downpipe systems made of corrosion-resistant sheet metal (sheet 33) |  |  | m |  | 22.1400 |  |  |  |  |  |
| 91 |  | CE20A |  | Brass-type gutter systems made of corrosion-resistant sheet metal (sheet 33 ) |  |  | m |  | 47.7800 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Roof Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 10. Canopy (sheet 46) |  |  |  |  |  |  |  |  |  |  |
| 92 |  | TsA02E |  | Manual excavation of soil in confined spaces, less than 1.00 m or more than 1.00 m in width, carried out without shoring, with vertical slopes, for foundations, trenches, basements, drains, and access steps, in medium-cohesive or highly cohesive soil, depth < 1.5 m, medium-grade soil |  |  | m³ |  | 0.7500 |  |  |  |  |  |
| 93 |  | TsD01B |  | Spreading of refined soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, soil originating from medium soil |  |  | m3 |  | 0.2500 |  |  |  |  |  |
| 94 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m³ |  | 0.0100 |  |  |  |  |  |
| 95 |  | CA04F |  | Concrete cast into slabs, beams and columns, prepared at a concrete batching plant or using ready-mixed concrete in accordance with item CA01, and cast using conventional methods (C 20/25 concrete) |  |  | m3 |  | 2.0000 |  |  |  |  |  |
| 96 |  | CC03C |  | Installation of welded mesh at heights of 35 m or less, on slabs (mesh 4Bp1 150x150, weight 1.35 kg/m²) |  |  | kg |  | 4.7500 |  |  |  |  |  |
| 97 |  | CL18A |  | Various metal structures made from rolled sections, sheet metal, corrugated sheet metal, reinforcing steel, and pipes for supports or cladding, fully or partially embedded in concrete |  |  | kg |  | 20.0000 |  |  |  |  |  |
| 98 |  | CL08A |  | Prefabricated metal elements (columns, beams, trusses), delivered fully assembled, installed on site, in lightweight construction |  |  | t |  | 0.4300 |  |  |  |  |  |
| 99 |  | RpIzE16B |  | Cleaning of metal fabrications and structures to remove rust and old paint using a wire brush, made from profiles with a thickness of 8–12 mm inclusive |  |  | t |  | 0.4300 |  |  |  |  |  |
| 100 |  | IzD03A |  | Painting of metal structures and fabrications with a coat of lead minium paint, made from profiles with thicknesses between 8 mm and 12 mm inclusive, using a mineral oil brush |  |  | t |  | 0.4300 |  |  |  |  |  |
| 101 |  | IzD04A |  | Painting of metal structures and fabrications with oil-based paint in 2 coats, made from profiles, with thicknesses between 8 mm and 12 mm inclusive, using a brush |  |  | t |  | 0.4300 |  |  |  |  |  |
| 102 |  | CE06A |  | Roofing made of corrosion-protected profiled sheet metal, corrugated or ribbed, mounted on metal panels, installed on areas larger than 40 m² using profiled sheet metal sheets fastened with special clips and mechanical screws on the upper surface, including the installation of valleys, flashings, connections to chimneys, etc. |  |  | m² |  | 4.6500 |  |  |  |  |  |
| 103 |  | CL54B |  | Ventilated façade system with metal cladding (external panelling) without thermal insulation, with architectural detailing covering up to 30% of the total wall area |  |  | m2 |  | 3.9500 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Cover (sheet 46) Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | 2 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 's quotation service |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total quote: Including salary |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |

APPROVED:

| Prepared | Investor |
| --- | --- |
| (position, signature, surname, first name) (position, signature, surname, first name) |  |

L.S.                                                                                                 L.S.