| Major repair and modernisation of the Public Institution "Mihai Eminescu", Telenesti district, Codrilor Street 8, cadastral number 8901224. 151. 02 No. 8/13b-25 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-2-2

Technological Building Block     Internal water supply and drainage networks     (RAC brand)

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. System A1 |  |  |  |  |  |  |  |  |  |  |
| 1 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene, fusion-bonded to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, inclusive PPR valve PN 20 |  |  | pc |  | 1.000 |  |  |  |  |  |
| 2 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene joined by polyfusion to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, inclusive PPR valve PN 15 |  |  | pcs |  | 10.000 |  |  |  |  |  |
| 3 |  | SA15B |  | Polyfusion-welded plastic pipe, used in connecting pipes, for sanitary fittings, and in residential and socio-cultural buildings, with a diameter of 20–25 mm (PP-R PN10 D25 pipe) |  |  | m |  | 5.000 |  |  |  |  |  |
| 4 |  | SA15B |  | Plastic pipe joined by fusion welding, for connecting pipes, sanitary fittings, residential and socio-cultural facilities, with a diameter of 20–25 mm (PP-R PN10 D20 pipe) |  |  | m |  | 55.000 |  |  |  |  |  |
| 5 |  | SF01C |  | Carrying out a pressure leak test on hot or cold water installations made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | m |  | 60.000 |  |  |  |  |  |
| 6 |  | SF02C |  | Carrying out the functional test of the cold water system made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 6.000 |  |  |  |  |  |
| 7 |  | SF05C |  | Flushing of cold or hot water systems made of plastic pipes with a diameter of 20–75 mm. |  |  | m |  | 60.000 |  |  |  |  |  |
| 8 |  | RpIF09B |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes, d-25mm) |  |  | m |  | 5.000 |  |  |  |  |  |
| 9 |  | RpIF09B |  | Insulation of pipes with special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes d-20mm) |  |  | m |  | 45.00 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total System A1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. System T3.T4 |  |  |  |  |  |  |  |  |  |  |
| 10 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene fused to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, including PPR valve PN 15 |  |  | pc |  | 11.000 |  |  |  |  |  |
| 11 |  | SA15B |  | Plastic pipe joined by polyfusion welding, for connecting pipes, in sanitary installations, in residential and socio-cultural buildings, with a diameter of 20–25 mm (PP-R PN10 D20 pipe) |  |  | m |  | 85.000 |  |  |  |  |  |
| 12 |  | SF01C |  | Carrying out pressure leak testing on hot or cold water installations made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | m |  | 85.000 |  |  |  |  |  |
| 13 |  | SF02C |  | Carrying out a functional test on the cold water installation made of heavy-duty polyvinyl chloride (PVC) pipe or plastic, with a diameter of 16–110 mm |  |  | 10 m |  | 8.500 |  |  |  |  |  |
| 14 |  | SF05C |  | Flushing of cold or hot water systems made of plastic pipes with a diameter of 20–75 mm. |  |  | m |  | 85.000 |  |  |  |  |  |
| 15 |  | RpIF09B |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes, d-20mm) |  |  | m |  | 85.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total System T3.T4 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. System C1 |  |  |  |  |  |  |  |  |  |  |
| 16 |  | SC07B1 |  | Toilet bowl, fully fitted, made of semi-porcelain, sanitary porcelain, etc., including for disabled persons ( ), floor-mounted, with the cistern mounted on the bowl, at full or half height, with an internal P-type trap. ( WC bowl with side outlet and cistern ) |  |  | set |  | 2.000 |  |  |  |  |  |
| 17 |  | SC04A |  | Washbasin made of semi-porcelain, sanitary porcelain, etc., including for disabled persons ( ), with a plastic drain pipe, mounted on brackets fixed to walls made of brickwork or reinforced concrete. Washbasin ( ) ceramic with mixer tap and bottle trap |  |  | pc |  | 5.000 |  |  |  |  |  |
| 18 |  | SD04A |  | Mixer tap with swivel spout for washbasin or sink, regardless of shut-off type, including for disabled persons, with a diameter of 1/2" (Process equipment tap) |  |  | pc |  | 3.000 |  |  |  |  |  |
| 19 |  | SB25A |  | Acid-resistant ceramic floor drain Drain for process equipment |  |  | pc |  | 3.000 |  |  |  |  |  |
| 20 |  | SB09E |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 110 mm (Cleaning fitting with threaded plug PP DN 110) |  |  | pc |  | 2.000 |  |  |  |  |  |
| 21 |  | SB09C |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 50 mm. (Cleaning fitting) |  |  | pc |  | 5.000 |  |  |  |  |  |
| 22 |  | SB09E |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 110 mm (D110 fire-resistant socket) |  |  | pc |  | 2.000 |  |  |  |  |  |
| 23 |  | SB08C |  | Plastic sewer pipe, fitted with a rubber gasket, installed above ground or buried under the floor, with a diameter of 50 mm (PP sewer pipe DN50) |  |  | m |  | 5.000 |  |  |  |  |  |
| 24 |  | SB11A |  | Plastic sewer pipe fitting (double branch), fitted with a rubber gasket, with a diameter of 50 mm (PP pipe fittings, 50 mm (30%) |  |  | pc |  | 2.000 |  |  |  |  |  |
| 25 |  | SB08E |  | Plastic sewer pipe, fitted with a rubber gasket, installed exposed or buried under the floor, with a diameter of 110 mm (PP sewer pipe DN100) |  |  | m |  | 15.000 |  |  |  |  |  |
| 26 |  | SB11C |  | Plastic sewer connection piece (double branch), fitted with a rubber gasket, with a diameter of 110 mm. (Fittings PP pipes DN100 (30%) |  |  | pc |  | 5.000 |  |  |  |  |  |
| 27 |  | SB05E |  | Lightweight (U) unplasticised PVC pipe for drainage, joined by welding, installed exposed or buried under the floor, with a diameter of 110 mm (Polyvinyl chloride (PVC) pipes ф110 |  |  | m |  | 30.000 |  |  |  |  |  |
| 28 |  | SB06D |  | Fittings (elbows, cleaning fittings, double sockets, expansion joints and reducers) made of lightweight PVC (U) pipe, installed by welding, with a diameter of 110 mm (fittings 30% of the length of the pipe ф110) |  |  | pc |  | 9.000 |  |  |  |  |  |
| 29 |  | SF04A |  | Carrying out leak and functional tests on the drainage system made of cast iron pipes, for drainage, unplasticised PVC pipes, light-type or plastic, ductile iron pipes with a diameter of up to 100 mm inclusive |  |  | 10 m |  | 5.000 |  |  |  |  |  |
| 30 |  | SF02C |  | Testing the operation of the cold water system made of heavy-duty polyvinyl chloride (PVC) pipes or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 5.000 |  |  |  |  |  |
| 31 |  | SF05C |  | Flushing of cold or hot water systems made of plastic pipes with a diameter of 20–75 mm. |  |  | m |  | 50.000 |  |  |  |  |  |
| 32 |  | SB26A |  | Enamelled cast iron drain outlet (receiver) for the drainage of water from terraces and roofs, with a diameter of 100–150 mm (DN 110 drain outlet) |  |  | pc |  | 1.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sistema C1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Social and health insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Costs of semi-finished products and storage |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Budget surplus |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |