| Major repair and modernisation of the Public Institution "Mihai Eminescu", Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 2 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-2-6

Workshop. SPA

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and al works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | CK33A |  | Automatic door closer (DS-DC80120L) |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation and |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Security CCTV |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 10-04-067-23 |  | Colour television equipment: Video surveillance device (Hikvision DS-8608NXI-I8/S 8-channel network video recorder) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 3 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket ( 10 TB SATA hard drive) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 4 |  | 10-04-067-22 |  | Colour television equipment: CCTV camera (Internal dome security CCTV camera DS-2CD1167G2H-LIUF) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 5 |  | Supplier price |  | Cat. 5e U/UTP patch cable, 1 Gbps, RJ-45 - RJ-45, 3 m length, TRC-5EUTP-PVC-3M |  |  | pc |  | 6.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total CCTV Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Access control and management |  |  |  |  |  |  |  |  |  |  |
| 6 |  | 10-04-066-04 apl |  | Wall-mounted unit: Access controller for 1 access point, complete with box and DS-K2601T backup power supply |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 7 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting holes (Fingerprint reader, Wiegand-26, internal DS-K1T804AEF) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 8 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting preparation (Fingerprint recognition terminal (reader), Wiegand-26, external DS-K1T502DBFWX) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 9 |  | 10-08-002-04 |  | Automatic "OS" alarms: contact, magnetic contact for opening windows and doors ( magnetic contact sensor DS-PD1-MC-MS) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 10 |  | 08-01-081-1 |  | Control and signalling device (button, control key, electromagnetic lock, audible signal, signal lamp), number of connected terminals up to: 2 (DS-K4H250S electromagnetic lock) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 11 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (Battery, 12V 7Ah) |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Access control and management Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Materials |  |  |  |  |  |  |  |  |  |  |
| 12 |  | Supplier price |  | Distribution box with cover for solid walls (107x107x50) with self-tapping screws IP20 KMT-010-006 |  |  | pcs |  | 12.0000 |  |  |  |  |  |
| 13 |  | 08-02-412-1 |  | Insertion of conductors into installed metal pipes and conduits: first single-core or multi-core conductor in a common braid, cross-section up to 2.5 mm² |  |  | 100 m |  | 1.4200 |  |  |  |  |  |
| 14 |  | Supplier price |  | Category 3 twisted-pair copper-core communication cable, smoke- and halogen-free, 2×2×0.8 mm² KPSEng(A)-FRLSLTx |  |  | m |  | 60.5000 |  |  |  |  |  |
| 15 |  | Supplier price |  | Category 5e smoke- and halogen-free twisted pair copper core communication cable, 4x2x0.52 U/UTPng(A)-LSZH |  |  | m |  | 95.7000 |  |  |  |  |  |
| 16 |  | 08-02-409-1 |  | Vinyl-plastic conduit for installed structures, on walls and columns, clamp-mounted, diameter 25 mm |  |  | 100 m |  | 0.3800 |  |  |  |  |  |
| 17 |  | Supplier price |  | Self-extinguishing, non-smoking, non-toxic corrugated pipe made of HDPE, 16 mm diameter |  |  | m |  | 38.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.1. Security |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Supplier price |  | 8-channel IP network video recorder, H.264 MPEG-4, 2x VGA, 2x HDMI, 2x SATA 16TB RAID 0/1/5/6/10, 2x RJ-45 100/1000Base 2UD, DS-8608NXI-I8/S |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 19 |  | Supplier price |  | 10 TB SATA hard drive |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 20 |  | Supplier price |  | Indoor dome security CCTV camera, 6 MP, 20 fps, 0.001 Lux, 2.8 mm F1.0, 8W PoE DS-2CD1167G2H-LIUF |  |  | pc |  | 5.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total CCTV Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.2. Access control and management |  |  |  |  |  |  |  |  |  |  |
| 21 |  | Supplier price |  | Access controller for 1 access point, complete with enclosure and backup power supply DS-K2601T |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 22 |  | Supplier price |  | Fingerprint recognition terminal (reader), Wiegand-26, indoor, 12V 1A DS-K1T804AEF |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | Fingerprint recognition terminal (reader), Wiegand-26, outdoor IP65, 12V 1A DS-K1T502DBFWX |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 24 |  | Supplier price |  | DS-PD1-MC-MS magnetic contact sensor |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | Electromagnetic lock, 272 kg, 12V 500 mA DS-K4H250S |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 26 |  | Supplier price |  | Rechargeable battery, 12V 7Ah |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Control and Management of Access Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Storage and costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |