| Major repair and modernisation of the Public Institution "Mihai Eminescu" Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 2 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-2-7

Workshop. TS

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Installation and |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Panels and control units |  |  |  |  |  |  |  |  |  |  |
| 1 |  | 10-06-037- 05 |  | Cabinets, boxes and junction boxes for conduit installations: Wall-mounted cabinet, dimensions, mm, up to: 600×450 ( cabinet, wall-mounted, , grey, 19" RACK 18U, door , glass with lock) |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total and panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Equipment supplied by in conjunction with and panels |  |  |  |  |  |  |  |  |  |  |
| 2 |  | 11-04-008-01 |  | Detachable and flexible block (modules, cells, "TEZ"), weight, kg, up to: 5 (8x LC Duplex MM 50/125 optical cross-connect) |  |  | pc |  | 23.0000 |  |  |  |  |  |
| 3 |  | 11-04-008-01 |  | Removable and flexible block (modules, cells, "TEZ"), weight, kg, up to: 5 (Network router, 12x 10GBase-X SFP, RouterOS 6 CCR1016-12S-1S) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 4 |  | 08-03-575-1 |  | Device or unit dismantled prior to transport (Network switch, 2x 1000Base-X SFP, 24x 100Base TSX-U-2GX/SFP-24GTP) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 5 |  | 11-04-008-01 |  | Removable and flexible unit (modules, cells, "TEZ"), weight, kg, up to: 5 (19'' 1U shielded FTP patch panel , 24 ports TRP-PPNL-5EUTP-1U24) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 6 |  | 11-04-008-01 |  | Removable and flexible block (modules, cells, "TEZ"), weight, kg, up to: 5 (PDU socket block RACK19" 1U 6 Schuko sockets 16A/250V) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 7 |  | 10-02-016-06 |  | Separately installed devices: power supply unit (3000BA Double Conversion Uninterruptible Power Supply with battery) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 8 |  | 10-02-016-06 |  | Separately installed devices: power supply unit (External battery unit for UPS RACK19" 2U SW900pro-EBBRT-78) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 9 |  | Supplier price |  | Cat. 5e U/UTP patch cable, 1 Gbps, RJ-45 - RJ-45, length 1 m TRC-5EUTP-PVC-1M |  |  | pc |  | 96.0000 |  |  |  |  |  |
| 10 |  | Supplier price |  | OM3 multimode fibre optic patch cable, 10 Gbps, LC Duplex - LC Duplex, length 1 m, FPC5003-LCU-LCU-C2L |  |  | pc |  | 516.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment supplied jointly with with panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Equipment local |  |  |  |  |  |  |  |  |  |  |
| 11 |  | 10-01-051-28 |  | Cutting and connecting cables and conductors: "TSV" cable, capacity 5×2 when cutting a cable: by soldering |  |  | 10 pcs |  | 8.4000 |  |  |  |  |  |
| 12 |  | Supplier price |  | Keystone module, Cat.5E, RJ-45, unshielded, 110 IDC, 90 degrees, white, TRP-KSTN-90D-5EUTP |  |  | pc |  | 84.0000 |  |  |  |  |  |
| 13 |  | 10-04-066-07 apl |  | Wall-mounted unit: Socket (Wall-mounted socket housing for 2 Keystone modules with shutters and markers) |  |  | pc |  | 28.00 |  |  |  |  |  |
| 14 |  | Supplier price |  | Wall-mounted socket housing for 2 Keystone modules with shutters and markers, white TRP-EBOX-2KSTN-WH |  |  | pc |  | 28.0000 |  |  |  |  |  |
| 15 |  | 10-04-066-07 apl |  | Wall-mounted equipment: Socket (RJ-45 computer telecommunications socket E2MK015E-135-10) |  |  | pc |  | 56.0000 |  |  |  |  |  |
| 16 |  | Supplier price |  | RJ-45 computer telecommunications socket E2MK015E-135-10 |  |  | pc |  | 56.0000 |  |  |  |  |  |
| 17 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting hole (WiFi access point) |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Local equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Materials |  |  |  |  |  |  |  |  |  |  |
| 18 |  | Supplier price |  | Cat. 5e U/UTP patch cable, 1 Gbps, RJ-45 - RJ-45, length 3 m TRC-5EUTP-PVC-3M-GY |  |  | pc |  | 84.0000 |  |  |  |  |  |
| 19 |  | Supplier price |  | Instrumentation mounting box with connection terminals and self-tapping screws for solid walls (71x42) KMT-010-044 |  |  | pc |  | 28.0000 |  |  |  |  |  |
| 20 |  | Supplier price |  | Distribution box with cover for solid walls (107x107x50) with self-tapping screws, IP20 KM-010-006 |  |  | pc |  | 20.0000 |  |  |  |  |  |
| 21 |  | 10-06-037-09 |  | Cabinets, boxes and junction boxes for conduit installations: Junction box or junction box, size, mm, up to: 500x500 (Floor access panel for 2 modules with floor box and C-Line 2 frame ) |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 22 |  | 10-06-037-09 |  | Cabinets, boxes and junction boxes for pipe installations: Junction box, size, mm, up to: 500×500 (Floor-mounted box for 6-module hatch C-Line) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | C-Line 6-module floor-mounted box with access hatch |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 24 |  | 08-03-591-12 apl |  | Three-switch blocks with a flush-mounted socket, for flush-mounted installation (6-module floor-mounted access panel with C-Line WP-6 switch ) |  |  | 100 pcs |  | 0.0300 |  |  |  |  |  |
| 25 |  | Supplier price |  | 6-module floor-mounted access panel with C-Line WP-6 frame |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 26 |  | 10-06-037-09 |  | Cabinets, boxes and junction boxes for conduit installations: Junction box or junction box, size, mm, up to: 500×500 (C-Line floor-mounted box for 12-module access panel ) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 27 |  | Supplier price |  | Floor-mounted box for a hatch for 12 C-Line modules |  |  | pc |  | 3.00 00 |  |  |  |  |  |
| 28 |  | 08-03-591-12 apl |  | Blocks with three switches and one flush-mounted socket, for flush-mounted installation (Floor-mounted access panel for 12 modules with C-Line 12 switch frame) |  |  | 100 pcs |  | 0.0300 |  |  |  |  |  |
| 29 |  | Supplier price |  | 12-module floor-mounted access panel with C-Line 12 instrument frame |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 30 |  | 08-02-412-2 |  | Insertion of conductors into installed metal pipes and conduits: first single-core or multi-core conductor in a common sheath, total cross-section up to 6 mm² |  |  | 100 m |  | 16.5000 |  |  |  |  |  |
| 31 |  | Supplier price |  | Cat. 5e smoke- and halogen-free twisted-pair copper-core communication cable, 4x2x0.52 U/UTPng(A)-LSLTx |  |  | m |  | 1,500.00 |  |  |  |  |  |
| 32 |  | 08-02-409-1 |  | Vinyl-plastic conduit for installed structures, on walls and columns, clamped in place, diameter 25 mm |  |  | 100 m |  | 10.5000 |  |  |  |  |  |
| 33 |  | Supplier price |  | Self-extinguishing, non-smoking, non-toxic corrugated pipe made of HDPE, 25 mm diameter |  |  | m |  | 1,050.00 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Panels and control panels |  |  |  |  |  |  |  |  |  |  |
| 34 |  | Supplier price |  | RACK 19" 18U 600x450 grey floor-standing telecommunications cabinet with glass door LWR3-18U64-GF |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Panels and control panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Equipment supplied by in conjunction with and panels |  |  |  |  |  |  |  |  |  |  |
| 35 |  | Supplier price |  | 8x LC Duplex MM 50/125 OM3 19" RACK 1U fibre optic cross-connect kit (pigtails, feed-through adaptors, splice tray) FOBX24-1U-8LCUD03 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 36 |  | Supplier price |  | Network router, 12x 10GBase-X SFP, RouterOS 6, 19" rack 1U, ~220V 48W CCR1016-12S-1S+ |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 37 |  | Supplier price |  | Network switch, 2x 1000Base-X SFP, 24x 100Base-T PoE 15W, RJ-45, 19" 1U rack, ~220V, 300W, TSX-U-2GX/SFP-24GTP-R |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 38 |  | Supplier price |  | Optical SFP module (transceiver), SM 9/125 1310 nm 2.5 Gbps 20 m LC Duplex TSX-SFP-HS2D-13-20 |  |  | pc |  | 10.0000 |  |  |  |  |  |
| 39 |  | Supplier price |  | Patch panel, 24x RJ-45 Cat. 5e, with cable organiser, 19" rack 1U TRP-PPNL-5EUTP-1U24 |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 40 |  | Supplier price |  | PDU power strip, 19" rack, 1U, 6 Schuko sockets 16A/250V with switch, 2-metre power cable ( , 3x1.5 mm²) TRC-HPO-LS2-16A-6SH-2MSH |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 41 |  | Supplier price |  | 3000 VA Double Conversion Uninterruptible Power Supply, 8x #12V 7 Ah batteries, 19" 2U rack mount, 8- xS13, EPO, RS232, USB, SNMP, SW930Pro-RTB |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 42 |  | Supplier price |  | External battery pack for UPS, 8x 12V 7Ah batteries, 19" rack 2U , SW900pro-EBBRT-78 |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment supplied in conjunction with with panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Equipment local |  |  |  |  |  |  |  |  |  |  |
| 43 |  | Supplier price |  | WiFi access point, 2.5/5GHz 300/1300Mbit/s, MIPS 720MHz 64MB RouterOS 4, PoE 12W, IP56 RBwAPG-5HacT2HnD |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Local equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.4. Materials |  |  |  |  |  |  |  |  |  |  |
| 44 |  | Supplier price |  | 2-module floor access panel with floor box and C-Line 2 instrument frame |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared by |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |