| Major repair and modernisation of the Public Institution "Mihai Eminescu" Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-2-6

Workshop. Design

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. salary | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and al works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Ceilings |  |  |  |  |  |  |  |  |  |  |
| 1 |  | СF59D |  | Cladding of surfaces with a layer of PGC, including the installation of a simple flat metal framework, with a height of up to 4 m: ceilings without insulation |  |  | m2 |  | 17.4000 |  |  |  |  |  |
| 2 |  | CN53A |  | Priming of interior ceiling surfaces |  |  | m² |  | 17.4000 |  |  |  |  |  |
| 3 |  | CF52B |  | 5 mm thick interior plastering, applied by hand, using a dry gypsum-based mixture on the ceiling, with mortar prepared by hand |  |  | m² |  | 17.4000 |  |  |  |  |  |
| 4 |  | CF53B |  | 5 mm thick interior plastering, applied by hand, using a dry gypsum-based mixture, on the ceiling, with mortar prepared by hand. Additional or reduced amount for every 1.0 mm (3 mm is deducted from item CF52, K=3) |  |  | m2 |  | -17.4000 |  |  |  |  |  |
| 5 |  | CN53A |  | Priming of interior ceiling surfaces |  |  | m² |  | 17.4000 |  |  |  |  |  |
| 6 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 17.4000 |  |  |  |  |  |
| 7 |  | CN53A |  | Priming of interior ceiling surfaces |  |  | m² |  | 17.4000 |  |  |  |  |  |
| 8 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually |  |  | m² |  | 17.4000 |  |  |  |  |  |
| 9 |  | CK29F apl |  | Suspended ceilings made of prefabricated panels, including the grid system (Rockfon Artic E25 painted ceiling tile 600x600x15 mm) |  |  | m2 |  | 171.4000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Ceilings Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Floors |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2.1. Ceramic tiles ( ) |  |  |  |  |  |  |  |  |  |  |
| 10 |  | IzF53A |  | Manual installation of the floor substrate with a thermal insulation layer of extruded polystyrene foam boards, 40 mm thick, in a single layer |  |  | m2 |  | 9.4500 |  |  |  |  |  |
| 11 |  | CG01A |  | Floor screed made of M 100-T cement mortar, 3 cm thick, with a finely trowelled finish |  |  | m² |  | 9.4500 |  |  |  |  |  |
| 12 |  | CG01A1 |  | Floor screed made of M 100-T cement mortar, 3 cm thick, with a finely trowelled finish. For every 0.5 cm of deviation (either way) in the thickness of the M 100-T mortar screed, add 2 cm, K=4 |  |  | m2 |  | 9.4500 |  |  |  |  |  |
| 13 |  | CC03C |  | Installation of welded mesh at heights of 35 m or less, on slabs (mesh 100x100x4 - 1.75 kg/m²) |  |  | kg |  | 16.5400 |  |  |  |  |  |
| 14 |  | IzF04A |  | Hot-applied waterproofing layer on terraces, roofs or foundations and screeds, in areas without groundwater, including flashings and valleys in the existing waterproofing on horizontal or sloping surfaces up to 40% gradient, flat or curved, using bitumen mastic applied with a brush or rubber trowel (trowel) |  |  | m² |  | 9.4500 |  |  |  |  |  |
| 15 |  | CG47D |  | Ceramic tile flooring, including the adhesive backing layer (dry mix), tile dimensions: 600 x 600 mm (6 mm porcelain tile underlay; tile dimensions 600 x 600 mm (Bascal Bone porcelain tiles) |  |  | m2 |  | 9.4500 |  |  |  |  |  |
| 16 |  | CI14A |  | Linear elements made of ceramic tiles applied with adhesive |  |  | m |  | 5.4400 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total From ceramic tiles Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2.2. From linoleum |  |  |  |  |  |  |  |  |  |  |
| 17 |  | IzF53A |  | Manual installation of the floor substrate with a thermal insulation layer of extruded polystyrene foam boards, 40 mm thick, in a single layer |  |  | m2 |  | 179.3500 |  |  |  |  |  |
| 18 |  | CG01A |  | Floor screed made of M 100-T cement mortar, 3 cm thick, with a finely trowelled finish |  |  | m2 |  | 179.3500 |  |  |  |  |  |
| 19 |  | CG01A1 |  | Floor screed made of M 100-T cement mortar, 3 cm thick, with a finely trowelled finish. For every 0.5 cm of deviation (either way) in the thickness of the M 100-T mortar screed, add 2 cm, K=4 |  |  | m2 |  | 179.3500 |  |  |  |  |  |
| 20 |  | CC03C |  | Installation of welded mesh at heights of 35 m or less, on slabs (mesh 100x100x4 - 1.75 kg/m²) |  |  | kg |  | 313.8600 |  |  |  |  |  |
| 21 |  | CG49A |  | Installation of homogeneous vinyl antibacterial flooring (medical linoleum), on floors (Homogeneous polyvinyl chloride flooring (PVC) (ISO 10581) total thickness 2 mm (ISO 24346), Tarkett) (add the perimeter length of the rooms, with the material raised up the wall to a height: H=100 mm) |  |  | m² |  | 179.3500 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total From linoleum Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Flooring Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Walls |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3.1. Walls , warehouse (drawing 13) |  |  |  |  |  |  |  |  |  |  |
| 22 |  | CF05A |  | 3 cm thick interior plaster, applied over wire mesh, trowelled, using M 100-T cement-lime mortar for the rough coat, M 50-T cement-lime mortar for the base coat and M 10-T lime-cement mortar for the finish coat, applied by hand to flat surfaces, including the installation of steel reinforcement and wire mesh, applied to walls |  |  | m² |  | 124.5000 |  |  |  |  |  |
| 23 |  | CF17B |  | Miscellaneous works – variation in thickness, ±5 mm for the primer coat applied to the walls, applied with mortar (add 10 mm, K=2) |  |  | m² |  | 124.5000 |  |  |  |  |  |
| 24 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 124.5000 |  |  |  |  |  |
| 25 |  | CF50B |  | 5 mm thick interior plastering, applied by hand using a dry gypsum-based mixture, on walls and partition walls, with mortar prepared by hand. |  |  | m2 |  | 124.5000 |  |  |  |  |  |
| 26 |  | CF17C |  | Miscellaneous works – layer of fibreglass mesh applied to the surface of precast concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 124.5000 |  |  |  |  |  |
| 27 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 124.5000 |  |  |  |  |  |
| 28 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 124.5000 |  |  |  |  |  |
| 29 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 1013) |  |  | m² |  | 40.8000 |  |  |  |  |  |
| 30 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 6021) |  |  | m² |  | 83.7000 |  |  |  |  |  |
| 31 |  | IzF04F |  | Hot-applied waterproofing layer on terraces, roofs, foundations and ground slabs, in areas without groundwater, including the troughs and valleys in the existing waterproofing on surfaces with a slope of over 40% or on vertical, flat or curved surfaces, using bitumen mastic or bitumen with added rubber, applied with a brush or rubber trowel (trowel) |  |  | m² |  | 2.3000 |  |  |  |  |  |
| 32 |  | CF02A |  | 2 cm thick interior plaster, rough-textured, applied manually by hand- , to walls or pillars, on flat surfaces using M 25-T lime-cement mortar for the scratch coat and M 10-T mortar for the base coat and finish coat, on brickwork or small concrete blocks |  |  | m² |  | 2.3000 |  |  |  |  |  |
| 33 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer coat applied to walls, executed with mortar (add 10 mm, K=2) |  |  | m² |  | 2.3000 |  |  |  |  |  |
| 34 |  | CN53A |  | Priming of interior wall surfaces with Betonocontact |  |  | m² |  | 2.3000 |  |  |  |  |  |
| 35 |  | CI22B |  | Ceramic tile cladding (on walls, columns, pilasters and window sills) fixed with adhesive (dry mix), tile dimensions: up to 200 x 200 mm (Bascal bone porcelain tiles) |  |  | m2 |  | 2.3000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total warehouse walls (sheet 13) Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3.2. Technology workshop and creati e (sheet 17) |  |  |  |  |  |  |  |  |  |  |
| 36 |  | CF05A |  | 3 cm thick interior plaster, applied over wire mesh, trowelled, using M 100-T cement-lime mortar for the rough coat, M 50-T cement-lime mortar for the base coat and M 10-T lime-cement mortar for the finish coat, applied by hand to flat surfaces, including the installation of steel reinforcement and wire mesh, applied to walls |  |  | m² |  | 45.3000 |  |  |  |  |  |
| 37 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer coat applied to the walls, applied using mortar (add 10 mm, K=2) |  |  | m² |  | 45.3000 |  |  |  |  |  |
| 38 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 45.3000 |  |  |  |  |  |
| 39 |  | CF50B |  | 5 mm thick interior plastering, applied by hand using a dry gypsum-based mixture, on walls and partition walls, with mortar prepared by hand. |  |  | m2 |  | 45.3000 |  |  |  |  |  |
| 40 |  | CF17C |  | Miscellaneous works – layer of fibreglass mesh applied to the surface of precast reinforced concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 45.3000 |  |  |  |  |  |
| 41 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 45.3000 |  |  |  |  |  |
| 42 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 45.3000 |  |  |  |  |  |
| 43 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 1013) |  |  | m² |  | 18.3000 |  |  |  |  |  |
| 44 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 6021) |  |  | m² |  | 27.0000 |  |  |  |  |  |
| 45 |  | IzF04F |  | Hot-applied waterproofing layer on terraces, roofs, foundations and ground slabs, in areas without groundwater, including the troughs and valleys in the existing waterproofing on surfaces with a slope of over 40% or on vertical, flat or curved surfaces, using bitumen mastic or bitumen with added rubber, applied with a brush or rubber trowel (trowel) |  |  | m² |  | 1.6500 |  |  |  |  |  |
| 46 |  | CF02A |  | 2 cm thick interior plaster, rough-textured, applied by hand to walls or pillars, on flat surfaces using M 25-T lime-cement mortar for the base coat and M 10-T mortar for the primer and finish coat, on brickwork or small concrete blocks |  |  | m2 |  | 2.3000 |  |  |  |  |  |
| 47 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer layer applied to walls, executed with mortar (add 10 mm, K=2) |  |  | m2 |  | 2.3000 |  |  |  |  |  |
| 48 |  | CN53A |  | Priming of interior wall surfaces with Betonocontact |  |  | m² |  | 2.3000 |  |  |  |  |  |
| 49 |  | CI22B |  | Ceramic tile cladding (on walls, columns, pilasters and window sills) fixed with adhesive (dry mix), tile dimensions: up to 200 x 200 mm (Bascal bone porcelain tiles) |  |  | m2 |  | 2.3000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Technology and Creative Workshop ( 17) Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3.3. FOOD Technology Workshop ( , sheet 20) |  |  |  |  |  |  |  |  |  |  |
| 50 |  | CF05A |  | 3 cm thick interior plasterwork, applied over wire mesh, trowelled, using M 100-T cement-lime mortar for the skim coat, M 50-T cement-lime mortar for the base coat and M 10-T lime-cement mortar for the finish coat, applied by hand to flat surfaces, including the installation of steel reinforcement and wire mesh, applied to walls |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 51 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer coat applied to walls, executed with mortar (add 10 mm, K=2) |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 52 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 53 |  | CF50B |  | 5 mm thick interior plastering, applied by hand using a dry gypsum-based mixture, on walls and partition walls, with mortar prepared by hand. |  |  | m2 |  | 56.7000 |  |  |  |  |  |
| 54 |  | CF17C |  | Miscellaneous works – layer of fibreglass mesh applied to the surface of precast reinforced concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 55 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 56 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 56.7000 |  |  |  |  |  |
| 57 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 9010) |  |  | m² |  | 56.7000 |  |  |  |  |  |
| 58 |  | CF02A |  | 2 cm thick interior plaster, rough-textured, applied by hand to walls or pillars, on flat surfaces using M 25-T lime-cement mortar for the base coat and M 10-T mortar for the primer and finish coat, on brickwork or small concrete blocks |  |  | m2 |  | 4.3000 |  |  |  |  |  |
| 59 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer coat applied to walls, executed with mortar (add 10 mm, K=2) |  |  | m² |  | 4.3000 |  |  |  |  |  |
| 60 |  | CN53A |  | Priming of interior wall surfaces with Betonocontact |  |  | m² |  | 4.3000 |  |  |  |  |  |
| 61 |  | CD07C apl |  | Walls made of steel sheet panels ( stainless steel 1.5x1000x2000 mm, polished) |  |  | m2 |  | 4.3000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total FOOD Technology Workshop ( 20) Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3.4. Exhibition and hall (sheet 23) |  |  |  |  |  |  |  |  |  |  |
| 62 |  | CF05A |  | 3 cm thick interior plaster, applied over wire mesh, trowelled, using M 100-T cement-lime mortar for the skim coat, M 50-T cement-lime mortar for the base coat and M 10-T lime-cement mortar for the finish coat, applied by hand to flat surfaces, including the installation of steel reinforcement and wire mesh, applied to walls |  |  | m² |  | 97.4000 |  |  |  |  |  |
| 63 |  | CF17B |  | Miscellaneous works – thickness variation, ±5 mm for the primer coat applied to walls, executed with mortar (add 10 mm, K=2) |  |  | m² |  | 97.4000 |  |  |  |  |  |
| 64 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 97.4000 |  |  |  |  |  |
| 65 |  | CF50B |  | 5 mm thick interior plastering, applied by hand, using a dry gypsum-based mixture, on walls and partition walls, with mortar prepared by hand. |  |  | m2 |  | 97.4000 |  |  |  |  |  |
| 66 |  | CF17C |  | Miscellaneous works – layer of fibreglass mesh applied to the surface of precast reinforced concrete elements bonded with adhesive, including the primer coat |  |  | m² |  | 97.4000 |  |  |  |  |  |
| 67 |  | CN53A |  | Priming of interior wall surfaces |  |  | m² |  | 97.4000 |  |  |  |  |  |
| 68 |  | CF57A |  | Manual application of 1.0 mm thick "Eurofin" gypsum-based plaster to the surfaces of walls, columns and ceilings |  |  | m2 |  | 97.4000 |  |  |  |  |  |
| 69 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in two coats to existing plaster, carried out manually (washable paint applied in two coats, RAL 7040) |  |  | m² |  | 31.6000 |  |  |  |  |  |
| 70 |  | CN06A |  | Interior painting with water-based vinyl copolymer emulsion paint, applied in 2 coats to existing plaster, carried out manually (washable paint applied in 2 coats, RAL 9003) |  |  | m² |  | 65.8000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Exhibition Hall (sheet 23) Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Walls Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Sanitary engineering ( ) |  |  |  |  |  |  |  |  |  |  |
| 71 |  | SC11B apl |  | Alvit support bar, plus, disabled, foldable, 73 cm, chrome |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 72 |  | SC11B wall-mounted |  | Soap dispenser, Satin stainless steel Le Papier Ecoline, 800 ml |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 73 |  | SC11B wall-mounted |  | Folded Towel Dispenser Dimensions: 260 x 280 x 110 mm Material: satin-finish stainless steel |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 74 |  | SC11B wall-mounted |  | Toilet Paper Dispenser Satin-finished stainless steel Dimensions: D260 x 120 mm Material: satin-finished stainless steel |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sanitary Engineering Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Sanitary installation work |  |  |  |  |  |  |  |  |  |  |
| 75 |  | SC11B apl |  | Alvit support bar, plus, for the disabled, foldable, 73 cm, chrome |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 76 |  | SC11B wall-mounted |  | Soap dispenser, Esenia stainless steel, 800ml |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 77 |  | SC11B wall-mounted |  | Folded Towel Dispenser Dimensions: 260 x 280 x 110 mm Material: satin-finish stainless steel |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 78 |  | SC11B wall-mounted |  | Jumbo Mini Toilet Paper Dispenser |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sanitary equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.1. Sanitary plumbing equipment |  |  |  |  |  |  |  |  |  |  |
| 79 |  | Supplier price |  | Alvit Care+ support bar, for the disabled, foldable, 73 cm, chrome |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 80 |  | Supplier price |  | Soap dispenser, Le Papier Ecoline brushed stainless steel, 800 ml |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 81 |  | Supplier price |  | Folded Towel Dispenser Dimensions: 260 x 280 x 110 mm Material: satin-finish stainless steel |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 82 |  | Supplier price |  | Toilet Paper Dispenser Satin-Finish Stainless Steel Dimensions: D260 x 120 mm Material: satin-finish stainless steel |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sanitary equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |