| Major repair and modernisation of the Public Institution "Mihai Eminescu", Telenesti district, Codrilor Street 8, cadastral number 8901224. 151. 02 No. 8/13c-25 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-3-2

Changing rooms with showers and toilets         Internal water supply and drainage networks     (RAC brand)

| No. No. | Symbol, standards and resource code | Works and expenditure | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. System A1 |  |  |  |  |  |  |  |  |  |  |
| 1 |  | SD11C |  | Cast iron straight-through check valve with flanges, nominal diameter 50–65 mm (Cast iron ball valve with flange DN50) |  |  | pc |  | 1.000 |  |  |  |  |  |
| 2 |  | IC38D |  | Connection fitting (fitting), with 2 joints, made of polypropylene, fusion-bonded to the reinforced polypropylene pipe, with an external diameter of 40.0 mm (PPR PN10 DN40 valve) |  |  | pc |  | 2.000 |  |  |  |  |  |
| 3 |  | IC38B apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene joined by polyfusion to the reinforced polypropylene pipe, with an external diameter of 25.0 mm PPR valve PN 25 |  |  | pc |  | 2.000 |  |  |  |  |  |
| 4 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene joined by polyfusion to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, inclusive PPR valve PN 20 |  |  | pc |  | 2.000 |  |  |  |  |  |
| 5 |  | IC38A apl |  | Connection fitting (fitting) with 2 joints, made of polypropylene fused to reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, including PPR valve PN 15 |  |  | each |  | 4.000 |  |  |  |  |  |
| 6 |  | SA16F |  | Plastic pipe joined by polyfusion welding, in columns, for residential and social-cultural buildings, with a diameter of 63 mm (PP-R PN10 D63 pipe) |  |  | m |  | 5.000 |  |  |  |  |  |
| 7 |  | SA16E |  | Plastic pipe joined by fusion welding, in columns, for residential and social-cultural buildings, with a diameter of 50 mm (PP-R PN10 D50 pipe) |  |  | m |  | 10.000 |  |  |  |  |  |
| 8 |  | SA16C |  | Plastic pipe joined by fusion welding, in columns, for residential and social-cultural buildings, with a diameter of 32 mm (PP-R PN10 D32 pipe) |  |  | m |  | 10.000 |  |  |  |  |  |
| 9 |  | SA15B |  | Plastic pipe joined by fusion welding, in connecting pipes, for sanitary facilities, residential and social-cultural buildings, with a diameter of 20–25 mm (PP-R PN10 D25 pipe) |  |  | m |  | 10.000 |  |  |  |  |  |
| 10 |  | SA15B |  | Plastic pipe joined by fusion welding, for connecting pipes, sanitary fittings, residential and socio-cultural facilities, with a diameter of 20–25 mm (PP-R PN10 D20 pipe) |  |  | m |  | 10.000 |  |  |  |  |  |
| 11 |  | SF01C |  | Carrying out pressure leak testing on hot or cold water installations made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | m |  | 60.000 |  |  |  |  |  |
| 12 |  | SF02C |  | Carrying out the functional test of the cold water system made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 6.000 |  |  |  |  |  |
| 13 |  | SF05C |  | Flushing of cold or hot water systems made of plastic pipes with a diameter of 20–75 mm. |  |  | m |  | 60.000 |  |  |  |  |  |
| 14 |  | RpIF09B |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes, d-63mm) |  |  | m |  | 5.000 |  |  |  |  |  |
| 15 |  | RpIF09B |  | Insulation of pipes with special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes d-50mm) |  |  | m |  | 10.000 |  |  |  |  |  |
| 16 |  | RpIF09B |  | Insulation of pipes using special insulation sleeves, fitted onto pipes with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes, d-32mm) |  |  | m |  | 10.000 |  |  |  |  |  |
| 17 |  | RpIF09B |  | Insulation of pipes with special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes d-25mm) |  |  | m |  | 10.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total System A1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. System T3.T4 |  |  |  |  |  |  |  |  |  |  |
| 18 |  | IC38B apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene fused to the reinforced polypropylene pipe, with an external diameter of 25.0 mm PPR valve PN 25 |  |  | pc |  | 4.000 |  |  |  |  |  |
| 19 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene joined by polyfusion to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, inclusive PPR valve PN 20 |  |  | pc |  | 2.000 |  |  |  |  |  |
| 20 |  | IC38A apl |  | Connection fitting (fitting), with 2 joints, made of polypropylene joined by polyfusion to the reinforced polypropylene pipe, with an external diameter of up to 20.0 mm, inclusive PPR valve PN 15 |  |  | pc |  | 6.000 |  |  |  |  |  |
| 21 |  | SC11B |  | Towel rail made of nickel-plated brass, bakelite, etc., mounted on a brick or reinforced concrete wall, with 2 support points - Stainless steel towel rail |  |  | pc |  | 2.000 |  |  |  |  |  |
| 22 |  | SD13C |  | Safety valve with lever and counterweight, for flanged connection, with a diameter of 50 mm (vent valve) |  |  | pc |  | 2.000 |  |  |  |  |  |
| 23 |  | SA16C |  | Plastic pipe joined by fusion welding, in columns, for residential and social-cultural buildings, with a diameter of 32 mm (PP-R PN10 D32 pipe) |  |  | m |  | 15.000 |  |  |  |  |  |
| 24 |  | SA15B |  | Plastic pipe joined by fusion welding, in connecting pipes, for sanitary facilities, residential and social-cultural buildings, with a diameter of 20–25 mm (PP-R PN10 D25 pipe) |  |  | m |  | 10.000 |  |  |  |  |  |
| 25 |  | SA15B |  | Polyfusion-welded plastic pipe, used in connecting pipes, for sanitary fittings, and in residential and socio-cultural buildings, with a diameter of 20–25 mm (PP-R PN10 D20 pipe) |  |  | m |  | 15.000 |  |  |  |  |  |
| 26 |  | SF01C |  | Carrying out a pressure leak test on hot or cold water installations made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | m |  | 40.000 |  |  |  |  |  |
| 27 |  | SF02C |  | Carrying out the functional test of the cold water system made of heavy-duty polyvinyl chloride (PVC) or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 4.000 |  |  |  |  |  |
| 28 |  | SF05C |  | Flushing of cold or hot water systems made of plastic pipes with a diameter of 20–75 mm. |  |  | m |  | 40.000 |  |  |  |  |  |
| 29 |  | RpIF09B |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes, d-32mm) |  |  | m |  | 15.000 |  |  |  |  |  |
| 30 |  | RpIF09B |  | Insulation of pipes with special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes d-25mm) |  |  | m |  | 15.000 |  |  |  |  |  |
| 31 |  | RpIF09B |  | Insulation of pipes with special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=12x9 to D=54x9 mm (PEP thermal insulation tubes d-20mm) |  |  | m |  | 10.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total System T3.T4 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. System C1 |  |  |  |  |  |  |  |  |  |  |
| 32 |  | SC07B1 |  | Toilet bowl, fully equipped, made of semi-porcelain, sanitary porcelain, etc., including models for disabled users, floor-mounted, with the cistern mounted on the bowl, at full or half height, fitted with a P-type internal siphon. ( WC bowl with side outlet and cistern ) |  |  | set |  | 4.000 |  |  |  |  |  |
| 33 |  | SC04A |  | Washbasin made of semi-porcelain, sanitary porcelain, etc., including for disabled persons, with a plastic drain pipe, mounted on brackets fixed to walls made of brick or reinforced concrete. Ceramic washbasin with mixer tap and bottle trap |  |  | pc |  | 4.000 |  |  |  |  |  |
| 34 |  | SB02A1 |  | Cast iron plumbing fittings, sealed with white putty and cement, with a nominal diameter of 50 mm trap for shower tray |  |  | pc |  | 4.000 |  |  |  |  |  |
| 35 |  | SB09E |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 110 mm (Cleaning plug with threaded cap PP DN 110) |  |  | pc |  | 1.000 |  |  |  |  |  |
| 36 |  | SB09C |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 50 mm ( ) (Cleaning fitting) |  |  | pc |  | 1.000 |  |  |  |  |  |
| 37 |  | SB09E |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 110 mm (D110 fire-resistant socket) |  |  | pc |  | 1.000 |  |  |  |  |  |
| 38 |  | SB08C |  | Plastic sewer pipe, fitted with a rubber gasket, installed above ground or buried under the floor, with a diameter of 50 mm (PP sewer pipe DN50) |  |  | m |  | 15.000 |  |  |  |  |  |
| 39 |  | SB11A |  | Plastic sewer pipe fitting (double branch), fitted with a rubber gasket, with a diameter of 50 mm (PP pipe fittings, 50 mm (30%) |  |  | pc |  | 5.000 |  |  |  |  |  |
| 40 |  | SB08E |  | Plastic sewer pipe, fitted with a rubber gasket, installed above ground or buried beneath the floor, with a diameter of 110 mm (PP sewer pipe DN100) |  |  | m |  | 15.000 |  |  |  |  |  |
| 41 |  | SB11C |  | Plastic sewer connection piece (double branch), fitted with a rubber gasket, with a diameter of 110 mm. (Fittings PP pipes DN100 (30%) |  |  | pcs |  | 5.000 |  |  |  |  |  |
| 42 |  | SF04A |  | Carrying out leak and functional testing of the sewerage system constructed from cast iron pipes for drainage, unplasticised polyvinyl chloride (PVC) pipes, light-duty type, or plastic pipes, with ductile iron pipes having a diameter of up to and including 100 mm |  |  | 10 m |  | 3.000 |  |  |  |  |  |
| 43 |  | SF02C |  | Testing the operation of the cold water system made of heavy-duty polyvinyl chloride (PVC) pipes or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 3.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total System C1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Social and health insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Semi-finished product and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Budget surplus |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation and assembly work |  |  |  |  |  |  |  |  |  |  |
| 44 |  | SC02A |  | Enamelled cast iron, enamelled sheet metal, polymethyl methacrylate, etc. shower tray (Shower tray with drain and tap) |  |  | pc |  | 4.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Storage and costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Machinery |  |  |  |  |  |  |  |  |  |  |
| 45 |  | Supplier price |  | Shower tray |  |  | pc |  | 4.000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |