| Major repair and modernisation of the Public Institution "Mihai Eminescu" Telenesti district, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 4-1-1

e supply and electricity

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— including salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and al works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Trenching |  |  |  |  |  |  |  |  |  |  |
| 1 |  | TsC03B1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, with spoil deposited in a Category II landfill (trench T2) |  |  | 100 m³ |  | 0.2400 |  |  |  |  |  |
| 2 |  | TsA16A2 |  | Manual earth excavation, in confined spaces, in trenches up to 4 m deep, for high-voltage electrical cables, in soil with natural moisture without shoring, width < 1 m, depth < 1.5 m, soft ground with obstacles |  |  | m3 |  | 2.4300 |  |  |  |  |  |
| 3 |  | TsD01B |  | Spreading of sifted soil with a shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, soil originating from medium-grade terrain |  |  | m3 |  | 18.9000 |  |  |  |  |  |
| 4 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of backfill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the backfill being made from non-cohesive soil |  |  | 100 m3 |  | 0.1900 |  |  |  |  |  |
| 5 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, unloading into category II off-road vehicles |  |  | 100 m3 |  | 0.0540 |  |  |  |  |  |
| 6 |  | TsI51A5 |  | Transport of soil by 10-tonne tipper lorry over a distance of: 5 km |  |  | t |  | 8.9100 |  |  |  |  |  |
| 7 |  | TsC03B1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, unloading into a Category II landfill (trenches T3+T4) |  |  | 100 m³ |  | 0.0660 |  |  |  |  |  |
| 8 |  | TsA16A2 |  | Manual earth excavation, in confined spaces, in trenches up to 4 m deep, for high-voltage electrical cables, in soil with natural moisture without shoring, width < 1 m, depth < 1.5 m, soft ground with obstacles |  |  | m3 |  | 0.6800 |  |  |  |  |  |
| 9 |  | TsD01B |  | Spreading of sifted soil with a shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, soil originating from medium-grade terrain |  |  | m3 |  | 5.0700 |  |  |  |  |  |
| 10 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m³ |  | 0.0500 |  |  |  |  |  |
| 11 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, unloading into off-road vehicles, category II |  |  | 100 m3 |  | 0.0150 |  |  |  |  |  |
| 12 |  | TsI51A5 |  | Transport of soil by 10-tonne tipper lorry over a distance of: 5 km |  |  | t |  | 2.4800 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Transee Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Pipes |  |  |  |  |  |  |  |  |  |  |
| 13 |  | 34-02-003-1 |  | Installation of polyethylene pipes: up to 2 holes (pipe diam. 100 mm HDPE 750) |  |  | 1 km |  | 0.0100 |  |  |  |  |  |
| 14 |  | 34-02-003-1 |  | Installation of polyethylene pipes: up to 2 holes (pipe diam. 63 mm HDPE 750) |  |  | 1 km |  | 0.1000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Pipes Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Earth sockets |  |  |  |  |  |  |  |  |  |  |
| 15 |  | TsA16A2 |  | Manual excavation of soil, in confined spaces, in trenches up to 4 m deep, for high-voltage electrical cables, in soil with natural moisture without shoring, width < 1 m, depth < 1.5 m, soft ground with obstacles |  |  | m³ |  | 5.4600 |  |  |  |  |  |
| 16 |  | TsD01B |  | Spreading of sifted soil with a shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, soil originating from medium-grade terrain |  |  | m3 |  | 5.4600 |  |  |  |  |  |
| 17 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m³ |  | 0.0500 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Ground Sockets Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Insurance and social security |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Power ation equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.1. PDC-134 fid. 2, PT-275K fid. 1, ID - 0.4 kV |  |  |  |  |  |  |  |  |  |  |
| 18 |  | 08-03-572-3 |  | Control panel, cabinet type or distribution point (cabinet), wall-mounted, height and width, mm, up to 600×600 (Metal panel ЯРП-400А 74 У1 IP54) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 19 |  | 08-03-523-3 |  | Fuse, mounted on an insulating support, current up to 400 A (Fuse, size 2, In=315A, Un=1000V ППНИ-37/315A) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 20 |  | Supplier price |  | Galvanised bar 30x4mm |  |  | m |  | 0.6000 |  |  |  |  |  |
| 21 |  | Supplier price |  | SM-35 bushing insulator |  |  | pc |  | 4.000 |  |  |  |  |  |
| 22 |  | 08-02-163-2 |  | Terminal cap with polyethylene heat-shrink sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 120 mm² ( heat-shrink sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm²) |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | Heat-shrinkable sleeve 70/120mm2, 4 outlets, black 4ТПИ-70/120mm2 |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 24 |  | Supplier price |  | JG cable lugs 120 mm² |  |  | pc |  | 24.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 12.0000 |  |  |  |  |  |
| 26 |  | Supplier price |  | Cable label |  |  | pc |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total PDC-134 fid. 2, PT-275K fid. 1, ID - 0.4 kV Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.2. Control panel record PEv |  |  |  |  |  |  |  |  |  |  |
| 27 |  | 08-03-572-3 |  | Control panel in cabinet or distribution point (cabinet) style, wall-mounted, height and width, mm: 525 × 375 × 165 mm (BZUM DDE-3 metal control panel, type 6.2-04-01 (400A), IP54) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 28 |  | 08-01-053-1 |  | Current transformer, voltage up to 10 kV (Current transformer 250/5A, T-0.66, 250/5A) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 29 |  | 08-03-600-2 |  | Meters, mounted on a prepared bracket, three-phase ( Three-phase electronic meter ZMG-405CR ) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 30 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (GSM/GPRS module with antenna) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 31 |  | Supplier price |  | GSM/GPRS module with antenna |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 32 |  | 08-03-545-1 |  | Box with cable and conductor clamps, cross-section up to 6 mm², mounted on a wall or column, number of clamps: 10 |  |  | pc |  | 0.0100 |  |  |  |  |  |
| 33 |  | Supplier price |  | IKK test block |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 34 |  | 08-03-575-1 |  | Device or unit dismantled prior to transport (BA88-39 3P/400A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 35 |  | 08-02-163-2 |  | Terminal head with polyethylene heat-shrink sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 120 mm² ( heat-shrink sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm²) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 36 |  | Supplier price |  | Heat-shrinkable sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 37 |  | Supplier price |  | JG cable lugs 120 mm² |  |  | pc |  | 16.0000 |  |  |  |  |  |
| 38 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 8.0000 |  |  |  |  |  |
| 39 |  | Supplier price |  | Cable label |  |  | eachpc |  | 2.0000 |  |  |  |  |  |
| 40 |  | 08-02-411-6 |  | Flexible connection, outer diameter of metal hose up to 60 mm (PG63 D(42-54)mm IP54 cable gland) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 41 |  | Supplier price |  | PG63 cable gland (42-54)mm IP54 |  |  | pc |  | 4.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total PEv record panel Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.3. Completion of GED-250kVA |  |  |  |  |  |  |  |  |  |  |
| 42 |  | 08-03-575-1 |  | Device or equipment dismantled prior to transport (BA88-39 3P/400A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 43 |  | 08-02-163-2 |  | Terminal head with polyethylene heat-shrink sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 120 mm² ( heat-shrink sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm²) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 44 |  | Supplier price |  | Heat-shrinkable sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm2 |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 45 |  | Supplier price |  | JG cable lugs 120 mm² |  |  | pc |  | 16.0000 |  |  |  |  |  |
| 46 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 4.0000 |  |  |  |  |  |
| 47 |  | Supplier price |  | Cable label |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 48 |  | Supplier price |  | Galvanised bar 30x4mm |  |  | m |  | 1.0000 |  |  |  |  |  |
| 49 |  | Supplier price |  | SM-35 bushing insulator |  |  | pc |  | 4.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total GED-250kVA Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.4. AAR panel |  |  |  |  |  |  |  |  |  |  |
| 50 |  | 08-03-572-4 |  | Control panel, cabinet type or distribution point (cabinet), wall-mounted, height and width, mm, up to 1200×1000 (metal enclosure ЩМП-5-0 У1 IP65) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 51 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (automatic) (BA88-35 3P/250A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 52 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (circuit breakers) (BA88-35 3P/125A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 53 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (circuit breakers) (BA88-35 3P/63A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 54 |  | 08-03-575-1 |  | Device or apparatus dismantled prior to transport (circuit breakers) (BA88-35 3P/40A MASTER circuit breaker) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 55 |  | 08-01-066-1 |  | Surge arrester, voltage up to 10 kV (surge arrester ОПС1-В-3Р) |  |  | set |  | 1.0000 |  |  |  |  |  |
| 56 |  | 08-02-163-2 |  | Terminal cap with heat-shrinkable polyethylene sleeves for 3-4 conductor cables with paper insulation, rated voltage up to 1 kV, conductor cross-section up to: 120 mm² ( , heat-shrinkable sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm²) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 57 |  | Supplier price |  | Heat-shrinkable sleeve 70/120 mm², 4 outlets, black 4ТПИ-70/120mm2 |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 58 |  | 08-02-165-4 |  | Terminal sleeve, made of synthetic resins (epoxides), for 3-core cable, voltage up to 1 kV, conductor cross-section up to: 240 mm² |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 59 |  | Supplier price |  | Manson terminal 4ПКТп(б)-1-150/240(б) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 60 |  | 08-02-165-2 |  | Manson terminal, made of synthetic resins (epoxides), for 3-core cable, voltage up to 1 kV, conductor cross-section up to: 70 mm² |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 61 |  | Supplier price |  | Manson terminal 4ПКТп(б)-1-25/50(б) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 62 |  | Supplier price |  | JG cable lugs 185 mm² |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 63 |  | Supplier price |  | JG cable lugs 120 mm² |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 64 |  | Supplier price |  | JG cable lugs 50 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 65 |  | Supplier price |  | JG cable lugs, 35 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 66 |  | Supplier price |  | JG cable lugs 25 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 67 |  | Supplier price |  | Aluminium busbar 30x5mm, I=445A |  |  | m |  | 2.5000 |  |  |  |  |  |
| 68 |  | Supplier price |  | Aluminium bar 20x5mm, I=310A |  |  | m |  | 4.0000 |  |  |  |  |  |
| 69 |  | Supplier price |  | 3-pole insulator, I=450A |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 70 |  | Supplier price |  | Galvanised bar 30x4mm |  |  | m |  | 1.0000 |  |  |  |  |  |
| 71 |  | Supplier price |  | SM-35 bushing insulator |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 72 |  | Supplier price |  | Heat-shrink tubing 30/15mm |  |  | m |  | 4.0000 |  |  |  |  |  |
| 73 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 10.0000 |  |  |  |  |  |
| 74 |  | Supplier price |  | Set of M8 bolts, nuts and washers |  |  | set |  | 1.0000 |  |  |  |  |  |
| 75 |  | 08-02-411-6 |  | Flexible connection, outer diameter of metal hose up to 60 mm (PG63 D(42-54)mm IP54 cable gland) |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 76 |  | Supplier price |  | PG63 D(42-54)mm IP54 cable gland |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 77 |  | 08-02-411-5 |  | Flexible connection, outer diameter of metal hose up to 48 mm |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 78 |  | Supplier price |  | PG36 D(24-32)mm IP54 cable gland |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 79 |  | Supplier price |  | Cable label |  |  | pc |  | 6.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total AAR Panel Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.5. Completion of existing TDG Block I |  |  |  |  |  |  |  |  |  |  |
| 80 |  | 08-03-521-16 |  | Lever switch on a panel with central or side lever or bar operation, mounted on a metal bracket, three-pole, current, up to 400 A (Inom=400A lever switch ВР32И-37/3P/400А) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 81 |  | 08-01-066-1 |  | Surge arrester, voltage up to 10 kV (surge arrester ОПС1-B-3Р) |  |  | set |  | 1.0000 |  |  |  |  |  |
| 82 |  | 08-02-163-3 |  | Terminal cap with polyethylene heat-shrink sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 240 mm² |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 83 |  | Supplier price |  | Heat-shrink sleeve 120/240 mm², 4 outlets, black 4ТПИ-120/240mm² |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 84 |  | Supplier price |  | JG cable lugs 185 mm² |  |  | pc |  | 8.0000 |  |  |  |  |  |
| 85 |  | Supplier price |  | Aluminium busbar 30x5mm, I=445A |  |  | m |  | 2.5000 |  |  |  |  |  |
| 86 |  | Supplier price |  | Aluminium bar 20x5mm, I=310A |  |  | m |  | 4.0000 |  |  |  |  |  |
| 87 |  | Supplier price |  | 3-pole insulator, I=450A |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 88 |  | Supplier price |  | Galvanised bar 30x4mm |  |  | m |  | 1.0000 |  |  |  |  |  |
| 89 |  | Supplier price |  | SM-35 bushing insulator |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 90 |  | Supplier price |  | Heat-shrink tubing 30/15mm |  |  | m |  | 4.0000 |  |  |  |  |  |
| 91 |  | Supplier price |  | Cable label |  |  | pc |  | 3.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Completion of TDG Block I Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.6. Completion of PDG B.L.S.: |  |  |  |  |  |  |  |  |  |  |
| 92 |  | 08-01-066-1 |  | Paratrasnet, voltage up to 10 kV (OPC1-B-3R impulse surge arrester) |  |  | set |  | 1.0000 |  |  |  |  |  |
| 93 |  | 08-02-163-2 |  | Terminal cap with heat-shrinkable polyethylene sleeves for 3-4 conductor cable with paper insulation ( ), voltage up to 1 kV, conductor cross-section up to: 120 mm² ( , heat-shrinkable sleeve 25/50 mm², 4 outlets, black 4ТПИ-25/50mm²) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 94 |  | Supplier price |  | Heat-shrinkable sleeve 25/50mm², 4 outlets, black 4ТПИ-25/50mm² |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 95 |  | Supplier price |  | JG cable lugs 35 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 96 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 2.0000 |  |  |  |  |  |
| 97 |  | Supplier price |  | Cable label |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total PDG B.L.S. supplement: Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.7. PDG Workshop Supplement |  |  |  |  |  |  |  |  |  |  |
| 98 |  | 08-01-066-1 |  | Paratrasnet, voltage up to 10 kV (OPC1-B-3R impulse surge arrester) |  |  | set |  | 1.0000 |  |  |  |  |  |
| 99 |  | 08-02-163-2 |  | Terminal cap with heat-shrinkable polyethylene sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 120 mm² ( , heat-shrinkable 25/50 mm², 4 outlets, black 4ТПИ-25/50mm²) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 100 |  | Supplier price |  | Heat-shrinkable sleeve 25/50mm², 4 outlets, black 4ТПИ-25/50mm² |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 101 |  | Supplier price |  | JG cable lugs 50 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 102 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 2.0000 |  |  |  |  |  |
| 103 |  | Supplier price |  | Cable label |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total PDG Workshop Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1.8. Completion of the existing boiler house PDG |  |  |  |  |  |  |  |  |  |  |
| 104 |  | 08-03-521-15 |  | Lever-operated switch on a panel with central or side lever or bar operation, mounted on a metal support , three-pole, current, up to 250 A (load-break switch ВР32И-31/3P/100A) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 105 |  | 08-01-066-1 |  | Surge arrester, voltage up to 10 kV (surge arrester ОПС1-B-3Р) |  |  | set |  | 1.0000 |  |  |  |  |  |
| 106 |  | 08-02-163-2 |  | Terminal cap with heat-shrinkable polyethylene sleeves for 3-4 conductor cable with paper insulation, voltage up to 1 kV, conductor cross-section up to: 120 mm² ( , heat-shrinkable 25/50 mm², 4 outlets, black 4ТПИ-25/50mm²) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 107 |  | Supplier price |  | Heat-shrinkable sleeve 25/50mm², 4 outlets, black 4ТПИ-25/50mm² |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 108 |  | Supplier price |  | JG cable lugs 25 mm² |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 109 |  | Supplier price |  | Heat-shrink tubing 20/10 mm |  |  | m |  | 2.0000 |  |  |  |  |  |
| 110 |  | Supplier price |  | Cable label |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Completion of existing boiler room Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Power equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Work in trenches ( ) |  |  |  |  |  |  |  |  |  |  |
| 111 |  | 08-02-142-1 |  | Construction of a single-cable trench bed |  |  | 100 m |  | 1.0700 |  |  |  |  |  |
| 112 |  | 408-93 |  | Sand |  |  | m³ |  | 7.0000 |  |  |  |  |  |
| 113 |  | 08-02-141-2 |  | Cable up to 35 kV in trenches laid without cover, 1 m length, up to: 2 kg |  |  | 100 m |  | 1.0000 |  |  |  |  |  |
| 114 |  | Supplier price |  | Cable armoured with aluminium wire strips, insulation and protective sheath of cross-linked polyethylene АПвБбШп 4x50 mm² |  |  | m |  | 45.0000 |  |  |  |  |  |
| 115 |  | Supplier price |  | Strip-armoured cable with aluminium conductors, insulation and cross-linked polyethylene protective sheath АПвБбШп 4x35 mm2 |  |  | m |  | 55.0000 |  |  |  |  |  |
| 116 |  | 08-02-141-1 |  | Cable up to 35 kV in trenches laid without cover, weight 1 m, up to: 1 kg |  |  | 100 m |  | 0.9000 |  |  |  |  |  |
| 117 |  | Supplier price |  | Cable armoured with aluminium wire strips, insulation and protective sheath of cross-linked polyethylene АПвБбШп 4x25 mm² |  |  | m |  | 90.0000 |  |  |  |  |  |
| 118 |  | Supplier price |  | Warning tape "Caution! Cable" |  |  | m |  | 110.00 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total works in -trench Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Miscellaneous works in the tren |  |  |  |  |  |  |  |  |  |  |
| 119 |  | 08-02-148-3 |  | Cable up to 35 kV in conduits, blocks and boxes, weight 1 m up to: 3 kg |  |  | 100 m |  | 0.6000 |  |  |  |  |  |
| 120 |  | Supplier price |  | Fire-retardant copper-core cable, АВВГнг 4x120mm2 |  |  | m |  | 60.0000 |  |  |  |  |  |
| 121 |  | 08-02-148-1 |  | Cable up to 35 kV in conduits, blocks and installed boxes, weight 1 m up to: 1 kg |  |  | 100 m |  | 0.1500 |  |  |  |  |  |
| 122 |  | Supplier price |  | Fire-retardant copper-wired control cable КВВГнг 10x2.5mm² |  |  | m |  | 15.0000 |  |  |  |  |  |
| 123 |  | 08-02-411-1 |  | Metal conduit, external diameter up to 48 mm |  |  | 100 m |  | 0.2000 |  |  |  |  |  |
| 124 |  | Supplier price |  | PVC-insulated metal hose with a diameter of 75 mm |  |  | m |  | 20.0000 |  |  |  |  |  |
| 125 |  | 08-02-397-1 |  | Perforated mounting profile, length 2 m |  |  | 100 pcs |  | 0.0600 |  |  |  |  |  |
| 126 |  | Supplier price |  | Perforated metal channel with cover 150x50x3000mm |  |  | m |  | 9.0000 |  |  |  |  |  |
| 127 |  | Supplier price |  | Perforated metal gutter with cover 300x50x3000mm |  |  | m |  | 3.0000 |  |  |  |  |  |
| 128 |  | 08-02-152-7 |  | Metal cable structures: cable tray, installed on support, weight up to: 0.4 kg |  |  | 100 pcs |  | 0.0600 |  |  |  |  |  |
| 129 |  | Supplier price |  | VC wall bracket (L-shaped), L=200mm |  |  | pc |  | 6.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Miscellaneous Works Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.4. Earthing system |  |  |  |  |  |  |  |  |  |  |
| 130 |  | 08-02-471-4 |  | Vertical earth electrode, round steel, diameter 20 mm |  |  | 10 pcs |  | 0.9000 |  |  |  |  |  |
| 131 |  | 08-02-472-7 |  | Open earthing conductor, on building supports, made of split steel, cross-section 160 mm² |  |  | 100 m |  | 0.3000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Earthing system Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Machinery |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.1. Power equipment |  |  |  |  |  |  |  |  |  |  |
| 132 |  | Supplier price |  | Metal switchboard with 3P load break switch, In=400A, Un=400V, IP54 protection rating, dimensions 665(h)×325×190mm ЯРП-400А 74 У1 IP54 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 133 |  | Supplier price |  | Fuse, size 2, In=315A, Un=1000V ППНИ-37/315A |  |  | pc |  | 3.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Power Equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.2. Panel for recording PEv ( ) |  |  |  |  |  |  |  |  |  |  |
| 134 |  | Supplier price |  | Metal control panel, In=400A, dimensions 1135x650x275mm, protection rating IP54 BZUM DDE-3 type 6.2-04-01 (400A) IP54 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 135 |  | Supplier price |  | Current transformer 250/5A, accuracy class 0.5s, U=0.66kV, I=400/5A Т-0.66, 250/5A |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 136 |  | Supplier price |  | Three-phase electronic meter connected via current transformers I=5(10)A, U=3x58/415V, accuracy class 0.5s ZMG-405CR, "Landis&Gyr" |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 137 |  | Supplier price |  | Automatic circuit breaker in die-cast housing, 3P, In=400A, Icu=35kA, with electronic trip unit BA88-39 3P/400A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total PEv monitoring panel Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.3. Completion of GED-250kVA |  |  |  |  |  |  |  |  |  |  |
| 138 |  | Supplier price |  | Moulded-case circuit breaker, 3-pole, In=400A, Icu=35kA, with electronic trip unit BA88-39 3P/400A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total GED-250kVA Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.4. AAP panel designed |  |  |  |  |  |  |  |  |  |  |
| 139 |  | Supplier price |  | Metal enclosure with mounting panel, protection rating IP65, dimensions 1000(h) x 650 x 285 mm ЩМП-5-0 У1 IP65 |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 140 |  | Supplier price |  | Automatic power circuit breaker in die-cast housing, 3P, In=250A, Icu=25kA, with electronic trip unit BA88-35 3P/250A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 141 |  | Supplier price |  | Moulded case circuit breaker, 3P, In=125A, Icu=17.5kA, with electronic trip unit BA88-32 3P/125A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 142 |  | Supplier price |  | Moulded case circuit breaker, 3P, In=63A, Icu=17.5kA, with electronic trip unit BA88-32 3P/63A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 143 |  | Supplier price |  | Moulded-case circuit breaker, 3-pole, In=40A, Icu=17.5kA, with electronic trip unit BA88-32 3P/40A MASTER |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 144 |  | Supplier price |  | Surge arrester ОПС1-B 3P/30kA |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total AAP panel designed Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.5. Completion of TDG existing block 1 |  |  |  |  |  |  |  |  |  |  |
| 145 |  | Supplier price |  | Load break switch, 3P, In=400A, Un=400V ВР32И-37/3P/400А |  |  | pcs |  | 1.0000 |  |  |  |  |  |
| 146 |  | Supplier price |  | Surge arrester ОПС1-B 3P/30kA |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Completion of TDG existing block 1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.6. Completion of PDG B.L.S., Completion of PDG Workshop, Completion of existing PDG Boiler House |  |  |  |  |  |  |  |  |  |  |
| 147 |  | Supplier price |  | Surge arrester ОПС1-B 3P/30kA |  |  | pcs |  | 3.0000 |  |  |  |  |  |
| 148 |  | Supplier price |  | Load break switch ВР32И-31/3P/100A |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Completion of PDG B.L.S., Completion of PDG Workshop, Completion of existing PDG Boiler House Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |