| Major repair and modernisation of the Public Institution "Mihai Eminescu" District, Telenesti, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 4-1-2

Diesel generator

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and earthworks |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Earthworks |  |  |  |  |  |  |  |  |  |  |
| 1 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, unloading into vehicles on category II terrain |  |  | 100 m³ |  | 0.1000 |  |  |  |  |  |
| 2 |  | TsA20B |  | Manual earth excavation, on slopes, in trenches dug by excavator or scraper, to complete the excavation to the slope profile, in medium-grade terrain |  |  | m3 |  | 1.1500 |  |  |  |  |  |
| 3 |  | TsI51A5 |  | Transport of soil by 10-tonne tipper lorry over a distance of: 5 km |  |  | t |  | 16.5000 |  |  |  |  |  |
| 4 |  | TsD05B |  | Compaction using a 150–200 kg mechanical tamper of fill material in successive layers 20–30 cm thick, excluding the wetting of each individual layer; the fill material consists of cohesive soil |  |  | 100 m³ |  | 0.0400 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total earthworks Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Piles |  |  |  |  |  |  |  |  |  |  |
| 5 |  | CQ08B1 |  | Installation of Franki piles up to 15 m in length, with a metal column diameter of 520 mm for building foundations, in soil category II, using ready-mixed concrete (piles L=2000, 8 units, concrete consumption C25 – 0.2 m³) |  |  | m |  | 16.0000 |  |  |  |  |  |
| 6 |  | Supplier price |  | Reinforcement, diameter 16 A III |  |  | kg |  | 30.4000 |  |  |  |  |  |
| 7 |  | Supplier price |  | Reinforcement bar, diameter 6 A I |  |  | kg |  | 10.8000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Pilots Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Foundation |  |  |  |  |  |  |  |  |  |  |
| 8 |  | TsC54B |  | Crushed stone foundation layer |  |  | m3 |  | 4.8000 |  |  |  |  |  |
| 9 |  | CA02C |  | Plain concrete cast for levelling, slopes and screeds at heights up to and including 35 m, prepared at a concrete batching plant in accordance with CA01 or ready-mixed concrete, cast using conventional methods (C 16/20 concrete, monolithic slab ) |  |  | m³ |  | 4.1000 |  |  |  |  |  |
| 10 |  | CP53A |  | Floor and roof slabs for buildings in areas with seismic intensity 7–8, supported on two sides at building heights up to 35 m, with a surface area of up to 5 m² (C8 ПС 42-12 m panel) |  |  | pcs |  | 2.0000 |  |  |  |  |  |
| 11 |  | CP21B |  | Application of M 100-T mortar for bonding, monolithisation or joint filling at heights up to 35 m, bonding or monolithisation between precast concrete elements |  |  | m³ |  | 0.2800 |  |  |  |  |  |
| 12 |  | CA03F |  | Standard concrete , cast using conventional methods, for foundations, plinths, retaining walls and walls below ground level; prepared at a concrete batching plant or supplied as ready-mixed concrete in accordance with Article CA01; cast using conventional methods; standard concrete (C 16/20) |  |  | m³ |  | 9.4000 |  |  |  |  |  |
| 13 |  | CB03A |  | Formwork made of reusable panels, with 15 mm plywood for casting concrete in footings, pile caps and machine foundations, including shoring |  |  | m2 |  | 6.9000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Foundation Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Metal frame for shed |  |  |  |  |  |  |  |  |  |  |
| 14 |  | CL57A |  | Installation and fixing of embedded parts in monolithic reinforced concrete: weighing less than 4 kg |  |  | kg |  | 18.8400 |  |  |  |  |  |
| 15 |  | CL08A |  | Prefabricated metal elements (columns, beams, trusses), delivered fully assembled, installed on site, within the lightweight structure |  |  | t |  | 0.3200 |  |  |  |  |  |
| 16 |  | RpIzE16B |  | Cleaning of metal fabrications and structures to remove rust and old paint using a wire brush, made from profiles with a thickness of 8–12 mm inclusive |  |  | t |  | 0.3200 |  |  |  |  |  |
| 17 |  | IzD03A |  | Painting of metal fabrications and structures with a coat of lead minium paint, made from profiles with thicknesses between 8 mm and 12 mm inclusive, using a hand brush |  |  | t |  | 0.3200 |  |  |  |  |  |
| 18 |  | IzD04A |  | Painting of metal structures and fabrications with oil-based paint in 2 coats, made from profiles, with thicknesses between 8 mm and 12 mm inclusive, using a brush |  |  | t |  | 0.3200 |  |  |  |  |  |
| 19 |  | RpCD03A |  | Walls made of galvanised wire mesh on ceilings or walls, excluding the existing OB mesh, with fixing brackets mounted through the formwork |  |  | m² |  | 28.6000 |  |  |  |  |  |
| 20 |  | CE06A1 |  | Roofing made of corrosion-resistant profiled sheet metal, corrugated or ribbed, mounted on metal panels, installed on areas of 40 m² or less using profiled sheet metal sheets fastened with special clips and mechanical screws from the top, including the installation of flashings, trims, connections to chimneys, etc. |  |  | m² |  | 12.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Metal frame for shed Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation work |  |  |  |  |  |  |  |  |  |  |
| 21 |  | M1H05B |  | Direct or alternating current electric generator, mounted on a standard construction base or with independent bearings, with a single-piece or two-piece stator, having a dead weight of 0.7–4 tonnes (FG 250 Diesel Generator, weight 2.28 t) |  |  | t |  | 2.2800 |  |  |  |  |  |
| 22 |  | 08-03-482-19 |  | PREPARATION OF MACHINES FOR TESTING, HANDOVER IN ADJUSTMENT AND START-UP, CONNECTION TO ELECTRICAL NETWORKS Alternating current machine, weight up to 3 t |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | Diesel |  |  | l |  | 360.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation work Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Supplier price |  | FG 250 diesel generator |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | nd storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |