| Major renovation and modernisation of the "Mihai Eminescu" Public Institution, Telenesti District, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 2 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 4-4-1

General plan. External video surveillance

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Installation and |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Panels and control panels |  |  |  |  |  |  |  |  |  |  |
| 1 |  | 10-06-037-05 |  | Cabinets, boxes and junction boxes for conduit installations: Wall-mounted cabinet, dimensions, mm, up to: 600×450 (wall-mounted cabinet internal 19" 9U rack with glass door) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 2 |  | 10-06-037-05 |  | Cabinets, boxes and enclosures for pipework installations: Wall-mounted cabinet, dimensions, mm, up to: 600×450 ( wall-mounted cabinet outdoor 19" 9U rack with temperature controller, electric heater and fans) |  |  | pc |  | 4.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total and panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. equipment for configuration of cabinets |  |  |  |  |  |  |  |  |  |  |
| 3 |  | 11-04-008-01 |  | Detachable and flexible unit (modules, cells, "TEZ"), weight, kg, up to: 5 (8x LC Duplex optical cross-connect 19" 1U rack) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 4 |  | 11-04-008-01 |  | Removable and flexible block (modules, cells, "TEZ"), weight, kg, up to: 5 (8xRJ-45 shielded patch panel with cable organiser RACK 19" 1U) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 5 |  | 08-03-575-1 |  | Device or unit disassembled prior to shipment (Network aggregation switch, 16 x 1000Base-X SFP, 8 x 1000 Base-T RJ-45, 19" 1U rack) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 6 |  | 08-03-575-1 |  | Device or equipment dismantled prior to transport (Unmanaged 1000Base-X SFP switch, 1 x 1000Base-X SFP, 8 x 1000Base-T PoE 30W RJ-45) |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 7 |  | 10-04-067-23 |  | Colour television equipment: Video surveillance device (network video recorder DS-8624NXI-I8/S) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 8 |  | 10-01-039-06 |  | Miscellaneous parts: Relay, switch, button and other, with mounting bracket (SATA hard , 10 TB) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 9 |  | 10-02-016-06 |  | Communication devices (dispatcher and directorial telecommunications switches): Installed separately: converter or power supply unit (uninterruptible power supply (UPS) , 2000VA, 19", 2U) |  |  | pc |  | 5.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment for the assembly of cabinets at Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Equipment for the local |  |  |  |  |  |  |  |  |  |  |
| 10 |  | 10-04-067-22 |  | Colour CCTV equipment: CCTV camera (outdoor, , security, , CCTV, , DS-2CD1067G2-LUF) |  |  | pc |  | 24.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Local Equipment Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Materials |  |  |  |  |  |  |  |  |  |  |
| 11 |  | 08-02-412- 1 |  | Inserting conductors into pipes ( ) and installed metal hoses: the first single-core or multi-core conductor in a common braid, with a cross-sectional area of up to 2.5 mm² |  |  | 100 m |  | 20.4000 |  |  |  |  |  |
| 12 |  | Supplier price |  | Single-mode optical cable for outdoor installation, polyethylene, 4x9/125, 1310 nm, FO-4, OKBng(A)-HF-4 |  |  | m |  | 1,059.0000 |  |  |  |  |  |
| 13 |  | Supplier price |  | Cat.6 twisted pair copper core communication cable for outdoor installation, S/FTP, 4x2x0.56 |  |  | m |  | 1,184.7000 |  |  |  |  |  |
| 14 |  | 08-02-409-2 |  | Vinyl-plastic pipe for installed structures, on walls and columns, clamped in place, diameter up to 50 mm |  |  | 100 m |  | 14.2000 |  |  |  |  |  |
| 15 |  | Supplier price |  | Double-layer corrugated HDPE pipe, 40 mm diameter, blue |  |  | m |  | 1,420.0000 |  |  |  |  |  |
| 16 |  | 08-02-409-1 |  | Vinyl-plastic pipe for installed structures, on walls and columns, clamped, diameter 25 mm |  |  | 100 m |  | 0.7200 |  |  |  |  |  |
| 17 |  | Supplier price |  | Black corrugated HDPE pipe, 20 mm diameter |  |  | m |  | 72.0000 |  |  |  |  |  |
| 18 |  | Supplier price |  | junction box, , outdoor, IP55 |  |  | pc |  | 51.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Materials Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e benefit |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Panels and control panels |  |  |  |  |  |  |  |  |  |  |
| 19 |  | Supplier price |  | 19" 9U internal wall-mounted rack cabinet with glass door LWR3-09U64-GF |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 20 |  | Supplier price |  | 19" 9U outdoor wall-mounted rack cabinet with thermostat, electric heater and fans LO35-09U66-M55 |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 21 |  | Supplier price |  | 8x LC Duplex MM 9/125 SM2 19" RACK 1U fibre optic cross-connect kit (pigtails, feed-through adaptors, splice tray) FOBX24-1U-8LCUD09 |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 22 |  | Supplier price |  | 8xRJ-45 shielded patch panel with cable organiser, 19" 1U rack |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | -aggregating switch, 16 x 1000Base-X SFP, 8 x 1000 Base-T RJ-45, 19" 1U rack mount DS-3E3728F-H |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 24 |  | Supplier price |  | Unmanaged network access switch, 1 x 1000Base-X SFP, 8 x 1000 Base-T PoE 30W RJ-45 DS-3T0310HP |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | Optical SFP module (transceiver), SM 9/125 1310 nm 10 Gbps 20 m LC Duplex HK-SFP-10G-20-1310-DF |  |  | pc |  | 9.0000 |  |  |  |  |  |
| 26 |  | Supplier price |  | -network video recorder, 24 IP channels, H.264 MPEG-4, 2xVGA, 2x HDMI, 8x SATA 16 TB, 2x RJ-45 100/1000Base-T, 19" 2U, DS-8624NXI-I8/S |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 27 |  | Supplier price |  | 10 TB SATA hard drive |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 28 |  | Supplier price |  | Uninterruptible Power Supply 2000 VA, 8x 12V 7 Ah batteries, RACK19" 2U SW930Pro-RTB |  |  | pc |  | 5.0000 |  |  |  |  |  |
| 29 |  | supplier price |  | Outdoor security CCTV camera, 6 MP, 20 fps, 0.001 Lux, 6 mm F1.0, PoE 6.7W, IP67, -30 ... +60°C DS-2CD1067G2-LUF |  |  | pc |  | 24.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total and panels Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |