| Major renovation and modernisation of the "Mihai Eminescu" Public Institution, Telenesti District, 8 Codrilor Street, cadastral number 8901224.151.02 | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 6-1-1

External water and sewerage networks

| No. No. | Symbol, standards and resource code | Works and expenses | Unit | Quantity according to project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and civil engineering works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. External water supply network ( ) A1 |  |  |  |  |  |  |  |  |  |  |
| 1 |  | TsC03B1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with internal combustion engine and hydraulic control, in soil with natural moisture content, discharge to category II landfill |  |  | 100 m³ |  | 0.7200 |  |  |  |  |  |
| 2 |  | TsA20B |  | Manual earth excavation, on slopes, in trenches dug by excavator or scraper, to complete the excavation to the slope profile, in medium-grade soil |  |  | m3 |  | 1.4800 |  |  |  |  |  |
| 3 |  | AcF03A |  | Backfill in trenches for water supply or sewerage pipes, as a substrate, protective layer, insulation layer or filter layer for drainage pipes, carried out with sand |  |  | m3 |  | 8.8500 |  |  |  |  |  |
| 4 |  | TsD01B |  | Spreading of screened soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil being of medium quality |  |  | m³ |  | 6.4700 |  |  |  |  |  |
| 5 |  | TsD02B1 |  | Spreading of screened soil from Category I or II land, carried out using a 65–80 hp tracked tractor-mounted bulldozer, in layers 21–30 cm thick |  |  | 100 m³ |  | 0.5800 |  |  |  |  |  |
| 6 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture, unloading into vehicles on category II land |  |  | 100 m3 |  | 0.0900 |  |  |  |  |  |
| 7 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 15.0000 |  |  |  |  |  |
| 8 |  | AcA52A |  | Polyethylene pipe, for water supply pipes laid in a trench, with a diameter of 50 mm (HDPE pipe PN 10 SDR 17 D=50mm) |  |  | m |  | 118.0000 |  |  |  |  |  |
| 9 |  | AcA53A |  | Installation of fittings using electrofusion. Joining by electrofusion welding between polyethylene pipes and fittings (sockets, tees, elbows), with pipes having a diameter of 50 mm (Polyethylene electrofusion tee D=50x25mm) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 10 |  | AcA53A |  | Installation of fittings by electrofusion. Electrofusion welding of polyethylene pipes and fittings (couplings, tees, elbows), pipes having a diameter of 50 mm (Connection piece 63x50) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 11 |  | AcF11C |  | Flushing of PVC, cast iron, asbestos cement, polyethylene, etc. pipes 20–75 mm, for drinking water after installation and joining, prior to acceptance |  |  | m |  | 118.0000 |  |  |  |  |  |
| 12 |  | AcF12A |  | Pressure testing of polyethylene pipes installed in trenches for water supply and sewerage networks, with a diameter of up to 100 mm |  |  | m |  | 115.0000 |  |  |  |  |  |
| 13 |  | AcB01A |  | Installation of manually or mechanically operated fittings (valves, taps, cocks) on water supply or sewerage pipes with a diameter of 20 mm (Bronze tap D=20 mm) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 14 |  | AcB01A |  | Installation of manually or mechanically operated fittings (valves, taps, cocks) on water supply or drainage pipes with a diameter of 500 mm (Bronze tap D=50 mm) |  |  | pc |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total External water network A1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Water supply wells |  |  |  |  |  |  |  |  |  |  |
| 15 |  | TsA02E |  | Manual excavation of soil in confined spaces, less than 1.00 m or more than 1.00 m wide, carried out without shoring, with vertical slopes, for foundations, channels, basements, drains, access steps, in medium-cohesive or highly cohesive soil, depth < 1.5 m, medium ground |  |  | m³ |  | 12.3300 |  |  |  |  |  |
| 16 |  | TsD01B |  | Spreading of refined soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil originating from medium soil |  |  | m3 |  | 0.2500 |  |  |  |  |  |
| 17 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m³ |  | 0.0200 |  |  |  |  |  |
| 18 |  | TsC59B |  | Mechanical excavation of soil using an excavator with a 0.15 m³ bucket, with material tipped into a self- : Category 2 land |  |  | 100 m³ |  | 0.0600 |  |  |  |  |  |
| 19 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 10.4000 |  |  |  |  |  |
| 20 |  | CA02C |  | Plain concrete cast for levelling, slopes and screeds at heights up to and including 35 m, prepared at a concrete batching plant in accordance with CA01 or ready-mixed concrete, cast using conventional methods (B 7.5 concrete) |  |  | m³ |  | 0.4400 |  |  |  |  |  |
| 21 |  | AcE13A |  | Construction of inspection chambers from precast reinforced concrete elements, for sewerage, circular (ring-shaped) with a diameter of 1.0 m, in ground without groundwater |  |  | m3 |  | 2.1600 |  |  |  |  |  |
| 22 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦД-10 chambers (0.18 m3) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 23 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Precast ring for КЦ-10-6 inspection chambers (0.16 m³) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 24 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast ring for КЦ-10-9a inspection chambers (0.24 m³) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 25 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦП1-10-1 chambers (0.10 m³) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 26 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers, , with a diameter of 1.0 m, for sewerage, in ground without groundwater Support ring КЦО-1 (0.02 m³) |  |  | pc |  | 6.0000 |  |  |  |  |  |
| 27 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Cast iron frame cover* heavy |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 28 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Cast iron frame cover* light |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 29 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater (C-2 ladder) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 30 |  | Supplier price |  | Various metal structures made from rolled sections, sheet metal, corrugated sheet metal, reinforcing steel, and pipes for supports or cladding, fully or partially embedded in concrete (cost of the structure only) |  |  | kg |  | 62.4000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Water fountains Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. External network sewerage C1 |  |  |  |  |  |  |  |  |  |  |
| 31 |  | TsC03B1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with internal combustion engine and hydraulic control, in soil with natural moisture, discharge to category II landfill |  |  | 100 m³ |  | 0.7900 |  |  |  |  |  |
| 32 |  | TsA20B |  | Manual earth excavation, on slopes, at excavator- or scraper-dug trenches, for the completion of excavation to the slope profile, in medium-grade soil |  |  | m3 |  | 4.1600 |  |  |  |  |  |
| 33 |  | AcF03A |  | Backfill in trenches for water supply or sewerage pipes, as a substrate, protective layer, insulation layer or filter layer for drainage pipes, carried out with sand |  |  | m3 |  | 7.8400 |  |  |  |  |  |
| 34 |  | TsD01B |  | Spreading of screened soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil being of medium quality |  |  | m3 |  | 7.3800 |  |  |  |  |  |
| 35 |  | TsD02B1 |  | Spreading of screened soil from Category I or II land, carried out using a bulldozer on a 65–80 hp tracked tractor, in layers 21–30 cm thick |  |  | 100 m³ |  | 0.6600 |  |  |  |  |  |
| 36 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture, unloading into vehicles on category II terrain |  |  | 100 m3 |  | 0.0900 |  |  |  |  |  |
| 37 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 15.0000 |  |  |  |  |  |
| 38 |  | AcD18C |  | Installation of M-3 type PVC drainage pipes, joined by welding, outside buildings, buried to a depth of up to 2 m, with a diameter of 160 mm (PVC pipe SN4 D160) |  |  | m |  | 16.0000 |  |  |  |  |  |
| 39 |  | AcD18B |  | Installation of M-3 type PVC drainage pipes, joined by welding, outside buildings, buried to a depth of up to 2 m, with a diameter of 110 mm (PVC pipe SN4 D110) |  |  | m |  | 91.0000 |  |  |  |  |  |
| 40 |  | SF04A |  | Carrying out leak and functional tests on the drainage system made of cast iron pipes, unplasticised polyvinyl chloride (PVC) pipes, light-weight e or plastic, and ductile iron pipes with a diameter of up to and including 100 mm |  |  | 10 m |  | 9.1000 |  |  |  |  |  |
| 41 |  | SF04B |  | Carrying out leak and functional tests on the drainage system constructed from cast iron pipes, for drainage, unplasticised polyvinyl chloride (PVC) pipes, lightweight type or plastic pipes, and ductile iron pipes with a diameter of over 100 mm |  |  | 10 m |  | 1.6000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total External sewerage network C1 Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Inspection chambers |  |  |  |  |  |  |  |  |  |  |
| 42 |  | TsA02E |  | Manual excavation of soil in confined spaces, less than 1.00 m or more than 1.00 m wide, carried out without shoring, with vertical slopes, for foundations, channels, basements, drains, access steps, in medium-cohesive or highly cohesive soil, depth < 1.5 m, medium ground |  |  | m³ |  | 21.4500 |  |  |  |  |  |
| 43 |  | TsD01B |  | Spreading of refined soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil originating from medium soil |  |  | m3 |  | 1.1300 |  |  |  |  |  |
| 44 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m³ |  | 0.0300 |  |  |  |  |  |
| 45 |  | TsC59B |  | Mechanical excavation of soil using an excavator with a 0.15 m³ bucket, with discharge into a tipper lorry: Category 2 terrain |  |  | 100 m3 |  | 0.1200 |  |  |  |  |  |
| 46 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 19.0600 |  |  |  |  |  |
| 47 |  | AcE13A |  | Construction of inspection chambers from precast reinforced concrete elements, for sewerage, circular (ring-shaped) with a diameter of 1.0 m, in ground without groundwater |  |  | m³ |  | 2.4900 |  |  |  |  |  |
| 48 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦД-10 chambers (0.18 m3) |  |  | pc |  | 4.0000 |  |  |  |  |  |
| 49 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage systems, in ground without groundwater Precast ring for КЦ-10-6 inspection chambers (0.16 m³) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 50 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast ring for КЦ-10-9 inspection chambers (0.24 m³) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 51 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦП1-10-1 chambers (0.10 m³) |  |  | pcs |  | 4.0000 |  |  |  |  |  |
| 52 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Support ring КЦО-1 (0.02 m³) |  |  | pc |  | 13.0000 |  |  |  |  |  |
| 53 |  | AcE11A1 |  | Precast reinforced concrete elements for valve chambers, circular (ring-shaped) with a diameter of 1.5 m, for water supply, in ground without groundwater Precast ring for chambers КЦ-7-9 (0.15 m³) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 54 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in areas without groundwater Cast iron frame cover* heavy |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 55 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Cast iron frame cover* light |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 56 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater (ladder C-1) |  |  | pc |  | 3.0000 |  |  |  |  |  |
| 57 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater (scale C1-02) |  |  | pcs |  | 1.0000 |  |  |  |  |  |
| 58 |  | AcE11A |  | Construction of valve chambers from precast reinforced concrete elements, for water supply, circular (ring-shaped) with a diameter of 1.5 m, in ground without groundwater |  |  | m³ |  | 2.0100 |  |  |  |  |  |
| 59 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring-shaped) valve chambers with a diameter of 1.5 m, for water supply, in ground without groundwater. Precast slabs for КЦД-15 chambers (0.38 m3) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 60 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring-shaped) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater. Precast ring s for КЦ-15-6 chambers (0.27 m³) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 61 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater Precast ring for КЦ-15-9 chambers (0.4 m³) |  |  | pc |  | 2.0000 |  |  |  |  |  |
| 62 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring-shaped) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater. Precast slabs for КЦП1-15-1 chambers (0.27 m³) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 63 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater. Support ring КЦО-1 (0.02 m³) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 64 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring-shaped) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater. Heavy cast iron frame cover* |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 65 |  | AcE11A1 |  | Precast reinforced concrete elements for circular (ring-shaped) valve chambers with a diameter of 1.5 m, for water supply in areas without groundwater (scale C1-02, C1-04) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 66 |  | Supplier price |  | Miscellaneous metalwork made from rolled sections, sheet metal, corrugated sheet metal, concrete reinforcement steel, and pipes for supports or coverings, fully or partially embedded in concrete (cost of fabrication only) |  |  | kg |  | 127.4800 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total inspection chambers Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.5. External network of sewerage C2 |  |  |  |  |  |  |  |  |  |  |
| 67 |  | TsC03B1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with internal combustion engine and hydraulic control, in soil with natural moisture, discharge to category II landfill |  |  | 100 m³ |  | 2.6600 |  |  |  |  |  |
| 68 |  | TsA20B |  | Manual earth excavation, on slopes, in trenches dug by excavator or scraper, to complete the excavation to the slope profile, in medium-grade soil |  |  | m3 |  | 14.0300 |  |  |  |  |  |
| 69 |  | AcF03A |  | Backfilling in trenches for water supply or sewerage pipes, as a substrate, protective layer, insulation layer or filter layer for drainage pipes, carried out with sand |  |  | m3 |  | 25.7800 |  |  |  |  |  |
| 70 |  | TsD01B |  | Spreading of screened soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil being sourced from medium-grade land |  |  | m3 |  | 23.7800 |  |  |  |  |  |
| 71 |  | TsD02B1 |  | Spreading of screened soil from Category I or II land, carried out using a 65–80 hp tracked tractor-mounted bulldozer, in layers 21–30 cm thick |  |  | 100 m³ |  | 2.1400 |  |  |  |  |  |
| 72 |  | TsC03F1 |  | Mechanical excavation using a 0.40–0.70 m³ excavator, with an internal combustion engine and hydraulic control, in soil with natural moisture content, unloading into category II off-road vehicles |  |  | 100 m³ |  | 0.4300 |  |  |  |  |  |
| 73 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 70.5400 |  |  |  |  |  |
| 74 |  | AcA10C apl |  | Installation in the ground of high-density polyethylene pressure pipes for water supply, assembled by butt welding in accordance with standard I-6-PE, with a diameter of 250–315 mm (Pipes made of SN 4 multilayer PP pipes, D=315 mm) |  |  | m |  | 350.0000 |  |  |  |  |  |
| 75 |  | SF04B |  | Carrying out leak and operational tests on the drainage and sewerage system constructed from cast iron pipes for drainage, unplasticised polyvinyl chloride (PVC) pipes, light-weight type or plastic pipes, and ductile iron pipes with a diameter of over 100 mm |  |  | 10 m |  | 35.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total External sewerage network C2 Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.6. Sewerage wells |  |  |  |  |  |  |  |  |  |  |
| 76 |  | TsA02E |  | Manual excavation of soil in confined spaces, less than 1.00 m or more than 1.00 m wide, carried out without shoring, with vertical slopes, for foundations, channels, basements, drains, access steps, in medium-cohesive or highly cohesive soil, depth < 1.5 m, medium ground |  |  | m³ |  | 65.8500 |  |  |  |  |  |
| 77 |  | TsD01B |  | Spreading of refined soil by shovel, in uniform layers 10–30 cm thick, by throwing up to 3 m from piles, including breaking up clods, the soil originating from medium soil |  |  | m3 |  | 33.6500 |  |  |  |  |  |
| 78 |  | TsD05A |  | Compaction using a 150–200 kg mechanical tamper of the fill in successive layers 20–30 cm thick, excluding the wetting of each individual layer, the fill being made from non-cohesive soil |  |  | 100 m3 |  | 0.1600 |  |  |  |  |  |
| 79 |  | TsC59B |  | Mechanical excavation of soil using an excavator with a 0.15 m³ bucket, with discharge into a tipper lorry: Category 2 terrain |  |  | 100 m3 |  | 0.3200 |  |  |  |  |  |
| 80 |  | TsI50A5 |  | Transport of soil by 5-tonne tipper lorry over a distance of 5 km |  |  | t |  | 53.1300 |  |  |  |  |  |
| 81 |  | AcE13A |  | Construction of inspection chambers from precast reinforced concrete elements, for sewerage, circular (ring-shaped) with a diameter of 1.0 m, in ground without groundwater |  |  | m³ |  | 11.6300 |  |  |  |  |  |
| 82 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦД-10 chambers (0.18 m3) |  |  | pc |  | 17.0000 |  |  |  |  |  |
| 83 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Precast ring for КЦ-10-6 inspection chambers (0.16 m³) |  |  | pc |  | 10.0000 |  |  |  |  |  |
| 84 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast ring for КЦ-10-9 inspection chambers (0.24 m³) |  |  | pc |  | 18.0000 |  |  |  |  |  |
| 85 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater. Precast slabs for КЦП1-10-1 chambers (0.10 m³) |  |  | pc |  | 17.0000 |  |  |  |  |  |
| 86 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Support ring КЦО-1 (0.02 m³) |  |  | pc |  | 45.00000 |  |  |  |  |  |
| 87 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater Precast ring for chambers КЦ-7-3 (0.05 m³) |  |  | pc |  | 1.0000 |  |  |  |  |  |
| 88 |  | AcE13A1 |  | Precast reinforced concrete elements for circular (ring-shaped) inspection chambers with a diameter of 1.0 m, for sewerage, in ground without groundwater (Lightweight cast iron frame cover*) |  |  | pc |  | 17.000 |  |  |  |  |  |
| 89 |  | Supplier price |  | Various metal fabrications from rolled sections, sheet metal, corrugated sheet metal, concrete reinforcement steel, pipes for supports or coverings, fully or partially embedded in concrete (Fabrication cost only) |  |  | kg |  | 219.8000 |  |  |  |  |  |
| 90 |  | CA02C |  | Plain concrete cast for levelling, slopes and screeds at heights up to and including 35 m, prepared at a concrete batching plant in accordance with Article CA01 or ready-mixed concrete, cast using conventional methods (B 15 concrete) |  |  | m³ |  | 8.5000 |  |  |  |  |  |
| 91 |  | CA02C |  | Plain concrete cast for levelling, slopes and screeds at heights up to and including 35 m, prepared at a concrete batching plant in accordance with Art. CA01 or ready-mixed concrete, cast using conventional methods (B 35 concrete) |  |  | m3 |  | 3.0600 |  |  |  |  |  |
| 92 |  | IzF04F |  | Hot-applied waterproofing layer on terraces, roofs or foundations and ground slabs, in areas without groundwater, including troughs and valleys in the existing waterproofing on slopes exceeding 40% or on vertical, flat or curved surfaces, using bitumen mastic or bitumen with rubber additive, applied with a brush or rubber trowel (in- , 2 layers, K=2) |  |  | m² |  | 402.8800 |  |  |  |  |  |
| 93 |  | AcE04C apl |  | Square concrete storm drain 400x400 with walls and leaf-catching basket (the specification includes only labour and the drain) |  |  | pc |  | 9.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sewerage pumps Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24% |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport and materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |