## AMR_RAM
Annex 1. Detailed list of specifications and Price Schedule Form
ITB 2026/EURO/MDA/0003
Procurement of laboratory consumables for the National Agency for Public Health_AMR programme
Price Schedule Form
#No | Item description | Technical Specification | Technical specification (supplier proposal) | UM | Quantity | Price/unit USD, VAT exclusive | Amount, USD | Comments
Devices for diagnostic procedures
Reagents, tests and sensititers
1 | Columbia Agar Base | Packaging: 0.5 kg. Composition per liter: Special peptone 23 g/L; Soluble starch 1 g/L; Sodium chloride 5 g/L; Agar 10 g/L | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 10 | 0 | 0 | please provide earliest delivery time, but not later than 31.08.2026
2 | Mueller–Hinton Aga | Packaging: 0.5 kg. Composition per liter: Casein hydrolysate 17.5 g/L; Beef infusion (from 300 g) 2.0 g/L; Starch 1.5 g/L; Agar 17.0 g/L | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 10
3 | Modified Chromogenic UTI Agar / Brilliance UTI Agar | Packaging: 0.5 kg | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 10
4 | Salmonella–Shigella Agar | Packaging: 0.5 kg | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 3
5 | Xylose Lysine Deoxycholate Agar (XLD Agar) | Packaging: 0.5 kg | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 2
6 | Sabouraud Dextrose Agar with Chloramphenicol | Packaging: 0.5 kg. Composition per liter: Enzymatic digest of casein 5.0 g/L; Enzymatic digest of animal tissue 5.0 g/L; Glucose (dextrose) 40.0 g/L; Chloramphenicol 0.5 g/L; Agar 15.0 g/L | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1.5
7 | Blood-Free Campylobacter CCDA Agar | Packaging: 0.5 kg. Composition per liter: Meat extract 10.0 g/L; Enzymatic digest of animal tissues 10.0 g/L; Enzymatic digest of casein 3.0 g/L; Sodium deoxycholate 1.0 g/L; Agar 15.0 g/L; Ferrous sulfate 0.25 g/L; Sodium pyruvate 0.25 g/L; Sodium chloride 5.0 g/L; Charcoal 4.0 g/L | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
8 | Campylobacter CCDA Selective Supplement | Packaging: pack of 10 vials. Composition per vial: Cefoperazone 16 mg; Amphotericin B 5 mg | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | pkg of 10 vials | 40
9 | Chromogenic Agar for Detection of Multidrug-Resistant (MDR) Acinetobacter spp., with Two Supplements (Growth Factor and MDR Selective Mix) | Packaging: 0.5 kg, dehydrated medium. Chromogenic agar for detection of MDR Acinetobacter spp., with growth factor and MDR selective mix supplements. CE marked. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
10 | Chromogenic Agar for Detection of ESBL-Producing Gram-Negative Bacteria, with Selective Supplement | Packaging: 0.5 kg, dehydrated medium. Chromogenic agar for detection of ESBL-producing Gram-negative bacteria, with selective supplement. CE marked. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
11 | Chromogenic Agar for Detection of Carbapenem-Resistant Enterobacteriaceae (CRE), with Two Supplements (Growth Factor and Selective Mix) | Packaging: 0.5 kg, dehydrated medium. Chromogenic agar for detection of carbapenem-resistant Enterobacteriaceae (CRE), with growth factor and selective mix supplements. CE marked. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
12 | Chromogenic Agar for Detection of Methicillin-Resistant Staphylococcus aureus (MRSA), with Selective Supplement | Packaging: 0.5 kg, dehydrated medium. Chromogenic agar for detection of MRSA, with selective supplement. CE marked. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
13 | Chromogenic Agar for Detection of Vancomycin-Resistant Enterococcus faecalis and Enterococcus faecium (VRE), with Selective Supplement | Packaging: 0.5 kg, dehydrated medium. Chromogenic agar for detection of VRE (E. faecalis and E. faecium), with selective supplement. CE marked. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kg | 1
14 | Defibrinated Sheep Blood for Preparation of Blood Agar | Packaging: 25 mL vial | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | vial | 150
15 | Cefoxitin screen (30 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
16 | Pefloxacin screen (5 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 1000
17 | Ertapenem (10 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
18 | Meropenem (10 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
19 | Imipenem (10 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
20 | Ceftazidime - aviabactam (10-4 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
21 | Aztreonam - aviabactam (30-20 µg) | Compatible with Mast Group dispenser. Packaging: 50 discs per cartridge. Antimicrobial Susceptibility Test (AST) discs are used in the semi-quantitative agar diffusion method for in vitro antimicrobial susceptibility testing. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Disc | 3000
22 | Carba PACE Rapid Test for In Vitro Detection of Carbapenemases in Enterobacterales, Pseudomonas spp., and Acinetobacter spp. | Rapid test for in vitro detection of carbapenemase-producing bacteria (Enterobacterales, Pseudomonas spp., Acinetobacter spp.) | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 12
23 | Combi Carba Plus Test for In Vitro Detection and Confirmation of Carbapenemases in Enterobacterales (MBL, KPC, OXA-48) | Set of 5 cartridges containing 50 discs each: penem; penem + MBL inhibitor; penem + KPC inhibitor; penem + AmpC inhibitor; temocillin + MBL inhibitor. Equivalent to REF D73C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
24 | Test for In Vitro Detection of AmpC β-Lactamases in Enterobacterales | Set of 3 cartridges containing 50 discs each: Cefpodoxime 10 µg + AmpC inducer; Cefpodoxime 10 µg + AmpC inducer + ESBL inhibitor; Cefpodoxime 10 µg + AmpC inducer + ESBL inhibitor + AmpC inhibitor. Equivalent to REF D69C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 15
25 | Test for In Vitro Detection of ESBL in Enterobacterales | Set of 4 cartridges containing 50 discs each: Cefotaxime 5 µg; Cefotaxime 5 µg + clavulanic acid 10 µg; Ceftazidime 10 µg; Ceftazidime 10 µg + clavulanic acid 10 µg. Equivalent to REF D76C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
26 | Test for In Vitro Detection of ESBL in Enterobacterales | Set of 6 cartridges containing 50 discs each: Cefotaxime 30 µg; Cefotaxime 30 µg + clavulanic acid 10 µg; Ceftazidime 30 µg; Ceftazidime 30 µg + clavulanic acid 10 µg; Cefpodoxime 10 µg; Cefpodoxime 10 µg + clavulanic acid 10 µg. Equivalent to REF D67C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
27 | Cefotaxime ESβL ID Disc Set | Set of 3 cartridges containing 50 discs each: Cefotaxime 30 µg and Cefotaxime 30 µg + clavulanic acid 10 µg. Equivalent to REF D62C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
28 | Cefepime ESβL ID Disc Set | Set of 3 cartridges containing 50 discs each: Cefepime 30 µg and Cefepime 30 µg + clavulanic acid 10 µg. Equivalent to REF D63C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
29 | Ceftazidime ESβL ID Disc Set | Set of 3 cartridges containing 50 discs each: Ceftazidime 30 µg and Ceftazidime 30 µg + clavulanic acid 10 µg. Equivalent to REF D64C | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
30 | Rapid Diagnostic Test for Detection of Carbapenemases Resist-5 (OXA-48, KPC, NDM, VIM, IMP) from Bacterial Cultureă | Kit with 2 lateral-flow cassettes for detection of OXA-48, KPC, NDM, VIM and IMP; LY-D buffer (Tris-EDTA with NaN₃ <0.1% and detergent), 7.0 mL, sufficient for 20 tests | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 10
31 | Rapid Immunochromatographic Test for Detection of OXA-23 Carbapenemase from Bacterial Culture | Kit containing one lateral-flow cassette for detection of OXA-23 carbapenemase and LY-A buffer (buffered saline pH 7.5 with TRIS, NaN₃ <0.1% and detergent), 15 mL, sufficient for 20 tests | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 1
32 | Sensititre Dosing Heads, E3010 | Box of 100 dosing heads; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 15
33 | Sensititre Sterile Water, T3339 | Box containing 100 vials × 5 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 5
34 | Sensititre Mueller Hinton Broth, T3462 | Box containing 100 vials × 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 5
35 | Sensititre Mueller Hinton Broth, T3462-05 | Box containing 100 vials × 5 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
36 | Sensititre Mueller Hinton Broth w/Lysed Horse Blood -manual read, CP112-10 | Box containing 10 vials × 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 15
37 | Sensititre Yeast ONe broth, Y3462 | Box containing 10 vials × 11 mL; compatible with Thermo Scientific Sensititre Systemm | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 4
38 | Sensititre Mueller Hinton Broth w/Lysed Horse Blood – autoread, CP11410 | Box containing 10 vials × 11 mL; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 3
39 | Sensititre Gram Negative DKMGN Plate with Colistin, Ceftazidime/Avibactam and Ceftolozane /Tazobactam | Bucată = Cutie x 10 plăci | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 10
40 | Sensititre Gram Negative Colistin FRCOL Plate | Bucată = Cutie x 10 plăci | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 10
41 | Sensititre Gram Negative EURGNCOL Plate with Colistin, Ceftazidime/Avibactam and Ceftolozane/Tazobactam | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 10
42 | Sensititre Gram Negative EUX2NF Plate | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 5
43 | Sensititre Gram Negative EUMDRXXF Plate | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 10
44 | Sensititre Gram Negative ESB1F Plate | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 8
45 | Sensititre YeastOne YO10 Plate with Anidulafungin and Micafungin | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 1
46 | Sensititre EU Surveillance Salmonella/E. coli EUVSEC3 Plate | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 11
47 | Sensititre EU Surveillance ESBL Plate, EUVSEC2 | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
48 | Sensititre EU Surveillance Campylobacter EUCAMP3 Plate | Box containing 10 plates; compatible with Thermo Scientific Sensititre System | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 1
49 | Campylobacter Gas Generating Sachets for 2.5 L Jar (CampyGen) | Box containing 10 sachets for generation of microaerophilic atmosphere; used with 2.5 L incubation jar | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 2
50 | AnaeroJar / Anaerostat (Anaerobic Jar) – 2.5 L for Campylobacter Culture | 2.5 L anaerobic jar (max. 200 × 120 mm) with four clips for opening/closing and lid with handle | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 4
51 | Campylobacter Gas Generating Sachets for 3.5 L Anaerobic Jar | Box containing 10 sachets for generation of microaerophilic atmosphere; used with 3.5 L anaerobic jar | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 3
52 | AnaeroBox 3.5 L for Campylobacter Culture (for Sensititre Plates) | Rectangular anaerobox, approx. 90 × 200 × 250 mm, capacity 3.5 L; equipped with polycarbonate lid and 2–4 clips for secure opening/closing; used with 3.5 L gas-generating sachets to create microaerophilic atmosphere for cultivation of Campylobacter spp. and incubation of Sensititre plates | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 4
53 | Corning Polycarbonate Cryogenic Storage Box for 1–2 mL Cryovials (Ref. 431119) | Box with 81 wells arranged in a 9 × 9 matrix; dimensions 13.3 × 13.3 × 5.1 cm. Material: reusable polycarbonate, orange. Square design with silkscreen-printed lid for identification. Temperature resistance −196 °C to +121 °C; autoclavable. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Box | 40
54 | Sterile Polystyrene Inoculating Loop, 1 µL | Sterile Polystyrene Inoculating Loop, 1 µL- Single sterile polystyrene inoculation loop; volume 1 µL. Packaging can be in individual sterile packs of 10-20 units or 1 unit. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Inoculating Loop | 15000
55 | Sterile Polystyrene Inoculating Loop, 10 µL | Sterile Polystyrene Inoculating Loop, 10 µL- Single sterile polystyrene inoculation loop; volume 10 µL. Packaging can be in individual sterile packs of 10-20 units or 1 unit. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Inoculating Loop | 10000
56 | Universal Sterile Filter Pipette Tips, 0–10 µL | Packaging: rack containing 96 tips. Material: high-quality polypropylene. Certified RNase-free, DNase-free, DNA-free and pyrogen-free, suitable for sensitive molecular biology applications. Compatible with automatic pipettes: VWR Ergonomic High-Performance, Thermo Scientific, Discovery Comfort, Gilson, Eppendorf, Biohit, Elkay, Finnpipette, Brand, MRC. Design includes fine point tip for precise dispensing and soft-fit collar, ensuring optimal sealing on the pipette and easy ejection, reducing operator effort and risk of aerosol formation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Rack | 100
57 | Sterile Wooden Swab, Individually Wrapped | Single sterile wooden swab, individually wrapped | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Swab | 20000
58 | Universal Sterile Filter Pipette Tips, 100–1000 µL | Packaging: 96 tips per rack. Material: high-quality polypropylene. Certified RNase-free, DNase-free, DNA-free and pyrogen-free, suitable for sensitive molecular biology applications. Compatible with automatic pipettes: bioMérieux V1222, Gilson, Eppendorf, Biohit, Lenpipet, Elkay, Finnpipette, Brand, Thermo Scientific, Jencons, Nichiryo, DSG, Genex. Design includes fine point tip for precise dispensing and soft-fit collar, ensuring optimal sealing on the pipette and easy ejection, reducing operator effort and risk of aerosol formation. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Rack | 100
Reference Strains
59 | Reference Strain Acinetobacter baumannii NCTC 13304 (CNP, OXA-27) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1 |  | 0 | please provide earliest delivery time, but not later than 31.08.2026
| Reference Strain Campylobacter jejuni ATCC 33560/ NCTC 11351 (ID, AST, food) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
| Reference Strain Candida parapsilosis ATCC 22019 (AST, CC medii) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
| Reference Strain Enterococcus faecalis ATCC 29212/NCTC 12697/WDCM 00087 (AST, ID, apă, CC medii) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
| Reference Strain Escherichia coli ATCC 25922/NCTC 12241/ WDCM 00013 (AST) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 4
| Reference Strain Escherichia coli ATCC 8739/NCTC 12923/ WDCM 00012 (MS, water, CC medii, ID) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
| Reference Strain Issatchenkia orientalis /Candida krusei ATCC 6258 (AST, CC medii) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
60 | Reference Strain Klebsiella aerogenes/ Enterobacter ATCC 13048/ NCTC 10006/WDCM 00175 (MS, CC medii, food) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
61 | Reference Strain Pseudomonas aeruginosa ATCC 27853/ NCTC 12903/WDCM 00025 (AST, CC medii) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
62 | Reference Strain Pseudomonas aeruginosa NCTC 13437 (CNP, VIM-10) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
63 | Reference Strain Salmonella Typhimurium ATCC 14028/NCTC 12023/WDCM 00031 (CC medii/food) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
| Reference Strain Staphylococcus aureus ATCC 29213/ NCTC 12973/ WDCM 00131 (CC AST) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
| Reference Strain Staphylococcus aureus NCTC 12493/ WDCM 00212 (mecA+, MRSA) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
| Reference Strain Staphylococcus aureus ATCC BAA-977 (D-test pos) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
| Reference Strain Staphylococcus aureus ATCC 700699/ (VISA, Mu50) | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 2
64 | Reference Strain Streptococcus pneumoniae ATCC 49619/NCTC 12977 (Penicillin I), BPB | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 7
65 | Reference Strain Clostridium perfringens ATCC 13124/NCTC 8237/ WDCM 00007. | Format: pellet or stick. Packaging: box or vial containing 2–10 units. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Pack | 1
External Quality Control, PT- schemes
1 | Surveillance for multidrug resistant bacteria, MRSA, ref No. 5071 | Specimens: 1 lyophilised mixture of microbes; including pathogens and/ or normal flora. Examinations: The scheme is intended for laboratories performing screening of MRSA (methicillin resistant Staphylococcus aureus) by culture and/or direct nucleic acid detection method. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 1
2 | Surveillance for multidrug resistant bacteria, VRE, ref no. 5072 | Specimens: 1 lyophilised mixture of microbes; including pathogens and/ or normal flora. Examinations: The scheme is intended for laboratories performing screening of VRE (vancomycin-resistant enterococci) by culture and/or direct nucleic acid detection method. | Please do not copy requirements, please provide brand and technical parameters of the equipment proposed, including brochures, ISO certificates and CE Certificates | Kit | 1
| TOTAL: Devices for diagnostic procedures | [5 empty] | 0
We declare that all the information and statements made in this Proposal are true and we accept that any misinterpretation or misrepresentation contained in this Proposal may lead to our disqualification .
We offer to provide services in conformity with the Bidding documents, and in accordance with the Terms of Reference
Our Proposal shall be valid and remain binding upon us for the period of time specified in the Bid requirements.
I, the undersigned, certify that I am duly authorized by WHO ITB 2026/EURO/MDA/0003 to sign this Proposal and bind it should WHO accept this Proposal.
Name: _____________________________________________________________
Title: _____________________________________________________________
Date: _____________________________________________________________