| Major repairs and modernisation of the ‘Mihai Eminescu’ Secondary School, a public institution, with cadastral number 2101101.004.01, situated in the town of Cantemir, Cantemir municipality, 10 Trandafirilor Street | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL ESTIMATE No. 2-1-2

Residence (access staircases)

Prepared using current prices

| No. No. | Symbol, standards and resource code | Works and expenditure | Unit of measurement | Quantity as per project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Dismantling |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Ladder N10 |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RpCB18G |  | Demolition of old concrete using mechanical means, reinforced concrete (external staircase) |  |  | m³ |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total for Block N10 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Grade N11 (2 posts) |  |  |  |  |  |  |  |  |  |  |
| 2 |  | RpCB18G |  | Demolition of old concrete using mechanical means, reinforced concrete (external staircase) |  |  | m³ |  | 8.8000 |  |  |  |  |  |
| 3 |  | RpCB18G |  | Demolition of old concrete structures using mechanical means, reinforced concrete (retaining wall) |  |  | m³ |  | 8.0000 |  |  |  |  |  |
| 4 |  | RpCP45D |  | Dismantling of railings, grilles, parapets and metal fencing, etc. |  |  | kg |  | 50.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Staircase N11 (2 units) Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Waste disposal |  |  |  |  |  |  |  |  |  |  |
| 5 |  | RpCU09C |  | Manual transport by carrying loads of up to 50 kg directly over a distance of 60 m (for every 1 m carried vertically, 10 m horizontally is taken into account) |  |  | t |  | 54.3000 |  |  |  |  |  |
| 6 |  | TrI1AA01C2 |  | Loading of Group A materials – heavy and small items by throwing – from a ramp or the ground into a Category 2 vehicle (construction waste) |  |  | t |  | 54.3000 |  |  |  |  |  |
| 7 |  | TsI51B5 |  | Transport of construction waste by a 10-tonne tipper lorry over a distance of: 15 km |  |  | t |  | 54.3000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Waste disposal Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Dismantling Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. New e construction |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. Staircase N10 |  |  |  |  |  |  |  |  |  |  |
| 8 |  | TsC54B |  | Gravel foundation layer |  |  | m³ |  | 2.1000 |  |  |  |  |  |
| 9 |  | RpCB02E1 |  | Concrete cast in formwork (on one side), for continuous or isolated foundations, low-load floor slabs, basement walls, parapets, solid walls, etc., in existing buildings; concrete mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants, for underpinning works ( , class C 20/25) |  |  | m³ |  | 7.3000 |  |  |  |  |  |
| 10 |  | RpCC01A |  | Mixed formwork comprising reusable panels, made from 15 mm thick type P beech plywood, including supports, for concrete casting at height on retaining walls, plinths, etc., for repairs to existing structures, on straight walls up to 3.00 m in height |  |  | m² |  | 32.8500 |  |  |  |  |  |
| 11 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement for foundations and ground slabs (diameter 8 B500B) |  |  | kg |  | 73.5700 |  |  |  |  |  |
| 12 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size in on-site workshops and installed in existing structural elements; cutting and installation of reinforcement for foundations and floor slabs (diameter 10 B500B) |  |  | kg |  | 30.3200 |  |  |  |  |  |
| 13 |  | RpCD08C |  | Installation of STM or STNB welded mesh on slabs (10 B500B mesh, 200x200) |  |  | kg |  | 592.0400 |  |  |  |  |  |
| 14 |  | IzF31A |  | e waterproofing of concrete surfaces (vertical, horizontal, including ceilings) using ‘Penetron’ mixture – 2 coats: smooth surface (10 + 5 = 15 m²) |  |  | m² |  | 15.0000 |  |  |  |  |  |
| 15 |  | CG50A |  | Laying of ceramic granite flooring fixed with adhesive: tile dimensions under 40x40 cm |  |  | m² |  | 15.0000 |  |  |  |  |  |
| 16 |  | CE18A |  | Skylights made of corrugated or ribbed sheets of PAS, PVC, polycarbonate or polymethacrylate, fitted to a frame or within the roof covering (canopy made of safety glass ) |  |  | m² |  | 7.5000 |  |  |  |  |  |
| 17 |  | CH06A |  | Metal handrail mounted on 15 cm high supports, spaced at intervals of 1....1.2 m and fitted with welded washers, fixed to a brick wall or concrete parapet, made from steel pipe D=1 1/4" and rolled steel, straight (railings with H=1200 mm, made of stainless steel) |  |  | m |  | 4.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total for Scale N10 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.2. Support wall |  |  |  |  |  |  |  |  |  |  |
| 18 |  | TsC54B |  | Gravel foundation layer |  |  | m³ |  | 1.5000 |  |  |  |  |  |
| 19 |  | CA05E |  | Concrete cast into walls, partitions and straight diaphragms, and for various special structures, situated above sea level, at heights up to and including 35 m, prepared at a concrete batching plant or supplied as ready-mixed concrete in accordance with Article CA01 and cast using conventional methods; reinforced concrete, class C 20/25 (foundation) |  |  | m³ |  | 4.2000 |  |  |  |  |  |
| 20 |  | CB03A |  | Formwork comprising reusable panels with 15 mm plywood for the casting of concrete in footings, cup foundations and machinery foundations, including supports (for foundation) |  |  | m² |  | 3.1000 |  |  |  |  |  |
| 21 |  | CA03G |  | Reinforced concrete cast using conventional methods, in foundations, plinths, retaining walls and walls below ground level, prepared at a concrete batching plant or supplied as ready-mixed concrete in accordance with clause CA01, cast using conventional methods, reinforced concrete class (C 20/25 concrete) |  |  | m³ |  | 3.3000 |  |  |  |  |  |
| 22 |  | CB02B |  | Formwork made from reusable panels, with a framework of short and extra-short softwood planks, for casting concrete in vertical sections, straight walls and diaphragms, including shoring at heights up to and including 20 m (for wall) |  |  | m² |  | 33.0000 |  |  |  |  |  |
| 23 |  | CC02N2 |  | PC 52 reinforced concrete steel reinforcement, cut to size on site, with bar diameters exceeding 8 mm, and installed in panels, at heights less than or equal to 35 m, excluding structures constructed using sliding formwork (diameter 8 B500B) |  |  | kg |  | 28.3600 |  |  |  |  |  |
| 24 |  | CC03A |  | Installation of welded mesh at heights of 35 m or less, on walls and diaphragms, with the weight of the mesh up to 3 kg/m² |  |  | kg |  | 1,025.2400 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Retaining wall Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.3. Staircase N11 |  |  |  |  |  |  |  |  |  |  |
| 25 |  | TsC54B |  | Gravel foundation layer |  |  | m³ |  | 2.1000 |  |  |  |  |  |
| 26 |  | RpCB02E1 |  | Concrete cast in formwork (on one side), for continuous or isolated foundations, low-load floor slabs, basement walls, parapets, solid walls, etc., in existing buildings; concrete mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants, for underpinning works ( , class C 20/25) |  |  | m³ |  | 5.2000 |  |  |  |  |  |
| 27 |  | RpCC01A |  | Mixed formwork comprising reusable panels, made from P-type beech plywood, 15 mm thick, including supports, for concrete casting at height, for retaining walls, plinths, etc., for repairs to existing structures, on straight walls up to 3.00 m in height |  |  | m² |  | 23.4000 |  |  |  |  |  |
| 28 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement for foundations and ground slabs (diameter 8 B500B) |  |  | kg |  | 88.6400 |  |  |  |  |  |
| 29 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size in on-site workshops and installed in existing structural elements; cutting and installation of reinforcement for foundations and floor slabs (diameter 10 B500B) |  |  | kg |  | 36.1000 |  |  |  |  |  |
| 30 |  | RpCD08C |  | Installation of STM or STNB welded mesh on slabs (10 B500B mesh, 200x200) |  |  | kg |  | 606.4800 |  |  |  |  |  |
| 31 |  | IzF31A |  | waterproofing of concrete surfaces (vertical, horizontal, including ceilings) using ‘Penetron’ mixture – 2 coats: smooth surface (11 + 11 = 22 m²) |  |  | m² |  | 22.0000 |  |  |  |  |  |
| 32 |  | CG50A |  | Laying of ceramic granite flooring fixed with adhesive: tile dimensions under 40x40 cm |  |  | m² |  | 22.0000 |  |  |  |  |  |
| 33 |  | CE18A |  | Skylights made of corrugated or ribbed sheets of PAS, PVC, polycarbonate or polymethacrylate, fitted to a frame or within the roof covering (canopy made of safety glass ) |  |  | m² |  | 15.0000 |  |  |  |  |  |
| 34 |  | CH06A |  | Metal handrail mounted on 15 cm high supports, spaced at intervals of 1....1.2 m and fitted with welded washers, fixed to a brick wall or concrete parapet, made from steel pipe D=1 1/4" and rolled steel, straight ( of balustrades with H=1200 mm, made of stainless steel, 3 + 41 = 44 m) |  |  | m |  | 44.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total for Scale N11 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.4. Ramp for people with disabilities |  |  |  |  |  |  |  |  |  |  |
| 35 |  | RpCB02E1 |  | Concrete cast in formwork (on one side), for continuous or isolated foundations, low-load floor slabs, basement walls, parapets, solid structures, etc., in existing buildings; concrete mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants, for underpinning works ( -bed made of C 8/10 concrete) |  |  | m³ |  | 5.0000 |  |  |  |  |  |
| 36 |  | RpCB02E1 |  | Concrete cast in formwork (on one side), for continuous or isolated foundations, low-load floor slabs, basement walls, parapets, solid walls, etc., in existing buildings; concrete mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants, for underpinning works ( , class C 20/25) |  |  | m³ |  | 6.5000 |  |  |  |  |  |
| 37 |  | RpCC01A |  | Mixed formwork comprising reusable panels, made from 15 mm thick type P beech plywood, including supports, for concrete casting at height on retaining walls, plinths, etc., for repairs to existing structures, on straight walls up to 3.00 m in height |  |  | m² |  | 29.2500 |  |  |  |  |  |
| 38 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement for foundations and ground slabs (diameter 8 B500B) |  |  | kg |  | 51.6200 |  |  |  |  |  |
| 39 |  | RpCD08C |  | Installation of STM or STNB welded mesh on slabs (10 B500B mesh, 200x200) |  |  | kg |  | 844.7400 |  |  |  |  |  |
| 40 |  | IzF31A |  | waterproofing of concrete surfaces (vertical, horizontal, including ceilings) using ‘Penetron’ mixture – 2 coats: smooth surface |  |  | m² |  | 22.0000 |  |  |  |  |  |
| 41 |  | CG50A |  | Laying of ceramic granite flooring fixed with adhesive: tile dimensions under 40x40 cm |  |  | m² |  | 22.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Ramp for people with disabilities Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.5. Staircase N12 (2 units) |  |  |  |  |  |  |  |  |  |  |
| 42 |  | TsC54B |  | Gravel foundation layer |  |  | m³ |  | 4.4000 |  |  |  |  |  |
| 43 |  | RpCB02E1 |  | Concrete cast in formwork (on one side), for continuous or isolated foundations, low-load floor slabs, basement walls, parapets, solid walls, etc., in existing buildings; concrete mixed on-site using a concrete mixer and cast using conventional methods with ready-mixed concrete supplied from batching plants, for underpinning works ( , class C 20/25) |  |  | m³ |  | 41.0000 |  |  |  |  |  |
| 44 |  | RpCC01A |  | Mixed formwork comprising reusable panels, made from 15 mm thick type P beech plywood, including supports, for concrete casting at height on retaining walls, plinths, etc., for repairs to existing structures, on straight walls up to 3.00 m in height |  |  | m² |  | 184.5000 |  |  |  |  |  |
| 45 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size on site and installed in existing structural elements; cutting and installation of reinforcement for foundations and ground slabs (diameter 8 B500B) |  |  | kg |  | 196.8600 |  |  |  |  |  |
| 46 |  | RpCD02B1 |  | PC 52 steel-concrete reinforcement, with bar diameters exceeding 8 mm, cut to size in on-site workshops and installed in existing structural elements; cutting and installation of reinforcement for foundations and floor slabs (diameter 10 B500B) |  |  | kg |  | 51.9800 |  |  |  |  |  |
| 47 |  | RpCD08C |  | Installation of STM or STNB welded mesh on slabs (10 B500B mesh, 200x200) |  |  | kg |  | 3,321.2000 |  |  |  |  |  |
| 48 |  | IzF31A |  | waterproofing of concrete surfaces (vertical, horizontal, including ceilings) using ‘Penetron’ mixture – 2 coats: smooth surface (7 + 8 = 15 m²) |  |  | m² |  | 30.0000 |  |  |  |  |  |
| 49 |  | CG50A |  | Laying of ceramic granite flooring fixed with adhesive: tile dimensions under 40x40 cm |  |  | m² |  | 30.0000 |  |  |  |  |  |
| 50 |  | CF02B |  | 2 cm thick interior plaster, rough-textured, applied by hand to walls or pillars, on flat surfaces using M 100-T cement-lime mortar for the skim coat, base coat and finish coat, on brickwork or small concrete blocks |  |  | m² |  | 156.0000 |  |  |  |  |  |
| 51 |  | CN54B |  | Manual application of a single coat of ‘Gleta’ quartz-based primer to external walls on façades |  |  | m² |  | 156.0000 |  |  |  |  |  |
| 52 |  | CN11A |  | Exterior painting with water-dispersed acrylic polymer-based paint, applied in 3 coats to façades over existing plaster |  |  | m² |  | 156.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total for Staircase N12 (2 units) Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total New builds Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including salary |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |