| Major repairs and modernisation of the ‘Mihai Eminescu’ Secondary School, a public institution, with cadastral number 2101101.004.01, situated in the town of Cantemir, Cantemir municipality, 10 Trandafirilor Street | Form No. 2 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-1-3

Internal water and sewerage networks

| No. No. | Symbol, standards and resource code | Works and expenses | Unit of measurement | Quantity as per project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction and s works |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.1. Demolition |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RpSC05A |  | Removal of a tiled washbasin, including fittings |  |  | piece |  | 20.0000 |  |  |  |  |  |
| 2 |  | RpSC10A |  | Removal of a cast iron or ceramic sink |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 3 |  | RpSC06A |  | Removal of a fully fitted earthenware toilet bowl |  |  | piece |  | 16.0000 |  |  |  |  |  |
| 4 |  | RpSB05C |  | Removal of a floor drain, 100 mm in diameter |  |  | piece |  | 8.0000 |  |  |  |  |  |
| 5 |  | RpSA02B |  | Removal of galvanised steel pipes located outside the building, in service ducts with a diameter of 1 1/4"–2" |  |  | m |  | 210.0000 |  |  |  |  |  |
| 6 |  | RpSA02A |  | Removal of galvanised steel pipe located outside the building, in spacer ducts with a diameter of 1/2"–1" |  |  | m |  | 150.0000 |  |  |  |  |  |
| 7 |  | RpSB01C |  | Removal of cast iron pipes and shaped fittings for the sewerage system, with a diameter of 100 mm |  |  | m |  | 95.0000 |  |  |  |  |  |
| 8 |  | RpSB01A |  | Dismantling of cast iron pipes and shaped fittings for sewerage systems, with a diameter of 50 mm |  |  | m |  | 110.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Demolition Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.2. Sanitary equipment |  |  |  |  |  |  |  |  |  |  |
| 9 |  | SC04A |  | Washbasin made of semi-porcelain, sanitary porcelain, etc., including those for disabled people, with a plastic drainpipe, mounted on brackets fixed to walls of brickwork or reinforced concrete. |  |  | piece |  | 28.0000 |  |  |  |  |  |
| 10 |  | SD04A |  | Mixer tap with swivel spout, for washbasin or washstand, regardless of the shut-off mechanism, including models for disabled users, with a diameter of 1/2" |  |  | piece |  | 28.0000 |  |  |  |  |  |
| 11 |  | SC05A |  | Enamelled cast iron or acid-resistant ceramic sink, with a plastic drainpipe, mounted on brickwork walls |  |  | piece |  | 4.0000 |  |  |  |  |  |
| 12 |  | SD04A |  | Mixer tap with swivel spout, for washbasin or washstand, regardless of the shut-off mechanism, including models for disabled users, with a diameter of 1/2" |  |  | piece |  | 4.0000 |  |  |  |  |  |
| 13 |  | SC07B1 |  | Toilet bowl, fully fitted, made of semi-porcelain, sanitary porcelain, etc., including models for disabled users, floor-mounted, with the cistern mounted on the bowl at full or half height, fitted with a P-type internal siphon. |  |  | piece |  | 20.0000 |  |  |  |  |  |
| 14 |  | SC07B1 |  | Toilet bowl, fully fitted, made of semi-porcelain, sanitary porcelain, etc., including models for disabled users, floor-mounted, with the cistern fitted to the bowl at full or half height, fitted with a type P internal siphon (for persons with disabilities) |  |  | piece |  | 4.0000 |  |  |  |  |  |
| 15 |  | SC04A |  | Washbasin made of semi-porcelain, sanitary porcelain, etc., including those for disabled people, with a plastic drainpipe, mounted on brackets fixed to walls of brickwork or reinforced concrete (for people with disabilities) |  |  | piece |  | 4.0000 |  |  |  |  |  |
| 16 |  | SD01A |  | Service tap, single or double with connection, regardless of the shut-off mechanism, with a diameter of 3/8" – 1/2" (Sprinkler tap with hose L= 8.0m) |  |  | piece |  | 8.0000 |  |  |  |  |  |
| 17 |  | SC05A |  | A sink made of enamelled cast iron or acid-resistant ceramic tiles, with a plastic drainpipe, fitted to brick walls (Sink with jet-break trap and chrome-plated tap) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 18 |  | SD04A |  | Mixer tap with swivel spout, for washbasin or washstand, regardless of the shut-off mechanism, including models for disabled users, with a diameter of 1/2" |  |  | piece |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sanitary Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.3. Pipelines A1, T3, T4 |  |  |  |  |  |  |  |  |  |  |
| 19 |  | SA16E |  | plastic pipe joined by fusion welding, in columns, for residential and social/cultural buildings, with a diameter of 50 mm (PN16 PPR D50 mm polypropylene pipe) |  |  | m |  | 160.0000 |  |  |  |  |  |
| 20 |  | RpIF09D |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=15x20 to D=54x20 mm (insulation sleeve for pipes ф50 mm) |  |  | m |  | 160.0000 |  |  |  |  |  |
| 21 |  | SA16D |  | Plastic pipe joined by polyfusion welding, in columns, for residential and social and cultural buildings, with a diameter of 40 mm (PN16 PPR polypropylene pipe, D40 mm) |  |  | m |  | 25.0000 |  |  |  |  |  |
| 22 |  | RpIF09D |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=15x20 to D=54x20 mm (insulation sleeve for pipes ф40 mm) |  |  | m |  | 25.0000 |  |  |  |  |  |
| 23 |  | SA16C |  | Plastic pipe joined by polyfusion welding, in columns, for residential and social-cultural buildings, with a diameter of 32 mm (PN16 PPR polypropylene pipe, D32 mm) |  |  | m |  | 105.0000 |  |  |  |  |  |
| 24 |  | RpIF09D |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=15x20 to D=54x20 mm (insulation sleeve for pipes ф32мм) |  |  | m |  | 105.0000 |  |  |  |  |  |
| 25 |  | SA16B |  | Plastic pipe joined by polyfusion welding, in columns, for residential and social and cultural buildings, with a diameter of 25 mm (PN16 PPR polypropylene pipe, D25 mm) |  |  | m |  | 195.0000 |  |  |  |  |  |
| 26 |  | RpIF09D |  | Insulation of pipes using special insulation sleeves, fitted onto pipes, with diameters and thicknesses ranging from D=15x20 to D=54x20 mm (insulation sleeve for pipes ф25мм) |  |  | m |  | 195.0000 |  |  |  |  |  |
| 27 |  | SA16A |  | Plastic pipe joined by polyfusion welding, in columns, for residential and social and cultural buildings, with a diameter of 20 mm (PN16 PPR polypropylene pipe, D20 mm) |  |  | m |  | 180.0000 |  |  |  |  |  |
| 28 |  | RpIF09D |  | Insulation of pipes using special insulation sleeves fitted onto the pipes, with diameters and thicknesses ranging from D=15x20 to D=54x20 mm (insulation sleeve for pipes ф20 mm) |  |  | m |  | 180.0000 |  |  |  |  |  |
| 29 |  | SF02C |  | Carrying out a functional test on the cold water system constructed using heavy-duty polyvinyl chloride (PVC) pipes or plastic pipes, with a diameter of 16–110 mm |  |  | 10 m |  | 66.5000 |  |  |  |  |  |
| 30 |  | SF05C |  | Flushing of the cold or hot water system, constructed from plastic pipes, with a diameter of 20–75 mm |  |  | m |  | 665.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Pipelines A1, T3, T4 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.4. Fittings |  |  |  |  |  |  |  |  |  |  |
| 31 |  | SD07E |  | Gate valve with valve and socket, with or without drain, for steel pipe, with a diameter of 1 1/2" (D40 mm valve) |  |  | piece |  | 6.0000 |  |  |  |  |  |
| 32 |  | SD07D |  | Gate valve with valve and socket, with or without drain, for steel pipe, with a diameter of 1 1/4" (ф32 mm valve) |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 33 |  | SD01B |  | Service valve, single or double with connection, regardless of the shut-off mechanism, with a diameter of 1" (valve ф25 mm) |  |  | piece |  | 5.0000 |  |  |  |  |  |
| 34 |  | SD01B |  | Service valve, single or double with connection, regardless of shut-off type, with a diameter of 3/4" (valve ф20 mm) |  |  | piece |  | 42.0000 |  |  |  |  |  |
| 35 |  | SD01A |  | Service valve, single or double with connection, regardless of shut-off type, with a diameter of 1/2" (valve ф15 mm) |  |  | piece |  | 60.0000 |  |  |  |  |  |
| 36 |  | SD20B |  | Dutch coupling and elbow with Dutch coupling, galvanised, with flat seal, with male and female threads, with a diameter of 3/4" (D20 mm non-return valve) |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 37 |  | SD20A |  | Dutch coupling and elbow with Dutch coupling, galvanised, with flat seal, featuring male and female threads, diameter 1/2" (one-way valve D15 mm) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 38 |  | SA13D |  | U-shaped or lyre-shaped expansion joint, made of polyvinyl chloride (PVC) pipe, heavy-duty type, with a diameter of 40 mm |  |  | m |  | 2.0000 |  |  |  |  |  |
| 39 |  | SA13B |  | U-shaped or lyre-shaped expansion joint, made of polyvinyl chloride (PVC) pipe, heavy-duty type, with a diameter of 25 mm |  |  | m |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Fittings Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.5. System C1 |  |  |  |  |  |  |  |  |  |  |
| 40 |  | SB24A |  | Single-outlet floor drain made of enamelled cast iron, with a diameter of 50 mm |  |  | piece |  | 7.0000 |  |  |  |  |  |
| 41 |  | SB11A |  | Plastic connecting piece (double branch) for drainage, fitted with a rubber gasket, with a diameter of 50 mm (D50 mm vent flap) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 42 |  | SB11C |  | Plastic connecting piece (double branch) for sewerage, fitted with a rubber gasket, with a diameter of 110 mm (vent flap D110 mm) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 43 |  | SB09E |  | Plastic connecting piece for drainage, fitted with a rubber gasket, with a diameter of 110 mm (end cap D110 mm) |  |  | piece |  | 4.0000 |  |  |  |  |  |
| 44 |  | SA40A |  | Installation of fire-resistant couplings fixed to the floor slab ceiling using wall plugs (Fire-resistant sewer coupling D50) |  |  | piece |  | 5.0000 |  |  |  |  |  |
| 45 |  | SA40A |  | Installation of fire-resistant sockets fixed to the floor slab ceiling using wall plugs (Fire-resistant socket for D110 drainage) |  |  | piece |  | 19.0000 |  |  |  |  |  |
| 46 |  | SB11A |  | Plastic connecting piece (double branch) for drainage, fitted with a rubber seal, with a diameter of 50 mm (inspection opening D50 mm) |  |  | piece |  | 3.0000 |  |  |  |  |  |
| 47 |  | SB11C |  | Plastic sewer connection piece (double branch), fitted with a rubber gasket, with a diameter of 110 mm (inspection diameter D110 mm) |  |  | piece |  | 12.0000 |  |  |  |  |  |
| 48 |  | SB09C |  | Plastic sewer connection fitting, fitted with a rubber gasket, with a diameter of 50 mm (end cap D50 mm) |  |  | piece |  | 1.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Sistema C1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 1.6. Pipework |  |  |  |  |  |  |  |  |  |  |
| 49 |  | SB08C |  | Plastic sewer pipe, fitted with a rubber seal, installed exposed or buried beneath the floor, with a diameter of 50 mm PP |  |  | m |  | 115.0000 |  |  |  |  |  |
| 50 |  | SB08E |  | Plastic sewer pipe, fitted with a rubber gasket, installed exposed or buried beneath the floor, with a diameter of 110 mm PP |  |  | m |  | 130.0000 |  |  |  |  |  |
| 51 |  | SB08E |  | Plastic sewer pipe, fitted with a rubber gasket, installed exposed or xml-ph-0000@deepl.internal buried beneath the floor, with a diameter of 110 mm (PVC SN4 sewer pipes, diameter 110 mm) |  |  | m |  | 15.0000 |  |  |  |  |  |
| 52 |  | SF04A |  | Carrying out leak and functional tests on the drainage system constructed from cast iron pipes for drainage, unplasticised polyvinyl chloride (PVC) pipes (light-duty type) or plastic pipes, and ductile iron pipes with a diameter of up to and including 100 mm |  |  | 10 m |  | 26.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Piping Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | 14.5 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | n profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |