| Major repairs and modernisation of the ‘Mihai Eminescu’ Public Lower Secondary School, cadastral number 2101101.004.01, situated in the town of Cantemir, Cantemir municipality, 10 Trandafirilor Street | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-1-7

Fire  alarm  system. Block  A

| No. No. | Standard symbol and resource code | Works and expenses | Unit of measurement | Quantity as per project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction- e works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RCsB21A |  | Mechanical drilling of 5 cm diameter holes in concrete elements up to 20 cm thick |  |  | piece |  | 70.0000 |  |  |  |  |  |
| 2 |  | RpEJ09C |  | Filling of voids in floor slabs with cement mortar |  |  | piece |  | 70.0000 |  |  |  |  |  |
| 3 |  | RpEJ08A |  | Cutting grooves up to 5 cm deep in walls of 5x50 cm brickwork |  |  | m |  | 50.0000 |  |  |  |  |  |
| 4 |  | RpEJ09D |  | Filling of grooves in walls up to 50 cm² |  |  | m |  | 50.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation work |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 11-04-008-01 |  | Detachable and flexible unit (modules, cells, ‘ТЭЗ’), weight, kg, up to: 5 (IP amplifier, 19", RJ45, USB) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 6 |  | 10-04-066-07 apl |  | Wall-mounted unit: IP microphone |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 7 |  | 10-08-003-03 |  | Ultrasound devices: power supply and control unit (UPS, 19", 1U, 1500 VA/1100 W) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 8 |  | 10-04-101-07 |  | Subscriber equipment and miscellaneous equipment: Megaphone or loudspeaker: indoor (Wall-mounted loudspeaker VA-700EN Fireproof wall) |  |  | piece |  | 44.0000 |  |  |  |  |  |
| 9 |  | 10-04-101-07 |  | Subscriber equipment and miscellaneous equipment: Megaphone or public address system: indoor (T-565 Fireproof Ceiling Speaker) |  |  | piece |  | 35.0000 |  |  |  |  |  |
| 10 |  | 10-04-101-07 |  | Subscriber equipment and miscellaneous equipment: Megaphone or loudspeaker: indoor (Wall-mounted speaker, T-902B Outdoor Column Speaker, ITC). |  |  | piece |  | 3.0000 |  |  |  |  |  |
| 11 |  | 10-06-034-12 |  | Miscellaneous works: Wall-mounted distribution box for cable with plastic sheathing |  |  | piece |  | 67.0000 |  |  |  |  |  |
| 12 |  | Supplier price |  | Junction/connection box for cable section, with 1.0 x 4.0 mm² contacts |  |  | piece |  | 67.0000 |  |  |  |  |  |
| 13 |  | 08-02-412-2 |  | Insertion of conductors into installed metal pipes and conduits: the first single-core or multi-core conductor in a common braid, with a total cross-section of up to 6 mm² |  |  | 100 m |  | 6.4000 |  |  |  |  |  |
| 14 |  | Supplier price |  | Audio cable with copper conductors with a cross-sectional area of 2 × 1.0 mm², -ng(A)-FRHF (in accordance with GOST 31565-2012) with a fire resistance rating of at least 90 minutes, FE180 E30 |  |  | piece |  | 100.0000 |  |  |  |  |  |
| 15 |  | Supplier price |  | Audio cable with copper conductors, cross-section 2x2.5 mm², -нг(А)-FRHF (in accordance with GOST 31565-2012) with a fire resistance limit of at least 90 minutes, FE180 E30 |  |  | piece |  | 300.0000 |  |  |  |  |  |
| 16 |  | Supplier price |  | Audio cable with copper conductors with a cross-section of 2x4.0 mm², -ng(A)-FRHF (in accordance with GOST 31565-2012) with a fire resistance rating of at least 90 minutes, FE180 E30 |  |  | piece |  | 140.0000 |  |  |  |  |  |
| 17 |  | Supplier price |  | FTP Cat5e cable – 4x2x0.5, in accordance with GOST 31565-2012: -ng(A)-FRHF, with a fire resistance rating of at least 30 minutes, FE180 E30 |  |  | piece |  | 100.0000 |  |  |  |  |  |
| 18 |  | 08-02-409-1 |  | Vinyl-plastic conduit for installation on structures, walls and columns, secured with clamps, diameter 25 mm |  |  | 100 m |  | 2.0000 |  |  |  |  |  |
| 19 |  | Supplier price |  | Corrugated PE pipe, diameter 20 mm |  |  | m |  | 200.0000 |  |  |  |  |  |
| 20 |  | 08-02-390-1 |  | Plastic channels with a width of up to 40 mm. Specifications with a value of 0 (zero) are to be determined according to the design. |  |  | 100 m |  | 0.5000 |  |  |  |  |  |
| 21 |  | Supplier price |  | PE cable duct 25x16 mm |  |  | m |  | 50.0000 |  |  |  |  |  |
| 22 |  | Supplier price |  | 90° PE corner connector 25x16 mm, flat, for cable installation under the beam |  |  | piece |  | 20.0000 |  |  |  |  |  |
| 23 |  | 08-01-087-3 |  | Metal structures beneath machinery |  |  | t |  | 0.0150 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Plant |  |  |  |  |  |  |  |  |  |  |
| 24 |  | Supplier price |  | IP amplifier, 19", RJ45, USB; 100Mbps; TCP/IP, UDP; 16-bit; 8kHz–48kHz; AUX Output Impedance: 470Ω; SNR: >65dB; 100 V; Rated Power: 500W, Power Consumption: 750W (model T-77500B, ITC) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | IP microphone, RJ45, 100 Mbps, TCP/IP, UDP, IGMP (Multicast); MP3; Sampling Rate: 8K–48KHz; Audio Mode: 16-bit CD quality; Touchscreen Display Size: 7-inch; virtual QWERTY keyboard; 4?, 2W; SNR: >65dB; LINE OUT output level: 1000mV; LINE OUT output impedance: 470Ω; LINE IN input sensitivity: 350mV; power adapter ~190–240V 50–60Hz; for installation in administration cabinets (such as T-7702A, ITC) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 26 |  | Supplier price |  | UPS with battery units, 19", 1U, 1550 VA/1100 W, maximum length/depth 560 mm, output: minimum 6 x IEC C13 (10 A) sockets; Single-phase 220V/230V/240V (Eaton 5P UPS type, 5P1550iR) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 27 |  | Supplier price |  | Wall-mounted loudspeaker, 3/6 W, 90 dB, 100 V, EN54-24, indoor (VA-700EN Fireproof wall-mounted loudspeaker, ITC). |  |  | piece |  | 44.0000 |  |  |  |  |  |
| 28 |  | Supplier price |  | Ceiling-mounted speaker, 3/6 W, 90 dB, 100 V, EN54-24, indoor (type T-565 Fireproof Ceiling Speaker, ITC). |  |  | piece |  | 35.0000 |  |  |  |  |  |
| 29 |  | Supplier price |  | Wall-mounted speaker, 10 W, 90 dB, 100 V, IP66, outdoor (T-902B Outdoor Column Speaker, ITC). |  |  | piece |  | 3.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Equipment Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared by |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |