| Major repairs and modernisation of the ‘Mihai Eminescu’ Secondary School, a public institution, with cadastral number 2101101.004.01, situated in the town of Cantemir, Cantemir municipality, 10 Trandafirilor Street | Form No. 7 WinСmeta |
| --- | --- |
| (name of the project) |  |

LOCAL QUOTATION No. 2-1-8

Automatic security signalling. Block A

| No. No. | Symbol, standards and resource code | Works and expenditure | Unit of measurement | Quantity as per project data | Estimated value, lei |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measure ———— incl. wages | Total ————— incl. salary |

| 1 |  | 2 |  | 3 |  |  | 4 |  | 5 |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction- e works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RCsB21A |  | Mechanical drilling of 5 cm diameter holes in concrete elements up to 20 cm thick |  |  | piece |  | 40.0000 |  |  |  |  |  |
| 2 |  | RpCU07C |  | Filling of voids in floor slabs with cement mortar, following installation of services |  |  | piece |  | 40.0000 |  |  |  |  |  |
| 3 |  | RpCU06A |  | Cutting grooves up to 5 cm deep in 5 x 50 cm brickwork walls2 |  |  | m |  | 30.0000 |  |  |  |  |  |
| 4 |  | RpCU07D |  | Filling of grooves in walls up to 50 cm², following installation or reinforcement works |  |  | m |  | 30.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total construction works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2. Installation work |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 2.1. PP.1 security panel |  |  |  |  |  |  |  |  |  |  |
| 5 |  | 08-03-572-3 |  | Control unit, cabinet-type or distribution point (cabinet), wall-mounted, height and width, mm, up to 600×600 |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 6 |  | 10-08-001-02 |  | Receiving units: ‘PS’ reception, control and start-up devices. Concentrator: base unit for 20 channels (logic device for security systems with management of 32 zones, ‘Integra 32’ type, Satel) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 7 |  | 10-08-001-11 |  | Receiver units: Intermediate devices for number of channels: 10 (8-zone 35/80 mA expansion board (type ‘INT-E’, Satel) |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 8 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (12V, 6A battery power supply (ARS-412 type, Satel)) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 9 |  | 08-01-121-1 |  | Stationary lead-acid battery, type: CB 7.0-12 (12V battery, 7 Ah) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 10 |  | 10-08-001-13 |  | Receiver units: Intermediate devices for number of beams: 1 (keypad for security system (type ‘INT-KLFP-SSW’, Satel) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 11 |  | 10-08-002-05 |  | Automatic ‘ОС’ alarms: impact-sensitive, non-contact, electromagnetic or piezoelectric, fitted to glass (combined detector (broken glass + motion) LC-102) |  |  | piece |  | 23.0000 |  |  |  |  |  |
| 12 |  | 10-08-002-04 |  | Automatic "ОС" alarms: contact-type, magnetic contact-type for opening windows and doors ( detector, contact-type magnetic) |  |  | piece |  | 13.0000 |  |  |  |  |  |
| 13 |  | 10-04-066-05 |  | Wall-mounted unit: Doorbell (LD-95 doorbell) |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 14 |  | 08-02-412-2 |  | Feeding conductors into installed metal pipes and conduits: the first single-core or multi-core conductor in a common braid, with a cross-sectional area of up to 6 mm² |  |  | 100 m |  | 11.5000 |  |  |  |  |  |
| 15 |  | Market price |  | Signalling cable with copper conductors, cross-section 4x0.5 mm², with halogen-free insulation CAHF - 4x0.5 |  |  | m |  | 1,000.0000 |  |  |  |  |  |
| 16 |  | Market price |  | 3-core copper power cable VVGng - HF 3x1.0 mm² |  |  | m |  | 50.0000 |  |  |  |  |  |
| 17 |  | Supplier price |  | cable with conductors made of copper, 24 AWG, Cat. 5E with shield UTP Cat. 5e – 4x2x0.5 mm |  |  | m |  | 100.0000 |  |  |  |  |  |
| 18 |  | 08-02-409-1 |  | Vinyl-plastic conduit for building installations, on walls and columns, secured with clamps, diameter 25 mm |  |  | 100 m |  | 4.0000 |  |  |  |  |  |
| 19 |  | Supplier price |  | Corrugated PE pipe, diameter 20 mm |  |  | m |  | 400.0000 |  |  |  |  |  |
| 20 |  | 08-02-390-1 |  | Plastic channels with a width of up to 40 mm. Specifications with a value of 0 (zero) are to be determined according to the design. |  |  | 100 m |  | 1.0000 |  |  |  |  |  |
| 21 |  | Supplier price |  | PE cable duct 25x16 mm |  |  | m |  | 100.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Security Panel PP.1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | e and social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Transport ation of materials |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Overhead costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | TOTAL |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | e profit on the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total installation works Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3. Equipment |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | 3.1. PP.1 security panel |  |  |  |  |  |  |  |  |  |  |
| 22 |  | Supplier price |  | Metal panel |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 23 |  | Supplier price |  | Logic unit for security systems with 64-zone management, with output for siren and radio transmitter, with RIP, 12V, 200 mA (Satel ‘Integra 32’ type), in a metal panel |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 24 |  | Supplier price |  | 8-zone 35/80 mA expansion board (Satel “INT-E” type, in a metal panel) |  |  | piece |  | 2.0000 |  |  |  |  |  |
| 25 |  | Supplier price |  | 12V, 4A battery power supply (ARS-412 type, Satel) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 26 |  | Supplier price |  | 12V battery, 7 Ah |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 27 |  | Supplier price |  | Keypad for security system, 60/110 mA (type ‘INT-KLFP-SSW’, Satel) |  |  | piece |  | 1.0000 |  |  |  |  |  |
| 28 |  | Supplier price |  | Combined detector (glass break + motion) LC-102 |  |  | piece |  | 25.0000 |  |  |  |  |  |
| 29 |  | Supplier price |  | magnetic contact detector |  |  | piece |  | 15.0000 |  |  |  |  |  |
| 30 |  | Supplier price |  | LD-95 siren with light, 150 mA, 90 dB |  |  | piece |  | 2.0000 |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total Security Panel PP.1 Including salary |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | ation and storage costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total machinery Including wages |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | Lei |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages |  |  |  |  |  |  |  |  |  |  |

| Prepared by |  |
| --- | --- |
| (position, signature, surname, first name) |  |
| Verified |  |
| (position, signature, surname, first name) |  |