## Annex1
Annex 1 - Technical Specifications of the Goods Required
Lot | Type | Qty | Purpose | Description | Required Technical Specifications | Offered Technical Specifications/Compliancy (please provide exact data) | Catalogue/brochure reference (please provide the URL with the required data) | Offered Brand/Model
1 | Neonatal CPR manikin | 1 | Developed to meet the key requirements for teaching the initial steps of resuscitation | Realistic in size and appearance with natural weight. Including features such as breath, palpable pulse. Should be used for role-play scenarios such as normal post-birth care, standard resuscitation, and resuscitation measures including positive pressure ventilation and closed chest compressions. | Airway features: | -
Oxygen delivery procedures
Suctioning techniques
Positive pressure ventilation
Realistic chest rise and fall
[5 empty] | CPR features: | -
Anatomical landmarks
Ventilation with bag-valve mask
Closed chest compressions
[5 empty] | Blood pressure/pulse features: | -
Manual umbilical pulse or brachial pulse
[5 empty] | Accessories: | -
Transport and storage system
Cleaning kit for everyday cleaning and maintenance
Spare parts/consumables for approx. number of users (20-30 per month) during one year
Consumables: Airway lubricant-quantity for 1 year of operation
Compatible bag valve mask -1 piece
Notes:
*Any other additional components and accessories necessary for proper installation and functioning of the manikin should be included and described in the offer;
*All works for assembly of the manikin will be supported by the supplier.
*If the goods are supplied together with a software, it shall be provided in Russian language.
2 | Newborn manikin for airway intubation and IV access simulation | 1 | Full-body newborn manikin designed for skills training in neonatal resuscitation. | Developed to meet the key requirements for teaching the initial steps of resuscitation. With anatomical accuracy and product features designed to focus on the critical resuscitation skills required in the first ten minutes of a newborn's life, through simulation-based exercises that approximate real life. | Airway features: | -
Suitable for endotracheal intubation
Positive Pressure Ventilation
Laryngeal mask airway insertion
Simulation of suction procedures
[5 empty] | Gastrointestinal features: | -
Allows orogastric tube insertion
Suctioning (of the nares, nasopharynx, oropharynx, esophagus)
[5 empty] | Breathing features: | -
Chest rise and fall with mechanical ventilation
[5 empty] | Circulation features: | -
Manual umbilical pulse
[5 empty] | Vascular access features: | -
Umbilical Vein/ Artery access
Practice intravenous techniques
[5 empty] | Other features: | -
Full articulation
[5 empty] | Accessories: | -
Transport and storage system
Cleaning kit for everyday cleaning and maintenance
Spare parts/consumables for approx. number of users (20-30 per month) during one year
Consumables: Airway lubricant- quantity for 1 year of operation
Notes:
*Any other additional components and accessories necessary for proper installation and functioning of the manikin should be included and described in the offer;
*All works for assembly of the manikin will be supported by the supplier.
*If the goods are supplied together with a software, it shall be provided in Russian language.
3 | Infant CPR manikin | 1 | Developed to meet the key requirements for teaching the initial steps of resuscitation in pediatrics with possibility of review of CPR performance through reporting device. | Full-body infant manikin (1-year-old), of realistic size and anatomy. | Airway features:
With intubation possibility
Realistic chest rise and fall
CPR features:
Anatomical landmarks
Mouth-to-mouth ventilations
Ventilation with bag-valve-mask
Other features:
IV arm
Accessories:
Transport and storage system
Cleaning kit for everyday cleaning and maintenance
Spare parts/consumables for approx. number of users (20-30 per month) during one year
Consumables: Airway lubricant- quantity for 1 year of operation
Compatible bag valve mask -1 piece
Notes:
*Any other additional components and accessories necessary for proper installation and functioning of the manikin should be included and described in the offer;
*All works for assembly of the manikin will be supported by the supplier;
*If the goods are supplied together with a software, it shall be provided in Russian language.
4 | Child manikin for intubation and upper airway management techniques | 1 | Developed to meet the key requirements for teaching the initial steps of resuscitation and upper airway management in pediatric emergencies. | Anatomically accurate reproduction of a pediatric patient (full body), designed for the specific anatomy differences for CPR and airway management procedures in emergencies. | Airway features: | -
Suitable for endotracheal intubation
With airway sounds (auscultatory)
Bag mask valve ventilation capable
[5 empty] | Circulation features: | -
Blood pressure identification - at least one pulse site
[5 empty] | Vascular access features: | -
I/V access
Intraosseous access at tibia
i/m injection
[5 empty] | Accessories: | -
Transport and storage system
Cleaning kit for everyday cleaning and maintenance
Spare parts / consumables for approx. number of users (20-30 per month) during one year
Consumables: Airway lubricant- quantity for 1 year of operation
Notes:
*Any other additional components and accessories necessary for proper installation and functioning of the manikin should be included and described in the offer;
*All works for assembly of the manikin will be supported by the supplier;
*If the goods are supplied together with a software, it shall be provided in Russian language.
5 | Obstetrical manikin with surgical vacuum pump | 1 | Practice the most complex cases in obstetrics and maternal-child care. | Obstetric simulator in normal deliveries, in complicated deliveries and in obstetric emergencies including vacuum extractions. Female lower torso with pelvis, pelvis cavity or full body and fully articulated fetus for delivery procedures. | The anatomical features of the model should be at least: | -
Realistic pelvic floor
Ischial spines and pubic bone
Caesarean section module
Articulated baby with, fontanelles, flexible head and detachable umbilical cord and placenta
[5 empty] | Skills to be gained: | -
[5 empty] | Training in the following types of birth: | -
ü Normal
ü Vaginal breech
ü Shoulder dystocia
ü Vaginal assisted (forceps and vacuum devices)
ü Third stage of labor
C-section procedure
Cord prolapse
[5 empty] | Accessories: | -
Transport and storage system
Cleaning kit for everyday cleaning and maintenance
Spare parts / consumables for approx. number of users (20-30 per month) during one year
Consumables: Airway lubricant- quantity for 1 year of operation
Lubricant for fetus and pelvis- quantity for 1 year of operation
|  |  | Application set for use during vacuum extraction and surgical interventions. |  | Vacuum (≥ 450 mmHg)
Suction capacity (≥ 30 liters per minute)
Collection bottle (≥ 1)
Capacity, ml (≥ 1500 ml)
Overflow protection
Filter (Hydrophobic)
Voltage/Frequency (230 Volt, 50/60 Hz)
[5 empty] | Accessories: | -
Trolley with casters – 1 piece
Cups set for fetus vacuum extraction – 10 pieces
Notes:
*Any other additional components and accessories necessary for proper installation and functioning of the manikin should be included and described in the offer;
*All works for assembly of the manikin will be supported by the supplier;
*If the goods are supplied together with a software, it shall be provided in Russian language.