| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str. 2, Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 10.1

Telecommunication network installations

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 10-06-037-05 | Cabinets, boxes and doses for installations through pipes: Wall cabinets, size – up to 640х840 mm (control cabinet 42U) | piece | 1.00 |
| 2 | 10-03-013-05 | Master station equipment: service telecommunication switch (Switch 2610-24 PWR) | piece | 2.00 |
| 3 | 10-03-013-05 | Master station equipment: service telecommunication switch (Switch 2810-24 G) | piece | 3.00 |
| 4 | 11-03-001-01 | Devices installed on metal constructions, panels and desks: device of up to 5 kg in weight: 5 (patch panel 24 ports, cat. 5e) | piece | 5.00 |
| 5 |  | Router MikroTik Hap | piece | 1.00 |
| 6 |  | Cable organizer 1U | piece | 5.00 |
| 7 | 08-01-083-1 | Block-alarm device (guaranteed power supply device SMART-UPS, 1500VA) | piece | 2.00 |
| 8 | 11-03-001-01 | Devices installed on metal constructions, panels and desks: device of up to 5 kg in weight: 5 (switchboard for optic fiber cable) | piece | 1.00 |
| 9 |  | Fan module 2 elements with thermostat (60А-90-02-07GY) | piece | 1.00 |
| 10 | 08-03-591-8 | Sockets with plugs of unburied type, on open installation (socket unit 220V, 6 Euro ports, machines of 10 А, plug with cord АС) | 100 pieces | 0.02 |
| 11 |  | Grounding equipment in 19" cabinets and sinks | piece | 1.00 |
| 12 | 08-03-591-8 | Sockets with plugs of unburied type, on open installation (socket Rj-45) | 100 pieces | 1.08 |
| 13 |  | Patch cord UTP cat. 6е 1.0 m | piece | 108.00 |
| 14 | 10-02-030-01 | Desk telephone set of "TSB" or "АТС" systems: (telephone set IP Phone Fanil X3P) | piece | 41.00 |
| 15 | 10-01-055-02 | Layering of cable and conductor on walls: Cable, desk 1 m up to 1 kg, on brick wall (cable UTP cat. 5e) | 100 m | 31.00 |
| 16 |  | Shelf for heavy equipment in cabinet / rack 19", 600mm | piece | 1.00 |
| 17 |  | Support for heavy equipment 600 mm | piece | 1.00 |
| 18 |  | Telephone cable UTP cat. 5е | m | 3 100.00 |
| 19 | 10-06-049-01 | Layering of polyethylene sewerage pipe: through free channel of single wire conductor (polyethylene pipe D=25 mm) | 100 m | 0.03 |
| 20 | 08-02-410-1 | Polyethylene pipe, on floor support, diameter of up to 25 mm, PVC pipe, 25 mm | 100 m | 15.00 |
| 21 | 08-02-410-1 | Polyethylene pipe, on floor support, diameter of up to 25 mm, PVC pipe with probe, 25 mm | 100 m | 0.06 |
| 22 |  | Underground box KP-1 | piece | 2.00 |
| 23 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (plastic channel MCS-1) | m | 10.00 |
| 24 | 08-01-087-3 | Metal constructions under equipment (mounting materials) | t | 0.02 |
|  |  | Chapter 2. Equipment |  |  |
| 25 |  | Control cabinet 42U | piece | 1.00 |
| 26 |  | Switch 2610-24 PWR | piece | 2.00 |
| 27 |  | Switch 2810-24 G | piece | 3.00 |
| 28 |  | Patch panel of 24 ports, cat. 5e | piece | 5.00 |
| 29 |  | Guaranteed power supply device SMART-UPS 1500 | piece | 2.00 |
| 30 |  | Switchboard for optical fiber panel | piece | 1.00 |
| 31 |  | Telephone IP Phone FANIL X3P | piece | 41.00 |