| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 12.1

Control and regulation system

TSM (thermo-mechanic solution automation)

(name of work)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 11-02-002-01 | Devices installed on flange joints, weight, kg, up to 1.5 thermo-manometer TMTB41 | piece | 12.00 |
| 2 | 11-02-001-01 | Device installed on screw joints, weight, kg, up to 1.5, (MKU1071, DM2010) | piece | 8.00 |
| 3 | 11-02-032-01 | Primary converter of level indicator, installed on tank, working at atmospheric pressure, weight, kg, up to 10, pressure monitor DN-6-21k | piece | 1.00 |
| 4 | 10-08-003-01 | Capacity alarm device, error alarm module MS2 | piece | 1.00 |
| 5 | 11-02-001-01 | Device installed on screw joints, weight up to 1.5 kg, programmable regulator RТ59H | piece | 1.00 |
| 6 | 11-02-002-01 | Device installed on flange joints, weight, up to 1.5 kg, outside temperature sensor Q01 | piece | 1.00 |
| 7 |  | Temperature sensor with cable | piece | 1.00 |
| 8 | 11-06-001-02 | Panel, weight, kg, up to 100, switchboard cabinets EST | piece | 1.00 |
| 9 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 10 | 10-08-003-01 | Capacity alarm device, signal alarm SS-1 | piece | 2.00 |
| 11 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to 1 kg | 100 m | 0.90 |
| 12 | 08-02-407-6 | Steel pipe on constructions installed in executed plaster trenches, on framework support, diameter up to 20 mm (steel pipe 15 mm) | 100 m | 0.07 |
| 13 | 08-02-407-6 | Steel pipe on constructions installed in executed plaster trenches, on framework support, diameter up to 20 mm (seamless steel pipe 10х1.0 mm) | 100 m | 0.06 |
| 14 | 11-01-001-01 | Constructions for installation of devices, weight, up to 1 kg (selective devices) | piece | 14.00 |
| 15 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (cable channel) | m | 35.00 |
| 16 | 11-06-001-02 | Panel, weight, kg, up to: 800x650x250 mm, control and signaling panel SCHMP-4-0-74U2 | piece | 1.00 |
| 17 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 47.00 |
| 18 | 11-08-001-04 | Connection of electric networks to devices by soldering | 100 pieces | 0.94 |
| 19 | 11-06-001-02 | Panel, weight, kg, up to: 395х310х150 mm, alarm box SCHMP-1-1-36 | piece | 1.00 |
| 20 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 7.00 |
| 21 | 11-08-001-04 | Connection of electric networks to devices by soldering | 100 pieces | 0.14 |
| 22 |  | Cost of materials unaccounted by price tag |  |  |
| 23 |  | Selective device G16-80, V-16-80 | piece | 14.00 |
| 24 |  | Water and gas steel pipe D=15mm | m | 7.00 |
| 25 |  | Seamless steel pipe 10х1.0 mm | m | 6.00 |
| 26 |  | Cable-channel Elekor | m | 35.00 |
| 27 |  | Control cable КVVGng-FRLS section 4х1.5mm2 | m | 40.00 |
| 28 |  | Control cable КVVGng-FRLS section 5х1.5mm2 | m | 5.00 |
| 29 |  | Control cable КVVGng-FRLS section 10х1.5mm2 | m | 35.00 |
| 30 |  | Shielded control cable KVVGe-FRLS section 4х1.0mm2 | m | 10.00 |
|  |  | Chapter 2. Equipment |  |  |
| 31 |  | Thermometers ТМТB41 | piece | 12.00 |
| 32 |  | Indicating manometer DМ2010Сr | piece | 2.00 |
| 33 |  | Manometer МKU1071 | piece | 6.00 |
| 34 |  | Pressure switch sensor DH-b-21к | piece | 1.00 |
| 35 |  | Error alarm module MS2 | piece | 1.00 |
| 36 |  | Program regulator RТ59H | piece | 1.00 |
| 37 |  | Outside temperature sensor Q01 | piece | 1.00 |
| 38 |  | Interface 1U 05Q | piece | 1.00 |
| 39 |  | Interface 1U 04.10 | piece | 1.00 |
| 40 |  | Nozzle BS 95/7 | piece | 1.00 |
| 41 |  | Connector TUV | piece | 3.00 |
| 42 |  | Connector 2.54 | piece | 2.00 |
| 43 |  | Contactors 230В LE-S25-40 | piece | 1.00 |
| 44 |  | Panel EST EK 02 | piece | 1.00 |
| 45 |  | Signalling alarm SS-1 | piece | 2.00 |
| 46 |  | Control and alarm panel SCHMP-4-0-74У2 | piece | 1.00 |
| 47 |  | Intermediate universal relay | piece | 12.00 |
| 48 |  | Time-delay switch RKV11-33 | piece | 1.00 |
| 49 |  | Automatic switch ВА47-29/1/В1 | piece | 3.00 |
| 50 |  | Alarm fixture AL-22 | piece | 10.00 |
| 51 |  | Control button SB-7 | piece | 2.00 |
| 52 |  | Universal switch UP5312 | piece | 2.00 |
| 53 |  | Diode D246 | piece | 11.00 |
| 54 |  | Clamp block Bz24-4P | piece | 6.00 |
| 55 |  | Alarm box SCHMP-1-1-36 | piece | 1.00 |
| 56 |  | Alarm fixture AL-22 | piece | 4.00 |
| 57 |  | Control button SB-7 | piece | 2.00 |
| 58 |  | Clamp block Bz24-4P | piece | 1.00 |