| Capital repair with reconstruction of roof of the National Centre of Judicial Expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 12.2

Control and regulation system

AGSI (Automation of gas supply installations)

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 11-02-001-01 | Device installed on flange joints, weight, kg, up to 1.5 (gas contamination alarm Varta-2-03А) | piece | 1.00 |
| 2 | 11-02-032-01 | Primary converter of level indicator, installed on reservoir, working at atmospheric pressure, weight, kg, up to 10, pressure monitor DN-6-21k | piece | 1.00 |
| 3 | 10-08-003-01 | Capacity alarm device, signaling alarm SS-1 | piece | 2.00 |
| 4 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to 1 kg | 100 m | 0.35 |
| 5 | 08-02-407-6 | Steel pipe on constructions installed in executed plaster trenches, on framework support, diameter up to 20 mm (steel pipe 15 mm) | 100 m | 0.03 |
| 6 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (cable channel Elekor) | m | 10.00 |
| 7 | 11-06-001-02 | Panel, weight, kg, up to: 100, alarm box 395х310х150 mm SCHMP-1-1-36 | piece | 1.00 |
| 8 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 22.00 |
| 9 | 11-08-001-04 | Connection of electric networks to devices by soldering | 100 pieces | 0.44 |
| 10 |  | Cost of materials unaccounted by price tag |  |  |
| 11 |  | Water and gas steel pipe D=15mm | m | 3.00 |
| 12 |  | Cable-channel Elekor | m | 10.00 |
| 13 |  | Control cable КVVGng-FRLS section 4х1.5mm2 | m | 35.00 |
|  |  | Chapter 2. Equipment |  |  |
| 14 |  | Gas contamination alarm Varta-2-03А | piece | 1.00 |
| 15 |  | Pressure switch sensor DN-b-21k | piece | 1.00 |
| 16 |  | Signaling alarm SS-1 | piece | 2.00 |
| 17 |  | Alarm box SCHMP-1-1-36 | piece | 1.00 |
| 18 |  | Automatic switch VА47-29/1/V1 | piece | 2.00 |
| 19 |  | Intermediate relay 78/3 | piece | 6.00 |
| 20 |  | Alarm fixture AL-22 | piece | 5.00 |
| 21 |  | Diode D226 | piece | 5.00 |
| 22 |  | Control switch SB-7 | piece | 2.00 |
| 23 |  | Clamp block Bz24-4P | piece | 2.00 |