| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 13.1

Fire alarm.

(name of work)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 10-08-001-01 | Receivers: "PS" reception and control starter. Concentrator: base bloc for 8 ranges (fire alarm control panel Tiras–16П) | piece | 1.00 |
| 2 | 10-08-002-03 | Automatic warning devices "PS": heating, smoke and light in explosion-proof execution (fire smoke detector SPD-2 Tiras) | piece | 83.00 |
| 3 | 10-08-002-03 | Automatic warning devices "PS": heating, smoke and light in explosion-proof execution (fire heat detector SPT Тiras) | piece | 2.00 |
| 4 | 10-08-002-03 | Automatic warning devices "PS": heating, smoke and light in explosion-proof execution (manual fire detector IPR-513-10) | piece | 8.00 |
| 5 | 10-08-002-03 | Automatic warning devices "PS": heating, smoke and light in explosion-proof execution (light-sound alarm Maiak 12KP) | piece | 1.00 |
| 6 | 10-08-003-01 | Capacity alarm device (alarm SA-107) | piece | 3.00 |
| 7 | 08-01-121-1 | Stationary acid accumulator, type: S-1, SK-1 (accumulator 12V, 7А/h) | piece | 2.00 |
| 8 |  | Resistor 2 kОm MLT 0.25 | piece | 87.00 |
| 9 | 10-01-055-02 | Cabling and conductor layering on walls: cable, weight 1 m up to 1 kg, on brick wall (flame-retardant cable KPSengFRLS 2х0.75) | 100 m | 10.00 |
| 10 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks and layered boxes, weight up to 1 kg (power supply cable VVGng-FRLS-0.66 section 3х1.5 мм2) | 100 m | 2.00 |
| 11 |  | Flame-retardant cable 1х2х0.75 KPSengFRLS 2x0.75 | m | 1 000.00 |
| 12 |  | Power supply cable with copper conductors with PVC insulation, flame retardant, section 3х1.5 mm2 VVGng FRLS-0.66 | m | 200.00 |
| 13 | 08-02-410-1 | Polyethylene pipe, on framework support, diameter up to 25 mm (corrugated pipe D=16 mm) | 100 m | 0.50 |
| 14 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (plastic gutter 10х22, MCS-1) | m | 800.00 |
| 15 | 08-01-087-3 | Metal construction under equipment (metal articles) | t | 0.005 |
| 16 | 08-02-410-1 | Polyethylene pipe, on framework support, diameter up to 25 mm, PVC 25 mm | 100 m | 0.15 |
|  |  | Chapter 2. Equipment |  |  |
| 17 |  | Fire alarm control panel Tiras–16P | piece | 1.00 |
| 18 |  | Fire smoke detector +10% SPD-2 Tiras | piece | 83.00 |
| 19 |  | Fire heat detector (10% reserve) SPT Tiras | piece | 2.00 |
| 20 |  | Manual fire detector IPR-513-10 | piece | 8.00 |
| 21 |  | Light-sound alarm Maiak 12KP | piece | 1.00 |
| 22 |  | Alarm SA-107 | piece | 3.00 |
| 23 |  | Accumulator 12Wt, 7 А/h | piece | 2.00 |
| 24 |  | Carbon dioxide extinguisher ОU-5 | piece | 1.00 |