| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 14.1

Alarm signaling

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 10-08-001-06 | Receivers: “PS” reception and control devices. Concentrator: base bloc for 10 ranges, control panel on 8 areas PS 1832 | piece | 1.00 |
| 2 | 10-08-001-06 | Receivers: “PS” reception and control, alarm devices. Concentrator: base bloc for 10 ranges, extension panel for on 8 areas PC 5108 | piece | 2.00 |
| 3 |  | Keyboard RК-5501Е-1Н | piece | 2.00 |
| 4 | 10-04-101-04 | Subscriber equipment and miscellaneous equipment: Subscriber transformer, intensity up to 25 W, mounted on brick or concrete wall 30VA TR 30BT | piece | 1.00 |
| 5 | 08-01-101-2 | Converter, weight up to 0.25 t (back-up power supply RIP-7АN) | piece | 1.00 |
| 6 | 08-01-121-1 | Stationary acid accumulator, type: С-1, СК-1 (accumulator 12V, 7А/h) | piece | 2.00 |
| 7 | 10-08-003-02 | Ultrasound devices: ultrasound device in monoblock execution (one-channel radio transmitter АТС-100) | piece | 1.00 |
| 8 | 10-08-002-05 | Automatic sensors "ОS": to contact-hitting, without electromagnetic or piezoelectric contact, installed on glass (combined infrared sensor + breakage) | piece | 30.00 |
| 9 | 10-08-002-04 | Automatic sensors "ОS": to contact, to magnetic contact upon opening windows, doors (motion sensor) | piece | 1.00 |
| 10 | 10-08-002-04 | Automatic sensors "ОS": to contact, to magnetic contact upon opening windows, doors (magnetic contact sensor NО-03) | piece | 46.00 |
| 11 | 10-08-002-03 | Automatic sensors “PS”: heating, smoke, to light in explosion-proof execution (light-sound device NS-103) | piece | 1.00 |
| 12 | 10-01-055-02 | Cabling and conductor layering on walls: cable, weight 1 m up to 1 kg, on brick wall (shielded telephone cable 6х0.22 COR) | 100 m | 7.00 |
| 13 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks and layered boxes, weight 1 m up to 1 kg 1 kg (power supply cable VVG-0.66, section 3х1.5 mm2) | 100 m | 0.05 |
| 14 |  | Shielded telephone cable with copper lines, section 6х0.22 mm2 COR | m | 700.00 |
| 15 |  | Power supply cable with copper lines with PVC insulation, section 3х1.5 mm2 VVG-0.66 | m | 5.00 |
| 16 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (plastic gutter 10х22, MCS-1) | m | 500.00 |
| 17 | 08-02-410-1 | Polyethylene pipe, on framework support, diameter up to 25 mm, PVC 16 mm | 100 m | 1.50 |
| 18 | 08-02-410-1 | Polyethylene pipe, on framework support, diameter up to 25 mm, PVC 25 mm | 100 m | 0.06 |
| 19 | 08-01-087-3 | Metal construction under equipment (metal articles) | t | 0.005 |
| 20 |  | Alarm (boiler) signaling |  |  |
| 21 | 10-08-001-06 | Receivers: “PS” reception and control, alarm devices. Concentrator: base bloc for 10 ranges, control panel on 4 areas RS 585 | piece | 1.00 |
| 22 |  | Keyboard RK-5501Е-1N | piece | 1.00 |
| 23 | 10-04-101-04 | Subscriber equipment and various equipment: Subscriber transformer, intensity up to 25 W, mounted on brick or concrete wall 30VA TR 30VT | piece | 1.00 |
| 24 | 08-01-101-2 | Converter, weight up to 0.25 t (back-up power supply RIP-7АN) | piece | 1.00 |
| 25 | 08-01-121-1 | Stationary acid accumulator, type: S-1, SK-1 (accumulator 12V, 7А/h) | piece | 1.00 |
| 26 | 10-08-003-02 | Ultrasound devices: ultrasound device in monoblock execution (one-channel radio transmitter ATS-100) | piece | 1.00 |
| 27 | 10-08-002-05 | Automatic sensors "ОS": to contact-hitting, without electromagnetic or piezoelectric contact, installed on glass (combined infrared sensor + breakage) | piece | 1.00 |
| 28 | 10-08-002-04 | Automatic sensors "ОS": to contact, to magnetic contact upon opening windows, doors (magnetic contact sensor SMK) | piece | 2.00 |
| 29 | 10-08-002-03 | Automatic sensors “PS”: heating, smoke, to light in explosion-proof execution (light-sound device NS-103) | piece | 1.00 |
| 30 | 10-01-055-02 | Cabling and conductor layering on walls: cable, weight 1 m up to 1 kg, on brick wall (shielded telephone cable 6х0.22 COR) | 100 m | 0.05 |
| 31 | 08-02-148-1 | Cable up to 35 kV in pipes, blocks and layered boxes, weight 1 m up to 1 kg (power supply cable VVG-0.66, section 3х1.5 mm2) | 100 m | 0.05 |
| 32 |  | Shielded telephone cable with copper lines, section 6х0.22 mm2 COR | m | 5.00 |
| 33 |  | Power supply cable with copper lines with PVC insulation, section 3х1.5 mm2 VVG-0.66 | m | 5.00 |
| 34 | 10-06-034-14 | Various works: Cable protection with plastic gutters, on wood or brick walls (plastic gutter 10х22, MCS-1) | m | 10.00 |
| 35 | 08-01-087-3 | Metal construction under equipment (metal articles) | t | 0.001 |
| 36 |  | Control panel on 8 areas RS-1832 | piece | 1.00 |
| 37 |  | Extension panel on 8 areas RS-5108 | piece | 2.00 |
| 38 |  | Transformer 30Wt | piece | 1.00 |
| 39 |  | Back-up power supply RIP 7 AN | piece | 1.00 |
| 40 |  | Accumulator 12Wt, 7 А/h | piece | 2.00 |
| 41 |  | One-channel radio transmitter АТС-100 | piece | 1.00 |
| 42 |  | Combined infrared sensor + breakage | piece | 30.00 |
| 43 |  | Motion sensor | piece | 1.00 |
| 44 |  | Magnetic contact sensor NО-03 | piece | 46.00 |
| 45 |  | Light-sound device NS-103 | piece | 1.00 |
| 46 |  | Alarm (boiler) signaling |  |  |
| 47 |  | Guard reception-monitoring device RS585 | piece | 1.00 |
| 48 |  | Transformer 30Wt | piece | 1.00 |
| 49 |  | Back-up power supply RIP 7 AN | piece | 1.00 |
| 50 |  | Accumulator 12Wt, 7 А/h | piece | 1.00 |
| 51 |  | One-channel radio transmitter АТС-100 | piece | 1.00 |
| 52 |  | Combined infrared sensor + breakage | piece | 1.00 |
| 53 |  | Miniature magnetic contact sensor SMK-1 | piece | 2.00 |
| 54 |  | Light-sound device NS-103 | piece | 1.00 |