| Natural gas supply to the National Centre of Judicial Expertise, located at 2 M.Cebotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 3.1

Gas supply. External piping. Dismantling.

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| 1 | RpGA30B | Dismantling steel pipes for installations apparently mounted, by welding, with the diameter of 1 1/4" | m | 46.00 |
| 2 | RpGA30A | Dismantling steel pipes for installations apparently mounted, by welding, with the diameter of 3/4"mm | m | 15.00 |