| Natural gas supply to the National Centre of Judicial Expertise, located at 2 M.Cebotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 3.3

Gas supply. Internal piping.

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Sanitation works |  |  |
| 1 | ID10B | Stopcocks with a plug (cup) and stopcock with plug with valves with immersed body with valves, for gas installations, having the nominal diameter of 20 mm (collared ball valve GSHК-20) | piece | 2.00 |
| 2 | ID10A | Stopcocks with a plug (cup) or stopcock with plug with valves with immersed body with valves, for gas installations, having the nominal diameter of 15 mm (collared ball valve GSHК-15) | piece | 1.00 |
| 3 | IC21E | Black steel pipe welded longitudinally for installations, non-threaded, mounted by welding on distribution pipelines, in gas installations for production buildings (industrial constructions), pipe having the diameter of 50x3.5 mm | m | 1.50 |
| 4 | IC21C | Black steel pipe welded longitudinally for installations, non-threaded, mounted by welding on distribution pipelines, in gas installations for production buildings (industrial constructions), pipe having the diameter of 32x3.2 mm | m | 2.00 |
| 5 | IC21A | Black steel pipe welded longitudinally for installations, non-threaded, mounted by welding on distribution pipelines, in gas installations for production buildings (industrial constructions), pipe having the diameter of 20x2.8 mm | m | 1.00 |
| 6 | IC21A | Black steel pipe welded longitudinally for installations, non-threaded, mounted by welding on distribution pipelines, in gas installations for production buildings (industrial constructions), pipe having the diameter of 15x2.8 mm | m | 1.50 |
| 7 | IE06A | Preliminary pressure check of mounted gas pipes, including cocks, without meters and devices for use, diameter up to 1" | m | 2.50 |
| 8 | IE06B | Preliminary pressure check of mounted gas pipes, including cocks, without meters and devices for use, diameter over 1" | m | 3.50 |
| 9 | IE07A | Preliminary pressure check of mounted gas pipes, including cocks, without meters and devices for use, diameter, pipes having the diameter of up to 1", inclusively | m | 2.50 |
| 10 | IE07B | Preliminary pressure check of mounted gas pipes, including cocks, without meters and devices for use, pipes having the diameter of over 1" | m | 3.50 |
| 11 | GD08A | Domed cover of welded steel sheet-metal, on pipes, with Dn of 50 mm | piece | 2.00 |
| 12 |  | Nonconductive flexible hose marked “Gas”, stainless 3/4", L=1.0 m. | piece | 3.00 |
| 13 | IC44A | Manufacturing, mounting and cementing protection pipe at passage through walls, pipe having diameter of 50 mm | piece | 1.00 |
| 14 | IC44A | Manufacturing, mounting and cementing protection pipe at passage through walls, pipe having diameter of 32 mm | piece | 1.00 |
| 15 | IC42A | Supports and fixing devices to support the pipelines, boilers, devices and containers, with weight up to 2 kg / piece | kg | 0.25 |
| 16 | IzJ07A | Applying primer of red lead in one layer to the pipes and devices | m2 | 0.70 |
| 17 | IzJ09B | Dying sheet-metal cover on pipes and devices with oil paint in two layers, including priming | m2 | 0.70 |
|  |  | Chapter 2. Mounting works |  |  |
| 18 | ID13C | Stop valves with plugs, mounted on gas pipes, with nominal diameter of 32 mm | piece | 2.00 |
| 19 | ID13A | Stop valves with plugs, mounted on gas pipes, with nominal diameter of 15 mm | piece | 1.00 |
| 20 | IA40A | Safety device against gas-air absence, with diameter of 50 mm | piece | 2.00 |
|  |  | Chapter 3. Equipment |  |  |
| 21 |  | Electromagnetic safety valve, D 32 mm | piece | 1.00 |
| 22 |  | Electromagnetic safety valve, D 15 mm | piece | 1.00 |
| 23 |  | Thermal stop valve KTZ, D 32 mm | piece | 1.00 |
| 24 |  | High methane and carbon monoxide level alarm | piece | 2.00 |