| Capital repair with reconstruction of roof of the National Centre of Judicial Expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 5.1

External electric power supply networks

(name of works)

| № crt. | Symbol of rules and resource code | Name of works | Unit of measurement | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 08-03-573-6 | Suspended switch cabinet (desk), height, width and depth, mm, up to 1200х600х500 | piece | 1.000 |
| 2 | 08-03-521-15 | Lever switch on plate with central or lateral level with bar, mounted on metal support, three-pole, current up to 250 A | piece | 1.000 |
| 3 | 08-03-523-2 | Fuse, installed on insulated support, current up to 250 A | piece | 3.000 |
| 4 | 08-02-142-1 | Making bed for one cable in the trench (installation of bed) | 100 m | 3.600 |
| 5 | 08-02-142-2 | For each following cable, to add to norm 08-01-142-1 | 100 m | 3.600 |
| 6 | 08-02-141-4 | Cable up to 35 kV in trenches installed without roofs, weight 1 m, up to 6 kg | 100 m | 3.910 |
| 7 | 08-02-141-1 | Cable up to 35 kV in trenches installed without roofs, weight 1 m up to 1 kg | 100 m | 0.190 |
| 8 | 08-02-148-4 | Cable up to 35 kV in layered pipes, blocs and boxes, weight 1 m up to 6 kg | 100 m | 3.160 |
| 9 | 08-02-148-1 | Cable up to 35 in layered pipes, blocs and boxes, weight 1 m up to 6 kg | 100 m | 0.080 |
| 10 | 08-02-147-13 | Cable up to 35 kV on installed constructions and gutters, fixed on the entire length, weight 1 m of cable up to 6 kg | 100 m | 0.430 |
| 11 | 08-02-147-10 | Cable up to 35 kV on installed constructions and gutters, fixed on the entire length, weight 1 m of cable up to 1 kg | 100 m | 0.210 |
| 12 | 31 | Cable APvBSv 4x185mm2 | m | 750.000 |
| 13 |  | Cable APvBSv 5x16mm2 | m | 50.000 |
| 14 |  | Cable APvBSv 5x185mm2 | m | 50.000 |
| 15 |  | Cable AVVG 5x16mm2 | m | 6.000 |
| 16 | 08-02-143-1 | Covering the cable layered in trench: one brick for one cable | 100 m | 3.600 |
| 17 | 08-02-143-2 | Covering the cable layered in trench: one brick for each following cable | 100 m | 3.600 |
| 18 | 08-02-167-4 | Coupling sleeve, of synthetic resins (epoxide), for cable with 3-4 conductors, pressure up to 1 kV, section of one conductor up to 185 mm2 | piece | 4.000 |
| 19 |  | Clutch sleeves POLJ-01/04x150-240-T,4x185mm2 | piece | 4.000 |
| 20 | 08-02-165-3 | Terminal sleeve, of synthetic resins (epoxide), for cable with 3 conductors, pressure up to 1 kV, section of one conductor up to 185 mm2 | piece | 6.000 |
| 21 |  | Terminal sleeve EPKT 0063-CEE01, 4x185mm2 | piece | 4.000 |
| 22 |  | Terminal sleeve POLT-01/5x 150-240-L12-CEE01, 5x185mm2 | piece | 2.000 |
| 23 | 08-02-165-1 | Terminal sleeve, of synthetic resins (epoxide), for cable with 3 conductors, pressure up to 1 kV, section of one conductor up to 35 mm2 | piece | 6.000 |
| 24 |  | Terminal sleeve POLT-01/5x 10-35, 5x16mm2 | piece | 4.000 |
| 25 |  | Terminal sleeve POLT-01/5x 10-35-CEE01, 5x16mm2 | piece | 2.000 |
| 26 |  | Cable caps 102L048-R05/S | piece | 8.000 |
| 27 | 08-02-396-1 | Metal channel on constructions, consoles on farms and columns, length 2 m | 100 m | 0.080 |
| 28 |  | Metal channel 60x40 L=2m, 4piece | m | 8.000 |
|  |  | Chapter 2.1. Construction works |  |  |
| 29 | IzF20D | Sealing expansion and compaction joints on floors, walls and reinforced concrete frame by partial filling of gaps, towards outside or inside, with plates of regular cellular polystyrene 24 mm thick, with putty glue, 42 pieces | m | 7.500 |
| 30 |  | Rayflate pipe sealing system RDSS-100 | piece | 70.000 |
| 31 | 34-02-003-1 | Installation of polyethylene pipe tubes: up to 2 holes PVC110 | 1 km | 0.308 |
| 32 |  | Low pressure polyethylene pipes, exterior diameter 110 mm | m | 308.000 |
| 33 | 218 | Brick | piece | 2 530.000 |
| 34 | TsA16C1 | Manual ground digging, in limited space, in trenches of up to 4 m deep, for high voltage electric cables, in ground with natural humidity without supports, width < 1 m, depth < 1.5 m, hard ground | m3 | 130.000 |
| 35 | TsA16C1 | Manual ground digging, in limited space, in trenches of up to 4 m deep, for high voltage electric cables, in ground with natural humidity without supports, width < 1 m, depth < 1.5 m, hard ground (closed passage hole) | m3 | 13.000 |
| 36 | TsA16C1 | Manual ground digging, in limited space, in trenches of up to 4 m deep, for high voltage electric cables, in ground with natural humidity without supports, width < 1 m, depth < 1.5 m, hard ground (control survey) | m3 | 4.000 |
| 37 | TsD18B | Compacted filling in trenches, for buried cables of high voltage electric lines, executed with ground taken from middle ground (control survey, closed passage hole) | m3 | 17.000 |
| 38 | TsD18B | Compacted filling in trenches, for buried cables of high voltage electric lines, executed with ground taken from middle ground | m3 | 87.000 |
| 39 |  | Sand (sand bed) | m3 | 43.000 |
| 40 | TsC03F1 | Mechanic excavation of 0.40-0.70 mc, with combustion-engine and hydraulic control, in ground with natural humidity, unloading into ground dumpers, 2nd category (loading excess ground) | 100 m3 | 0.430 |
| 41 | TsI50A10 | Transporting ground by dumper of 5 t at a distance of 10 km | t | 68.800 |
| 42 | TsC51B | Unloading ground in storage, ground of 2nd category | 100 m3 | 0.430 |
| 43 | GD59C1 | Layering protection pipe, by horizontal directional drilling (HDD), executed on regular ground, for pipes with diameter of 161-250 mm. For hard ground (polyethylene pipe, d 180mm- 8m) | m | 8.000 |
|  |  | Chapter 2.2. Demolition and recovery of carriageway asphalt bedding |  |  |
| 44 | DC04B | Cutting by diamond disc machine of contraction and expansion joints in worn concrete on roads | m | 24.000 |
| 45 | Dl109 | Mechanized uncapping of asphaltic concrete bedding h=15cm | m3 | 1.800 |
| 46 | TsC03G1 | Mechanic excavation by excavator of 0.40-0.70 mc, with combustion-engine and hydraulic control, in ground with natural humidity, unloading into ground dumpers, ground of 3rd category (loading asphalt bedding) | 100 m3 | 0.018 |
| 47 | TsC03B1 | Mechanic excavation by excavator of 0.40-0.70 mc, with combustion-engine and hydraulic control, in ground with natural humidity, unloading into storage, ground of 2nd category (uncapping gravel) | 100 m3 | 0.042 |
| 48 | TsC03G1 | Mechanic excavation by excavator of 0.40-0.70 mc, with combustion-engine and hydraulic control, in ground with natural humidity, unloading into vehicles, ground of 3rd category (loading uncapped gravel 50%) | 100 m3 | 0.039 |
| 49 | TsI50E | Transportation (asphalt bedding + uncapped gravel 50%) by dumpers at a distance of 5km | t | 6.723 |
| 50 | TsC51C | Unloading (asphalt bedding + uncapped gravel 50% ) in storage, ground of 3rd category | 100 m3 | 0.039 |
| 51 | DB13B | Connection layer of gravel or pea gravel, hot execution, with mechanic layering h=10cm (black gravel 2.2t/m3, 1.2m3) | t | 2.640 |
| 52 | TsC54B | Crushed rock foundation layer | m3 | 3.000 |
| 53 | DB16D k=1.25 | Asphaltic concrete bedding, with minor aggregates, hot execution, 5.0 cm thick, manual layering | m2 | 12.000 |
| 54 | DB19B k=2 | Asphaltic concrete bedding, with major aggregates, hot execution, 10.0 cm thick, manual layering | m2 | 12.000 |
|  |  | Chapter 2.3. Sidewalk dismounting and recovery works |  |  |
| 55 | DC04B | Cutting by diamond disc machine of contraction and expansion joints in worn concrete on roads | m | 180.000 |
| 56 | DI109 | Mechanized uncapping of asphaltic concrete bedding | m3 | 2.700 |
| 57 | DI118 | Mechanized uncapping of crushed rock bedding | m3 | 9.000 |
| 58 | TsC03G1 | Mechanic excavation by excavator of 0.40-0.70 mc, with combustion-engine and hydraulic control, in ground with natural humidity, unloading into vehicles, ground of 3rd category (loading asphalt bedding + gravel) | 100 m3 | 0.117 |
| 59 | TsI50A9 | Transportation (asphalt bedding + uncapped gravel) by dumpers of 5 t at a distance of 9 km | t | 17.280 |
| 60 | TsC51C | Unloading ground in storage, ground of 3rd category (asphalt bedding + gravel) | 100 m3 | 0.117 |
| 61 | TsC54C | Gravel foundation layer h=10cm | m3 | 9.000 |
| 62 | DB20A | Asphalt cast on carriageway, 3.0 cm thick, with manual layering, SMVg-1.8 | m2 | 90.000 |
| 63 | RpDB36A | Dismounting sidewalks of concrete slabs or basalt and stone or concrete kerbs of any size, layered on concrete (slabs of stone or concrete) | m2 | 124.000 |
| 64 | DE17A | Pavements made of sidewalk plates of pre-manufactured concrete layered on a layer of dry blend of cement and sand, in a 1:3 ratio, jointed with a dry blend of cement and sand, layer 5 cm thick | m2 | 124.000 |
|  |  | Chapter 3. Equipment |  |  |
| 65 | Company price | Load switch RPS-2/1-250 | piece | 1.000 |
| 66 |  | Fusible plug PPNI-35, 250А | piece | 3.000 |
| 67 |  | Panel SCHО-70 | piece | 1.000 |