| Capital repair with reconstruction of roof of the National Centre of Judicial Expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 7.1

Dismounting sanitary facilities

(name of works)

| № crt. | Symbol of rules and resource code | Name of works | Unit of measurement | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| 1 | RpSE07A | Dismounting a water meter, with Dutch fittings and diameter 20-30 mm | piece | 1.00 |
| 2 | RpSA04A | Dismounting pipe of non-plasticized PVC of hard type present inside the building on joints, columns or distribution tubes, with diameter 20 mm - 32 mm | m | 73.50 |
| 3 | RpSB03B | Dismounting pipe of non-plasticized PVC of light type, with diameter 100 mm | m | 4.50 |
| 4 | RpSB03A | Dismounting pipe of non-plasticized PVC of light type, with diameter 50 mm | m | 6.00 |
| 5 | RpSB01A | Dismounting tubes and connectors shaped of cast iron, for sewerage, with diameter of 50 mm | m | 13.50 |