| Capital repair with reconstruction of roof of the National Centre of Judicial Expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 7.2

Dismounting networks.

(name of works)

| № crt. | Symbol of rules and resource code | Name of works | Unit of measurement | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
| 1 | RpAcA49A | Dismounting steel pipes, assembled by welding, with diameter of 50-100 mm | m | 8,00 |
| 2 | RpAcA53A | Dismounting pipes with pressure tubes of cast iron, with flange, mounted in galleries or channel elements, with the diameter of 80-125 mm | m | 2,00 |
| 3 | RpAcF38A | Dismounting deteriorated portions of circular manholes of precast concrete elements in channels of 2-4 m deep | m3 | 1,60 |
| 4 | TRI1AA04C3 | Loading materials of group A – light and small by throwing – from the ramp or site, into vehicle of category 3 | t | 3,52 |
| 5 | TsI50C5 | Transportation of ground by dumper of 5 t at a distance of 25 km away | t | 3,52 |