| Capital repair with reconstruction of roof of the National Centre of Judicial Expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 7.3

Aqueduct A1.

(name of works)

| № crt. | Symbol of rules and resource code | Name of works | Unit of measurement | Volume |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Sanitation works |  |  |
| 1 | SA17B | Tube of plastic material joint by polifusion welding in distribution pipes, in residential and social cultural buildings, with the diameter of 32x4.4 mm (polypropylene PN10) | m | 47.00 |
| 2 | SA17A | Tube of plastic material joint by polifusion welding in distribution pipes in residential and social cultural buildings, with the diameter of 25x3.5 mm (polypropylene PN10) | m | 8.00 |
| 3 | SA17A | Tube of plastic material joint by polifusion welding in distribution pipes in residential and social cultural buildings, with the diameter of 20x2.8 mm (polypropylene PN10) | m | 35.00 |
| 4 | SF01C | Running pressure tightness test of hot and cold water installation of PVC pipe of hard type or of plastic material, with the diameter of 16-110 mm | m | 90.00 |
| 5 | SF05C | Washing of cold or hot water installation, made of plastic material pipes, with the diameter of 20-75 mm | m | 90.00 |
| 6 | SD19B | Retention valves with threaded sleeves, with the diameter of 25 mm (collared brass ball valve) | piece | 1.00 |
| 7 | SD19A | Retention valves with threaded sleeves, with the diameter of 20 mm (collared brass ball valve) | piece | 2.00 |
| 8 | SD19A | Retention valves with threaded sleeves, with the diameter of 15 mm (collared brass ball valve) | piece | 18.00 |
| 9 | RpIF09A | Insulating pipes with special insulation sleeves, dressed on the pipes, with diameter and thickness of D=32 mm (hose PEP) | m | 46.00 |
| 10 | RpIF09A | Insulating pipes with special insulation sleeves, dressed on the pipes, with diameter and thickness of D=25 mm (hose PEP) | m | 8.00 |
| 11 | RpIF09A | Insulating pipes with special insulation sleeves, dressed on the pipes, with diameter and thickness of D=20 mm (hose PEP) | m | 14.00 |
| 12 | RpIF09A | Insulating pipes with special insulation sleeves, dressed on the pipes, with diameter and thickness of D=32 mm (insulation of polyurethane) | m | 1.00 |
| 13 | RpIF09A | Insulating pipes with special insulation sleeves, dressed on the pipes, with diameter and thickness of D=20 mm | m | 10.00 |
| 14 | SA37D | Bracelet for fixing water and gas supply pipes, of steel or PVC mounted by embedding, pipes having the diameter of 32 mm (polypropylene) | piece | 23.00 |
| 15 | SA37C | Bracelet for fixing water and gas supply pipes, of steel or PVC mounted by embedding, pipes having the diameter of 25 mm (polypropylene) | piece | 4.00 |
| 16 | SA37B | Bracelet for fixing water and gas supply pipes, of steel or PVC mounted by embedding, pipes having the diameter of 20 mm (polypropylene) | piece | 18.00 |
| 17 | SD20B | Dutch connection and bend with Dutch connection, zinc-coated, with flat sealing, having an inside-outside screw, with the diameter of 25 mm (flexible coupling insert) | piece | 1.00 |
| 18 | SF50A | Set for measuring water flow with contour, with junction diameter of 15 mm (ultrasound gauging unit) | set | 1.00 |
| 19 | SB28A | Floor gully of polypropylene, with exit diameter of 25 mm (syphon with ball valve (for condensate discharge)) | piece | 1.00 |
| 20 | AcA25A | Mounting steel joining pieces by electric welding, in position, with the diameter of 50x25 mm (steel funnel (for condensate drain)) | piece | 1.00 |
|  |  | Chapter 2. Equipment |  |  |
| 21 |  | Water meter of type 081-46-СОА-8ХХ for cold water (ultrasound Dn15 mm | piece | 1.00 |