| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 9.1

Power electric equipment and inside electric lighting

(name of work)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (1 SHUE, BZUM-TF-05-200-04) | piece | 1.00 |
| 2 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 2.00 |
| 3 | 08-03-600-2 | Meters, mounted on prepared support, with three phases (meter ZMG410CR, 380V) | piece | 1.00 |
| 4 | 08-01-053-2 | Current transformer, voltage up to 20 kV (current transformer ТТI-150/5А) | piece | 3.00 |
| 5 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (SCHGP-1, AVR-123-10) | piece | 1.00 |
| 6 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 7.00 |
| 7 | 08-03-600-2 | Meters, mounted on prepared support, with three phases (meter ZMG310CR, 380В) | piece | 1.00 |
| 8 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GRSCH-1, SCHRv-36z-136) | piece | 1.00 |
| 9 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 8.00 |
| 10 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GRSCH-2, SCHRv-36z-136) | piece | 1.00 |
| 11 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 8.00 |
| 12 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GRSCH-2, SCHRv-36z-136) | piece | 1.00 |
| 13 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 20.00 |
| 14 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-1, SCHRv-12z-136) | piece | 1.00 |
| 15 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 6.00 |
| 16 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-2, SCHRv-24z-136) | piece | 1.00 |
| 17 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 8.00 |
| 18 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-3, SCHRv-24z-136) | piece | 1.00 |
| 19 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 20 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-4, SCHRv-24z-136) | piece | 1.00 |
| 21 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 22 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-5, SCHRv-24z-136) | piece | 1.00 |
| 23 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 24 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (RP-6, SCHRv-24z-136) | piece | 1.00 |
| 25 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 7.00 |
| 26 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GP-1, SCHv-24z-136) | piece | 1.00 |
| 27 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 8.00 |
| 28 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GP-2, SCHRv-24z-136) | piece | 1.00 |
| 29 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 5.00 |
| 30 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GP-3, SCHRv-24z-136) | piece | 1.00 |
| 31 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 32 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GP-4, SCHRv-12z-136) | piece | 1.00 |
| 33 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 3.00 |
| 34 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GP-5, SCHRv-12z-136) | piece | 1.00 |
| 35 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 7.00 |
| 36 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GSCH-1, SCHRv-18z-136) | piece | 1.00 |
| 37 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 9.00 |
| 38 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GSCH-2, SCHRv-18z-136) | piece | 1.00 |
| 39 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 16.00 |
| 40 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GSCH-3, SCHRv-18z-136) | piece | 1.00 |
| 41 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 6.00 |
| 42 | 08-03-573-4 | Suspended switch cabinet (desk), height, width and depth (GSCHA-1, SCHRv-12z-136) | piece | 1.00 |
| 43 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 3.00 |
| 44 | 08-03-530-4 | Magnetic starter of common designation, separate, mounted on construction on the wall or column, current up to 40 A (magnetic starter ПМА-0261) | piece | 11.00 |
| 45 | 08-03-532-4 | Control station with buttons, common designation, mounted on construction, on the wall or column, amount of station elements – up to 3 (button station, PKE-222-2) | piece | 4.00 |
| 46 | 08-03-594-1 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 1 (light-emitting diode luminaire IP20 Elmos 140020G 4x10) | 100 pieces | 1.16 |
| 47 | 08-03-594-1 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 1 (light-emitting diode luminaire IP20 Elmos 140021G 4x10) | 100 pieces | 0.12 |
| 48 | 08-03-594-1 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 1 (light-emitting diode luminaire IP20 Horoz HL2011L 16) | 100 pieces | 0.08 |
| 49 | 08-02-369-2 | Luminaire installed outside buildings, with luminescent lamp, with bulbs (outdoor luminaire NBT18F 226, IP65) | piece | 13.00 |
| 50 | 08-03-594-1 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 1 (light-emitting diode luminaire IP54 Elmos JM-WT CPV 2x18) | 100 pieces | 0.25 |
| 51 | 08-03-594-1 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 1 (luminaire-indicator EXIT Horoz HL330L) | 100 pieces | 0.06 |
| 52 |  | LED luminaire IP20 Elmos 140020G 4x10 | piece | 116.00 |
| 53 |  | LED luminaire IP20 Elmos 140021G 4x10 | piece | 12.00 |
| 54 |  | LED luminaire IP20 Horoz HL2011L 16 | piece | 8.00 |
| 55 |  | Ceiling, wall, luminaire with luminescent lamps 220В, 2х26 Вт, IP54, NBT F 226 | piece | 13.00 |
| 56 |  | LED luminaire IP54 Elmos JM-WT CPV 2x18 | piece | 25.00 |
| 57 |  | Luminaire-indicator EXIT Horoz HL330L | piece | 6.00 |
| 58 |  | Compact luminescent lamp LLK-26 | piece | 26.00 |
| 59 |  | LED lamp 220В, 10Wt | piece | 512.00 |
| 60 |  | LED lamp 220В, 18Wt | piece | 50.00 |
| 61 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng-LS-0.66 section 3х1.5 mm2) | 100 m | 28.50 |
| 62 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 3х4 mm2) | 100 m | 3.90 |
| 63 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 4х1.5 mm2) | 100 m | 0.10 |
| 64 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 5х1.5 mm2) | 100 m | 0.15 |
| 65 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 5х2.5 mm2) | 100 m | 0.12 |
| 66 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 5х4 mm2) | 100 m | 1.20 |
| 67 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 5х6 mm2) | 100 m | 0.60 |
| 68 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng -LS-0.66 section 5х10 mm2) | 100 m | 0.15 |
| 69 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (АVVGng-LS-0.66 section 5х95 mm2) | 100 m | 0.06 |
| 70 | 08-02-412-9 | Introduction of conductors into layered metal pipes and hoses: each following single thread or multi-thread conductor in joint plaiting, summary section up to 6 mm2 (cable PV1-0.45 section 1.5mm) | 100 m | 26.50 |
| 71 | 08-02-412-9 | Introduction of conductors into layered metal pipes and hoses: each following single thread or multi-thread conductor in joint plaiting, summary section up to 6 mm2 (cable PV1-0.45 section 2.5mm) | 100 m | 11.00 |
| 72 | 08-02-412-9 | Introduction of conductors into layered metal pipes and hoses: each following single thread or multi-thread conductor in joint plaiting, summary section up to 6 mm2 (cable PV1-0.45 section 4.0mm) | 100 m | 0.60 |
| 73 | 08-02-412-9 | Introduction of conductors into layered metal pipes and hoses: each following single thread or multi-thread conductor in joint plaiting, summary section up to 6 mm2 (cable PV1-0.45 section 6.0mm) | 100 m | 0.35 |
| 74 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 3х1.5 mm2 | m | 2 850.00 |
| 75 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 3х4 mm2 | m | 390.00 |
| 76 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 4х1,5 mm2 | m | 10.00 |
| 77 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 5х1,5 mm2 | m | 15.00 |
| 78 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 5х2,5 mm2 | m | 12.00 |
| 79 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 5х4 mm2 | m | 120.00 |
| 80 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 5х6 mm2 | m | 60.00 |
| 81 |  | Cable with copper conductors with PVC insulation, VVGng LS-0.66 section 5х10 mm2 | m | 15.00 |
| 82 |  | Cable with copper conductors with PVC insulation, АVVGng LS-0.66 section 5х95 mm2 | m | 6.00 |
| 83 |  | Cable with copper conductor PV1-0.45, section 1.5 mm2 | m | 2 650.00 |
| 84 |  | Cable with copper conductor PV1-0.45, section 2.5 mm2 | m | 1 100.00 |
| 85 |  | Cable with copper conductor PV1-0.45, section 4 mm2 | m | 60.00 |
| 86 |  | Cable with copper conductor PV1-0.45, section 6 mm2 | m | 35.00 |
| 87 | 08-02-410-1 | Polyethylene pipe, on floor covering, diameter up to 20 mm PVC | 100 m | 39.60 |
| 88 | 08-02-410-1 | Polyethylene pipe, on floor covering, diameter up to 25 mm PVC | 100 m | 1.70 |
| 89 | 08-02-410-2 | Polyethylene pipe, on floor covering, diameter up to 32 mm PVC | 100 m | 0.55 |
| 90 | 08-02-410-2 | Polyethylene pipe, on floor covering, diameter up to 40 mm PVC | 100 m | 0.15 |
| 91 | 08-03-591-9 | Socket with plugs, unburied type, in closed installation (socket with plugs for closed installation 250В In=16A IP20) | 100 pieces | 1.50 |
| 92 | 08-03-591-9 | Socket with plugs, unburied type, in closed installation (computer socket In=16А 250V IP20) | 100 pieces | 1.00 |
| 93 | 08-03-591-8 | Socket with plugs, unburied type, in open installation (socket with plugs for open installation In=16А 250V IP44) | 100 pieces | 0.08 |
| 94 | 08-03-591-2 | Single flap switch, unburied type, in closed installation (one-button switch IP20) | 100 pieces | 0.46 |
| 95 | 08-03-591-5 | Double flap switch, unburied type, in closed installation (double button switch IP20) | 100 pieces | 0.17 |
| 96 | 08-03-591-1 | Single flap switch, unburied type, in open installation (one-button switch for open installation IP20) | 100 pieces | 0.02 |
| 97 |  | Box for the installation of switches and sockets | piece | 315.00 |
| 98 |  | Branch box IP44 with connector block | piece | 720.00 |
| 99 | 08-03-603-1 | Box with coloring transformers (YATP-0.25-220/36) | piece | 1.00 |
|  |  | Chapter 2. Equipment |  |  |
| 100 |  | Records cabinet BZUM-TF-05-200-04 | piece | 1.00 |
| 101 |  | Knife switch ВР32-25-200 А | piece | 1.00 |
| 102 |  | Fuse-disconnector block BPV2-250А | piece | 1.00 |
| 103 |  | Current transformer TTI-150/5А | piece | 3.00 |
| 104 |  | Meter ZMG410CR, In=5А, U=380В | piece | 1.00 |
| 105 |  | Device for automatic switching of supply to reserve АVR-123-10 | piece | 1.00 |
| 106 |  | Load switch ВН32-3Р/20 | piece | 1.00 |
| 107 |  | Three-pole automatic switch ВА47-29/3/С20 | piece | 1.00 |
| 108 |  | Three-pole automatic switch ВА47-29/3/С16 | piece | 2.00 |
| 109 |  | Three-pole automatic switch ВА47-29/3/С10 | piece | 3.00 |
| 110 |  | Meter ZMG310CR, In=5-60А, U=380V | piece | 1.00 |
| 111 |  | Mounting box 36 modules, IP31, ЩРв-36з-136 | piece | 1.00 |
| 112 |  | Load switch VN32-3Р/100 | piece | 1.00 |
| 113 |  | Three-pole automatic switch ВА47-100/3/С20 | piece | 5.00 |
| 114 |  | Three-pole automatic switch ВА47-29/3/С10 | piece | 1.00 |
| 115 |  | Three-pole automatic switch ВА47-100/3/С32 | piece | 1.00 |
| 116 |  | Mounting box 36 modules, IP31, SCHRv-36z-136 | piece | 1.00 |
| 117 |  | Three-pole automatic switch ВА47-29/3/С63 | piece | 1.00 |
| 118 |  | One-pole automatic switch ВА47-29/1/C6 | piece | 5.00 |
| 119 |  | Three-pole automatic switch ВА47-29/3/С20 | piece | 8.00 |
| 120 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 1.00 |
| 121 |  | One-pole automatic switch ВА47-29/1/C32 | piece | 2.00 |
| 122 |  | Three-pole automatic switch ВА47-29/3/С6 | piece | 2.00 |
| 123 |  | One-pole automatic switch ВА47-29/3/С16 | piece | 1.00 |
| 124 |  | Mounting box 12 modules, IP31, SCHRn-12z-13b | piece | 1.00 |
| 125 |  | Power switch ВН32-3Р/20 | piece | 1.00 |
| 126 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 3.00 |
| 127 |  | Differential automaton AVDT 32С 16А 30mА | piece | 2.00 |
| 128 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 129 |  | Power switch ВН32-3Р/20 | piece | 1.00 |
| 130 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 6.00 |
| 131 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 132 |  | Mounting box 24 modules, IP31, SCHRv-24з-136 | piece | 1.00 |
| 133 |  | Power switch ВН32-3Р/20 | piece | 1.00 |
| 134 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 8.00 |
| 135 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 136 |  | Power switch VH32-3Р/20 | piece | 1.00 |
| 137 |  | One-pole automatic switch VA47-29/1/С16 | piece | 4.00 |
| 138 |  | One-pole automatic switch VA47-29/1/C6 | piece | 3.00 |
| 139 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 140 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 141 |  | Power switch VN32-3R/20 | piece | 1.00 |
| 142 |  | One-pole automatic switch ВА47-29/1/C6 | piece | 3.00 |
| 143 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 4.00 |
| 144 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 145 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 146 |  | Power switch VH32-3Р/20 | piece | 1.00 |
| 147 |  | One-pole automatic switch ВА47-29/1/C6 | piece | 3.00 |
| 148 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 3.00 |
| 149 |  | Mounting box 24 modules, IP31, SCHRv-24z-13v | piece | 1.00 |
| 150 |  | Power switch VH32-3R/20 | piece | 1.00 |
| 151 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 6.00 |
| 152 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 153 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 154 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 155 |  | One-pole automatic switch VА47-29/1/С16 | piece | 2.00 |
| 156 |  | Three-pole automatic switch VА47-29/3/С16 | piece | 1.00 |
| 157 |  | Three-pole automatic switch VА47-29/3/С25 | piece | 1.00 |
| 158 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 159 |  | Load switch VN32-3Р/32 | piece | 1.00 |
| 160 |  | One-pole automatic switch ВА47-29/1/C6 | piece | 4.00 |
| 161 |  | Three-pole automatic switch ВА47-29/3/С16 | piece | 1.00 |
| 162 |  | Differential automaton AVDT 32С 16А 30mА | piece | 2.00 |
| 163 |  | Differential automaton AVDT 32С 32А 30mА | piece | 1.00 |
| 164 |  | Mounting box 12 modules, IP31, SCHRn-12z-13b | piece | 1.00 |
| 165 |  | Load switch VH32-3Р/20 | piece | 1.00 |
| 166 |  | One-pole automatic switch VA47-29/1/С10 | piece | 2.00 |
| 167 |  | Mounting box 12 modules, IP31, SCHRn-12z-13b | piece | 1.00 |
| 168 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 169 |  | One-pole automatic switch ВА47-29/1/C6 | piece | 3.00 |
| 170 |  | One-pole automatic switch ВА47-29/1/С16 | piece | 2.00 |
| 171 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 172 |  | Mounting box 18 modules, IP31, SCHRv-18z-13b | piece | 1.00 |
| 173 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 174 |  | One-pole automatic switch ВА47-29/1/В10 | piece | 7.00 |
| 175 |  | Differential automaton AVDT 32С 16А 30mА | piece | 1.00 |
| 176 |  | Mounting box 24 modules, IP31, SCHRv-24z-13b | piece | 1.00 |
| 177 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 178 |  | One-pole automatic switch VA47-29/1/V10 | piece | 11.00 |
| 179 |  | Differential automaton AVDT 32С 16А 30mА | piece | 4.00 |
| 180 |  | Mounting box 18 modules, IP31, SCHRv-18z-136 | piece | 1.00 |
| 181 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 182 |  | One-pole automatic switch ВА47-29/1/В10 | piece | 3.00 |
| 183 |  | Differential automaton АVDT 32С 16А 30mА | piece | 2.00 |
| 184 |  | Mounting box 12 modules, IP31, SCHRn-12z-13b | piece | 1.00 |
| 185 |  | Load switch VN32-3Р/20 | piece | 1.00 |
| 186 |  | One-pole automatic switch ВА47-29/1/В10 | piece | 2.00 |
| 187 |  | Magnetic starter PMA-0261 Un=220В | piece | 11.00 |
| 188 |  | One-font button station PKE-222-2 | piece | 4.00 |