| Capital repair with reconstruction of roof of the National Centre of Judicial expertise, located at 2 M. Cibotari Str., Chisinau | Form No.1 WinCmeta2000 |
| --- | --- |
| (name of object) |  |

Bill of Quantities № 9.2

Heater. Lighting installation and electric lamps

(name of works)

| № crt. | Symbol of rules, resource code | Name of works | Measurement unit | Amount |
| --- | --- | --- | --- | --- |

| 1 | 2 | 3 | 4 | 5 |
| --- | --- | --- | --- | --- |
|  |  | Chapter 1. Mounting works |  |  |
| 1 | 08-03-573-6 | Suspended switch cabinet (desk), height, width and depth, mm, up to (RP-6, SCHRn-24z-074U2) | piece | 1.00 |
| 2 | 08-03-575-1 | Device or machine dismounted before transportation | piece | 10.00 |
| 3 | 08-03-530-4 | Magnetic starter of common designation, separate, mounted on construction on the wall or column, current up to 40 A (magnetic starter PMA-0261) | piece | 1.00 |
| 4 | 08-03-594-2 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 2 (RAS 236) | 100 pieces | 0.01 |
| 5 | 08-03-594-2 | Luminaire with luminescent lamps, mounted separately on pivots, amount of lamps in luminaire – 2 (LPP-05UЕh-236) | 100 pieces | 0.01 |
| 6 | 08-02-369-2 | Luminaire installed outside buildings, with luminescent bulbs (outdoor luminaire NBT18F 226, IP65) | piece | 1.00 |
| 7 |  | Luminescent lamps RAS 2x36 IP54 | piece | 1.00 |
| 8 |  | Luminescent lamp for explosion hazardous areas LPP-05UЕh-2х36 | piece | 1.00 |
| 9 |  | Ceiling, wall, luminaire with luminescent lamps 220В, 2х26 Wt, IP65, NBT18F 226 | piece | 1.00 |
| 10 |  | Luminescent lamp 36 Wt, LB-36 | piece | 4.00 |
| 11 |  | Compact luminescent lamp LLK-26 | piece | 2.00 |
| 12 | 08-02-148-1 | Cable up to 35 kV in layered pipes, blocks and boxes, weight 1 m up to: 1 kg (VVGng section 3х1.5 mm2) | 100 m | 0.45 |
| 13 |  | Cable with copper conductors with PVC insulation VVGng section 3х1.5 mm2 | m | 45.00 |
| 14 | 08-02-412-10 | Introduction of conductors into layered metal pipes and hoses: each following single thread or multi-thread conductor in joint plaiting, summary section up to 35 mm2 PV1 section 1x1.5 mm2 | 100 m | 0.65 |
| 15 |  | Cable with PVC insulation PV1-0.66 section 1х1.5 mm2 | m | 65.00 |
| 16 | 08-02-410-1 | Polyethylene pipe, on floor covering, diameter up to 20 mm (PVC pipe -V-R EP 20U, D=20mm) | 100 m | 0.25 |
| 17 | 08-03-603-1 | Down transformer box YATP-0.25-220/12 | piece | 1.00 |
| 18 | 08-03-591-8 | Socket with plugs, unburied type, in open installation (socket with plugs for open installation In=10А 250V IP44) | 100 pieces | 0.02 |
| 19 | 08-03-591-1 | Single flap switch, unburied type, in open installation (open installation switch 16А, 250V) | 100 pieces | 0.03 |
| 20 |  | Branch box for cabling | piece | 15.00 |
| 21 | 08-02-472-2 | Earth conductor: horizontal, strip steel grounding, section 160 mm2 (strip steel 25х4 mm) | 100 m | 0.25 |
| 22 | 08-02-472-2 | Earth conductor: horizontal, strip steel grounding, section 160 mm2 (strip steel 40х4 mm) | 100 m | 0.25 |
| 23 | 08-02-472-1 | Earth conductor: horizontal, round steel, grounding, diameter 12 mm (round steel 20mm) | 100 m | 0.09 |
| 24 | 08-02-471-4 | Vertical, round steel grounding, diameter 16 mm (round steel 20mm) | 10 pieces | 0.30 |
|  |  | Chapter 2. Equipment |  |  |
| 25 |  | Power shield SCHRn-24z-074U2 | piece | 1.00 |
| 26 |  | Load switch VN 32-20 | piece | 1.00 |
| 27 |  | One-pole automatic switch ВА47-29/1/С6 | piece | 6.00 |
| 28 |  | One-pole automatic switch ВА47-29/1/В6 | piece | 3.00 |
| 29 |  | Magnetic starter ПМА-0261 Un=220V | piece | 1.00 |