## Sheet1
INVITATION TO BID (ITB) FROM THE WORLD HEALTH ORGANISATION ITB 2021/EURO/MDA/0008
Annex 1 | Detailed List of requirements and specifications
# | Item | Detailed Specification | Unit | Quantity
1 | VIDAS Clostridoides difficile glutamate dehydrogenase ( GDH) (60 tests/kit) | Kit = 60 tests, for the detection of the antigen glutamate dehydrogenase (GDH) produced by Clostridium difficile by ELFA methodaplicable on VIDAS or equivavlent | kit | 9
2 | VIDAS Clostridoides difficile TOXIN A/B (60 tests/kit) | Kit = 60 tests, for the detection of toxins A and B produced by Clostridium difficile by ELFA method aplicable on VIDAS or equivavlent | kit | 9
3 | ELISA tests Clostridoides difficile glutamate dehydrogenase (GDH) (human stool) | An enzyme-linked immunosorbent assay (ELISA) for the qualitative detection of Clostridium difficile-specific glutamate dehydrogenase (GDH) in human stool specimens. Presence in the kit of all reagents required for the reaction, including positive and negative controls. Microtiter plate with 96 wells (12 strips of 8 removable wells each). Reagents for 96 faecal investigations, including controls. | kit | 10
4 | ELISA tests Clostridoides difficile, tox A, B (human stool) | An enzyme -linked immunosorbent assay (ELISA) for the qualitative determination of Toxins A and B of Clostridium difficile in stool samples and from cultures of Clostridium difficile toxin-producing strains previously cultured from stool samples. Presence in the kit of all reagents required for the reaction, including positive and negative controls. Microtiter plate with 96 wells (12 strips of 8 removable wells each). Reagents for 96 faecal investigations, including controls. Compatible with diferent tipes of automatic pipette | kit | 10
5 | Clostridoides difficile Glutamate Dehydrogenase (GDH) /Toxin A+B (human stool) | Kit = 10 immunochromatographic tests for the simultaneous qualitative detection of Clostridium difficile Glutamate Dehydrogenase (GDH), Toxin A and Toxin B in stool samples | kit | 40
6 | Clostridoides difficile Agar Base | Packaging - 0.5 kg. | kg | 2
7 | Supliment Clostridiun difficile | Piece = 1 box of 10 bulbs each | pc | 4
8 | CHROMID Clostridoides difficile (20 plates) | Set = 20 boxes x 90 mm | set | 20
9 | Genbag anaerob (bag, sachets with reducing mixture and closing devices) | Set = 20 bags / 20 envelopes / 20 clips | set | 30
10 | Vitek 2 ANC - anaerobic bacteria identification cards and Corynebacterium species, Clostridium | Set = 20 cards aplicable on VITEK or equivavlent | set | 30
11 | Sterile saline solution (pH 4,5-7,0) 3x500ml/set | Set=3x500ml | set | 1
12 | Polystyrene tubes (transparent 12 x 75 mm) 2000 pcs / box | Piece = Box with 2000 tubes | pc | 1
13 | COLUMBIA AGAR+ 5% sheep blood | Packing-set = 20 boxes | set | 30
14 | PCR kit for C. difficile detection (genes: tcdA, tcdB and cdtA / cdtB-ribotype PCR 027) | Type of reaction - Multiplex real-time PCR. Testing principle – Detection and Differentiation of C. difficile Toxin A and Toxin B specific DNA. For human diagnosis. Reagents for not less than 96 tests, including controls, compatible with the Rotor-Gene-6000 amplifier (0.2 ml tubes) or Quant Studio 5. The set will include reagents for all stages: extraction, amplification with real-time detection. EC certificate for in vitro use in accordance with the requirements of the European Directive. Taq mastermix (tcdA-F, tcdA-R, tcdB-F, tcdB-RA, tcdB-RB, cdtA-FA, cdtA-FB, cdtA-R, ctdB-F, cdtB-R, PS-F, PS-R, GluD-F, GluD-R); RNAse free water | kit | 2
15 | Polypropylene cryotubes with porous beads for the preservation of microbiological cultures (yellow) . Tubes and caps withstand up to -190ºC | Piece = (box = 100 cryotubes). | pc | 4
16 | Polypropylene cryotubes with porous beads for the preservation of microbiological cultures (green). Tubes and caps withstand up to -190ºC | Piece = (box = 100 cryotubes). | pc | 4
17 | Polypropylene cryotubes with porous beads for the preservation of microbiological cultures (blue). Tubes and caps withstand up to -190ºC | Piece = (box = 100 cryotubes). | pc | 4
18 | Tulpină de referință Clostridoides difficile ATCC 9689 | Piece = box with at least 2 stems. | pc | 3