| Reconstruction, replanning, modernization of the space on the ground floor of the Municipality of Ungheni, needed to arrange the public services, to create the `Single window` | Attention to item 26 that was modified (in Red below) |
| --- | --- |
| (objective title) |  |

List of quantities of works

SPA security alarm

Currency of the offer US$

| No. | Norm symbol and Resource code | Works and expenses | U. M. | Quantity according to project data | Estimate value, US$ |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Per unit of measurement ———— incl. wages | Total ————— incl. wages |

| 1 |  | 2 |  | 3 |  |  | 4 | 5 |  |  |  | 6 |  | 7 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 1. Construction works |  |  |  |  |  |  |  |  |  |  |
| 1 |  | RpCU06A1 |  | Execution of notches up to 5 cm deep in the brick masonry of 5 x 50 cm2, for mechanized execution |  |  | m | 60.00 |  |  |  |  |  |  |
| 2 |  | RpCU07D |  | Caulking the notches in the walls of up to 50 cm2, following the installations or consolidation |  |  | m | 60.00 |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | US$ |  |  |  |  |  |  |  |
|  |  |  |  | Social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | Transportation expenses |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Supply-storage expenses |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Administrative costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Benefit of the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Construction works Including wages |  |  | US$ US$ |  |  |  |  |  |  |  |
|  |  |  |  | 2. Mounting works |  |  |  |  |  |  |  |  |  |  |
| 3 |  | 10-08-001-02 |  | Receivers: "ПС" receipt and control, start devices. Concentrator: base block for 20 rays (PC1864) |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 4 |  | 08-03-575-1 |  | Device: 8 zone expansion mode |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 5 |  | 10-08-003-03 |  | Ultrasound devices: power block 16.5 v (AC), 40VA |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 6 |  | 08-01-121-1 |  | Panel battery, type: 7A*h, 12V |  |  | pcs | 2.00 |  |  |  |  |  |  |
| 7 |  | 10-08-003-04 |  | Ultrasound devices: converter (ATS-100) |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 8 |  | 10-08-001-03 |  | Receiver: keyboard PK5500E1 |  |  | 10 pcs | 0.30 |  |  |  |  |  |  |
| 9 |  | 10-08-003-05 |  | Optical-(photo)electrical devices: optical-electric appliance in single-bloc execution (LC 102 PI) |  |  | pcs | 9.00 |  |  |  |  |  |  |
| 10 |  | 10-08-002-04 |  | Automatic " ОС " warning devices: magnetic contact when opening windows, doors NK-Y1313 |  |  | pcs | 7.00 |  |  |  |  |  |  |
| 11 |  | 08-03-593-10 |  | Wall lighting indicators (LD-95) |  |  | 100 pcs | 0.02 |  |  |  |  |  |  |
| 12 |  | 08-02-409-1 |  | Vinyl-plastic pipe on installed constructions, on walls and columns, to be fixed with staples, diameter up to 25 mm |  |  | 100 m | 4.00 |  |  |  |  |  |  |
| 13 |  | supplier price |  | Corrugated pipe U-PVC, 750n, d=20 mm |  |  | l.m. | 400.00 |  |  |  |  |  |  |
| 14 |  | 08-02-412-2 |  | Introduction of conductors in metal pipes and hoses: first single-wire or multi-wire conductor in common weaving, summary section up to 6 mm2 |  |  | 100 m | 5.40 |  |  |  |  |  |  |
| 15 |  | supplier price |  | Signalling cable, halogen-free, shielded, no. conductors x section: 6x0.5 mm2 |  |  | l.m. | 410.00 |  |  |  |  |  |  |
| 16 |  | supplier price |  | Cable ВВГнг(a)-FRHF 3x1. 0 mm2 |  |  | l.m. | 80.00 |  |  |  |  |  |  |
| 17 |  | supplier price |  | Cable with solid copper conductors 2x4x24awg, cat.6A, double shielded, with halogen-free PVC (HF) FTP type insulation |  |  | l.m. | 50.00 |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | US$ |  |  |  |  |  |  |  |
|  |  |  |  | Social insurance |  |  | 24 % |  |  |  |  |  |  |  |
|  |  |  |  | Transportation expenses |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Supply-storage expenses |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Administrative costs |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Benefit of the estimate |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Mounting works Including wages |  |  | US$ US$ |  |  |  |  |  |  |  |
|  |  |  |  | 3. Machines |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  | Logical device for 8 zone security systems, expandable up to 32 PC-1864 type zones |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 19 |  |  |  | Expansion mode for 8 zones with PC5108 type security |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 20 |  | supplier price |  | Power supply 16.5 v (AC), 40VA |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 21 |  | supplier price |  | Battery 12V,12A * h |  |  | pcs | 2.00 |  |  |  |  |  |  |
| 22 |  | supplier price |  | ATS-100 radio transmitter |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 23 |  |  |  | Keyboard PK-5500 E1, manufacturer " DSC " Canada or analogous |  |  | pcs | 1.00 |  |  |  |  |  |  |
| 24 |  | supplier price |  | Combined sensor: infrared + damage LC 102 PI |  |  | pcs | 9.00 |  |  |  |  |  |  |
| 25 |  | supplier price |  | Magnetic contact warnings devices at windows and doors opening |  |  | pcs | 7.00 |  |  |  |  |  |  |
| 26 |  | supplier price |  | Siren LD-95, 12V, 150mA, 90dB |  |  | pcs | 2.00 |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | US$ |  |  |  |  |  |  |  |
|  |  |  |  | Supply-storage expenses |  |  | % |  |  |  |  |  |  |  |
|  |  |  |  | Total Machines Including wages |  |  | US$ US$ |  |  |  |  |  |  |  |
|  |  |  |  | Total |  |  | MDL |  |  |  |  |  |  |  |
|  |  |  |  | Total estimate: Including wages | US$ US$ |  |  |  |  |  |  |  |  |  |

| Bidder |  |
| --- | --- |
| (position, signature, name, surname ) |  |
| Verified |  |
| (position, signature, name, surname ) |  |